SUMMARY OF WATER QUALITY ORDER

| Order No. | WQ 2002-0013 |
| --- | --- |
| Date OF BOARD MEETING | August 15, 2002 |
| Petition Title | City of San Diego |
| POPULAR NAME [if applicable] | E.W. Blom Point Loma Metropolitan Wastewater Treatment Plant |
| REGIONAL BOARD | San Diego Regional Water Quality Control Board |
| # File No. | SWRCB/OCC File A-1477 |

Precedential Decision

This order finds that the San Diego Regional Board failed to make necessary findings in the adoption of waste discharge requirements for the Point Loma Wastewater Treatment Plant operated by the City of San Diego to justify reducing the total suspended solids mass emission limits from 15,000 metric tons per year to 13,995 tons.  The order concludes that the fact that San Diego will not approach either limit in its discharge from the Plant during the life of the permit means that no water quality concerns are involved in so limiting the discharge.