October 23, 2000

STATE WATER RESOURCES CONTROL BOARD

WORKSHOP -- OFFICE OF CHIEF COUNSEL

November 1, 2000

# ITEM 8

## SUBJECT

IN THE MATTER OF THE APPEAL OF CARROLL BELCHER, PAUL BERGENER, ALFREDO FAJARDO, MANUEL LOVIO, CHRISTOBAL MARCOS, ROY CORY OVIEDO, JORDAN SIPLON, ROLANDO UMALI, AND NICANOR VALDEJUEZA FOR REVIEW OF A DETERMINATION BY THE DIVISION OF CLEAN WATER PROGRAMS, STATE WATER RESOURCES CONTROL BOARD, REGARDING DENIAL OF WASTEWATER TREATMENT PLANT OPERATOR-IN-TRAINING CERTIFICATES

## DISCUSSION

In early February, 1998, Mr. Carroll Belcher, Mr. Paul Bergener, Mr. Alfredo Fajardo,  Mr Manuel Lovio, Mr. Christobal Marcos, Mr. Roy Cory Oviedo, Mr. Jordan Siplon, Mr. Rolando Umali, and Mr. Nicanor Valdejueza (Appellants) submitted applications to the Office of Operator Certification (OOC) for Operator-in-Training (OIT) Wastewater Treatment Plant Certificates.  At the time of their applications, Appellants were employed as Energy Recovery Facility Operators at the Hyperion Wastewater Treatment Plant located in Los Angeles.  The OOC determined that Appellants were not employed in the actual operation of a wastewater treatment plant and denied the issuance of OIT certificates.  Appellants petitioned the Division for a review of the OOC's determination.  Appellants argued that their duties in the Energy Recovery Facility were analogous to the duties of individuals operating Hyperion's Cryogenic Facility who had been issued OIT certificates by the OOC in 1996.  The Division concluded that the comparison between Hyperion's Energy Recovery Operators and its Cryogenic Facility Operators was not appropriate, and upheld the OOC's decision to deny Appellants OIT certificates.  Appellants appealed the Division's Decision to the Board and requested a hearing.  In their appeal, Appellants reiterated their previous contention that they performed similar duties to Hyperion's Cryogenic Facility Operators and should be similarly certified.  In addition, Appellants alleged that the decision to deny them OIT certificates is discriminatory. The proposed order finds that because the Appellants and the Division have agreed upon the basic facts in this matter, an evidentiary hearing is unwarranted.  Further, the Order finds that Appellants duties as Energy Recovery Facility Operators do not constitute the operation of a wastewater treatment plant for which certification is appropriate.  Finally, the Order finds that the decision to deny Appellants OIT certificates was based on their duties in accordance with criteria set forth in the regulations and thus does not amount to discrimination.

## POLICY ISSUE

Should the SWRCB adopt the proposed order which would:  (1) deny Appellants' request for an evidentiary hearing, (2) uphold the Division's decision to deny Appellants' applications for OIT Wastewater Treatment Plant Certificates, and (3) reject Appellants' claim of discrimination.

## FISCAL IMPACT

None.

## RWQCB IMPACT

None.

## STAFF RECOMMENDATION

Adopt the proposed order.

STATE OF CALIFORNIA

STATE WATER RESOURCES CONTROL BOARD

ORDER:  WQ 2000-___  -CWP

In the Matter of the Appeal of

Carroll Belcher, Paul BErgener, Alfredo Fajardo,

Manuel Lovio, Christobal Marcos, Roy Cory Oviedo,

Jordan Siplon, Rolando Umali, and Nicanor Valdejueza

for review of a Determination by the

Division of Clean Water Programs,

State Water Resources Control Board,

Regarding Denial of Operator-In-Training Certificates

BY THE BOARD:

Mr. Carroll Belcher, Mr. Paul Bergener, Mr. Alfredo Fajardo,  Mr. Manuel Lovio,

Mr. Christobal Marcos, Mr. Roy Cory Oviedo, Mr. Jordan Siplon, Mr. Rolando Umali, and

Mr. Nicanor Valdejueza (Appellants) seek review of the Division of Clean Water Programs (Division) Final Division Decision (Decision) to deny their applications for wastewater treatment plant Operator-in-Training (OIT) certificates.  The Division's Decision was based on a finding that at the time the OIT applications were submitted, Appellants were not performing the duties of an operator and therefore were not eligible for certification.  After a review of the record and for the reasons set forth below, the State Water Resources Control Board (SWRCB or Board) finds that the Division's Decision was proper.  (Cal. Code Regs., tit. 23, § 3715, subd. (a)(2).)

I.  STATUTORY, REGULATORY, PROCEDURAL

AND FACTUAL BACKGROUND

Chapter 9, Division 7, of the Water Code governs the certification of wastewater treatment plant operators and supervisors.  (Wat. Code, § 13625 et seq.)  The Chapter mandates that “[s]upervisors and operators of wastewater treatment plants shall possess a certificate of appropriate grade in accordance with, and to the extent recommended by [an] advisory committee and required by, regulations adopted by the state board.”  (Id. § 13627, subd. (a).)  The Chapter further provides that the SWRCB “shall classify types of waste water treatment plants for the purpose of determining the levels of competence necessary to operate them” and that the SWRCB shall adopt regulations setting forth the type of plants and the factors on which the SWRCB bases its classification.  (Id. § 13626.)  The SWRCB is also required to “develop and specify in its regulations the training necessary to qualify a supervisor or operator for certification for each type and class of plant.”  (Id. § 13627, subd. (a).)  The Chapter also directs the SWRCB to appoint an advisory committee made up of specified representatives of the wastewater treatment training and operation industry.  (Id. § 13632.)  The advisory committee is to assist the SWRCB in carrying out its responsibilities under the Chapter and to review and make recommendations on all proposed regulations and amendments to regulations prior to adoption. (Id. §§ 13631, 13633.)

Pursuant to authority granted by statute, the SWRCB promulgated regulations governing the certification of plant operators and supervisors (Regulations).  (Wat. Code, § 13626.)  The regulations provide in relevant part that “wastewater treatment plant” means “any facility owned by a state, local, or federal agency and used in the treatment or reclamation of sewage and industrial wastes.”  (Cal. Code Regs., tit. 23, § 3671, subd. (y).)

The regulations set forth criteria for classification of wastewater treatment plants.  Using the following criteria, wastewater treatment plants are assigned a class number of I-V:

| # Class | Treatment Process | Design Flow (in million gallons per day) |
| --- | --- | --- |
| I | Pond Primary | All 1.0 or less |
| II | Primary Biofiltration Extended Aeration | Greater than 1.0 through 5.0 1.0 or less All |
| III | Primary Biofiltration Activated Sludge Tertiary | Greater than 5.0 through 20.0 Greater than 1.0 through 10.0 5.0 or less 1.0 or less |
| IV | Primary Biofiltration Activated Sludge Tertiary | Greater than 20.0 Greater than 10.0 through 30.0 Greater than 5.0 through 20.0 Greater than 1.0 through 10.0 |
| V | Biofiltration Activated Sludge Tertiary | Greater than 30.0 Greater than 20.0 Greater than 10.0 |

(Cal. Code. Regs., tit. 23, § 3675.)

The plant classification number is used to establish the grade of wastewater treatment plant operator certificate that must be held by supervisors and operators of each class of plant.  (Cal. Code. Regs., tit. 23, § 3680.)

The regulations set forth the experience and education necessary to qualify for various grades of certification.  With the exception of an OIT certificate, applicants for each grade of certificate are required to have a specified number of years of experience “performing the functions of a wastewater treatment plant operator” at any grade level or a lesser number of years performing the functions of a wastewater treatment plant operator while certified as an operator at a grade level immediately below the grade being sought.  (Cal. Code Regs., tit. 23, § 3683.)  In addition, applicants may be credited with one year of qualifying experience if they have had two or more years of full-time experience in the operation of a water treatment plant regulated by the California Department of Health Services or by a government agency in another state and while in possession of a valid water treatment plant operator certificate, if: (1) the water treatment plant where the experience was gained uses two or more of the following processes:  coagulation, sedimentation, aeration, filtration, oxidation, or disinfection and (2) at the time of their application they have had one year of full-time experience in the operation of a wastewater treatment plant.  (Id. § 3684.)

An OIT certificate may be issued to a person who is acting in the capacity of a certified operator if the OIT is under the direct supervision of a certified operator of the same or higher grade and is performing the duties of the grade of operator for which the certificate was issued.  (Cal. Code Regs., tit 23, § 3707.)  The regulations provide that “operator” means “any person operating a wastewater treatment plant and who occupies a position and performs duties for which the Office of Operator Certification requires an operator certificate.”  (Id. § 3671, subd. (p).)  “Operates” means “the performance of day-to-day activities primarily consisting of the control of any process which may affect the quality of the discharge of a wastewater treatment plant.”  (Id. § 3671, subd. (o).)

This appeal arises from a decision by the Office of Operator Certification to reject Appellants’ applications for wastewater treatment plant OIT certificates on the basis that Appellants were not performing the duties of the grade of operator for which the certificate would be issued.

At the time of their applications for OIT certificates Appellants were employed by the City of Los Angeles (City) as Energy Recovery Facility Operators (ERF Operators) at an Energy Recovery Facility (ERF) associated with the Hyperion Wastewater Treatment Plant.  The City’s Hyperion Wastewater Treatment Plant is located south of the Los Angeles International Airport and has been classified by the SWRCB as a Class V Facility.  In addition to the traditional wastewater processes (primary (physical) treatment, secondary (biological) treatment, sludge digestion, sludge dewatering,), Hyperion has both a Cryogenic Facility and an ERF.  The Cryogenic Facility separates oxygen from air, and then transmits the pure oxygen to the activated sludge process for use by microorganisms treating the waste.  The ERF provides steam to heat the anaerobic digesters and was originally designed to produce power for much of the plant equipment.  An agreement between the City and Operating Engineers Local 501 (representing both ERF Operators and Wastewater Treatment Plant Operators) prevents the City from rotating Wastewater Treatment Plant Operators through the ERF and from rotating ERF Operators through the wastewater treatment plant facilities.

Since the startup of the ERF in the 1980s it has been operated by persons who have not been certified as Wastewater Treatment Plant Operators.  ERF Operators in the past have told the Division that they are not Wastewater Treatment Plant Operators, but are City certified steam boiler operators.  In November 1997 a shift superintendent at the Hyperion Wastewater Treatment Plant returned four OIT certificates issued by the Division.  The shift superintendent returned the certificates because the persons to whom they were issued were transferred to the ERF and they were no longer “working in wastewater operations.”

In an effort to consolidate facilities and reduce costs, the City has placed the ERF in a nonoperational “standby mode.”  Staffing at the facility has been reduced from 40 to 16.  ERF Operators have been given an opportunity by the City to become “transitional workers” by moving into the wastewater treatment portion of the Hyperion facility where they would rotate through the plant to learn the treatment plant process and become certified wastewater treatment plant operators.  For those ERF Operators who chose to become “transitional workers,” the Division issued OIT certificates at the time those Operators began working in the new positions.  “Transitional workers” lost whatever seniority they had with the City and began accruing seniority from the time they started in the new positions.  For this reason, some of the ERF Operators who were concerned about possible future layoffs chose not to become transitional workers and retained their positions in the ERF.

At the time of their applications for OIT positions, Appellants (who remained in the ERF) performed duties consisting of operation and maintenance of pumps, compressors, gas turbine engines, diesel electric generators, and boilers that produced steam used to heat the digesters.  The steam was transmitted from the ERF to the anaerobic digester facility where a certified wastewater treatment plant operator monitored and managed heat application to the digesters.  Generator units operated by the ERF Operators also produced power for the plant equipment.  Because the ERF was in standby operation, digester gas from the wastewater treatment plant portion of the Hyperion facility was conveyed to an adjacent City of Los Angeles Department of Water and Power generation facility that uses the gas to produce electrical energy.  In return for the gas produced electrical energy, the Hyperion Wastewater Treatment Plant received electricity at a reduced rate.

On February 9, 1998, the Division of Clean Water Programs received a request from the Hyperion Acting Wastewater Treatment Plant Manager that the Division issue ten OIT wastewater treatment plant operator certificates for the ERF Operators who remained in the ERF.  On May 20, 1998, the Office of Operator Certification (OOC) responded by asking for additional information regarding the plant organization, complete job descriptions for the ERF Operators, and written assurances that the ERF Operators would be supervised by certified operators of appropriate grade.  The Division’s response also stated that the OOC would expect the ERF Operators to be able to move freely from one treatment plant process facility to another within the organizational structure if they were issued OIT certificates.  On August 26, 1998, the Plant Manager responded, asserting that because the proper operation of the ERF was essential to regulatory compliance, even operators confined to the ERF should be certified wastewater treatment plant operators.  In September of 1998, after reviewing the information submitted, making site visits, and undertaking discussions with various Hyperion plant personnel, the OOC notified the plant management and the ERF Operators who were seeking OIT certificates that, because the ERF Operators were not employed in the operation of a wastewater treatment plant, no OIT certificates could be issued.

Appellants appealed the Office of Operator Certification decision to the Chief of the Division of Clean Water Programs (Division Chief) on or about October 21, 1998.  The Division Chief issued a Final Division Decision on January 8, 1999, upholding the Office of Operator Certification decision.  Appellants appealed the Final Division Decision to the SWRCB on or about February 4, 1999.

Because the appeal raised issues related to the interpretation of regulations that were reviewed by the advisory committee prior to adoption, the Division asked the advisory committee to review the issue at its next scheduled meeting on July 7, 1999.  The committee considered whether the work being performed by the ERF Operators where those operators were not assigned to perform any functions of a wastewater treatment plant operator should be accepted as qualifying experience towards wastewater treatment plant operator certification.  The Advisory Committee members agreed that where the ERF Operators were working solely in an ERF and did not rotate through other facilities at the plant, those operators should not be given qualifying time towards wastewater treatment plant operator certification.

Two of the advisory committee members who were employed at plants that had separate Energy Recovery Facilities agreed to provide the Division with written statements concerning the policy of their respective agencies with regard to ERF Operators.  The written statements were received on October 1, 1999 and December 2, 1999.  Both indicated that where the sole function of an operator was to operate an ERF, the operator should not be required to have a wastewater treatment plant operator certificate, nor should the operator gain qualifying experience toward wastewater treatment plant operator certification.

II.  CONTENTIONS AND FINDINGS

1.  Contention:  In their appeal, Appellants request a formal hearing to present evidence regarding the Division's decision to reject their OIT certificate applications.

Findings:  Because the Division and Appellants have reached agreement on the facts in this matter, an evidentiary hearing is unwarranted.

All adjudicative proceedings before the Board are governed by Chapter 4.5 of the Administrative Procedure Act (APA) (commencing with section 11400 of the Government Code).  (Cal. Code Regs., tit. 23, § 648 subd. (b).)  Subdivision (b) of section 11445.20 of the APA provides that an oral evidentiary hearing is not required if there are no disputed issues of material fact.  (See Sierra Ass'n for the Environment v. FERC (9th Cir. 1984) 744 F.2d 661, 664.).  In the absence of any disputed issue of material fact, the Board may resolve an appeal as a matter of law.

On March 9, 2000, the Division sent Appellants a draft factual statement, anticipating that, if agreed upon, the statement would be made part of this Order.  The Division requested that Appellants review the draft statement and submit any suggestions or corrections, in writing, within 20 days.  Appellants offered no suggested revisions or corrections to the draft statement, indicating their assent to the facts as set forth by the Division.

Because there is no disputed issue of material fact in this matter, an evidentiary hearing is unnecessary.

2.  Contention:  Appellants contend that their duties as ERF Operators parallel those of Hyperion's Cryogenic Facility Operators (Cryogenic Operators), and maintain that since the OOC issued OIT certificates to Cryogenic Operators in 1996, they should also be issued OIT certificates.

Findings:  While the Board recognizes that the duties of Hyperion's ERF Operators appear similar to those of its Cryogenic Operators, we find that, between the two, only Cryogenic Operators "operate" the Plant as the term is defined in the regulations.  As such, only Cryogenic Operators perform the duties of a certified operator for which OIT certification is appropriate.

The regulations provide that an agency may employ a person to act in the capacity of a certified operator provided the person is certified as an operator-in-training, is under the direct supervision of a certified operator of the same or higher grade, and is performing the duties of the grade of operator for which the certificate was issued.  (Cal. Code Regs., tit 23, § 3707.)  In order to perform the duties of an operator a person must be "operating" the plant by performing day-to-day activities primarily consisting of the control of any process which may affect the quality of the discharge of a wastewater treatment plant.  [Emphasis added.]  (Cal. Code Regs., tit 23, § 3671, subd. (o).)  While the term "control" is given no specific definition in either statute or regulation, it is commonly defined as "to exercise restraining or directing influence over." (Merriam-Webster's Collegiate Dictionary (10th ed. 1995) p. 252.)  A "process" includes any wastewater treatment process which modifies characteristics such as biological or chemical oxygen demand, total suspended solids, or pH, usually for the purpose of meeting effluent guidelines and standards. (See 40 C.F.R. § 61.61., subd. (k); In the absence of any definition of a term used in state law, it is appropriate to look to federal law for guidance. California Public Utilities Comm'n v. California Energy Resources Conservation (1984) 150 Cal.App.3d 437 [197 Cal.Rptr. 866.].)

At the time of their applications, Appellants’ duties included the operation and maintenance of pumps, compressors, gas turbine engines, diesel electric generators, and boilers that produced steam used to heat Hyperion's anaerobic digesters.  Equipment units operated by Appellants also provided power for various plant equipment.  Appellants contend in their appeal that their job of producing heat for the digesters is essential to the Plant's maintaining regulatory compliance and thus deserving of certification.  The regulations, however, do not condition the issuance of an OIT certificate on the level of importance of an applicant's duties.  Rather, to determine whether an OIT certificate should be issued, the OOC must consider, among other things, whether the applicant will be "operating" the plant under the direct supervision of a certified operator of the same or higher grade.  (Cal. Code Regs., tit. 23, § 3707.)  At the time of their applications, Appellants did not operate the plant by controlling a wastewater treatment process.  While Appellants may have been providing indispensable heat to the digesters, they were not controlling or monitoring the application of that heat.  As Appellants note in their appeal, the heat transported to the digesters was controlled and managed by a certified Wastewater Treatment Operator.  It is the regulation of the heat application to the digesters that constitutes the "control of a process" and thus the "operation" of the Plant.  (Id., § 3671, subd. (o).)  Appellants, in their capacity as ERF Operators confined to the ERF, do not operate any treatment process at the Hyperion Plant for which certification is appropriate.

In contrast, Hyperion's Cryogenic Operators do operate the plant by controlling a treatment process and were properly issued OIT certificates by the OOC in 1996.  We recognize that the duties of Hyperion's Cryogenic Operators appear similar to Appellants’ duties in the ERF.  Cryogenic Operators, like ERF Operators, operate and maintain pumps, compressors and other related equipment necessary for oxygen production.  Similarly, the Cryogenic Facility's supply of oxygen to the activated sludge process resembles the ERF's supply of steam to the anaerobic digesters.  However, unlike ERF Operators, who have no control over the heat produced in the ERF once it is transmitted to the digesters, Cryogenic Operators monitor and control the pressure, volume, and purity of the oxygen as it is transmitted to the activated sludge reactors in order to meet variable biological demand and control the growth of microorganisms.  The Cryogenic Operator's regulation of the oxygen as it is applied to the activated sludge reactors constitutes the "operation" of the Plant, as the term is defined in the regulations.  Therefore, the issuance of OIT certificates to Cryogenic Operators in 1996 was appropriate and not inconsistent with the Division's denial of OIT certificates to Appellants.

While Appellants duties as ERF Operators at the Hyperion Plant appear similar to those of the Cryogenic Operators, there is one critical distinction making ERF Operators ineligible for OIT certification--they do not control a wastewater treatment process.  Because Appellants do not control a wastewater treatment process, we reject their contention that they perform duties analogous to Hyperion's Cryogenic Operators and thus should be issued OIT certificates.

3.  Contention:  Appellants contend that the Division has unfairly discriminated against them by denying their OIT applications based on their job classification as ERF Operators rather than the merits of their job duties.  Appellants maintain that they perform duties similar to those of Hyperion's Cryogenic operators, and reason that since the OOC issued OIT certificates to Cryogenic Operators in 1996, it has no grounds for now denying their OIT applications.  Appellants also point out that OIT certificates have been issued to operators of a similar Energy Recovery Facility at Los Angeles County Sanitation  District's Joint Water Pollution Control Plant (JWPC Plant).  Appellants further speculate that the OOC's decision to deny their OIT applications was influenced by some of Hyperion's Wastewater Treatment Operators who have openly lobbied against the issuance of OIT certificates to Appellants.

Findings:  Appellants’ contentions are without merit.  Any differential treatment of ERF Operators from Cryogenic Operators or Operators of the ERF at the JWPC Plant was based solely on the Operators' duties in accordance with criteria set forth in the regulations.  Nothing in the record suggests that the denial of Appellants' OIT applications was arbitrary or based on any invidious discrimination.

Equal protection under the law requires that persons who are similarly situated be treated the same unless disparity of treatment is justified. (Board of Supervisors v. Local Agency Foundation (1992) 3 Cal.4th 903, 914 [13 Cal.Rptr.2d 245].)  A threshold question in any equal protection analysis is whether similarly situated people are being treated differently.  (People v. Applin (1995) 40 Cal.App.4th 404 [46 Cal.Rptr.2d 862].)

Appellants have not established the threshold requirement that they are similarly situated to either the Cryogenic Operators or the Operators of the Co-Generation Facility at the JWPC Plant.  As we discussed previously, Appellants’ duties as ERF Operators may be distinguished from those of Cryogenic Operators in that Cryogenic Operators control a wastewater treatment process and therefore "operate" the Plant while ERF Operators do not.  Appellants differ from Operators of the Co-Generation Facility at the JWPC Plant on the same basis--JWPC's Co-Generation Operators are not confined to the Co-Generation Facility, but rotate throughout the Plant and thus have control over, and therefore "operate," various wastewater treatment processes throughout the Plant.  Because Appellants are not similarly situated to either group of certified operators who have been issued OIT certificates by the OOC, their charge of discrimination must fail.

We find that the Division's Decision to deny Appellants’ OIT applications was based on criteria set forth in the regulations, and was not motivated by any discriminatory purpose.

III.  SUMMARY AND CONCLUSION

After a review of the record and consideration of the issues raised by the Appellants, and for the reasons previously discussed, we conclude as follows:

1.  Because the Division and Appellants reached agreement on the facts in this matter, an evidentiary hearing is unwarranted.

2.  The Division properly denied Appellants' OIT certificate applications because at the time of their OIT applications, Appellants did not perform the duties of a certified wastewater treatment plant operator.

///

///

///

///

///

///

3.  Appellants have failed to demonstrate that they are similarly situated to any one or more groups of applicants who have been issued OIT certificates and therefore have not established a claim of discrimination.

IV.  ORDER

IT IS HEREBY ORDERED THAT Appellants applications for OIT certification are denied.

CERTIFICATION

The undersigned, Administrative Assistant to the Board, does hereby certify that the foregoing is a full, true, and correct copy of an order duly and regularly adopted at a meeting of the State Water Resources Control Board held on November 16, 2000.

AYE:

NO:

ABSENT:

ABSTAIN:

Maureen Marché

Administrative Assistant to the Board

See memos from the City Cryogenic Supervisor to Operation Plant Manager, dated January 19, 1995 and from Ric Vardel to James Giannopoulos dated December 18, 1992.

See letter of November 5, 1997 to Mr. Cleo Hartman from Hiddo D. Netto.

On February 12, 2000, the City consolidated the ERF with the Hyperion Wastewater Treatment Plant.  The remaining ERF Operators have become “transitional” workers and now rotate throughout the plant, operating all wastewater treatment plant facilities.  Since that time, the ERF Operators have been eligible for OIT certificates.  The issues raised by the appeal have not, however, become moot since the ERF Operators are still seeking credit towards certification for their time working at the ERF.

The Office of Operator Certification traditionally has not excluded from qualifying experience time spent by wastewater treatment plant operators for minor maintenance, lab, or other activities where those activities are a very small part of the operator’s duties and where a major part of the operator’s time is spent operating the wastewater treatment plant.

See letter from Varouj Abkian to Donna Barnickol dated August 26, 1998.

See minutes of July 7, 1999 meeting.

See letters from Philip Friess and Wendell Kido dated October 1, 1999 and December 2, 1999, respectively.

See letters from Dorothy Jones to Appellants dated March 9, 2000 and draft fact statement.  With only minor, nonsubstantive changes, Ms. Jones' fact statement has been incorporated into this Order.

In their appeal, Appellants note that they are employed at a Municipal Wastewater Treatment Facility and are under the direct supervision by a certified operator, presumably in support of their contention that they are operating the plant and therefore entitled to OIT certificates.  However, these factors alone are not enough to support the issuance of an OIT certificate.  According to the regulations, an applicant must also establish that he or she is operating the plant by performing the duties of the grade of operator for which the certificate was issued. (See Cal. Code Regs., tit. 23, §§ 3671, subd. (q), 3707.)