STATE WATER RESOURCES CONTROL BOARD

WORKSHOP SESSION--DIVISION OF WATER QUALITY

### OCTOBER 4, 2000

#### ITEM:    4

SUBJECT:

CONSIDERATION OF A RESOLUTION APPROVING PROPOSED AMENDMENTS TO THE CALIFORNIA OCEAN PLAN (OCEAN PLAN)

DISCUSSION:

The Ocean Plan establishes water quality objectives for California's ocean waters and provides the basis for regulating point and nonpoint wastes discharged into the State's coastal waters.  The State Water Resources Control Board (SWRCB) adopted the Ocean Plan in 1972 and is required to review it on a triennial basis.  The SWRCB and the six coastal Regional Water Quality Control Boards (RWQCBs) implement the Ocean Plan.

In October 1992, the SWRCB adopted Resolution No. 92-88 directing staff to review a series of high priority issues identified in the 1992 Triennial Review and Workplan.  Staff was further authorized to make recommendations to the SWRCB for any necessary changes to the Ocean Plan.

The following issues were identified as a high priority in the 1992 Triennial Review and are proposed as amendments to the 1997 Ocean Plan:

Issue 1:  Replacement of the acute toxicity effluent limitation in Table “A” with an acute toxicity water quality objective.

Issue 2:  Revision of chemical water quality objectives for protection of human health.

Issue 3:  Addition of provisions for compliance determination for chemical water quality objectives.

Issue 4:  Revisions of the format and organization of the Ocean Plan.

Issue 5:  Development of special protection for water quality and designated uses specifying procedures for nomination and designation of special category waters.  (Note:  At the October 4 workshop staff may recommend consideration of this issue be delayed at this time.)

In addition to these five high priority issues, minor administrative changes are proposed to update references and terminology as described below:

Issue 6:  Administrative changes to the Ocean Plan that include:

a.	Defining governmental agencies referenced in the Ocean Plan,

b.	Defining dredged materials,

- Describing the relationship of the Ocean Plan to other State plans and policies,

- Updating the reference for radioactivity water quality objective,

- Changing the test method references for total and fecal bacteria and for acute toxicity,

- Changing a subtitle in Appendix II, and

- Changing the Ocean Plan’s effective date.

POLICY ISSUE:

Should the SWRCB:

- Approve the draft Final Functional Equivalent Document (FED) identified as Attachment A to the resolution?

- Approve the proposed amendments to the Ocean Plan?

- Agree to reassess and modify as appropriate the Minimum Level values in Appendix II of the Ocean Plan during the triennial reviews to consider and reflect the availability and use of more sensitive analytical methods (Prior to adoption of new Minimum Levels, the SWRCB will consider environmental and economic effects)?

- Authorize the SWRCB Executive Director to sign the Certificate of Fee Exemption identified as Attachment B to the resolution?

- Authorize the SWRCB staff to submit the amended Ocean Plan to the Office of Administrative Law and the U.S. Environmental Protection Agency for final approval?

# FISCAL IMPACT:

SWRCB and RWQCB staff work associated with implementing the proposed changes can be accommodated within existing budgets at the SWRCB and RWQCBs.

RWQCB IMPACT:

Coastal RWQCBs will use the amended Ocean Plan to prepare National Pollution Discharge Elimination System Permits and Waste Discharge Requirements for ocean dischargers.

STAFF RECOMMENDATION:

That the SWRCB:

- Approves the draft Final Functional Equivalent Document (FED) identified as Attachment A to the resolution.

- Approves the proposed amendments to the Ocean Plan.

- Agrees to reassess and modify as appropriate the Minimum Level values in Appendix II of the Ocean Plan during the triennial reviews to consider and reflect the availability and use of more sensitive analytical methods.  Prior to adoption of new Minimum Levels, the SWRCB will consider environmental and economic effects.

- Authorizes the SWRCB Executive Director to sign the Certificate of Fee Exemption identified as Attachment B to the resolution.

- Authorizes the SWRCB staff to submit the amended Ocean Plan to the Office of Administrative Law and the U.S. Environmental Protection Agency for final approval.

Note:  Copies of the Final FED can be obtained by contacting Jan Hisao at (916) 657-1114.

The Final FED and the Ocean Plan can be downloaded from the SWRCB’s website at www.swrcb.ca.gov/plnspol.

Attachment A has been distributed to the Board Members, Acting Executive Director, Acting Deputy Director, and Administrative Assistant to the Board.

STATE WATER RESOURCES CONTROL BOARD

RESOLUTION NO.

ADOPTION OF THE PROPOSED AMENDMENTS TO

THE CALIFORNIA OCEAN PLAN

(OCEAN PLAN)

WHEREAS:

- The Ocean Plan was adopted by the State Water Resources Control Board (SWRCB) in 1972 and amended in 1978, 1983, 1988, 1990, and 1997.

- The SWRCB is responsible for reviewing Ocean Plan water quality standards and for modifying and adopting standards in accordance with Section 303(c )(1) of the federal Clean Water Act and Section 13170.2 of the California Water Code (CWC).

- The SWRCB initiated a public review of the Ocean Plan in 1991, including a public hearing, and adopted a workplan in 1992 for considering issues identified by the comments received.

- The SWRCB reviewed these issues and amended the Ocean Plan in 1997.

- The SWRCB staff reviewed the high priority issues remaining from the 1992 Workplan, selected five issues for further analyses, and based upon this analysis proposed five additional amendments to the Ocean Plan.

- The SWRCB staff has also identified a sixth issue consisting of minor administrative changes to the Ocean Plan to update terminology and references.

- The proposed amendments are the following:

Issue 1: 	Replacement of the acute toxicity effluent limitation in Table “A” with an acute toxicity water quality objective.

Issue 2:	Revision of chemical water quality objectives for protection of human health.

Issue 3:	Addition of provisions for compliance determination for chemical water quality objectives.

Issue 4:	Revisions of the format and organization of the Ocean Plan.

Issue 5:   Development of special protection for water quality and designated uses specifying   procedures for nomination and designation of special category waters.  (Note:  At the October 4 workshop staff may recommend consideration of this issue be delayed at this time.)

Issue 6:	Administrative changes to the Ocean Plan that include:

- Defining governmental agencies referenced in the Ocean Plan,

- Defining dredged materials,

- Describing the relationship of the Ocean Plan to other State plans and policies,

- Updating the reference for the radioactivity water quality objective,

- Changing the test method references for total and fecal bacteria and for acute toxicity,

- Changing a subtitle in Appendix II, and

- Changing the Ocean Plan’s effective date.

- The SWRCB prepared and circulated a draft Final Functional Equivalent Document (FED) in accordance with the provisions of the California Environmental Quality Act and Title 14, California Code of Regulations 15251(g).

- The SWRCB held three public hearings in Sacramento, Irvine, and Monterey in November and December of 1998.  The SWRCB has carefully considered all testimony and comments received on this matter and has determined that the adoption of the proposed Ocean Plan amendments will not have a significant adverse effect on the environment.

- The SWRCB staff has prepared a draft Final FED, Attachment A to this resolution, which includes the specific proposed amendments to the Ocean Plan and responses to the comments received at the hearings.

- The SWRCB has considered relevant management agency agreements in accordance with CWC Section 13179.1.

- Amendments to the Ocean Plan do not become effective until approved by the Office of Administrative Law and the U.S. Environmental Protection Agency.

THEREFORE BE IT RESOLVED THAT:

The SWRCB:

- Approves the draft Final FED identified as Attachment A to the resolution.

- Approves the proposed amendments to the Ocean Plan.

- Agrees to reassess and modify as appropriate the Minimum Level values in Appendix II of the Ocean Plan during the triennial reviews to consider and reflect the availability and use of more sensitive analytical methods.  Prior to adoption of new Minimum Levels, the SWRCB will consider environmental and economic effects.

- Authorizes the SWRCB Executive Director to sign the Certificate of Fee Exemption identified as Attachment B to the resolution.

- Authorizes the SWRCB staff to submit the amended Ocean Plan to the Office of Administrative Law and the U.S. Environmental Protection Agency for final approval.

### CERTIFICATION

The undersigned, Administrative Assistant to the Board, does hereby certify that the foregoing is a full, true, and correct copy of a resolution duly and regularly adopted at a meeting of the State Water Resources Control Board held on October 19, 2000.

_____________________________________

Maureen Marché

## Administrative Assistant to the Board