STATE WATER RESOURCES CONTROL BOARD

BOARD MEETING SESSION--DIVISION OF WATER QUALITY

NOVEMBER 15, 2001

ITEM 10

SUBJECT

CONSIDERATION OF A RESOLUTION APPROVING AN AMENDMENT TO THE WATER QUALITY CONTROL PLAN FOR THE CENTRAL COAST REGION REMOVING A NITRATE WATER QUALITY OBJECTIVE FOR THE SAN LORENZO RIVER

#### DISCUSSION

On June 2, 2000, the Central Coast Regional Water Quality Control Board (Central Coast Regional Board) adopted Resolution 00-001 (attached) amending its Water Quality Control Plan (Basin Plan) to remove a numeric nitrate water quality objective for the San Lorenzo River.

Surface waters in the Central Coast Region are covered by narrative water quality objectives for “biostimulatory substances” and for “taste or odor-producing substances” (both of which include nitrate) to prevent concentrations of these substances at levels that “cause nuisance or that adversely affect beneficial uses”.  The Basin Plan originally also set a numeric water quality objective of 2.25 mg/L nitrate (measured as nitrate) for all waters designated with a “water contact recreation” beneficial use in the Central Coast region.  The Central Coast Regional Board removed this objective in 1977 (Resolution 77-04).  In 1982, the Central Coast Regional Board adopted a new nitrate objective for the San Lorenzo River of 0.25 mg/L nitrate (Resolution 82-07).  The Central Coast Regional Board intended to adopt an attainable nitrate objective below the threshold for nuisance algae growth.  However, there was little information available relating algae growth to nitrate levels when the Central Coast Regional Board adopted this nitrate objective, and little was known about the achievability of the objective.

Since the 1982 adoption of the nitrate objective, the Central Coast Regional Board has concluded that the nitrate objective of 0.25mg/L is not attainable because background concentrations exceed this objective.  Santa Cruz County’s (County) reports: An Evaluation of Wastewater and Water Quality in the San Lorenzo and Salinas Rivers,and the San Lorenzo Nitrate Management Plan, Phase II, Final Report, conclude that in order to possibly meet the current objective, septic systems must be banned and all sewage must be exported, all grazing animals must be prohibited, and fertilizer use must be limited, and even these actions will not necessarily result in attaining the objective.

The Central Coast Regional Board has concluded that the basis for the current numeric nitrate objective is no longer valid.  When the Central Coast Regional Board adopted the 0.25 mg/L nitrate objective in 1982, it relied heavily upon The San Lorenzo River Watershed Management Plan, December 1979, which states:

“Excessive algal growth in the San Lorenzo Watershed has adversely affected aesthetic values, recreational use, and the quality of water for domestic supply.  On several occasions, the City of Santa Cruz has had to resort to expensive treatment to remove obnoxious tastes and odors imparted by excessive algal growth in the River” (pg. 122).

This statement became the basis for Central Coast Regional Board action.  Central Coast Regional Board staff subsequently concluded that odors were the only adverse results associated with the nitrate concentrations.  Water quality will continue to be protected by the narrative Basin Plan taste and odor and biostimulatory effects objectives.  A future Total Maximum Daily Load (TMDL) is expected to establish a nitrate target and reduce nitrate loads in the watershed, which should result in nitrate concentrations that existed prior to the occurrence of the odor problem. Water quality will also be protected by nitrate reduction measures endorsed by the Central Coast Regional Board in Resolution 95-04, in accordance with the County’s continued efforts to impose nitrate reduction measures contained within the County’s Nitrate Management Plan.

POLICY ISSUE

Should the SWRCB:

- Approve the amendment to the Central Coast Basin Plan to remove the numerical nitrate objective for the San Lorenzo River?

- Authorize the Executive Director or designee to transmit the amendment and administrative record for this action to Office of Administrative Law (OAL) and the U.S. Environmental Protection Agency (USEPA) for approval?

#### FISCAL IMPACT

The Central Coast Regional Board and State Water Resources Control Board staff work associated with or resulting from this action can be accomplished within budgeted resources.

RWQCB IMPACT

Yes, Central Coast Regional Board.

STAFF RECOMMENDATION

That the SWRCB:

- Approve the amendment to the Central Coast Basin Plan to remove the numerical nitrate objective for the San Lorenzo River.

- Authorize the Executive Director or designee to transmit the amendment and administrative record for this action to OAL and the USEPA for approval.

### DRAFT

### STATE WATER RESOURCES CONTROL BOARD

### RESOLUTION NO. 2001-

APPROVING AN AMENDMENT TO THE WATER QUALITY CONTROL PLAN FOR THE CENTRAL COAST REGION REMOVING A NITRATE OBJECTIVE FOR THE SAN LORENZO RIVER

WHEREAS:

- The Central Coast Regional Water Quality Control Board (Central Coast Regional Board) revised its Water Quality Control Plan (Basin Plan) on April 14, 1995 and the amendments to that plan took effect on November 2, 1995.

- On June 2, 2000, the Central Coast Regional Board adopted Resolution 00-001 (attached) amending the Basin Plan to remove a numeric nitrate objective of 0.25 mg/L for the San Lorenzo River.

- The Central Coast Regional Board staff followed appropriate procedures to satisfy the environmental documentation requirement of the California Environmental Quality Act  (PL 92-500 and

PL 95-217) and other State laws and regulations.  The Central Coast Regional Board finds adoption of these amendments will not have a significant adverse effect on the environment.

- The State Water Resources Control Board (SWRCB) finds that the Basin Plan amendment to remove the numeric nitrate objective for the San Lorenzo River is in conformance with Water Code Section 13240 which specifies that Regional Water Quality Control Boards shall periodically review and may revise Basin Plans.

- A Basin Plan amendment does not become effective until approved by the SWRCB and until the regulatory provisions are approved by the Office of Administrative Law (OAL) and provisions related to surface water standards are approved by the U.S. Environmental Protection Agency (USEPA).

THEREFORE BE IT RESOLVED THAT:

The SWRCB:

- Approves the amendment to the Central Coast Regional Board Basin Plan to remove the numeric nitrate objective for the San Lorenzo River.

- Authorizes the Executive Director or designee to transmit the amendment and administrative record for this action to OAL and USEPA for approval.

### CERTIFICATION

The undersigned, Clerk to the Board, does hereby certify that the foregoing is a full, true, and correct copy of a resolution duly and regularly adopted at a meeting of the State Water Resources Control Board held on

November 15, 2001.

_____________________________________

Maureen Marché

## Clerk to the Board

CALIFORNIA REGIONAL W ATER QUALITY CONTROL BOARD\

CENTRAL COAST REGION

San Luis Obispo, California

# RESOLUTION NO.00-001

## ADOPTING AMENDMENTS TO THE WATER QUALITY CONTROL PLAN AND

REQUESTING APPROVAL FROM THE STATE WATER RESOURCES CONTROL

BOARD TO

REMOVE THE NITRATE OBJECTIVE FOR SAN LORENZO RIVER

WHEREAS, the California Regional Water Quality Control Board, Central Coast Region (Regional Board), adopted the Water Quality Control Plan, Central Coastal Basin (Basin Plan), on March 14, 1975.

WHEREAS, the Regional Board periodically revises and amends the Basin Plan,

WHEREAS, the current nitrate objective for the San Lorenzo River is not reasonable. For example, the existing objective is below background concentrations,

WHEREAS, the Regional Board has determined the Basin Plan requires further revision and

amendment,

WHEREAS, water quality will be protected by the narrative water quality objectives. Regional

Board Resolution 95-04 also encourages the County to implement reduced nitrate discharge measures contained within the San Lorenzo Nitrate Management Plan, Phase II Final Report, February 1995, County of Santa Cruz, Health Services Agency, Environmental Health Service. Water quality will also be protected by the nitrate target contained within the draft San Lorenzo River nitrate TMDL once it is approved by the U.S. EPA,

WHEREAS, drafts of the proposed amendment have been prepared and distributed to interested

persons and agencies for review and comment,

WHEREAS, Regional Board staff followed appropriate procedures to satisfy the environmental

documentation requirement of the California Environmental Quality Act (PL 92-500 and PL 95-217). The Regional Board finds adoption of these amendments will not have a significant adverse effect on the environment,

WHEREAS, notice of public hearing was given by advertising in newspapers of general

circulation within the Region,

AND WHEREAS, on June 2, 2000, in San Luis Obispo, California, the Regional Board held a

public hearing and heard and considered all public testimony.

THEREFORE, BE IT RESOLVED that based on the draft Basin Plan amendment. The

environmental checklist, accompanying written documentation, and public comments received, the Regional Board finds that there is no substantial evidence in the record that adoption of the proposed Basin Plan amendment will have a significant adverse effect on the environment,

THEREFORE, BE IT RESOLVED that the environmental document prepared by Regional

Board staff pursuant to Public Resource Code Section 21080.5 is hereby certified. Following approval of the revised Basin Plan by the State Board, the Executive Officer shall file a Notice of Decision with the State Clearinghouse,

THEREFORE, BE IT RESOLVED that when appropriate, the Regional Board shall replace

the nitrate objective with a TMDL nitrate target for San Lorenzo River or U.S. EPA nutrient criteria,

THEREFORE, BE IT RESOLVED that the Basin Plan amendment shown on “Attachment A—

Basin Plan Amendment” is approved. The amendment will not take effect until approved by the State Board, the Office of Administrative Law, and the United States Environmental Protection Agency,

AND THEREFORE, BE IT RESOLVED that upon approval, the State Board is requested to

transmit the amendment to the California Office of Administrative Law and the U.S. Environmental Protection Agency for approval.

I, ROGER W. BRIGGS, Executive Officer of the California Regional Water Quality Control Board, Central Coast Region, do hereby certify that the foregoing is a full, true, and correct copy of the Resolution adopted by the California Regional Water Quality Control Board, Central Coast Region, on June 2, 2000.

June 2, 2000

Date

RESOLUTION NO. 00-001

ATTACHMENT A -- BASIN PLAN AMENDMENT

The following Basin Plan amendment is proposed. New language is shown in bold and deleted language is stuck out.

- Revise the September 8, 1998 Basin Plan, Chapter Three, page III-14 as follows:

A specific monthly mean objective for Nitrate (as NO3) of 0.25 mg/l shall apply to both the upper and lower San Lorenzo River to protect beneficial uses from adverse biostimulatory effects.  Specific biostimulant objectives for other surface waters will be added to this section in tabular form once they are determined from further studies.