## STATE WATER RESOURCES CONTROL BOARD

WORKSHOP SESSSION – DIVISION OF CLEAN WATER PROGRAMS

FEBRUARY 6, 2002

#### ITEM 12

### SUBJECT

CONSIDERATION OF APPROVAL OF A CLEAN BEACHES INITIATIVE GRANT FOR THE CITY OF NEWPORT BEACH (CITY) FOR FUNDING the nEWPORT BAY DIVERSIONS AND SURFACE WATER TREATMENT SYSTEMS FROM THE COASTAL NONPOINT SOURCE CONTROL (CNPSC) SUBACCOUNT ESTABLISHED IN THE COSTA-MACHADO WATER ACT OF 2000 (ACT)

### DISCUSSION

Newport Beach and Newport Bay are the most frequently visited beaches in Orange County, with beach attendance of approximately 8.9 million people in 2000.  In 2001, Newport Beach and Newport Bay had beach postings covering more than 550 Beach Mile-Days.  Two swimming areas in the Bay accounted for more than 80 percent of the postings.  In addition, Newport Bay is on the Section 303(d) list for sediment, nutrients, fecal coliform, and toxics.  This project will be split into two phases, with the first phase comprised of a) installing two diversion structures to divert urban runoff at Newport Dunes, b) the construction of a one way valve and baffle box in the vicinity of Channel Place Park, and c) investigating the feasibility of installing circulation devices in the Newport Dunes Swimming Lagoon. The second phase of the project will include the installation of circulation devices and the two subsequent one way valves and baffle boxes depending on the outcome of the Phase I studies.

The Budget Act of 2001 appropriated $32,298,000 from the Act’s CNPSC Subaccount (Item 3940-101-6022) for clean beach projects in accordance with a specific schedule.  The City was identified as Item (v): County of Orange or City of Newport Beach: Newport Bay ($500,000).

The Act’s CNPSC Program provides funding for projects that restore and protect the water quality and environment of coastal waters, estuaries, bays, and near shore waters and groundwater.  All projects receiving grant funding from this subaccount are required to meet the following criteria:

- projects shall demonstrate the capability of contributing to sustained, long-term water quality or environmental restoration or protection benefits for a period of 20 years;

- projects shall address the causes of degradation, rather than the symptoms;

- projects shall be consistent with water quality and resource protection plans prepared implemented, or adopted by the State Water Resources Control Board (SWRCB), the applicable Regional Water Quality Control Board, and the California Coastal Commission (CCC);

- applicants shall inform the SWRCB of any necessary public agency approvals, entitlements, and permits that may be necessary to implement the Project; and applicants shall certify to the SWRCB that such approvals, entitlements and permits have been granted;

- projects shall be consistent with recovery plans for coho salmon, steelhead trout, or other threatened or endangered aquatic species;

- applicants shall be required to submit to the SWRCB a monitoring and reporting plan;

- the SWRCB shall provide the opportunity for public review and comment;

- the recipient shall provide a matching contribution consistent with Section 79148.8(f) of the Water Code for the portion of the Project consisting of capital costs for construction; and

- upon completion of the Project, the recipient of the funds shall submit a report to the SWRCB that summarizes the completed activities and indicates whether the purpose of the Project has been met.

The City has defined two sources of contamination in Newport Bay, urban runoff and avian contamination.   In an effort to address both sources, a two-stage approach has been developed to reduce bacterial contamination.  The diversion structures and one-way valve will reduce urban runoff from entering the Bay.  The installation of aerators will be investigated to determine if they will improve circulation and decrease the effects of avian contamination.  By diverting or treating the contaminated urban runoff and avian byproducts, the numbers of postings and closures at Newport Bay are expected to decrease.

The infrastructure will be designed to have a minimum useful life of 20 years, and will be incorporated into the City’s maintenance management program.  The City has agreed to provide matching funds in accordance with Section 79148.8(f) of the Water Code.  A monitoring and reporting plan will also be developed as part of the project.

The City filed three separate Notices of Exemption, finding a) the Aerations and Water Circulation Systems (No. 200185001234), b) the Dry Weather Storm Drain Diversions (No. 200185001235), and c) the Installation of One-Way Valves Within the Storm Drain System (No. 200185001236) categorically exempt from the California Environmental Quality Act under Sections 15301 to 15304.  The Notices of Exemption were filed and posted with the Orange County Clerk on November 5, 2001.

The Santa Ana Regional Water Quality Control Board (SARWQCB) has reviewed the project and determined that it is consistent with existing water quality control plans.  In addition, the Beach Water Quality Task Force, in cooperation with the CCC, reviewed the project on January 8, 2002, and determined that it is consistent with existing water quality plans.

### POLICY ISSUE

Should the SWRCB approve a resolution providing the City grant funding for the Newport Bay Diversions and Surface Water Treatment Systems for an amount not to exceed $125,000?

FISCAL IMPACT

The Budget Act of 2001 allocated $500,000 to the City of Newport Beach. The funds will be expended in two phases. The first phase will use $125,000 to install two diversion structures, one baffle box and one-way valve, and to study the circulation devices. The second phase will use the remaining $375,000 to follow up on the subsequent baffle boxes and circulation devices as determined by the first phase.

RWQCB IMPACT

Yes, SARWQCB.

STAFF RECOMMENDATION

That the SWRCB approve a resolution authorizing staff to execute a contract with the City to fund the Newport Bay Diversions and Surface Water Treatment Systems using Act’s CNPSC Subaccount, as authorized in the Budget Act of 2001.

# DRAFT

## STATE WATER RESOURCES CONTROL BOARD

RESOLUTION NO. 2002 - ____

APPROVAL OF A CLEAN BEACHES INITIATIVE GRANT FOR THE CITY OF NEWPORT BEACH (CITY) FOR FUNDING the nEWPORT BAY DIVERSIONS AND SURFACE WATER TREATMENT SYSTEMS (PROJECT) FROM THE COASTAL NONPOINT SOURCE CONTROL (CNPSC) SUBACCOUNT ESTABLISHED IN THE COSTA-MACHADO WATER ACT OF 2000 (ACT)

WHEREAS:

- The Act was approved by the voters in the March 7, 2000, primary election;

- The Act created the CNPSC Subaccount at Water Code Section 79148.4;

- The Budget Act of 2001 appropriated a total of $32,298,000 from the CNPSC Subaccount (Item 3940-101-6022) for clean beach projects in accordance with a specific schedule. The City was identified as Item (v) in the schedule: County of Orange or City of Newport Beach: Newport Bay ($500,000);

- The City has submitted the necessary documentation to satisfy the Act’s criteria for CNPSC Projects and has agreed to provide funds or in-kind match consistent with Section 79148.8(f) of the Water Code;

- The City filed three Notices of Exemption, finding a) the Aeration and Water Circulation Systems, b) the Dry Weather Storm Drain Diversions, and c) the Installation of One-Way Valves Within the Storm Drain System categorically exempt from the California Environmental Quality Act under Sections 15301 to 15304. The Notices of Exemption were filed and posted with the Orange County Clerk on November 5, 2001; and

- The Beach Water Quality Task Force, in cooperation with the California Coastal Commission, reviewed the project on January 8, 2002, and determined that it is consistent with existing water quality plans.

THEREFORE BE IT RESOLVED THAT:

The State Water Resources Control Board approves a grant not to exceed $125,000 from the Act’s CNPSC Subaccount for the first phase of construction of the Newport Bay Diversions and Surface Water Treatment Systems.

## CERTIFICATION

The undersigned, Clerk to the Board, does hereby certify that the forgoing is a full, true, and correct copy of a resolution duly and regularly adopted at a meeting of the State Water Resources Control Board held on February 19, 2002.

_______________________________

Maureen Marché

Clerk to the Board