STATE WATER RESOURCES CONTROL BOARD

BOARD MEETING SESSION -- DIVISION OF CLEAN WATER PROGRAMS

JUNE 6, 2002

### ITEM  10

# SUBJECT

APPROVAL OF A STATE REVOLVING FUND (SRF) LOAN FOR THE CITY OF REDLANDS (CITY) WATER RECLAMATION AND TREATMENT PLANT UPGRADE PROJECT (PROJECT); SRF LOAN PROJECT NO. C-06-4800-110

# DISCUSSION

In accordance with the State Water Resources Control Board's (SWRCB) Policy for Implementing the State Revolving Fund for Construction of Wastewater Treatment Facilities (Policy), adopted on February 16, 1995, and amended on June 18, 1998, projects on the adopted priority list need SWRCB approval to receive a SRF loan.  Loans can be approved by the SWRCB after the Division of Clean Water Programs (Division) has approved the facilities plan, including: (1) a project report, (2) environmental document, (3) draft revenue program, and (4) a water conservation plan or schedule for the local adoption of a water conservation plan.  On December 28, 2001, the Division approved all documents above by issuing Facilities Plan Approval (FPA) for the City’s Project.  The City agreed in writing with the Division’s FPA on February 22, 2002.  On March 4, 2002, the Division issued an amended FPA to reflect changes in the project design consistent with recommendations from the value engineering study, that the City agreed to implement.

The City has applied for a SRF loan to construct the Project.  The City submitted a complete application, facilities plan, and other information, making the application package complete.  The Division has reviewed the application package for the SRF loan and has determined that the proposed Project complies with the legal requirements and is a feasible alternative.

The total estimated project cost is $23.7 million, which includes the City’s share of $7 million for facilities planning, portions of the design and construction costs, purchase of land and rights-of-way, and contingencies.  For the estimated eligible construction cost of $19 million, the City requested financial assistance from the Division through the Water Recycling Construction Program (WRCP) and the SRF Loan Program.

On February 19, 2002, the SWRCB approved a funding commitment to the City for a WRCP grant of $5 million for the construction of the City’s Project.  In addition to the SWRCB’s approval of the WRCP grant, the City is requesting financial assistance of $6.7 million from the SRF loan program.  The SWRCB’s approval of the proposed $6.7 million SRF loan will complete the City’s total financial assistance request of $11.7 million.

The Project includes the construction of advanced wastewater treatment facilities at the existing wastewater treatment plant and the installation of a recycled water pipeline to a power generating facility.  The proposed project will augment State and local water supplies by producing approximately five million gallons per day (MGD) (5600 acre-feet/year) of recycled water.  The Project will also help achieve local watershed goals by reducing the amount of salts returned to local groundwater.

The City owns and operates the wastewater treatment facility proposed to be upgraded.  The facility was originally built in 1960.  Through upgrades, the facility’s capacity is 9.5 MGD. The plant currently receives an average dry weather flow of 6.5 MGD.  The existing treatment processes include primary and secondary clarification, activated sludge, anaerobic digestion, and disinfection of the secondary effluent.  Secondary effluent is currently discharged to percolation ponds approximately one half mile from the plant.  In order to provide recycled water to the nearby power plant, a tertiary treatment process will be added to the existing facilities.  The higher quality effluent will meet all Title 22 discharge requirements.

The City prepared a Mitigated Negative Declaration/Initial Study (MND/IS) for the proposed project, which was distributed for public review and circulated through the State Clearinghouse (State Clearinghouse No. 2001051046) from May 10, 2001, through June 8, 2001.  The City held a public meeting on July 10, 2001.  During the review period, the City received comments from three state agencies, two regional agencies, and one county agency.  The City considered the comments and made minor changes to the MND/IS in response to the comments.  The City’s Planning Commission approved the project and adopted the MND on July 10, 2001.  The City filed a Notice of Determination with the San Bernardino County Clerk and the Governor’s Office of Planning and Research on July 23, 2001.

The City has provided the Division with a schedule containing project milestones.  These dates are included in the Division’s FPA letter.  The Division recommends that December 31, 2002, be set as the deadline for the City to issue Notice-to-Proceed with the construction contact, or the preliminary loan commitment would be withdrawn.  The proposed resolution will also include a 90-day time extension from the December 31, 2002, deadline for good cause without further action by the SWRCB.

POLICY ISSUE

Should the SWRCB approve a preliminary SRF loan commitment of $6.7 million to the City?

Should the SWRCB condition this approval by requiring expiration of the preliminary SRF loan commitment if the City does not issue Notice-to-Proceed with the construction contact by December 31, 2002, with a 90-day extension for good cause, as determined by the Division?

# FISCAL IMPACT

The SWRCB adopted Resolution No. 99-40 on May 20, 1999, which changed the method for determining the amount of funding available for new SRF loans.  The adopted system is based on the availability of federal capitalization grants, cash from SRF loan repayments and miscellaneous SRF investment earnings and takes into consideration actual and forecast cash disbursements for approved SRF loans.  On February 19, 2002, the SWRCB approved increasing the authorized amount of the proposed revenue bonds to $300,000,000 if needed to maintain a positive cash flow in the SRF account.  A minimum cash balance of $25,000,000 will be maintained.  The SRF account balances, anticipated repayment amounts, and project approvals under consideration by the SWRCB in June 2002 as seen in Table 1:

Table 1 – Fiscal Impact Statement

|  | #### SFY | ### SFY | ## SFY |
| --- | --- | --- | --- |
|  | 2001-02 | 2002-03 | 2003-04 |
|  | _________________ | _________________ | _________________ |
| Beginning Balance: | $369,609,069 | $612,881,211 | $197,563,648 |
| Est. Repayments: | $104,820,486 | $118,590,389 | $150,048,523 |
| Est. Revenue Bonds | $267,000,000 | $0 | $0 |
| Est. Revenue Bond Debt Service | $0 | -$12,240,593 | -$14,123,761 |
| Cap Grants | $99,001,830 | $63,800,000 | $0 |
| Est. SMIF Interest; | $4,000,000 | $3,000,000 | $2,500,000 |
| Est. Disbursements | -$231,550,174 | -$525,493,359 | -$137,552,039 |
| Subtotal: | $612,881,211 | $260,537,648 | $198,436,371 |
| East Bay MUD 4303-110 |  | -$5,400,000 | -$4,000,000 |
| City of San Luis Obispo 4307-110 |  | -$5,000,000 | -$3,410,000 |
| Orange County WD 4462-110 |  | -$25,000,000 | -$25,000,000 |
| Vallejo S&FCD 4790-110 |  | -$15,000,000 | -$2,000,000 |
| Ventura Co. (Camarillo Airport) 4684-110 |  | -$1,700,000 |  |
| City of San Diego 4786-110 |  | -$3,600,000 |  |
| City of Redlands 4800-110 |  | -$6,700,000 |  |
| Garberville Sanitary District 4700-110 |  | -$574,000 |  |
| Balance: | $612,881,211 | $197,563,648 | $164,026,371 |

| #### SFY | #### SFY | #### SFY | #### SFY | #### SFY | #### SFY |
| --- | --- | --- | --- | --- | --- |
| 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 |
| _________________ | _________________ | _________________ | _________________ | _________________ | _________________ |
| $164,026,371 | $198,542,111 | $283,370,520 | $377,751,449 | $472,164,738 | $593,366,095 |
| $164,188,605 | $172,770,689 | $178,568,981 | $176,869,825 | $178,473,966 | $179,202,083 |
| $0 | $0 | $0 | $0 | $0 | $0 |
| -$34,201,914 | -$34,203,121 | -$34,204,971 | -$34,206,536 | -$32,572,609 | -$32,574,317 |
| $0 | $0 | $0 | $0 | $0 | $0 |
| $2,500,000 | $2,500,000 | $2,500,000 | $2,500,000 | $2,500,000 | $2,500,000 |
| -$68,970,951 | -$31,239,160 | -$27,483,080 | -$25,750,000 | -$25,000,000 | -$17,000,000 |
| $227,542,111 | $308,370,519 | $402,751,449 | $497,164,738 | $595,566,095 | $725,493,861 |
| -$4,000,000 |  |  |  |  |  |
| -$25,000,000 | -$25,000,000 | -$25,000,000 | -$25,000,000 | -$2,200,000 |  |
| $198,542,111 | $283,370,519 | $377,751,449 | $472,164,738 | $593,366,095 | $725,493,861 |

RWQCB IMPACT

The City’s existing treatment plant discharge lies within the Santa Ana Regional Water Quality Control Board’s jurisdiction.  Once the proposed project becomes operational, a portion of the City’s plant effluent will be delivered to the local power plant as recycled water.  The City will continue discharging the remaining effluent to the percolation ponds under the current Waste Discharge Requirements, Order No. 98-54.

STAFF RECOMMENDATION

Staff recommends that the SWRCB adopt a resolution approving: (1) a preliminary SRF loan commitment of $6.7 million for the City’s Project, (2) a condition to withdraw this preliminary SRF loan commitment if the City does not issue Notice-to-Proceed with the construction contact by December 31, 2002, with a 90-day extension for good cause without further action by the SWRCB.

DRAFT   May 20, 2002

STATE WATER RESOURCES CONTROL BOARD

RESOLUTION NO. 2002-

APPROVAL OF A STATE REVOLVING FUND (SRF) LOAN

FOR THE CITY OF REDLANDS (CITY); WATER RECLAMATION AND TREATMENT PLANT UPGRADE PROJECT (PROJECT); SRF LOAN PROJECT NO. C-06-4800-110

WHEREAS:

- The State Water Resources Control Board (SWRCB), on February 16, 1995, adopted the Policy for Implementing the State Revolving Fund for Construction of Wastewater Treatment Facilities, and revised it on June 18, 1998;

- The SWRCB, on June 21, 2001, adopted the state fiscal year 2001/2002 SRF Loan Program Priority List which included the Water Reclamation and Treatment Plant Upgrade Project for the City in the fundable Priority Category IC;

- The Division of Clean Water Programs (Division) has reviewed the SRF loan application and supporting documents, and issued a Facilities Plan Approval (FPA) letter on December 28, 2001 and a subsequent FPA letter on March 4, 2002.

- On February 19, 2002, the SWRCB adopted Resolution No. 2002-027, approving a Water Recycling Construction Program Grant of $5 million as part of the financial assistance request by the City.  To complete the Project, the City has requested additional funding assistance of $6.7 million through the SRF loan program; and

- The City has adopted a Mitigated Negative Declaration (State Clearinghouse No. 2001051046) prepared for the project, which has been reviewed and considered and it has been determined that the project will not result in any significant environmental impacts.

THEREFORE BE IT RESOLVED THAT:

The State Water Resources Control Board:

- Approves a State Revolving Fund (SRF) loan of $6.7 million from the state fiscal year 2002 account for the City’s Project, with a repayment period of 20 years, and the first repayment due one year after completion of construction;

- Will withdraw this preliminary SRF loan commitment if the City does not issue Notice-to-Proceed with the construction contact by December 31, 2002.  The Division may approve up to a 90-day extension for good cause;

- Requires, as a condition of loan approval, that mitigation measures for water quality, specified in the Environmental Impact Report prepared by the City, be implemented; and

- The Project Performance Standards will be based on Waste Discharge Requirements.

CERTIFICATION

The undersigned, Clerk to the Board, does hereby certify that the foregoing is a full, true, and correct copy of a resolution duly and regularly adopted at a meeting of the State Water Resources Control Board held on June 20, 2002.

____________________________

Maureen Marché

Clerk to the Board

Est. Repayments and Est. Disbursements include existing loans and future loans with approved commitments only.  These figures change monthly as actual activity occurs and agency estimates change.

EPA Capitalization Grants of $85,346,405 for SFY 2001-02 and $55,000,000 for SFY 2002-03 are forecast.  Estimate shown includes 20% state match and 4% set-aside for administration.