STATE WATER RESOURCES CONTROL BOARD

BORAD MEETING SESSION - DIVISION OF WATER QUALITY

APRIL 30, 2003

ITEM 5

SUBJECT

APPROVAL OF THE FINAL REPORT OF THE COLORADO RIVER BASIN SALINTIY CONTROL FORUM TITLED “2002 REVIEW – WATER QUALITY STANDARDS FOR SALINITY - COLORADO RIVER SYSTEM” (2002 TRIENNIAL REVIEW) DATED OCTOBER, 2002

DISCUSSION

Section 303 of the Federal Clean Water Act requires that water quality standards be reviewed at least once every three years and revised as appropriate.  Salinity standards (referred to as water quality objectives in California) for the Colorado River and a plan of implementation designed to achieve the objectives were recommended beginning in 1975 by the seven states in the Colorado River Basin (Basin) through the Colorado River Basin Salinity Control Forum (Forum), established under the federal Colorado River Basin Salinity Control Act (P.L. 93-320).

The objectives and plan of implementation were reviewed and updated, as necessary, in 1978 and every three years thereafter.  No revisions to the salinity objectives have resulted from the past Triennial Reviews.

In 2002, the Forum again reviewed the State-adopted and U.S. Environmental Protection Agency (USEPA)-approved numeric salinity objectives and plan of implementation for salinity control for the Colorado River System.  Changes in hydrologic conditions and water use within the Basin and salinity flow relationships were evaluated, and the plan of implementation was updated.  The plan of implementation, as set forth in the 2002 Triennial Review, includes a number of federal and nonfederal measures to maintain the adopted salinity objectives while the Basin states continue to develop their compact-apportioned waters.  The objectives and implementation plan recommended by the Forum include:

- Numeric water quality objectives for salinity at three locations in the Basin (below Hoover Dam [723 mg/l], below Parker Dam [747 mg/l], and at Imperial Dam [879 mg/l]).

- A plan of implementation including:

- Completion of salinity control projects by USBR, USDA and BLM.

- Implementation of Forum policies for effluent limitations under the NPDES permit program.

- Implementation of nonpoint source management plans developed by the states and approved by USEPA.

An amendment to the NPDES policy was adopted by the Forum in 2002 to address three additional types of industrial discharge: (1) water that has been used for once-through noncontact cooling water purposes; (2) new industrial sources having multiple points of discharge; and (3) fresh water industrial discharges where the discharge does not cause or contribute to exceedances of salinity standards.

The Executive Summary of the 2002 Triennial Review is included as an attachment to this item.  The full text of the 2002 Review (173 pages) is available on the web site of the Colorado River Board of California at http://www.crb.ca.gov/reports.html.

Five public meetings were held in August and September 2002 by the Forum to review and receive comments on the 2002 Triennial Review.  Meetings were held in Rock Springs, Wyoming; Montrose, Colorado; Price, Utah; Farmington, New Mexico and Phoenix, Arizona.  Responses to oral and written comments are appended to the 2002 Triennial Review.

POLICY ISSUE

Should the SWRCB:

- Approve the 2002 Triennial Review of the Colorado River salinity objectives and plan of implementation?

- Direct staff to submit the approved 2002 Triennial Review to USEPA pursuant to Section 303 of the Federal Clean Water Act?

# FISCAL IMPACT

This activity is budgeted within the existing program, and no additional fiscal

requirements will occur as a result of approving this item.

RWQCB IMPACT

Yes. RWQCBs 4, 7, 8, and 9.

STAFF RECOMMENDATION

That the SWRCB:

- Approve the 2002 Triennial Review of the Colorado River salinity objectives and plan of implementation.

- Direct staff to submit the approved 2002 Triennial Review to USEPA pursuant to section 303 of the Federal Clean Water Act.

### STATE WATER RESOURCES CONTROL BOARD

RESOLUTION NO. 2003-

APPROVING THE FINAL REPORT OF THE COLORADO RIVER BASIN SALINITY CONTROL FORUM TITLED "2002 REVIEW - WATER QUALITY STANDARDS FOR SALINITY - COLORADO RIVER SYSTEM" (2002 TRIENNIAL REVIEW) DATED OCTOBER, 2002

WHEREAS:

- In 1975, the seven Colorado River Basin States, including California, established water quality standards (objectives) for salinity for the Colorado River.

- Section 303 of the Federal Clean Water Act mandates that water quality standards be reviewed and revised, as necessary, at least once every three years.

- The seven-state Colorado River Basin Salinity Control Forum (Forum) reviewed the 1975 state-adopted and U.S. Environmental Protection Agency (USEPA)-approved standards in 1978 and every three years thereafter and concluded that the existing salinity standards were adequate.

4.	 The Forum conducted a review in 2002 and adopted a report which updated the plan of implementation and reaffirmed the adequacy of existing numeric standards.  The report is titled “2002 Review—Water Quality Standards for Salinity—Colorado River System” (2002 Triennial Review) dated October 2002.

5.	The State Water Resources Control Board (SWRCB) held a Public Hearing on April 1, 2003 regarding the 2002 Triennial Review.

THEREFORE BE IT RESOLVED THAT:

The State Water Resources Control Board:

1.	Approves the 2002 Triennial Review of the Colorado River salinity objectives and plan of implementation; and

2.	Directs staff to submit the approved 2002 Triennial Review to USEPA pursuant to section 303 of the Federal Clean Water Act.

### CERTIFICATION

The undersigned, Clerk to the Board, does hereby certify that the foregoing is a full, true, and correct copy of a resolution duly and regularly adopted at a meeting of the State Water Resources Control Board held on April 30, 2003.

_____________________________________

Maureen Marché

## Clerk to the Board