August 18, 2003

STATE WATER RESOURCES CONTROL BOARD

BOARD MEETING—OFFICE OF CHIEF COUNSEL

SEPTEMBER 16, 2003

# ITEM 11

## SUBJECT

IN THE MATTER OF THE REVIEW ON OWN MOTION OF WASTE DISCHARGE REQUIREMENTS ORDER NO. R4-2002-0142 [NPDES NO. CA0053716] FOR WHITTIER NARROWS WATER RECLAMATION PLANT, ISSUED BY THE CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD, LOS ANGELES REGION.

SWRCB/OCC FILES A-1509 AND A-1509(a)

## LOCATION

Los Angeles

## DISCUSSION

On July 16, 2003, the State Water Resources Control Board (State Board) adopted Order WQO 2003-0009 on petitions filed by County Sanitation District No. 2 of Los Angeles County (District) and Bill Robinson.  The petitioners had asked the State Board to review a permit and time schedule order issued by the Los Angeles Regional Water Quality Control Board to the District for its Whittier Narrows Water Reclamation Plant.  In Order WQO 2003-0009 the State Board stated its intent to review one issue raised by the District concerning numeric chronic toxicity limits at a later date.

The draft order addresses this remaining issue.  The draft order follows the State Board’s direction in a related order on District permits for the Long Beach and Los Coyotes Water Reclamation Plants.  In that order the State Board has proposed to replace the numeric chronic toxicity limit with a narrative limit, add a reopener clause, and make corresponding changes in the monitoring program for each permit.  This draft order makes the same changes in the Whittier Narrows permit.  The State Board intends to consider the issue more fully at a later date in a rulemaking proceeding in order to allow full public participation and discussion.

## POLICY ISSUE

Should the State Board adopt the draft order revising the chronic toxicity provisions in the permit?

## FISCAL IMPACT

None.

## RWQCB IMPACT

None.

## STAFF RECOMMENDATION

Adopt the draft order.

STATE OF CALIFORNIA

STATE WATER RESOURCES CONTROL BOARD

ORDER WQO 2003-

In the Matter of the Review on Own Motion of

Waste Discharge Requirements Order No. R4-2002-0142 [NPDES No. CA0053716]

# WHITTIER NARROWS WATER RECLAMATION PLANT

Issued by the

California Regional Water Quality Control Board,

Los Angeles Region

SWRCB/OCC FILES A-1509 AND A-1509(a)

BY THE BOARD:

On July 16, 2003, the State Water Resources Control Board (State Board or Board) adopted WQO (Water Quality Order) 2003-0009 on petitions filed by County Sanitation District No. 2 of Los Angeles County (District) and Bill Robinson.  The petitions sought State Board review of waste discharge requirements and a time schedule order issued by the Los Angeles Regional Water Quality Control Board (Regional Board) to the District for its Whittier Narrows Water Reclamation Plant.  In the order the Board stated its intent to review on its own motion at a later date one issue raised by the District.  The issue concerns the propriety of numeric effluent limitations for chronic toxicity.

In WQO 2003-XXXX adopted on _______________, the Board concluded that this issue is best addressed through a rulemaking in order to allow full public participation and deliberation.  The Board intends to modify the Policy for Implementation of Toxics Standards f
or Inland Surface Waters, Enclosed Bays, and Estuaries of California (2000) to specifically address the issue.  In the meantime, in WQO 2003-XXXX, the Board modified the District’s permits for its Long Beach and Los Coyotes Water Reclamation Plants to replace the numeric chronic toxicity limits with narrative limits.  The Board also added reopener provisions stating that the Regional Board may reopen the permits to include limits for specific pollutants causing toxicity or numeric chronic toxicity limits under certain circumstances.  The Whittier Narrows

permit contains similar chronic toxicity provisions; therefore, the Board will make the same changes to the Whittier Narrows permit.

ORDER

IT IS HEREBY ORDERED that the Whittier Narrows permit in 
Order R4-2002-0142 is revised as follows:

1.	Effluent Limitation A.12.b is deleted and replaced with:  “There shall be no chronic toxicity in the effluent discharge.”

2.	The following provision is added as Effluent Limitation A.12.e:

“This permit may be reopened to include effluent limitations for pollutants found to be causing chronic toxicity and to include numeric chronic toxicity effluent limitations based on direction from the State Board or failure of the District to comply fully with the TIE/TRE requirements.”

3.	Provision VI. D.2.e of Monitoring and Reporting Program No. C1-2848 is revised to substitute “the trigger in Effluent Limitation A.12.c” for “the limitation.”

CERTIFICATION

The undersigned, Clerk to the Board, does hereby certify that the foregoing is a full, true, and correct copy of an order duly and regularly adopted at a meeting of the State Water Resources Control Board held September 16, 2003.

AYE:

NO:

ABSENT:

ABSTAIN:

DRAFT

Debbie Irvin

Clerk to the Board