#### ITEM 10

#### JULY 22, 2004 SWRCB MEETING, CONSIDERATION OF A RESOLUTION APPROVING AN EXCEPTION TO THE CALIFORNIA OCEAN PLAN (OCEAN PLAN) FOR THE UNIVERSITY OF CALIFORNIA SCRIPPS INSTITUTION OF OCEANOGRAPHY

ERRATA, as of July 19, 2004

Change Whereas 10 as follows:

The discharge of copper when used as a treatment additive in the UCSD/SIO open seawater system is undesirable and should be eliminated.

Change Whereas 13 as follows:

The Regional Board Executive Officer has concluded, and the State Board concurs, that if the proposed discharge of wastewater complies with the conditions to be set forth in the NPDES permit, it will not adversely impact biological communities in the ASBS nor will it compromise protection of ocean waters for beneficial uses.

Change Whereas 19 as follows:

The exception will be reviewed during the Triennial Review of the Ocean Plan.  If the State Board finds cause to revoke or re-open this exception for any reason, it may do so during the Triennial Review or at any other time that it so desires.

Change Resolved 3.a. as follows:

The discharge must comply with all other applicable provisions, including water quality standards, of the Ocean Plan. Natural water quality conditions in the receiving water, seaward of the surf zone, must not be altered as a result of the discharge.  The surf zone is defined as the area between the breaking waves and the shoreline at any one time. Natural water quality will be defined, based on a review of the monitoring data, by an advisory committee created by the Chief of the Division of Water Quality of the State Board, and composed of State and Regional Board staff, a representative from UCSD/SIO, and two scientists selected by Regional Board staff from some other academic organizations other than UCSD/SIO. At a minimum the advisory committee must meet annually to review the monitoring data and to advise the Regional Board whether or not natural water quality is being altered in the ASBS as a result of the UCSD/SIO discharges.

Change Resolved 3.p as follows:

If the results of receiving water monitoring indicate that wet weather discharges that include storm water are causing or contributing to an alteration of natural water quality  in the ASBS, UCSD/SIO is required to submit a report to the Regional Board within 30 days.  Those constituents in storm water that alter natural water quality must be identified in that report.  The report must describe BMPs that are currently being implemented, BMPs that are planned for in the SWMP, and additional BMPs that may be added to the SWMP.  The report shall include a new or modified implementation schedule.  The Regional Board may require modifications to the report.  Within 30 days following approval of the report by the Regional Board, UCSD/SIO must revise its SWMP to incorporate any new or modified BMPs that have been and will be implemented, the implementation schedule, and any additional monitoring required. Implementation of BMPs must be within one year of the approval by the Regional Board of the revised SWMP.  The Regional Board may, for good cause, approve a longer time period for structural BMPs.In any event a schedule longer than one year must be as short as practicable, as determined by the Regional Board.  As long as UCSD/SIO has complied with the procedures described above and is implementing the revised SWMP, then UCSD/SIO does not have to repeat the same procedure for continuing or recurring exceedances of the same constituent.

Add after Resolved 5 and before the Certification:

IT IS FURTHER RESOLVED THAT this exception shall expire at the end of the five-year term of the Scripps permit that incorporates the conditions in this resolution.