| mcl | reporting units | Chemical | Entry # | Analyses Results | DLR |
| --- | --- | --- | --- | --- | --- |
|  | mg/L | Hardness, (Total) as CACO3 | 00900 |  |  |
|  | mg/L | Calcium (Ca) | 00916 |  |  |
|  | mg/L | Magnesium (Mg) | 00927 |  |  |
|  | mg/L | Sodium (Na) | 00929 |  |  |
|  | mg/L | Potassium (K) | 00937 |  |  |
| Total Cations | me/L | Value: |  |  |  |
|  | mg/L | Alkalinity, (Total) (as CaCO3 equivalents) | 00410 |  |  |
|  | mg/L | Hydroxide (as OH) | 71830 |  |  |
|  | mg/L | Carbonate (as CO3) | 00445 |  |  |
|  | mg/L | Bicarbonate (as HCO3) | 00440 |  |  |
| * | mg/L + | Sulfate (SO4) | 00945 |  | 0.5 |
| * | mg/L + | Chloride | 00940 |  |  |
| 45 | mg/L | Nitrate (NO3) | 71850 |  | 2. |
| 2.0 | mg/L | Fluoride (F) (Natural-Source) | 00951 |  | 0.1 |
| Total Anions | me/L | Value: |  |  |  |
|  | Std Units + | pH, Laboratory | 00403 |  |  |
| ** | umhos + | Specific Conductance (E.C.) | 00095 |  |  |
| *** | mg/L + | Total Filterable Residue @ 180 C (TDS) | 70300 |  |  |
| 15 | UNITS | Color, Apparent (Unfiltered) | 00081 |  |  |
| 3 | TON | Odor Threshold @ 60 C | 00086 |  | 1. |
| 5 | NTU | Turbidity, Laboratory | 82079 |  |  |
| 0.5 | mg/L + | MBAS | 38260 |  |  |
| 1000 | ug/L | Aluminum (Al) | 01105 |  | 50. |
| 6 | ug/L | Antimony | 01097 |  | 6. |
| 10 | ug/L | Arsenic (As) | 01002 |  | 2. |
| 1000 | ug/L | Barium (Ba) | 01007 |  | 100. |
| 4 | ug/L | Beryllium | 01012 |  | 1. |
| 5 | ug/L | Cadmium (Cd) | 01027 |  | 1. |
| 50 | ug/L | Chromium (Total Cr) | 01034 |  | 10. |
| 1000 | ug/L + | Copper (Cu) | 01042 |  | 50. |
| 300 | ug/L + | Iron (Fe) | 01045 |  | 100. |
|  | ug/L | Lead (Pb) | 01051 |  | 5. |
| 50 | ug/L + | Manganese (Mn) | 01055 |  | 20. |
| 2 | ug/L | Mercury (Hg) | 71900 |  | 1. |
| 100 | ug/L | Nickel | 01067 |  | 10. |
| 50 | ug/L | Selenium (Se) | 01147 |  | 5. |
| 100 | ug/L + | Silver (Ag) | 01077 |  | 10. |
| 2 | ug/L | Thallium | 01059 |  | 1. |
|  | ug/L | Uranium | 28011 |  | 1. |
| 5000 | ug/L | Zinc (Zn) | 01092 |  | 50. |
|  |  | # ADDITIONAL ANALYSES |  |  |  |
|  | NTU | Field Turbidity | 82078 |  |  |
|  | C | Source Temperature | 00010 |  |  |
|  |  | Langelier Index at Source Temp. | 71814 |  |  |
|  |  | Langelier Index at 60 C | 71813 |  |  |
|  | Std Units | Field pH | 00400 |  |  |
|  |  | Aggressiveness Index | 82383 |  |  |
|  | mg/L | Silica | 00955 |  |  |
|  | mg/L | Phosphate (as PO4) | 00650 |  |  |
|  | mg/L | Phosphate, Ortho (as PO4) | 00660 |  |  |
|  | mg/L | Iodide | 71865 |  |  |
|  |  | Sodium Absorption Ratio | 00931 |  |  |
| 7 | MFL | Asbestos (*) | 81855 |  | .2 |
|  | ug/L | Boron | 01020 |  | 100. |
| 10,000 | ug/L | Nitrate + Nitrite as Nitrogen (N) | A-029 |  | 400. |
| 1,000 | ug/L | Nitrite as Nitrogen (N) | 00620 |  | 400. |
|  | mg/L | Fluoride (Treatment Related-Distribution) | A-035 |  | .1 |
| 150 | ug/L | Cyanide | 01291 |  | 100. |
|  | mg/L | Ammonia | 00612 |  |  |
|  | ug/L | Lithium | 01132 |  |  |
|  | mg/L | Bromide | 82298 |  |  |
| 10 | ug/L | Bromate | A-027 |  | 5.0 |
|  | ug/L | Carbon Dioxide | 77000 |  |  |
|  | ug/L | Molybdenum | 01062 |  |  |
|  | ug/L | Vanadium | 01087 |  | 3. |
|  | mg/L | Hydrogen Sulfide | 71875 |  |  |
|  | mg/L | Sulfide | 00745 |  |  |
|  | ug/L | Cobalt | 01035 |  |  |
| 6 | ug/L | Perchlorate | A-031 |  | 4. |
|  | ug/L | Chlorate | A-037 |  | 20. |
|  | mg/L | Chlorine Dioxide | 50070 |  |  |
| 1.0 | mg/L | Chlorite | 50074 |  | .020 |
|  | mg/L | Total Organic Carbon (TOC) | 00680 |  | .30 |
|  | ug/L | Chromium, hexavalent (CrVI) | 01032 |  | 1. |

+   Indicates Secondary Drinking Water Standards

Laboratory Comments and Description of Additional Components Found (Comments in this section are for Client Information only and will NOT be transmitted to CDPH via EDT): ____________________________ ____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________