Instructions for Tier 2 GWR Failure to Maintain 4-log Treatment of Viruses Template

Template Attached

A ground water system’s failure to maintain required 4-log treatment of viruses for a period greater than four hours is a treatment technique violation that requires Tier 2 notification.  As soon as practical, but within 30 days of learning of the violation, you must provide public notice to persons served [40 CFR 141.203(b)].  Each water system required to give public notice must submit the notice to the DDW for approval prior to distribution or posting, unless otherwise directed by DDW [64463(b)].  You must issue a repeat notice every three months for as long as the violation persists.

## Notification Methods

Community systems must use one of the following methods [40 CFR 141.203(c)]:

• Hand or direct delivery

• Mail, as a separate notice or included with the bill

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

• Posting in conspicuous locations

• Hand delivery

• Mail

In addition, both community and noncommunity systems must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].  Such methods could include newspapers, e-mail, or delivery to community organizations.  If you mail, post, or hand deliver, print your notice on your system’s letterhead, if available.

The notice attached is appropriate for hand delivery or a newspaper notice.  However, you may wish to modify it before using it for radio, TV, or posting.  If you do, you must still include all required Public Notification elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

#### Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q of Part 141) must be included as written (with blanks filled in) and is presented in this notice in italics.

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)].  This language is also presented in this notice in italics.

#### Multilingual Requirement

The notice must (1) be provided in English, Spanish, and the language spoken by any non-English-speaking group exceeding 10 percent of the persons served by the water system and (2) include a telephone number or address where such individuals may contact the water system for assistance.

If any non-English-speaking group exceeds 1,000 persons served by the water system, but does not exceed 10 percent served, the notice must (1) include information in the appropriate language(s) regarding the importance of the notice and (2) contain the telephone number or address where such individuals may contact the water system to obtain a translated copy of the notice from the water system or assistance in the appropriate language.

### Population Served

Make sure it is clear who is served by your water system -- you may need to list the areas you serve.

### Corrective Action

In your notice, describe corrective actions you are taking.  Listed below are some steps commonly taken by water systems with Ground Water Rule treatment technique violations.  Use one or more of the following actions, if appropriate, or develop your own:

- “We are increasing disinfection to maintain our proper residual levels.”

- “We are pursuing improvements to our treatment system so that we can maintain required treatment at all times.”

## Repeat Notices

## For repeat notices, you should state how long the violation has been occurring and remind consumers of when you sent out any previous notices.  If you are taking steps to ensure you are maintaining 4-log treatment for viruses, describe them.  Alternatively, if you are having issues maintaining 4-log treatment, let consumers know.

## After Issuing the Notice

Send a copy of each type of notice, along with certification that you have met all the public notice requirements, to the DDW within ten days after you issue the notice [40 CFR 141.31(d)].  You should also issue a follow-up notice in addition to meeting any repeat notice requirements the DDW sets.

It is recommended that you notify health professionals in the area of the violation.  People may call their doctors with questions about how the violation may affect their health, and the doctors should have the information they need to respond appropriately.

It is a good idea to issue a “problem corrected” notice when the violation is resolved.

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Este informe contiene información muy importante sobre su agua potable.

Tradúzcalo o hable con alguien que lo entienda bien.

[System] Failure to Meet Treatment Requirements

Our water system recently violated a drinking water requirement.  Although this incident was not an emergency, as our customers, you have a right to know what happened and what we did (are doing) to correct this situation.

We are required to [treat/disinfect] our drinking water source, [name source].  From [give date] to [give date] we did not meet one or more of our treatment requirements to [provide sufficient levels of disinfectant/provide adequate contact time/meet alternative treatment criteria] due to [describe issue, e.g., malfunctioning equipment].

What should I do?

- This is not an emergency.  If it had been, you would have been notified within 24 hours.

Inadequately treated water may contain disease-causing organisms.  These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors.  If you experience any of these symptoms and they persist, you may want to seek medical advice.

While we have not detected any evidence of contamination in, or other health threats to, our source water, we are still committed to restoring the required level of treatment to the water from [source] to eliminate the threat of contamination.

- There is nothing you need to do.  You do not need to boil your water or take other corrective actions.  However, if you have specific health concerns, consult your doctor.

- People with severely compromised immune systems, infants, and some elderly may be at increased risk.  These people should seek advice about drinking water from their health care providers.  General guidelines on ways to lessen the risk of infection by microbes are available from U.S. EPA’s Safe Drinking water Hotline at 1(800) 426-4791.

What happened?  What is being done?

[Describe corrective action.]  We anticipate resolving the problem within [estimate time frame]. OR

The problem was resolved on [give date].

For more information, please contact [name of contact] at [phone number] or [mailing address].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this public notice in a public place or distributing copies by hand or mail.

Secondary Notification Requirements

Upon receipt of notification from a person operating a public water system, the following notification must be given within 10 days [Health and Safety Code Section 116450(g)]:

- SCHOOLS: Must notify school employees, students, and parents (if the students are minors).

- RESIDENTIAL RENTAL PROPERTY OWNERS OR MANAGERS (including nursing homes and care facilities):  Must notify tenants.

- BUSINESS PROPERTY OWNERS, MANAGERS, OR OPERATORS:  Must notify employees of businesses located on the property.

This notice is being sent to you by [system].

State Water System ID#: ___________.  Date distributed: ___________.