## Scheduling Tool
This tool applies to laboratories in California with a standard 2-year certificate only.
Current certificate expiration date: |  |  | <Enter your expiration here!
<Enter your renewal fee here!
On-site Assessment (OSA) Time Frame:
Acceptable date range: | 693264 | through | -90
ELAP recommends contacting ELAP/TPA to schedule OSA: |  |  |  | Aug 3798 | through | Nov 1898
ELAP's recommendation for when the OSA should occur: |  |  |  | January 1899 | through | Apr 1899
Remember: If you wait to have your assessment, your certificate WILL expire by operation of law.
Schedule the Assessment EARLY! Both ELAP and TPAs have a lead time. Do not wait to schedule!
See Additional OSA guidance below for timeline information.
Proficiency Testing (PT) Time Frame:
Year 1 PT acceptable range: |  | 693264 | through | 693597
Year 2 PT acceptable range: |  | 693598 | through | -90
PT close date with acceptable scores MUST fall in this time range. If your close date exceeds this
timeframe, your application WILL be late, and you will be charged a late fee. Choose a time that
works with your schedule and provides enough time to repeat a PT if it fails.
Fee if cert has
Application Due Dates: |  |  |  |  | Late fee: | has expired:
Last day to submit renewal application without a late fee: |  |  |  | -90 | 0 | 0
ELAP's recommendation to submit renewal application: |  |  |  | -120
The application submittal date is when a complete application is submitted. If the application is
incomplete, it is not counted as submitted!
Additional OSA Guidance
Plan ahead! Here is how long the OSA process could take:
OSA takes 2-5 days on-site to complete
Lab receives assessment report: |  |  |  | 30 days after assessment
Lab responds with Corrective Action Plan (CAP): |  |  |  | 30 days after report received
Assessment agency reviews CAP: |  |  |  | 30 days after CAP received
Lab corrects any "not approved" responses in CAP: |  |  |  | 30 days after CAP denied
Assessment agency reviews CAP2: |  |  |  | 30 days after CAP2 submitted
TOTAL |  |  |  | 5 months after assessment
HELPFUL LINKS
APPLICATION | ASSESSMENTS |  | PROFICIENCY TESTS | FAQs | ELAP YouTube
Disclaimer: If your laboratory has an interim certificate, this tool may provide misleading information. This tool is
guidance only and does not change or substitute any legal requirement. While ELAP has made every effort to ensure
accuracy, the obligations of the regulated community are determined by the relevant statutes and regulations.

## CALC (hidden)
Descriptor | Date | Month | Day | Year | Months | Calc Explain | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Expiration Date | 0 | 1 | 0 | 1900 |  | copy of User Input | January | February | March | April | May | June | July | August | September | October | November | December
Estimated Issue Date | 693264 | 2 | 1 | 1898 |  | Calculate issue date to be first of month 2 years ago
APP-No late fee | -90 | 10 | 1 | 1899 |  | Calculate 90 days prior to expiration date
Year 1 end | 693597 | 1 | 0 | 1899 |  | Calculate to be 1 year before expiration date
Year 2 start | 693598 | 1 | 1 | 3799 |  | Calculate to be Year1end + 1 day | 1 January: M + Y; 2 February: Formatted
PT1 recommend | 693356.5 | 5 |  | 3798 | May | Recommended Date: ~3 months after Issue Date | 1 January: May 3798; 2 February: May 3798
PT2 recommend | -210 | 6 |  | 1899 | June | Recommended Date: ~4 months prior to Application Deadline | 1 January: June 1899; 2 February: Jun 1899
OSA Date recommend | 693598 | 1 | 1 | 1899 | January | Recommended Date: Near beginning of Year 2 | 1 January: January 1899; 2 February: January 1899
Last OSA date | -270 | 4 | 1 | 1899 | April | Recommended Date: 6 months prior to Application Deadline | 1 January: April 1899; 2 February: Apr 1899
OSA Schedule | 693418 | 7 | 1 | 3798 | August | Recommended Date: 6 months prior to OSA date reccomendation | 1 January: August 3798; 2 February: Aug 3798
Last OSA schedule | -450 | 10 | 2 | 1898 | November | Recommended Date: 6 months prior to Last OSA date reccomendation | 1 January: November 1898; 2 February: Nov 1898
App - Rec submit | -120 | 9 | 1 | 1899 |  | Recommended Date: 1 month prior to Application Deadline
Formulas:
Date = DATE([Year],[Month],[Day])
Date = [Date, row above]+1