Long Term 2 Enhanced Surface Water Treatment Rule (LT2) E. Coli Sampling Plan

System Name: 							System Number:

E. coli samples must be collected every two weeks from the raw water supply for each surface water treatment plant and analyzed with an enumeration method. Samples must be collected before any treatment.  If combined sources cannot be sampled before treatment, each source must be sampled.  Results must be reported in Most Probable Number (MPN) and submitted by the lab by the tenth day of the month following the month of sampling to the Division of Drinking Water.  Complete one sheet for each treatment plant and/or source to be sampled.

Treatment Plant: ___________________________________________________________________________

Source Name:					   Source type:  	 Lake/Reservoir    Stream    GWUDI(1)

Source Name:					   Source type:  	 Lake/Reservoir    Stream    GWUDI(1)

Source Name:					   Source type:  	 Lake/Reservoir    Stream    GWUDI(1)

(1) Ground Water Under the Direct Influence of Surface Water

Sample Dates(2)

| Oct 2017 | Nov 2017 | Dec 2017 | Jan 2018 | Feb 2018 | Mar 2018 |
| --- | --- | --- | --- | --- | --- |
| Apr 2018 | May 2018 | Jun 2018 | Jul 2018 | Aug 2018 | Sep 2018 |

(2) Samples may be collected two days before or after the scheduled sampling date

If more than one source is used for this treatment plant, designate the months each source will be used in table below:

| Month | Sources | Month | Sources |
| --- | --- | --- | --- |
| Oct 2017 |  | Nov 2017 |  |
| Dec 2017 |  | Jan 2018 |  |
| Feb 2018 |  | Mar 2018 |  |
| Apr 2018 |  | May 2018 |  |
| Jun 2018 |  | Jul 2018 |  |
| Aug 2018 |  | Sep 2018 |  |

Sampling Location Worksheet

| Water Treatment Plant Name: |  | Water System Facility ID: |  |
| --- | --- | --- | --- |

| Source Name: |  |  |
| --- | --- | --- |
| Source Type: Stream, Reservoir, or GWUDI |  |  |
| Source Water Sampling Location: Provide State Assigned Number |  |  |
| Usage: All or Part of Year, or Emergency |  |  |
| Proportion: Of Typical Average Daily Flow |  |  |
| Pretreatment Practices: Presedimentation, Bank Filtration, or Off Stream Storage |  |  |
| Recycling Practices: (If Applicable) Description and Return Flow Location |  |  |
| Chemical Pretreatment: Indicate Location on Plant Schematic |  |  |
| Sample Composting Procedure: (If Applicable) Blended Sample Tap, Composite Sample, or Weighted |  |  |

Name: __________________________________________________

Title: ___________________________________________________

Signature: ______________________________________________

Date: ___________________________________________________