CALIFORNIA DEPARTMENT OF PUBLIC HEALTH

PROPOSITION 84 FUNDING PROGRAM

P.O. Box 997377, MS 7408

Sacramento, CA 95899-7377

(916) 449-5600

Fax: (916) 449-5655

dwpfunds@cdph.ca.gov

PROPOSITION 84, SECTION 75021, PART 1 EMERGENCY

The Safe Drinking Water, Water Quality and Supply, Flood Control,

River and Coastal Protection Bond Act of 2006

APPLICATION GUIDELINES

Please review these application guidelines carefully, before completing the Proposition 84 (Prop 84) Section 75021, Part 1 Emergency Application for Grant Funding.  Contact the California Department of Public Health (CDPH) Prop 84 Funding Program or your local CDPH District Office if you need additional guidance.  You may also request assistance from technical assistance providers funded by CDPH.

Rural Community Assistance Corporation (RCAC), California Rural Water Association (CRWA), and Self-Help Enterprises (SHE)

A map of CDPH District Office and contact information is available at the following website: http://cdphinternet/services/funding/Documents/Prop84/Original_District_Map_w_FC.pdf

The application materials are available at:

http://www.cdph.ca.gov/services/funding/Pages/Prop84.aspx

NOTE: Under certain circumstances applications may be forwarded to the State Water Resources Control Board (SWRCB) for funding under its Cleanup and Abatement Account (CAA).  CAA funds have fewer restrictions than Prop 84 on the funding of operation and maintenance (O&M) costs and are not subject to Prop 84 labor compliance requirements.

You must submit completed application package to your local CDPH District Office. Applications will be processed in the order received.

- CONTACT INFORMATION/GRANT ADMINISTRATOR

- Enter the contact information of the Grant Administrator, including the name, title, telephone number, mailing address, and e-mail address.  This will be the person authorized to represent the public water system and to administer the Prop 84 funding agreement with CDPH.

- In order to expedite the delivery of essential documents, please provide an overnight mailing address.  The overnight mailing address must be a physical address.  Do not use a post office box.

- WATER SYSTEM INFORMATION

- Enter the Public Water System Name.  The name should match the name that appears on the domestic water supply permit issued by the local CDPH District Office or county.

- Enter the Public Water System Number.  The number is an assigned seven digit number identifying a public water system.  The number should match the number that appears on the domestic water supply permit issued by the local CDPH District Office or county.

- Enter the total number of active service connections that are currently and directly served by the public water system.  This includes all domestic, residential, industrial, commercial, and other connections.

- Estimate the population served on an average daily basis by the public water system.  When estimating the population served, make as close an approximation of the number of persons using data such as: census data, water use records, billing information, or direct conversion from service connections using a conversion factor of 2.8 persons per service connection.

- Check the box that represents the public water system’s ownership type.  The ownership type can be found in the water system’s formation documents or tax records.  The documents supporting the stated ownership type may be required prior execution of a funding agreement.

- PROJECT DESCRIPTION

- Describe the problem the public water system is experiencing.  Discuss the cause and duration of the problem.  Identify any actions that have been taken to address the problem.

- “Anthropogenic” is defined as caused by humans.  If you know the source of the contamination, please provide that information.

- Describe the proposed interim solution with as much detail as you can.  The description should include, but not be limited to, the initial installation cost and the monthly maintenance and monitoring costs for the proposed interim solution.  Examples of the proposed interim solution description: 

      “install   #    of Point-of-Use devices [manufacturer name/product name and number], including initial equipment costs of $____ per device and installation costs of $____ per device, and $____ per month per device for maintenance and monitoring”, or 

      “provide vended water from source name for   #   of months at   #   locations $____ per location per month including installation, monitoring and maintenance.

In the description, include a list of items that will be purchased, where they will be located, and how they will be serviced and maintained.

- Estimate the duration that the proposed interim solution is expected to be in place.

- Describe any permanent solutions that have been or are being pursued.  For example, an active ongoing Proposition 84 or Safe Drinking Water State Revolving Fund (SDWSRF) planning or construction project funded by CDPH, a project funded under another funding source, or other solution.

- Describe any equipment that will be leased or purchased for the proposed solution.  For example, leasing or purchasing a bottled water dispenser at each household, a treatment device for the public water system, or other necessary equipment for the solution.

Note: Monthly O&M costs for purchased equipment cannot be reimbursed using Prop 84 Part 1 Emergency funds.  If you are interested in being reimbursed for monthly O&M costs, the costs may be eligible for funding from the SWRCB’s CAA program.  Please contact your local CDPH District Office or the SWRCB CAA for more information.

- ESTIMATED TOTAL PROJECT COST

- Enter the total project cost.  This should be the cost of the entire project, including initial and ongoing costs, and including eligible and ineligible components.  Refer to the Prop 84, Section 75021 Emergency Criteria for details regarding eligible project costs.  The estimated project cost should also include any costs of planning the project and preparing the application.  These costs can be reimbursed only if the application is approved and a funding agreement is executed.

- Enter amount of Part 1 Emergency funds being requested.

- If the total project cost (Subsection D.1) is greater than Part 1 Emergency funds requested (Subsection D.2), identify any additional funds that will be used to fund this project.

NOTES:

After completion of the application review, CDPH will determine the final eligible funding amount.  CDPH will contact the applicant to discuss any significant changes that may arise from the review of the application.  CDPH may also determine that some project components are ineligible for funding.  In those instances, the applicant will have to remove those components from the project, or provide a separate source of funding.

- ELIGIBILITY INFORMATION

- Enter the Annual Median Household Income (Annual MHI) for your service area.  The Annual MHI should be based on all residential customers within the water service area served by the public water system and should be based on verifiable information from substantiated sources (e.g., information provided in an existing SDWSRF application, census data, income survey, the most recent tax form, or other verifiable document).  In order to be eligible for Part 1 Emergency grant funding, a public water system must be a severely disadvantaged community as defined in the criteria.

- Enter the pre-application number that was assigned to your project by the SDWSRF program when the submission of the pre-application was confirmed.  In order to be eligible for Prop 84 Part 1 Emergency grant funding, a public water system must have submitted a pre-application.  Your local CDPH District Office can provide this information.

- Enter the ten-digit project number assigned to your project by the SDWSRF program when it was ranked on the SDWSRF project priority list (PPL).  The PPL is available at this website: http://www.cdph.ca.gov/services/funding/Pages/SRF.aspx.  In order to be eligible for Prop 84 Part 1 Emergency grant funding, the proposed project must be ranked on the PPL.  Your local CDPH District Office can provide this information.

- Identify any other funding sources that the public water system has applied for to solve the proposed project ranked on the SDWSRF Project Priority List.

Provide explanation of the current financial status of the public water system.  The explanation should include, but not limited to, the average monthly water charge of all existing consumers, the total amount of cash reserves, and the current operations and maintenance costs of the public water system.

Provide explanation of how the public water system will provide notification to their customers of the availability of alternate water supplies and how the customers will have access to the alternate water supplies.  The public water system can use the templates from CDPH website to prepare notices for the customers.  The templates for public notification are available at the following website: http://www.cdph.ca.gov/certlic/drinkingwater/Pages/Notices.aspx

- ATTACHMENTS TO THE APPLICATION

- Attach a detailed cost breakdown for the proposed project.  It must list the cost of individual project components.  A sample detailed project cost breakdown is attached to this guidance.  The sample document cannot be used as is.  It must be modified to suit the proposed project.

- Attach a water system service area map that identifies the boundaries of the public water system.  The boundaries should include all parcels to which the water system is authorized to provide water.

- Attach any document(s) used to determine the Annual MHI reported in Section E.1.  Remember that the document(s) must be verifiable and substantiated.  CDPH will review the documents to determine if they are acceptable.

- Attached a copy of the first page of the domestic water supply permit issued by the local CDPH District Office or county.  The copy should have the Public Water System Name and Public Water System Number. Contact your local CDPH district office for assistance in obtaining this information.

- APPLICATION CERTIFICATION

The public water system’s Authorized Representative must sign and date the application.  This certifies that the Authorized Representative possesses the expertise needed to prepare the application and has been duly authorized to prepare the application by the water system’s governing body.  The Authorized Representative preparing the application attests to the accuracy of the information provided.

IMPORTANT: THE FOLLOWING DOCUMENT CONTAINS EXAMPLES OF PROJECT TASKS THAT MAY BE NECESSARY TO SOLVE THE REPORTED PROBLEM.  HOWEVER, EACH PROJECT IS UNIQUE, SO THIS SAMPLE DOCUMENT MUST BE MODIFIED TO ACCOMMODATE THE SPECIFIC NEEDS OF THE PROPOSED PROJECT.  ADDITIONAL LINE ITEMS SHOULD BE ADDED TO THE DETAILED PROJECT COST BREAKDOWN AS NEEDED.  INCLUDE A BRIEF DESCRIPTION FOR EACH LISTED ITEM.

PROPOSITION 84 - PART 1 EMERGENCY GRANT

DETAILED PROJECT COST BREAKDOWN

(SAMPLE)

[Public Water System Name]

Project No. P84E-[Assigned Project Number]

DESCRIPTION OF A PROPOSED PROJECT TASKS AND ASSOCIATED BUDGET

| Initial Cost for Proposed Project |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item No. | Description |  |  | Estimated Budget ($) |  |
| 1 | Application preparation |  |  | $1 |  |
| 2 | Engineering design |  |  | $1 |  |
| 3 | Administration |  |  | $1 |  |
| 4 | Purchase of equipment |  |  | $1 |  |
| 5 | Installation of equipment |  |  | $1 |  |
| 6 |  |  |  |  |  |
| Total for Initial Cost |  |  |  | $5 |  |
| Monthly Operating and Monitoring Costs for Proposed Project |  |  |  |  |  |
| Description |  | Cost ($ / Month) | Number of Months | Estimated Budget ($) |  |
| Monthly Operating Costs |  | $1 | 1 | $1 |  |
| Monthly Monitoring Costs |  | $1 | 1 | $1 |  |
| Total for Monthly Operating and Monitoring Costs |  |  |  |  | $2 |