## FY16-17
Table 2: Water Chemistry Results
Analyte (units) |  |  |  | Nitrate as nitrogen mg/L -- | Nitrite as nitrogen mg/L -- | Nitrate + nitrite as nitrogen mg/L -- | Nitrogen (Kjeldahl) mg/L -- | Nitrogen, total (calculated) (mg/L) -- | Measured Flow (gpm) | Measured Flow (cfs) | Flow-Weighted Avg of Nitrogen Values per Location (mg/L) | Average Flow per Location (cfs) | Monthly Flow-Weighted Average Nitrogen (mg/L) | Above Machado Lake Nutrient TMDL Interim Effluent Limitation of 2.45 mg/L? | Phosphorus, total (mg/L) -- | Measured Flow (gpm) | Measured Flow (cfs) | Flow-Weighted Avg of Total Phosphorous per Location (mg/L) | Average Flow per Location (cfs) | Monthly Flow-Weighted Average Phosphorus (TP) (mg/L) | Above Machado Lake Nutrient TMDL Interim Effluent Limitation of 1.25 mg/L?
Month | Location ID | Sample ID | Sample Date
July | RHE CITY HALL | RHECH-07-20-16 | 2016-07-20 | 0.012 U | 0.053 U | -- | 0.82 J | 0.82 J | 17.95 | 0.039993 |  |  | 0.88844 |  | 0.062 | 17.95 | 0.039993 |  |  | 0.33575
| VALMONTE | Valmonte-07-20-16 | 2016-07-20 | 0.012 U | 0.053 U | -- | 2.6 J | 2.6 J | 0.898 | 0.0020008 |  |  |  |  | 5.2 | 0.898 | 0.0020008
| LARIAT | No flow | 2016-07-20 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| SOLANO | No flow | 2016-07-20 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| VALMONTE | Valmonte-07-29-16 | 2016-07-29 | 0.012 U | 0.053 U | -- | 0.66 J | 0.66 J | 1.35 | 0.0030078 |  |  |  |  | 0.74 | 1.35 | 0.0030078
August | RHE CITY HALL | RHECH-08-04-16 | 2016-04-08 | -- | -- | 0.082 J | 0.48 | 0.562 J | 24.67 | 0.054965 |  |  | 0.57657 |  | 0.023 | 24.67 | 0.054965 |  |  | 0.070929
| VALMONTE | Valmonte-08-04-16 | 2016-04-08 | -- | -- | 0.13 | 0.58 | 0.71 | 2.693 | 0.006 |  |  |  |  | 0.51 | 2.693 | 0.006
| LARIAT | No flow | 2016-04-08 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| SOLANO | No flow | 2016-04-08 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
September | RHE CITY HALL | RHECH-09-08-16 | 2016-08-09 | -- | -- | 0.063 J | 0.53 | 0.593 J | 28.75 | 0.064055 |  |  | 0.62709 |  | 0.041 J | 28.75 | 0.064055 |  |  | 0.099028
| VALMONTE | Valmonte-09-08-16 | 2016-08-09 | -- | -- | 0.049 J | 0.89 | 0.939 J | 3.142 | 0.0070004 |  |  |  |  | 0.63 | 3.142 | 0.0070004
| LARIAT | No flow | 2016-08-09 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| SOLANO | No flow | 2016-08-09 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
October | RHE CITY HALL | RHECH-10-06-16 | 2016-06-10 | -- | -- | 0.048 J | 0.44 | 0.488 J | 20 | 0.04456 |  |  | 0.51878 |  | 0.11 | 20 | 0.04456 |  |  | 0.15067
| VALMONTE | Valmonte-10-06-16 | 2016-06-10 | -- | -- | 0.058J | 0.71 | 0.768 J | 2.47 | 0.0055032 |  |  |  |  | 0.48 | 2.47 | 0.0055032
| LARIAT | No flow | 2016-06-10 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| SOLANO | No flow | 2016-06-10 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
November | RHE CITY HALL | RHECH-11-03-16 | 2016-03-11 | -- | -- | 0.074 J | 0.35 | 0.42 J | 23.59 | 0.052559 | 3.4587 | 1.0552 | 3.5081 | Yes | 0.06 | 23.59 | 0.052559 | 1.0286 | 1.0552 | 1.0444
| VALMONTE | VALMONTE-11-03-16 | 2016-03-11 | -- | -- | 0.091 J | 0.8 | 0.89 J | 3.5 | 0.007798 | 5.2416 | 0.01993 |  |  | 0.62 | 3.5 | 0.007798 | 1.5691 | 0.01993
| LARIAT | No flow | 2016-03-11 | -- | -- | -- | -- | -- | No Flow | No Flow | 4.4 | 0.007553 |  |  | -- | No Flow | No Flow | 1.7 | 0.007553
| SOLANO | No flow | 2016-03-11 | -- | -- | -- | -- | -- | No Flow | No Flow | 5.7 | 0.0049573 |  |  | -- | No Flow | No Flow | 1.3 | 0.0049573
| RHE CITY HALL | RHECH-11-21-16 | 2016-11-21 | -- | -- | 0.96 | 2.7 | 3.66 | 698.59 | 1.5565 |  |  |  |  | 0.99 | 698.59 | 1.5565
| RHE CITY HALL | RHECH100-11-21-16 | 2016-11-21 | -- | -- | 0.96 | 2.4 | 3.36 | 698.59 | 1.5565 |  |  |  |  | 1.1 | 698.59 | 1.5565
| VALMONTE | Valmonte-11-21-16 | 2016-11-21 | -- | -- | 3.1 | 3.2 | 6.3 | 14.39 | 0.032061 |  |  |  |  | 1.8 | 14.39 | 0.032061
| LARIAT | Lariat-11-21-16 | 2016-11-21 | -- | -- | 2.1 | 2.3 | 4.4 | 6.78 | 0.015106 |  |  |  |  | 1.7 | 6.78 | 0.015106
| SOLANO | Solano-11-21-16 | 2016-11-21 | -- | -- | 1.7 | 4 | 5.7 | 4.45 | 0.0099146 |  |  |  |  | 1.3 | 4.45 | 0.0099146
December | RHE CITY HALL | RHECH-12-06-16 | 2016-06-12 | -- | -- | 0.063 | 0.65 | 0.72 | 32.8 | 0.073079 |  |  | 0.62236 |  | 0.020 UJ | 32.8 | 0.073079 |  |  | 0.037575
| VALMONTE | VALMONTE-12-06-16 | 2016-06-12 | -- | -- | 0.052 | 0.32 | 0.37 | 12.69 | 0.028273 |  |  |  |  | 0.083 J | 12.69 | 0.028273
| LARIAT | No flow | 2016-06-12 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| SOLANO | No flow | 2016-06-12 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
January | RHE CITY HALL | RHECH-01-09-17 | 2017-09-01 | -- | -- | 0.69 | 0.7 | 1.39 | 240 | 0.53472 | 1.4946 | 0.32774 | 1.7654 |  | 0.8 | 240 | 0.53472 | 0.60198 | 0.32774 | 2.6341 | Yes
| VALMONTE | Valmonte-01-09-17 | 2017-09-01 | -- | -- | 1.3 | 0.83 | 2.13 | 12400 | 27.6273 | 2.1537 | 9.2928 |  |  | 6.2 | 12400 | 27.6273 | 6.1497 | 9.2928
| LARIAT | Lariat-01-09-17 | 2017-09-01 | -- | -- | 1.6 | 2.5 | 4.1 | 22.2 | 0.049462 | 4.0323 | 0.019012 |  |  | 2.1 | 22.2 | 0.049462 | 1.9513 | 0.019012
| SOLANO | Solano-01-09-17 | 2017-09-01 | -- | -- | 0.38 | 0.9 | 1.28 | 4164.5 | 9.2785 | 1.5254 | 14.8389 |  |  | 0.51 | 4164.5 | 9.2785 | 0.47834 | 14.8389
| RHE CITY HALL | RHECH-01-16-17 | 2017-01-16 | -- | -- | 0.071 J | 0.57 | 0.641 J | 58.5 | 0.13034 |  |  |  |  | 0.095 | 58.5 | 0.13034
| VALMONTE | VALMONTE-01-16-17 | 2017-01-16 | -- | -- | 4 | 0.76 | 4.76 | 112.7 | 0.2511 |  |  |  |  | 0.61 | 112.7 | 0.2511
| LARIAT | No flow | 2017-01-16 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| SOLANO | No flow | 2017-01-16 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| RHE CITY HALL | RHECH-01-19-17 | 2017-01-19 | -- | -- | 0.72 | 1.3 | 2.02 | 142.8 | 0.31816 |  |  |  |  | 0.41 J | 142.8 | 0.31816
| VALMONTE | Valmonte-01-19-17 | 2017-01-19 | -- | -- | 0.92 | 4.4 | 5.32 | No Flow Data Available | No Flow Data Available |  |  |  |  | 0.98 J | No Flow Data Available | No Flow Data Available
| LARIAT | Lariat-01-19-17 | 2017-01-19 | -- | -- | 0.69 | 2.9 | 3.59 | 3.4 | 0.0075752 |  |  |  |  | 0.98 J | 3.4 | 0.0075752
| SOLANO | Solano-01-19-17 | 2017-01-19 | -- | -- | 0.39 | 1.2 | 1.59 | 15816 | 35.2382 |  |  |  |  | 0.47 J | 15816 | 35.2382
February | RHE CITY HALL | RHECH-02-02-17 | 2017-02-02 | -- | -- | 1.9 | 0.92 J | 2.82 J | 11.46 | 0.025533 |  |  | 3.0776 | Yes | 0.034 J | 11.46 | 0.025533 |  |  | 0.078368
| VALMONTE | Valmonte-02-02-17 | 2017-02-02 | -- | -- | 2.8 | 1.1 J | 3.9 J | 3.59 | 0.0079986 |  |  |  |  | 0.22 | 3.59 | 0.0079986
| LARIAT | No flow | 2017-02-02 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| SOLANO | No flow | 2017-02-02 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
March | RHE CITY HALL | RHECH-03-03-17 | 2017-03-03 | -- | -- | 5.4 | 0.34 | 5.74 | 22.75 | 0.050687 | 4.1752 | 0.042399 | 4.249 | Yes | 0.048 J | 22.75 | 0.050687 | 0.048 | 0.042399 | 0.082816
| VALMONTE | Valmonte-03-03-17 | 2017-03-03 | -- | -- | 5.5 | 0.8 | 6.3 | 4.48 | 0.0099815 | 4.6667 | 0.0074861 |  |  | 0.28 | 4.48 | 0.0099815 | 0.28 | 0.0074861
| LARIAT | No flow | 2017-03-03 | -- | -- | -- | -- | -- | No Flow | No Flow | 0 | 0 |  |  | -- | No Flow | No Flow | 0 | 0
| SOLANO | No flow | 2017-03-03 | -- | -- | -- | -- | -- | No Flow | No Flow | 0 | 0 |  |  | -- | No Flow | No Flow | 0 | 0
| RHE CITY HALL | RHECH-03-28-17 | 2017-03-28 | -- | -- | 1.4 J | 0.45 J | 1.85 J | 15.31 | 0.034111 |  |  |  |  | -- | 15.31 | 0.034111
| VALMONTE | Valmonte-03-28-17 | 2017-03-28 | -- | -- | 0.71 J | 0.69 | 1.4 J | 2.24 | 0.0049907 |  |  |  |  | -- | 2.24 | 0.0049907
| LARIAT | No flow | 2017-03-28 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| SOLANO | No flow | 2017-03-28 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
April | RHE CITY HALL | RHECH-04-07-17 | 2017-07-04 | -- | -- | 1.5 | 0.83 | 2.33 | 12.18 | 0.027137 |  |  | 2.4985 | Yes | 0.02 U | 12.18 | 0.027137 |  |  | 0.39087
| VALMONTE | Valmonte-04-07-17 | 2017-07-04 | -- | -- | 0.57 | 0.73 | 1.3 | 4.835 | 0.010772 |  |  |  |  | 1.5 | 4.835 | 0.010772
| LARIAT | No flow | 2017-07-04 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| SOLANO | Solano-04-07-17 | 2017-07-04 | -- | -- | 0.77 | 3.5 | 4.27 | 4.43 | 0.0098701 |  |  |  |  | 0.2 | 4.43 | 0.0098701
May | RHE CITY HALL | RHECH-05-04-17 | 2017-04-05 | -- | -- | 0.53 | 0.74 | 1.27 | 0.015 | 3.342e-05 |  |  | 0.79142 |  | 0.021 J | 0.015 | 3.342e-05 |  |  | 0.22938
| VALMONTE | Valmonte-05-04-17 | 2017-04-05 | -- | -- | 0.11 | 0.68 | 0.79 | 5.07 | 0.011296 |  |  |  |  | 0.23 | 5.07 | 0.011296
| LARIAT | No flow | 2017-04-05 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| SOLANO | No flow | 2017-04-05 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
June | RHE CITY HALL | RHECH-06-02-17 | 2017-02-06 | -- | -- | 1.2 | 1.5 | 2.7 | 5.03 | 0.011207 |  |  | 1.8876 |  | 0.071 | 5.03 | 0.011207 |  |  | 0.18111
| VALMONTE | Valmonte-06-02-17 | 2017-02-06 | -- | -- | 0.039 J | 0.75 | 0.789 J | 3.72 | 0.0082882 |  |  |  |  | 0.33 | 3.72 | 0.0082882
| LARIAT | No flow | 2017-02-06 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
| SOLANO | No flow | 2017-02-06 | -- | -- | -- | -- | -- | No Flow | No Flow |  |  |  |  | -- | No Flow | No Flow
Notes:
Detected concentration is greater than May 11, 2014, Interim WLA All non-detect results are reported at the method detection limit.
No flow observations are equivalent to a zero result for total nitrogen and total phosphorus. Total nitrogen is the sum of nitrate, nitrite, and Kjeldahl nitrogen.
U.S. Environmental Protection Agency Stage 2A data validation was completed by Anchor QEA. Bold = Detected result
U = compound analyzed but not detected above detection limit, J = estimated value
WLA = waste load allocation
mg/L = milligrams per liter