## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments
CUA-PVD-01 | 21/Nov/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 1
CUA-PVD-01 | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 2
CUA-PVD-01 | 09/Jan/2017 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 3

## ChemResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | SampleTypeCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | LabCollectionComments | LabBatch | AnalysisDate | MatrixName | MethodName | AnalyteName | FractionName | UnitName | LabReplicate | Result | ResQualCode | MDL | RL | QACode | ComplianceCode | DilutionFactor | ExpectedValue | PrepPreservationName | PrepPreservationDate | DigestExtractMethod | DigestExtractDate | SampleID | LabSampleID | LabResultComments | SampleStart | SampleEnd
CUA-PVD-01 | 20/Nov/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 1 | Not Recorded |  | 11:45 | Water_Grab | Grab | 1 | Individual collection by hand | -88 | m | Surface |  | MIC/9203 | 21/Nov/2016 05:00 | samplewater | Colilert | E. coli | None | MPN/100mL | 1 | 2650 | = | 1.00 | 1.00 | None | Com | 1 |  |  |  | Colilert | 21/Nov/2016 05:00 | ME000000128 | E1603046001 |  | 2016-11-20 11:45 | 2016-11-20 11:45
CUA-PVD-01 | 21/Nov/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 1 | Not Recorded |  | 12:52 | AutoSamplerStorm | samplewater | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3930 | 16/Dec/2016 16:00 | samplewater | EPA 200.8 | Copper | Total | ug/L | 1 | 36.0 | = | 0.500 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 12/Dec/2016 09:38 | ME000000129 | E1603095001 |  | 2016-11-20 23:30 | 2016-11-21 05:25
CUA-PVD-01 | 21/Nov/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 1 | Not Recorded |  | 12:52 | AutoSamplerStorm | samplewater | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3931 | 16/Dec/2016 14:55 | samplewater | EPA 200.8 | Copper | Dissolved | ug/L | 1 | 28.5 | = | 0.500 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 16/Dec/2016 14:55 | ME000000129 | E1603095001 |  | 2016-11-20 23:30 | 2016-11-21 05:25
CUA-PVD-01 | 21/Nov/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 1 | Not Recorded |  | 12:52 | AutoSamplerStorm | samplewater | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3930 | 16/Dec/2016 16:00 | samplewater | EPA 200.8 | Lead | Total | ug/L | 1 | 6.40 | = | 0.200 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 12/Dec/2016 09:38 | ME000000129 | E1603095001 |  | 2016-11-20 23:30 | 2016-11-21 05:25
CUA-PVD-01 | 21/Nov/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 1 | Not Recorded |  | 12:52 | AutoSamplerStorm | samplewater | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3931 | 16/Dec/2016 14:55 | samplewater | EPA 200.8 | Lead | Dissolved | ug/L | 1 | 1.58 | = | 0.200 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 16/Dec/2016 14:55 | ME000000129 | E1603095001 |  | 2016-11-20 23:30 | 2016-11-21 05:25
CUA-PVD-01 | 21/Nov/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 1 | Not Recorded |  | 12:52 | AutoSamplerStorm | samplewater | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3930 | 16/Dec/2016 16:00 | samplewater | EPA 200.8 | Zinc | Total | ug/L | 1 | 267 | = | 1.00 | 1.00 | None | Com | 1 |  |  |  | EPA 200.8 | 12/Dec/2016 09:38 | ME000000129 | E1603095001 |  | 2016-11-20 23:30 | 2016-11-21 05:25
CUA-PVD-01 | 21/Nov/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 1 | Not Recorded |  | 12:52 | AutoSamplerStorm | samplewater | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3931 | 16/Dec/2016 14:55 | samplewater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 | 190 | = | 1.00 | 1.00 | None | Com | 1 |  |  |  | EPA 200.8 | 16/Dec/2016 14:55 | ME000000129 | E1603095001 |  | 2016-11-20 23:30 | 2016-11-21 05:25
CUA-PVD-01 | 21/Nov/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 1 | Not Recorded |  | 12:52 | AutoSamplerStorm | samplewater | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | WET/19118 | 10/Dec/2016 09:00 | samplewater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 113 | = | 2.00 | 2.00 | None | Com | 1 |  |  |  | SM 2340 C | 10/Dec/2016 09:00 | ME000000129 | E1603095001 |  | 2016-11-20 23:30 | 2016-11-21 05:25
CUA-PVD-01 | 16/Dec/2016 | CIMP001 | WQ | Not recorded | LACDPW-WMD | 2016-17 Wet 2 | Not Recorded |  | 07:02 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3948 | 28/Dec/2017 14:11 | samplewater | EPA 200.8 | Lead | Total | ug/L | 1 | 5.24 | = | 0.200 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 27/Dec/2017 10:10 | CIMP000000333 | E1603301001 |  | 2016-12-15 20:02 | 2016-12-16 05:10
CUA-PVD-01 | 16/Dec/2016 | CIMP001 | WQ | Not recorded | LACDPW-WMD | 2016-17 Wet 2 | Not Recorded |  |  | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3946 | 28/Dec/2017 13:11 | samplewater | EPA 200.8 | Lead | Dissolved | ug/L | 1 | 0.236 | DNQ | 0.200 | 0.500 | J | Com | 1 |  |  |  | EPA 200.8 | 28/Dec/2017 13:11 | CIMP000000333 | E1603301001 |  | 2016-12-15 20:02 | 2016-12-16 05:10
CUA-PVD-01 | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 2 | Not Recorded |  | 07:02 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3948 | 28/Dec/2016 14:11 | samplewater | EPA 200.8 | Copper | Total | ug/L | 1 | 10.1 | = | 0.500 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 27/Dec/2016 10:30 | CIMP000000333 | E1603301001 |  | 2016-12-15 20:02 | 2016-12-16 05:10
CUA-PVD-01 | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 2 | Not Recorded |  | 07:02 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3946 | 28/Dec/2016 13:11 | samplewater | EPA 200.8 | Copper | Dissolved | ug/L | 1 | 4.02 | = | 0.500 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 28/Dec/2016 13:11 | CIMP000000333 | E1603301001 |  | 2016-12-15 20:02 | 2016-12-16 05:10
CUA-PVD-01 | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 2 | Not Recorded |  | 07:02 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3948 | 28/Dec/2016 14:11 | samplewater | EPA 200.8 | Zinc | Total | ug/L | 1 | 53.5 | = | 1.00 | 1.00 | None | Com | 1 |  |  |  | EPA 200.8 | 27/Dec/2016 10:31 | CIMP000000333 | E1603301001 |  | 2016-12-15 20:02 | 2016-12-16 05:10
CUA-PVD-01 | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 2 | Not Recorded |  | 07:02 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3946 | 28/Dec/2016 13:11 | samplewater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 | 24.2 | = | 1.00 | 1.00 | None | Com | 1 |  |  |  | EPA 200.8 | 28/Dec/2016 13:11 | CIMP000000333 | E1603301001 |  | 2016-12-15 20:02 | 2016-12-16 05:10
CUA-PVD-01 | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 2 | Not Recorded |  | 07:02 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | WET/19321 | 11/Jan/2017 09:50 | samplewater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 15.0 | = | 2.00 | 2.00 | None | Com | 1 |  |  |  | SM 2340 C | 11/Jan/2017 09:50 | CIMP000000333 | E1603301001 |  | 2016-12-15 20:02 | 2016-12-16 05:10
CUA-PVD-01 | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 2 | Not Recorded |  | 07:55 | Water_Grab | Grab | 1 | Individual collection by hand | -88 | m | Surface |  | MIC/9285 | 16/Dec/2016 14:30 | samplewater | SM 9223 B | E. coli | None | MPN/100mL | 1 | 1126 | = | 1.00 | 1.00 | None | Com | 1 |  |  |  | SM 9223 B | 16/Dec/2016 14:30 | CIMP000000332 | E1603288001 |  | 2016-12-16 07:55 | 2016-12-16 07:55
DUPME08 | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 2; CUA-PVD-01 duplicate | Not Recorded |  | 07:55 | Water_Grab | Grab | 2 | Individual collection by hand | -88 | m | Surface |  | MIC/9285 | 16/Dec/2016 14:30 | samplewater | SM 9223 B | E. coli | None | MPN/100mL | 1 | 1187 | = | 1.00 | 1.00 | None | Com | 1 |  |  |  | SM 9223 B | 16/Dec/2016 14:30 | ME000000334 | E1603289001 |  | 2016-12-16 07:55 | 2016-12-16 07:55
000NONPJ | 01/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 09:25 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | WET/19118 | 10/Dec/2016 09:00 | Samplewater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 2 | 295 | = | 2.00 | 2.00 | None | Com | 1 | 292 |  |  | SM 2340 C | 10/Dec/2016 09:00 | ME000000129_000NONPJ | 188788 | RPD 1.02
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:53 | Samplewater | EPA 200.8 | Copper | Total | ug/L | 1 | 82.7 | = | 0.500 | 0.500 | QAX | Com | 1 | 88.6 |  |  | EPA 200.8 | 12/Dec/2016 09:37 | ME000000129_000NONPJ | 189066 | PR 85.3
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:53 | Samplewater | EPA 200.8 | Lead | Total | ug/L | 1 | 29.2 | = | 0.200 | 0.500 | QAX | Com | 1 | 28.9 |  |  | EPA 200.8 | 12/Dec/2016 09:37 | ME000000129_000NONPJ | 189066 | PR 102
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:53 | Samplewater | EPA 200.8 | Zinc | Total | ug/L | 1 | 202 | = | 1.00 | 1.00 | QAX | Com | 1 | 217 |  |  | EPA 200.8 | 12/Dec/2016 09:37 | ME000000129_000NONPJ | 189066 | PR 81.1
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:49 | Samplewater | EPA 200.8 | Copper | Dissolved | ug/L | 1 | 62.9 | = | 0.500 | 0.500 | QAX | Com | 1 | 69 |  |  | EPA 200.8 | 16/Dec/2016 14:49 | ME000000129_000NONPJ | 189064 | PR 84.7
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:49 | Samplewater | EPA 200.8 | Lead | Dissolved | ug/L | 1 | 17.0 | = | 0.200 | 0.500 | QAX | Com | 1 | 16.415 |  |  | EPA 200.8 | 16/Dec/2016 14:49 | ME000000129_000NONPJ | 189064 | PR 104
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:49 | Samplewater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 | 169 | = | 1.00 | 1.00 | QAX | Com | 1 | 181 |  |  | EPA 200.8 | 16/Dec/2016 14:49 | ME000000129_000NONPJ | 189064 | PR 84.7
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:57 | Samplewater | EPA 200.8 | Copper | Total | ug/L | 2 | 82.3 | = | 0.500 | 0.500 | QAX | Com | 1 | 88.6 |  |  | EPA 200.8 | 12/Dec/2016 09:37 | ME000000129_000NONPJ | 189067 | PR 84.3, RPD .524
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:57 | Samplewater | EPA 200.8 | Lead | Total | ug/L | 2 | 28.9 | = | 0.200 | 0.500 | QAX | Com | 1 | 28.9 |  |  | EPA 200.8 | 12/Dec/2016 09:37 | ME000000129_000NONPJ | 189067 | PR 99.9, RPD 1.22
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:57 | Samplewater | EPA 200.8 | Zinc | Total | ug/L | 2 | 202 | = | 1.00 | 1.00 | QAX | Com | 1 | 217 |  |  | EPA 200.8 | 12/Dec/2016 09:37 | ME000000129_000NONPJ | 189067 | PR 81.3, RPD .0539
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:52 | Samplewater | EPA 200.8 | Copper | Dissolved | ug/L | 2 | 61.5 | = | 0.500 | 0.500 | QAX | Com | 1 | 69 |  |  | EPA 200.8 | 16/Dec/2016 14:52 | ME000000129_000NONPJ | 189065 | PR 81.2, RPD 2.21
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:52 | Samplewater | EPA 200.8 | Lead | Dissolved | ug/L | 2 | 16.8 | = | 0.200 | 0.500 | QAX | Com | 1 | 16.415 |  |  | EPA 200.8 | 16/Dec/2016 14:52 | ME000000129_000NONPJ | 189065 | PR 103, RPD 1.1
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:52 | Samplewater | EPA 200.8 | Zinc | Dissolved | ug/L | 2 | 167 | = | 1.00 | 1.00 | QAX | Com | 1 | 181 |  |  | EPA 200.8 | 16/Dec/2016 14:52 | ME000000129_000NONPJ | 189065 | PR 82.2, RPD 1.2
000NONPJ | 21/Nov/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 08:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | WET/19118 | 10/Dec/2016 09:00 | Samplewater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 2 | 55.0 | = | 2.00 | 2.00 | None | Com | 1 | 55 |  |  | SM 2340 C | 10/Dec/2016 09:00 | ME000000129_000NONPJ | 188923 | RPD 0
LABQA | 09/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | WET/19118 | 10/Dec/2016 09:00 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 125 | = | 2.00 | 2.00 | None | Com | 1 | 126 |  |  | SM 2340 C | 10/Dec/2016 09:00 | ME000000129_LABQA | 188787 | PR 99.2
LABQA | 09/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | WET/19118 | 10/Dec/2016 09:00 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 |  | ND | 2.00 | 2.00 | None | Com | 1 |  |  |  | SM 2340 C | 10/Dec/2016 09:00 | ME000000129_LABQA | 188786
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:30 | blankwater | EPA 200.8 | Copper | Total | ug/L | 1 | 953 | = | 0.500 | 0.500 | None | Com | 1 | 1050 |  |  | EPA 200.8 | 12/Dec/2016 09:38 | ME000000129_LABQA | 188834 | PR 90.7
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:30 | blankwater | EPA 200.8 | Lead | Total | ug/L | 1 | 64.1 | = | 0.200 | 0.500 | None | Com | 1 | 64 |  |  | EPA 200.8 | 12/Dec/2016 09:38 | ME000000129_LABQA | 188834 | PR 100
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:30 | blankwater | EPA 200.8 | Zinc | Total | ug/L | 1 | 1410 | = | 1.00 | 1.00 | None | Com | 1 | 1500 |  |  | EPA 200.8 | 12/Dec/2016 09:38 | ME000000129_LABQA | 188834 | PR 94.3
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:25 | blankwater | EPA 200.8 | Copper | Dissolved | ug/L | 1 | 1060 | = | 0.500 | 0.500 | None | Com | 1 | 1050 |  |  | EPA 200.8 | 16/Dec/2016 14:25 | ME000000129_LABQA | 188836 | PR 101
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:25 | blankwater | EPA 200.8 | Lead | Dissolved | ug/L | 1 | 65.4 | = | 0.200 | 0.500 | None | Com | 1 | 64 |  |  | EPA 200.8 | 16/Dec/2016 14:25 | ME000000129_LABQA | 188836 | PR 102
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:25 | blankwater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 | 1550 | = | 1.00 | 1.00 | None | Com | 1 | 1500 |  |  | EPA 200.8 | 16/Dec/2016 14:25 | ME000000129_LABQA | 188836 | PR 103
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:27 | blankwater | EPA 200.8 | Copper | Total | ug/L | 1 |  | ND | 0.500 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 12/Dec/2016 09:38 | ME000000129_LABQA | 188833
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:27 | blankwater | EPA 200.8 | Lead | Total | ug/L | 1 |  | ND | 0.200 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 12/Dec/2016 09:38 | ME000000129_LABQA | 188833
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3930 | 16/Dec/2016 15:27 | blankwater | EPA 200.8 | Zinc | Total | ug/L | 1 |  | ND | 1.00 | 1.00 | None | Com | 1 |  |  |  | EPA 200.8 | 12/Dec/2016 09:38 | ME000000129_LABQA | 188833
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:22 | blankwater | EPA 200.8 | Copper | Dissolved | ug/L | 1 |  | ND | 0.500 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 16/Dec/2016 14:22 | ME000000129_LABQA | 188835
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:22 | blankwater | EPA 200.8 | Lead | Dissolved | ug/L | 1 |  | ND | 0.200 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 16/Dec/2016 14:22 | ME000000129_LABQA | 188835
LABQA | 12/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3931 | 16/Dec/2016 14:22 | blankwater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 |  | ND | 1.00 | 1.00 | None | Com | 1 |  |  |  | EPA 200.8 | 16/Dec/2016 14:22 | ME000000129_LABQA | 188835
LABQA | 01/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9203 | 21/Nov/2016 03:30 | blankwater | Colilert | E. coli | None | MPN/100mL | 1 |  | ND | 1.00 | 1.00 | None | Com | 1 |  |  |  | Colilert | 21/Nov/2016 03:30 | ME000000129_LABQA | 188039
LABQA | 01/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | BactiNeg | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9203 | 21/Nov/2016 03:30 | blankwater | Colilert | E. coli | None | MPN/100mL | 1 |  | A | 1.00 | 1.00 | None | Com | 1 |  |  |  | Colilert | 21/Nov/2016 03:30 | ME000000129_LABQA | 188040
LABQA | 01/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | BactiNeg | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9203 | 21/Nov/2016 03:30 | blankwater | Colilert | E. coli | None | MPN/100mL | 1 |  | A | 1.00 | 1.00 | None | Com | 1 |  |  |  | Colilert | 21/Nov/2016 03:30 | ME000000129_LABQA | 188041
LABQA | 01/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 1 | Not Applicable |  | 00:00 | Not Applicable | BactiPos | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9203 | 21/Nov/2016 03:30 | blankwater | Colilert | E. coli | None | MPN/100mL | 1 |  | P | 1.00 | 1.00 | None | Com | 1 |  |  |  | Colilert | 21/Nov/2016 03:30 | ME000000129_LABQA | 188042
000NONPJ | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3946 | 28/Dec/2016 12:04 | Samplewater | EPA 200.8 | Copper | Dissolved | ug/L | 1 | 52.6 | = | 0.500 | 0.500 | QAX | Com | 1 | 52.6 |  |  | EPA 200.8 | 28/Dec/2016 12:04 | CIMP000000333_000NONPJ | 189898 | PR 100
000NONPJ | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3946 | 28/Dec/2016 12:04 | Samplewater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 | 146 | = | 1.00 | 1.00 | QAX | Com | 1 | 154.7 |  |  | EPA 200.8 | 28/Dec/2016 12:04 | CIMP000000333_000NONPJ | 189898 | PR 88.6
000NONPJ | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3948 | 28/Dec/2016 13:46 | Samplewater | EPA 200.8 | Copper | Total | ug/L | 1 | 78.9 | = | 0.500 | 0.500 | QAX | Com | 1 | 79.8 |  |  | EPA 200.8 | 27/Dec/2016 10:31 | CIMP000000333_000NONPJ | 189902 | PR 97.7
000NONPJ | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3948 | 28/Dec/2016 13:46 | Samplewater | EPA 200.8 | Zinc | Total | ug/L | 1 | 291 | = | 1.00 | 1.00 | QAX | Com | 1 | 301 |  |  | EPA 200.8 | 27/Dec/2016 10:31 | CIMP000000333_000NONPJ | 189902 | PR 87.5
000NONPJ | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3946 | 28/Dec/2016 12:08 | Samplewater | EPA 200.8 | Copper | Dissolved | ug/L | 2 | 53.7 | = | 0.500 | 0.500 | QAX | Com | 1 | 52.6 |  |  | EPA 200.8 | 28/Dec/2016 12:08 | CIMP000000333_000NONPJ | 189899 | PR 103, RPD 2
000NONPJ | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3946 | 28/Dec/2016 12:08 | Samplewater | EPA 200.8 | Zinc | Dissolved | ug/L | 2 | 148 | = | 1.00 | 1.00 | QAX | Com | 1 | 154.7 |  |  | EPA 200.8 | 28/Dec/2016 12:08 | CIMP000000333_000NONPJ | 189899 | PR 92.1, RPD 1.91
000NONPJ | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3948 | 28/Dec/2016 13:50 | Samplewater | EPA 200.8 | Copper | Total | ug/L | 2 | 78.4 | = | 0.500 | 0.500 | QAX | Com | 1 | 79.8 |  |  | EPA 200.8 | 27/Dec/2016 10:31 | CIMP000000333_000NONPJ | 189903 | PR 96.4, RPD .699
000NONPJ | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3948 | 28/Dec/2016 13:50 | Samplewater | EPA 200.8 | Zinc | Total | ug/L | 2 | 293 | = | 1.00 | 1.00 | QAX | Com | 1 | 301 |  |  | EPA 200.8 | 27/Dec/2016 10:31 | CIMP000000333_000NONPJ | 189903 | PR 90, RPD .685
000NONPJ | 16/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 12:30 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | WET/19321 | 11/Jan/2017 09:50 | Samplewater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 2 | 125 | = | 2.00 | 2.00 | None | Com | 1 | 125 |  |  | SM 2340 C | 11/Jan/2017 09:50 | CIMP000000333_000NONPJ | 190888 | RPD 0
LABQA | 11/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | WET/19321 | 11/Jan/2017 09:50 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 125 | = | 2.00 | 2.00 | None | Com | 1 | 126 |  |  | SM 2340 C | 11/Jan/2017 09:50 | CIMP000000333_LABQA | 190887 | PR 99.2
LABQA | 11/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | WET/19321 | 11/Jan/2017 09:50 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 |  | ND | 2.00 | 2.00 | None | Com | 1 |  |  |  | SM 2340 C | 11/Jan/2017 09:50 | CIMP000000333_LABQA | 190886
LABQA | 27/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3946 | 28/Dec/2016 11:43 | blankwater | EPA 200.8 | Copper | Dissolved | ug/L | 1 | 1130 | = | 0.500 | 0.500 | None | Com | 1 | 1050 |  |  | EPA 200.8 | 28/Dec/2016 11:43 | CIMP000000333_LABQA | 189897 | PR 107
LABQA | 27/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3946 | 28/Dec/2016 11:43 | blankwater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 | 1510 | = | 1.00 | 1.00 | None | Com | 1 | 1500 |  |  | EPA 200.8 | 28/Dec/2016 11:43 | CIMP000000333_LABQA | 189897 | PR 101
LABQA | 27/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3948 | 28/Dec/2016 13:28 | blankwater | EPA 200.8 | Copper | Total | ug/L | 1 | 1140 | = | 0.500 | 0.500 | None | Com | 1 | 1050 |  |  | EPA 200.8 | 27/Dec/2016 10:31 | CIMP000000333_LABQA | 189901 | PR 108
LABQA | 27/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3948 | 28/Dec/2016 13:28 | blankwater | EPA 200.8 | Zinc | Total | ug/L | 1 | 1530 | = | 1.00 | 1.00 | None | Com | 1 | 1500 |  |  | EPA 200.8 | 27/Dec/2016 10:31 | CIMP000000333_LABQA | 189901 | PR 102
LABQA | 27/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3946 | 28/Dec/2016 11:41 | blankwater | EPA 200.8 | Copper | Dissolved | ug/L | 1 |  | ND | 0.500 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 28/Dec/2016 11:41 | CIMP000000333_LABQA | 189896
LABQA | 27/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3946 | 28/Dec/2016 11:41 | blankwater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 |  | ND | 1.00 | 1.00 | None | Com | 1 |  |  |  | EPA 200.8 | 28/Dec/2016 11:41 | CIMP000000333_LABQA | 189896
LABQA | 27/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3948 | 28/Dec/2016 13:25 | blankwater | EPA 200.8 | Copper | Total | ug/L | 1 |  | ND | 0.500 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 27/Dec/2016 10:31 | CIMP000000333_LABQA | 189900
LABQA | 27/Dec/2016 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 2 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3948 | 28/Dec/2016 13:25 | blankwater | EPA 200.8 | Zinc | Total | ug/L | 1 |  | ND | 1.00 | 1.00 | None | Com | 1 |  |  |  | EPA 200.8 | 27/Dec/2016 10:31 | CIMP000000333_LABQA | 189900
LABQA | 23/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 2 | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9285 | 16/Dec/2016 14:30 | blankwater | SM 9223 B | E. coli | None | MPN/100mL | 1 |  | ND | 1.00 | 1.00 | None | Com | 1 |  |  |  | SM 9223 B | 16/Dec/2016 14:30 | CIMP000000333_LABQA | 189848
LABQA | 23/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 2 | Not Applicable |  | 00:00 | Not Applicable | BactiNeg | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9285 | 16/Dec/2016 14:30 | blankwater | SM 9223 B | E. coli | None | MPN/100mL | 1 |  | A | 1.00 | 1.00 | None | Com | 1 |  |  |  | SM 9223 B | 16/Dec/2016 14:30 | CIMP000000333_LABQA | 189849
LABQA | 23/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 2 | Not Applicable |  | 00:00 | Not Applicable | BactiNeg | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9285 | 16/Dec/2016 14:30 | blankwater | SM 9223 B | E. coli | None | MPN/100mL | 1 |  | A | 1.00 | 1.00 | None | Com | 1 |  |  |  | SM 9223 B | 16/Dec/2016 14:30 | CIMP000000333_LABQA | 189850
LABQA | 23/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 2 | Not Applicable |  | 00:00 | Not Applicable | BactiPos | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9285 | 16/Dec/2016 14:30 | blankwater | SM 9223 B | E. coli | None | MPN/100mL | 1 |  | P | 1.00 | 1.00 | None | Com | 1 |  |  |  | SM 9223 B | 16/Dec/2016 14:30 | CIMP000000333_LABQA | 189851
LABQA | 23/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 2 | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9285 | 16/Dec/2016 14:30 | blankwater | SM 9223 B | E. coli | None | MPN/100mL | 1 |  | ND | 1.00 | 1.00 | None | Com | 1 |  |  |  | SM 9223 B | 16/Dec/2016 14:30 | ME000000334_LABQA | 189848
LABQA | 23/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 2 | Not Applicable |  | 00:00 | Not Applicable | BactiNeg | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9285 | 16/Dec/2016 14:30 | blankwater | SM 9223 B | E. coli | None | MPN/100mL | 1 |  | A | 1.00 | 1.00 | None | Com | 1 |  |  |  | SM 9223 B | 16/Dec/2016 14:30 | ME000000334_LABQA | 189849
LABQA | 23/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 2 | Not Applicable |  | 00:00 | Not Applicable | BactiNeg | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9285 | 16/Dec/2016 14:30 | blankwater | SM 9223 B | E. coli | None | MPN/100mL | 1 |  | A | 1.00 | 1.00 | None | Com | 1 |  |  |  | SM 9223 B | 16/Dec/2016 14:30 | ME000000334_LABQA | 189850
LABQA | 23/Dec/2016 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 2 | Not Applicable |  | 00:00 | Not Applicable | BactiPos | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9285 | 16/Dec/2016 14:30 | blankwater | SM 9223 B | E. coli | None | MPN/100mL | 1 |  | P | 1.00 | 1.00 | None | Com | 1 |  |  |  | SM 9223 B | 16/Dec/2016 14:30 | ME000000334_LABQA | 189851
CUA-PVD-01 | 09/Jan/2017 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 3 | Not Recorded |  | 04:29 | Water_Grab | Grab | 1 | Individual collection by hand | -88 | m | Surface |  | MIC/9353 | 09/Jan/2017 11:00 | samplewater | Colilert | E. coli | None | MPN/100mL | 1 | 3170 | = | 1.00 | 1.00 | None | Com | 1 |  |  |  | Colilert | 09/Jan/2017 11:00 | CIMP000000374 | E1700051001 |  | 2017-01-09 04:29 | 2017-01-09 04:29
LABQA | 09/Jan/2017 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 3; laboratory QC using sample E1700051001 | Not Applicable |  | 04:29 | Not Applicable | Grab | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9353 | 09/Jan/2017 11:00 | blankwater | Colilert | E. coli | None | MPN/100mL | 2 | 2880 | = | 1.00 | 1.00 | None | Com | 1 |  |  |  | Colilert | 09/Jan/2017 11:00 | CIMP000000374_LABQA | 191135
LABQA | 12/Jan/2017 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 3 | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9353 | 09/Jan/2017 11:00 | blankwater | Colilert | E. coli | None | MPN/100mL | 1 |  | ND | 1.00 | 1.00 | None | Com | 1 |  |  |  | Colilert | 09/Jan/2017 11:00 | CIMP000000374_LABQA | 191131
LABQA | 12/Jan/2017 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 3 | Not Applicable |  | 00:00 | Not Applicable | BactiNeg | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9353 | 09/Jan/2017 11:00 | blankwater | Colilert | E. coli | None | MPN/100mL | 1 |  | A | 1.00 | 1.00 | None | Com | 1 |  |  |  | Colilert | 09/Jan/2017 11:00 | CIMP000000374_LABQA | 191132
LABQA | 12/Jan/2017 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 3 | Not Applicable |  | 00:00 | Not Applicable | BactiNeg | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9353 | 09/Jan/2017 11:00 | blankwater | Colilert | E. coli | None | MPN/100mL | 1 |  | A | 1.00 | 1.00 | None | Com | 1 |  |  |  | Colilert | 09/Jan/2017 11:00 | CIMP000000374_LABQA | 191133
LABQA | 12/Jan/2017 | CIMP001 | WQ | Not Applicable | ETL | 2016-17 Wet 3 | Not Applicable |  | 00:00 | Not Applicable | BactiPos | 1 | Not Applicable | -88 | m | Not Applicable |  | MIC/9353 | 09/Jan/2017 11:00 | blankwater | Colilert | E. coli | None | MPN/100mL | 1 |  | P | 1.00 | 1.00 | None | Com | 1 |  |  |  | Colilert | 09/Jan/2017 11:00 | CIMP000000374_LABQA | 191134
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 11:03 | Samplewater | EPA 200.8 | Copper | Dissolved | ug/L | 1 | 44.2 | = | 0.500 | 0.500 | QAX | Com | 1 | 47.31 |  |  | EPA 200.8 | 30/Jan/2017 11:03 | CIMP000000375_000NONPJ | 191835 | PR 92.2
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 11:03 | Samplewater | EPA 200.8 | Lead | Dissolved | ug/L | 1 | 15.6 | = | 0.200 | 0.500 | QAX | Com | 1 | 16.105 |  |  | EPA 200.8 | 30/Jan/2017 11:03 | CIMP000000375_000NONPJ | 191835 | PR 97.1
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 11:03 | Samplewater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 | 115 | = | 1.00 | 1.00 | QAX | Com | 1 | 116.2 |  |  | EPA 200.8 | 30/Jan/2017 11:03 | CIMP000000375_000NONPJ | 191835 | PR 98
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 12:16 | Samplewater | EPA 200.8 | Copper | Total | ug/L | 1 | 60.9 | = | 0.500 | 0.500 | QAX | Com | 1 | 60.4 |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_000NONPJ | 191839 | PR 101
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 12:16 | Samplewater | EPA 200.8 | Lead | Total | ug/L | 1 | 24.3 | = | 0.200 | 0.500 | QAX | Com | 1 | 25.43 |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_000NONPJ | 191839 | PR 92.9
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 12:16 | Samplewater | EPA 200.8 | Zinc | Total | ug/L | 1 | 199 | = | 1.00 | 1.00 | QAX | Com | 1 | 194 |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_000NONPJ | 191839 | PR 106
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 11:07 | Samplewater | EPA 200.8 | Copper | Dissolved | ug/L | 2 | 43.7 | = | 0.500 | 0.500 | QAX | Com | 1 | 47.31 |  |  | EPA 200.8 | 30/Jan/2017 11:07 | CIMP000000375_000NONPJ | 191836 | PR 91, RPD 1.03
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 11:07 | Samplewater | EPA 200.8 | Lead | Dissolved | ug/L | 2 | 15.7 | = | 0.200 | 0.500 | QAX | Com | 1 | 16.105 |  |  | EPA 200.8 | 30/Jan/2017 11:07 | CIMP000000375_000NONPJ | 191836 | PR 97.7, RPD .567
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 11:07 | Samplewater | EPA 200.8 | Zinc | Dissolved | ug/L | 2 | 115 | = | 1.00 | 1.00 | QAX | Com | 1 | 116.2 |  |  | EPA 200.8 | 30/Jan/2017 11:07 | CIMP000000375_000NONPJ | 191836 | PR 98, RPD .0148
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 12:19 | Samplewater | EPA 200.8 | Copper | Total | ug/L | 2 | 60.7 | = | 0.500 | 0.500 | QAX | Com | 1 | 60.4 |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_000NONPJ | 191840 | PR 101, RPD .329
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 12:19 | Samplewater | EPA 200.8 | Lead | Total | ug/L | 2 | 24.6 | = | 0.200 | 0.500 | QAX | Com | 1 | 25.43 |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_000NONPJ | 191840 | PR 94.8, RPD 1.23
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:15 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 12:19 | Samplewater | EPA 200.8 | Zinc | Total | ug/L | 2 | 199 | = | 1.00 | 1.00 | QAX | Com | 1 | 194 |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_000NONPJ | 191840 | PR 106, RPD 0
000NONPJ | 10/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 10:59 | Not Applicable | MS1 | 1 | Not Applicable | -88 | m | Not Applicable |  | WET/19422 | 21/Jan/2017 12:05 | Samplewater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 2 | 300 | = | 2.00 | 2.00 | None | Com | 1 | 300 |  |  | SM 2340 C | 21/Jan/2017 12:05 | CIMP000000375_000NONPJ | 191776 | RPD 0
CUA-PVD-01 | 09/Jan/2017 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 3 | Not Recorded |  | 07:35 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3963 | 30/Jan/2017 11:19 | samplewater | EPA 200.8 | Copper | Dissolved | ug/L | 1 | 3.92 | = | 0.500 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 30/Jan/2017 11:19 | CIMP000000375 | E1700092001 |  | 2017-01-09 03:46 | 2017-01-09 07:35
CUA-PVD-01 | 09/Jan/2017 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 3 | Not Recorded |  | 07:35 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3963 | 30/Jan/2017 11:19 | samplewater | EPA 200.8 | Lead | Dissolved | ug/L | 1 |  | ND | 0.200 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 30/Jan/2017 11:19 | CIMP000000375 | E1700092001 |  | 2017-01-09 03:46 | 2017-01-09 07:35
CUA-PVD-01 | 09/Jan/2017 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 3 | Not Recorded |  | 07:35 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3963 | 30/Jan/2017 11:19 | samplewater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 | 25.9 | = | 1.00 | 1.00 | None | Com | 1 |  |  |  | EPA 200.8 | 30/Jan/2017 11:19 | CIMP000000375 | E1700092001 |  | 2017-01-09 03:46 | 2017-01-09 07:35
CUA-PVD-01 | 09/Jan/2017 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 3 | Not Recorded |  | 07:35 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3965 | 30/Jan/2017 12:28 | samplewater | EPA 200.8 | Copper | Total | ug/L | 1 | 15.7 | = | 0.500 | 0.500 | IP | Com | 1 |  |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375 | E1700092001 |  | 2017-01-09 03:46 | 2017-01-09 07:35
CUA-PVD-01 | 09/Jan/2017 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 3 | Not Recorded |  | 07:35 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3965 | 30/Jan/2017 12:28 | samplewater | EPA 200.8 | Lead | Total | ug/L | 1 | 3.57 | = | 0.200 | 0.500 | IP | Com | 1 |  |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375 | E1700092001 |  | 2017-01-09 03:46 | 2017-01-09 07:35
CUA-PVD-01 | 09/Jan/2017 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 3 | Not Recorded |  | 07:35 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | MET/3965 | 30/Jan/2017 12:28 | samplewater | EPA 200.8 | Zinc | Total | ug/L | 1 | 50.0 | = | 1.00 | 1.00 | IP | Com | 1 |  |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375 | E1700092001 |  | 2017-01-09 03:46 | 2017-01-09 07:35
CUA-PVD-01 | 09/Jan/2017 | CIMP001 | WQ | Not Recorded | LACDPW-WMD | 2016-17 Wet 3 | Not Recorded |  | 07:35 | AutoSamplerStorm | Integrated | 1 | ISCO Auto Sampler | -88 | m | Bottom |  | WET/19422 | 21/Jan/2017 12:05 | samplewater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 10.0 | = | 2.00 | 2.00 | None | Com | 1 |  |  |  | SM 2340 C | 21/Jan/2017 12:05 | CIMP000000375 | E1700092001 |  | 2017-01-09 03:46 | 2017-01-09 07:35
LABQA | 21/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Bottom |  | WET/19422 | 21/Jan/2017 12:05 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 | 125 | = | 2.00 | 2.00 | None | Com | 1 | 126 |  |  | SM 2340 C | 21/Jan/2017 12:05 | CIMP000000375_LABQA | 191775 | PR 99.2
LABQA | 21/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | WET/19422 | 21/Jan/2017 12:05 | blankwater | SM 2340 C | Hardness as CaCO3 | Total | mg/L | 1 |  | ND | 2.00 | 2.00 | None | Com | 1 |  |  |  | SM 2340 C | 21/Jan/2017 12:05 | CIMP000000375_LABQA | 191774
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 10:45 | blankwater | EPA 200.8 | Copper | Dissolved | ug/L | 1 | 1080 | = | 0.500 | 0.500 | None | Com | 1 | 1050 |  |  | EPA 200.8 | 30/Jan/2017 10:45 | CIMP000000375_LABQA | 191834 | PR 103
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 10:45 | blankwater | EPA 200.8 | Lead | Dissolved | ug/L | 1 | 61.6 | = | 0.200 | 0.500 | None | Com | 1 | 64 |  |  | EPA 200.8 | 30/Jan/2017 10:45 | CIMP000000375_LABQA | 191834 | PR 96.2
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 10:45 | blankwater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 | 1520 | = | 1.00 | 1.00 | None | Com | 1 | 1500 |  |  | EPA 200.8 | 30/Jan/2017 10:45 | CIMP000000375_LABQA | 191834 | PR 101
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 11:40 | blankwater | EPA 200.8 | Copper | Total | ug/L | 1 | 1020 | = | 0.500 | 0.500 | None | Com | 1 | 1050 |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_LABQA | 191838 | PR 97.4
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 11:40 | blankwater | EPA 200.8 | Lead | Total | ug/L | 1 | 61.3 | = | 0.200 | 0.500 | None | Com | 1 | 64 |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_LABQA | 191838 | PR 95.7
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LCS | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 11:40 | blankwater | EPA 200.8 | Zinc | Total | ug/L | 1 | 1560 | = | 1.00 | 1.00 | None | Com | 1 | 1500 |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_LABQA | 191838 | PR 104
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 10:42 | blankwater | EPA 200.8 | Copper | Dissolved | ug/L | 1 |  | ND | 0.500 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 30/Jan/2017 10:42 | CIMP000000375_LABQA | 191833
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 10:42 | blankwater | EPA 200.8 | Lead | Dissolved | ug/L | 1 |  | ND | 0.200 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 30/Jan/2017 10:42 | CIMP000000375_LABQA | 191833
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3963 | 30/Jan/2017 10:42 | blankwater | EPA 200.8 | Zinc | Dissolved | ug/L | 1 |  | ND | 1.00 | 1.00 | None | Com | 1 |  |  |  | EPA 200.8 | 30/Jan/2017 10:42 | CIMP000000375_LABQA | 191833
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 11:37 | blankwater | EPA 200.8 | Copper | Total | ug/L | 1 |  | ND | 0.500 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_LABQA | 191837
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 11:37 | blankwater | EPA 200.8 | Lead | Total | ug/L | 1 |  | ND | 0.200 | 0.500 | None | Com | 1 |  |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_LABQA | 191837
LABQA | 23/Jan/2017 | CIMP001 | WQ | Not Recorded | ETL | 2016-17 Wet 3 | Not Recorded |  | 00:00 | Not Applicable | LabBlank | 1 | Not Applicable | -88 | m | Not Applicable |  | MET/3965 | 30/Jan/2017 11:37 | blankwater | EPA 200.8 | Zinc | Total | ug/L | 1 |  | ND | 1.00 | 1.00 | None | Com | 1 |  |  |  | EPA 200.8 | 23/Jan/2017 10:04 | CIMP000000375_LABQA | 191837
Formulas:
SampleStart = [SampleDate]+[CollectionTime]
SampleEnd = [SampleDate]+[CollectionTime]

## LabBatch
LabBatch | LabAgencyCode | LabSubmissionCode | BatchVerificationCode | SubmittingAgencyCode | LabBatchComments
MIC/9203 | ETL | NR | NR
MET/3930 | ETL | NR | NR
MET/3931 | ETL | NR | NR
WET/19118 | ETL | NR | NR
MIC/9285 | ETL | NR | NR
MET/3946 | ETL | NR | NR
MET/3948 | ETL | NR | NR
WET/19321 | ETL | NR | NR
MIC/9353 | ETL | NR | NR
MET/3963 | ETL | NR | NR
MET/3965 | ETL | NR | NR
WET/19422 | ETL | NR | NR