#### CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

#### SAN FRANCISCO BAY REGION

SELF-MONITORING PROGRAM

FOR

#### NAPA RIVER SALT MARSH – LOWER PONDS RESTORATION PROJECT

#### ORDER No. R2-2004-0063

### A.  GENERAL

- Reporting responsibilities of waste dischargers are specified in Sections 13225(a), 13267(b), 13383 and 13387(b) of the California Water Code, and in this Regional Board's Resolution No. 73-16.

- The principal purposes of a monitoring program by a waste discharger, also referred to as self-monitoring program, are: (1) to document compliance with waste discharge requirements and prohibitions established by this Regional Board, (2) to facilitate self-policing by the waste discharger in the prevention and abatement of pollution arising from waste discharge.

### B.  SAMPLING AND ANALYTICAL METHODS

- Sample collection, storage, and analyses shall be performed according to Code of Federal Regulations Title 40, Section 136 (40 CFR S136), or other methods approved and specified by the Executive Officer of this Regional Board.

- Water and soil analyses shall be performed by a laboratory approved for these analyses by the State Department of Health Services (DOHS), or a laboratory waived by the Executive Officer from obtaining a DOHS certification for these analyses, or by properly calibrated field equipment when approved by the Executive Officer of this Regional Board.

- The director of the laboratory whose name appears on the certification, or his/her laboratory supervisor who is directly responsible for the analytical work performed shall supervise all analytical work including appropriate quality assurance/quality control procedures in his/her laboratory and shall sign all reports of such work submitted to the Regional Board.

- All monitoring instruments and equipment shall be properly calibrated and maintained to ensure accuracy of measurements.

### C.  DEFINITION OF TERMS

- Grab sample is defined as an individual sample collected in a short period of time not exceeding 15 minutes.  It is used primarily in determining compliance with daily maximum limits and instantaneous maximum limits.  Grab samples represent only the condition that exists at the time the wastewater is collected.

- Duly authorized representative is one whose:

a.	Authorization is made in writing by a principal executive officer or ranking elected official;

b.	Authorization specifies either an individual or a position having responsibility for the overall operation of the regulated facility or activity, such chief engineer, project manager, or field supervisor.

- Instantaneous maximum is defined as the highest measurement obtained for the calendar day.

- Median of an ordered set of values is that value below and above which there is an equal number of values, or which is the arithmetic mean of the two middle levels, if there is no one middle value.

- Receiving waters refers to any water which actually or potentially receives surface water discharged from the Lower Ponds Project Area.  The receiving waters in this case are the Napa River and Napa Slough.

- Construction phase is defined as that period of time when the site is prepared for marsh restoration and includes all activities leading up to the restoration of tidal action.

- Construction phase activities are defined as all site activities including the movement of soil or sediment, such as placement of dredged material via slurry techniques, excavation of trenches and toe drains, and all other soil handling such as berm and levee construction.

- Post-construction phase is defined as the period of time beginning when site construction is substantially completed, and tidal action has been restored to Ponds 4 and 5.

- Post-construction phase activities are defined as all monitoring, site maintenance, and adaptive management activities which take place after construction is completed and tidal action has been restored to Ponds 4 and 5.

- Project boundary shall be defined as the limit of the receiving waters at mean low low water level, which is the topographic contour representing an elevation of 0 ft. NAVD88.

- Salinity reduction endpoint shall be considered to be achieved one year after the final day when the salinity in either Pond 4 or Pond 5 is measured to exceed ambient Napa River salinity by more than 10 parts per thousand (ppt).

- Monitoring period for purposes of reporting shall be defined as that period of time beginning on the day the levee separating Pond 4 from the Napa River is breached, and ending when the salinity reduction endpoint has been reached.

- Ambient Napa River salinity shall be defined as the salinity measure in the Napa River at a point 50 feet upcurrent from the breach in the levee separating Pond 4 from the Napa River.

### D.  SPECIFICATIONS FOR SAMPLING AND ANALYSES

The Discharger is required to perform sampling and analyses according to the schedule in Table A in accordance with the following conditions:

- Pond Water

a.	Grab samples of pond water shall be collected during periods of maximum peak discharge flows, and shall coincide with receiving waters sample days.

b.	If analytical results are received showing any instantaneous maximum limit is exceeded for any organic constituent, a confirmation sample shall be taken within 24 hours and results known within 24 hours of the sampling.

c.	If any instantaneous maximum limit for a constituent is exceeded in the confirmation sample(s), then the discharge shall be restricted to the extent practical, until the cause of the violation can be found and corrected.

d.	For other violations, the discharger shall implement procedures that are acceptable to the Executive Officer on a case by case basis.

- Receiving Waters

a.	Receiving water sampling shall be conducted on days coincident with pond water of effluent.

b.	In tidally-influenced receiving waters, samples shall be collected at each station on each sampling day during the period within 1 hour following low slack water.  Where sampling  at lower slack water period is not practical, sampling shall be performed during higher slack water period.

c.	Samples of downstream receiving water shall be collected within the discharge plume and downcurrent of the discharge point so as to be representative, unless otherwise stipulated.

d.	Samples of background receiving water shall be collected upcurrent of the discharge point.

e.	Samples shall be collected within one foot below the surface of the receiving water body, unless water depth is less than one foot, in which case a mid-depth sample shall be taken.

### E.  DESCRIPTION OF SAMPLING STATIONS

- A site plan drawing showing the location of all sampling points is included as Figure 1.  A site plan drawing showing the location of all sampling points shall be submitted with all monitoring reports submitted under this Plan.

- Receiving water sampling point NR-U shall be established at a point 50 feet upstream from the point of discharge into the receiving water, or if access is limited, at the first point upstream which is accessible.

- Receiving water sampling point NR-D shall be established at a point 50 feet downstream from the point of discharge into the receiving water, or if access is limited, at the first point downstream which is accessible.

### F.  STANDARD OBSERVATIONS

- Receiving Water

a.	Floating and suspended materials of waste origin (to include oil, grease, algae, and other macroscopic particulate matter):  presence or absence, source, and size of affected area.

b.	Discoloration and turbidity:  description of color, source, and size of affected area.

c.	Odor:  presence or absence, characterization, source, distance of travel, and wind direction.

d.	Evidence of beneficial water use:  presence of waterfowl or wildlife, fishermen, and other recreational activities in the vicinity of the sampling stations.

e.	Hydrographic condition, if relevant:

1)	Time and height of corrected high and low tides (corrected to nearest NOAA location for the sampling date and time of sample and collection).

2)	Depth of water columns and sampling depths.

f.	Weather condition:

1)	Air temperature.

2)	Wind - direction and estimated velocity.

3)	Precipitation - total precipitation during the previous  five days and on the day of observation.

- Pond Water

a.	Floating and suspended materials of waste origin (to include oil, grease, algae, and other macroscopic particulate matter):  presence or absence, source, and size of affected area.

b.	Discoloration and turbidity:  description of color, source, and size of affected area.

c.	Odor:  presence or absence, characterization, source, distance of travel, and wind direction.

d.	Evidence of beneficial water use:  presence of waterfowl or wildlife, fishermen, and other recreational activities in the vicinity of the sampling stations.

e.	Hydrographic condition, if relevant:

1)	Time and height of corrected high and low tides (corrected to nearest NOAA location for the sampling date and time of sample and collection).

2)	Depth of water columns and sampling depths.

f.	Weather condition:

1)	Air temperature.

2)	Wind - direction and estimated velocity.

3)	Precipitation - total precipitation during the previous five days and on the day of observation.

### G.  REPORTS TO BE FILED WITH THE REGIONAL BOARD

- Start-Up Report: A report on the start-up phase shall be submitted to the Regional Board no more than 45 days after the initial salinity reduction breach on the levee dividing Pond 4 and the Napa River has been created.  The Start-Up Report shall contain the same elements stipulated below under 2, Quarterly Self-Monitoring Reports, and shall include all data collected during the first 30 days following the breach of the Pond 4 levee.

- Quarterly Self-Monitoring Reports:  Written reports shall be submitted on a calendar quarter basis, not later than 30 days following the last day of the quarter. The reports shall be comprised of the following:

a.	Letter of Transmittal:  A letter transmitting self-monitoring reports should accompany each report.  Such a letter shall include identification of changes to the project design, and any unplanned releases or failures that may have occurred since the preparation of the previous self-monitoring report.  If unplanned releases are noted, then a discussion of the corrective actions taken or planned, and a time schedule for completion, shall be included.

b.	Map or Aerial Photograph:  A map or aerial photograph shall accompany the report showing sampling and observation station locations.

c.	Results of Analyses and Observations:  The report format shall be a format that is acceptable to the Executive Officer.

1)	If the discharger monitors any pollutant more frequently than required by this permit using test procedures approved under 40 CFR Part 136 or as specified in this permit, the results of this monitoring shall be included in the calculation and reporting of the data submitted in the Self-Monitoring Report.

2)	Calculations for all limitations that require averaging of measurements shall utilize an arithmetic mean unless otherwise specified in this permit.

3)	The report shall also include a table identifying by method number the analytical procedures used for analyses.  Any special methods shall be identified and should have prior approval of the Board's Executive Officer.

4)	Lab results shall be summarized in tabular form, but do not need to be included in the report.

- Annual Reports:  For monitoring activities associated with both the Construction Phase and the Salinity Reduction Phase, the Discharger shall submit an annual report to the Regional Board by January 30 of each year, covering the previous calendar year.  The annual report shall contain all data required for the fourth quarter in addition to summary data required for annual reporting.  This report may be submitted in lieu of the report for the fourth quarter of a calendar year.  The Annual Report shall contain both tabular and graphical summaries of the monitoring data obtained during the previous year.  In addition, the Annual Report shall contain a comprehensive discussion of the compliance record and the corrective actions taken or planned, which may be required to bring the Discharger into full compliance with Order No. R2-2004-0063.

- Final Report:  Reporting requirements under Order No. R2-2004-0063 will end after the salinity reduction endpoint has been reached, according to the criteria set forth under “Definitions”, above.  A Final Report will be submitted to the Regional Board that contains both tabular and graphical summaries of the monitoring data obtained during the entire Lower Ponds Project.  In addition, the Final Report shall contain a comprehensive discussion of the compliance record and the corrective actions taken.

- Spill Reports:  If any hazardous substance is discharged in or on any waters of the state, or discharged and deposited where it is, or probably will be discharged in or on any waters of the state, the discharger shall report such a discharge to this Regional Board, at (510) 622-2300 on weekdays during office hours from 8 a.m. to 5 p.m., and to the Office of Emergency Services at (800) 852-7550 during non-office hours.  A written report shall be filed with the Regional Board within five (5) working days and shall contain information relative to:

a.	nature of waste or pollutant,

b.	quantity involved,

c.	duration of incident,

d.	cause of spilling,

e.	Spill Prevention, Control, and Countermeasure Plan (SPCC) in effect, if any,

f.	estimated size of affected area,

g.	nature of effects (i.e., fish kill, discoloration of receiving water, etc.),

h.	corrective measures that have been taken or planned, and a schedule of these activities, and

i.	persons/agencies notified.

- Monitoring reports, and letters transmitting monitoring reports, shall be signed by a principal executive officer or ranking elected official of the Discharger, or by a duly authorized representative of that person.  The letter shall contain the following certification:  “I certify under penalty of law that this document and all attachments are prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who managed the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”

### H.  RECORDS TO BE MAINTAINED

- Written reports, laboratory analytical reports, maintenance records, and other records shall be maintained by the Discharger and retained for a minimum of five years.  This period of retention shall be extended during the course of any unresolved litigation regarding this discharge or when requested by the Regional Board or Regional Administrator of the U.S. Environmental Protection Agency, Region IX.  Such records shall show the following for each sample:

a.	Identity of sampling and observation stations by number.

b.	Date and time of sampling and/or observations.

c.	Method of sampling (See Section C - Definition of Terms).

d.	Complete procedure used, including method of preserving sample and identity and volumes of reagents used.  A reference to a specific section of Standard Methods is satisfactory.

e.	Calculations of results.

f.	Results of analyses and/or observations.

I, Bruce H. Wolfe, Executive Officer do hereby certify the foregoing Self-Monitoring Program:

- Has been developed in accordance with the procedure set forth in the Regional Board's Resolution No. 73-16 in order to obtain data and document compliance with waste discharge requirements established in Regional Board Order No. R2-2004-0063.

- Was adopted by the Board on July 21, 2004.

- May be revised by the Executive Officer pursuant to U.S. EPA regulations (40 CFR 122.36); other revisions may be ordered by the Regional Board.

_____________________

Bruce H. Wolfe

Executive Officer

Attachments:	Table A

Figure 1