CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

SELF-MONITORING PROGRAM

FOR

TESORO REFINING AND MARKETING COMPANY

CONOCOPHILLIPS COMPANY

CHEVRON ENVIRONMENTAL SERVICES COMPANY

TESORO GOLDEN EAGLE REFINERY

MARTINEZ, CONTRA COSTA COUNTY

ORDER NO. R2-2004-0056

CONSISTS OF

PART A

AND

PART B

PART A

A.  	AUTHORITY AND PURPOSE

For discharges of waste to land, water quality monitoring is required pursuant to the California Code of Regulations, Division 2, Title 27, Subdivision 1, Chapter 3, Subchapter 3, Sections 20380 through 20435.  The principal purposes of a self-monitoring program (SMP) are: (1) to document compliance with waste discharge requirements and prohibitions established by the Regional Board, (2) to facilitate self-policing by the waste Discharger(s) in the prevention and abatement of pollution arising from the waste discharge, (3) to develop or assist in the development of effluent standards of performance, and toxicity standards, and (4) to assist the Discharger(s) in complying with the requirements of Title 27.

B.  	MONITORING REQUIREMENTS

Monitoring refers to the measurement and sampling of environmental media, the making of standard observations in and around waste management units (WMUs) and Class II surface impoundments (surface impoundments), the inspection of containment and control facilities, and the monitoring of waste disposed in each WMU or surface impoundment.  Part B of this SMP indicates the specific types of monitoring required as well as the monitoring frequency and reporting schedule.  The following defines the types of monitoring that shall be required in Part B of this SMP.

Monitoring of Environmental Media

The Regional Board shall require monitoring of any of the following environmental media:

1.	Groundwater

2.	Surface water (streams, stormwater runoff, etc.)

3.	Leachate

Sample collection, storage, and analyses shall be performed according to the most recent version of EPA Standard Methods or in accordance with an approved sampling and analysis plan.  Water and waste analyses shall be performed by a California State-approved laboratory for the required analyses.  The director of the laboratory whose name appears on the certification shall supervise all analytical work in his/her laboratory and shall sign all reports of such work submitted to the Regional Board.  All monitoring instruments and equipment shall be properly calibrated and maintained to ensure accuracy of measurements.

Standard Observations

Standard observations refers to observations within the limits of each WMU and surface impoundment, at their perimeter, and of the receiving waters beyond their limits.  Standard observations include:

1.	WMUs and surface impoundments:

a.	Evidence of ponded water at any point on the WMU;

b.	Evidence of odors, including their presence or absence, characterization, source, and distance of travel from the WMU or surface impoundment;

- Evidence of erosion at a WMU or surface impoundment; and

- Daylighted waste at a WMU.

2.	Perimeter of WMUs and surface impoundments:

a.	Evidence of liquid leaving or entering the WMU or surface impoundment, estimated size of affected area and flow rate (show affected area on map);

b.	Evidence of odors, including their presence or absence, characterization, source, and distance of travel from the WMU or surface impoundment;

- Evidence of erosion at a WMU or surface impoundment; and

- Daylighted waste at a WMU.

3.	Receiving Waters:

a.	Floating and suspended materials of waste origin: including their presence or absence, source, and size of affected area;

b.	Discoloration and turbidity:  description of color, source, and size of affected area;

c.	Evidence of odors, presence or absence, characterization, source, and distance of travel form source;

d.	Evidence of beneficial use: presence of water associated with wildlife;

e.	Flow rate; and

f.	Weather conditions: wind direction and estimated velocity, total precipitation.

Facilities Inspections

Facilities inspections refers to the inspection of all containment and control structures and devices associated with WMUs and surface impoundments.  At this time, most units do not have these facilities.  However, future closure of units will likely include construction of similar facilities.  Containment and control facilities include the following:

1.	Leachate Collection and Removal System(s);

2.	Sedimentation Pond(s);

3.	Leachate Collection Tank(s);

4.	Perimeter diversion channels;

- Underdrain system(s); and

- Soil and groundwater remediation systems.

C. 	REPORTING REQUIREMENTS

Reporting responsibilities of waste Discharger(s) are specified in Sections 13225(a), 13267(b), 13383, and 13387(b) of the California Water Code and this Regional Board's Resolution No.73-16 and Title 27.  The monitoring frequency and reporting schedule are indicated in Part B of this SMP.  Each monitoring report shall include the following information:

1.	Transmittal Letter:  A letter transmitting essential points shall be included in each monitoring report.  The transmittal letter shall discuss any violations during the reporting period and actions taken or planned to correct the problem.  The letter shall also certify the completion of all monitoring requirements.  The letter shall be signed by the Discharger's principal executive officer or his/her duly authorized representative, and shall include a statement by the official, under penalty of perjury, that the report is true and correct to the best of the official's knowledge.

2.	Compliance Evaluation Summary:  Each monitoring report shall include a compliance evaluation summary containing the following information:

a.	A summary and certification of completion of all environmental media monitoring, standard observations, and facilities inspections;

b.	A graphic presentation of the velocity and direction of groundwater flow under/around each waste management unit and surface impoundment, based upon the past and present water level elevations and pertinent visual observations;

c.	A graphic demonstration (e.g., piezometric surface contour maps) of hydraulic containment and/or separation from groundwater beneath and around the perimeter of waste management units and surface impoundments where required;

d.	The quantity and types of wastes disposed of during the past quarter, and the locations of the disposal operations;

e.	A description of the waste stream including the percentage of each waste type (e.g., residential, commercial, industrial, construction/demolition, etc.);

- Map(s) or aerial photograph(s) showing observation and monitoring station locations;

- A written discussion of the groundwater analyses indicating any change in the quality of the groundwater. Increasing pollutant concentration trends as indicated by a Mann-Kendall non-parametric statistical analysis of concentration trends at the point of compliance for any WMU or surface impoundment shall be noted and flagged, and any exceedance of Trigger Levels within any perimeter segment well shall be noted and flagged;

g.	An evaluation of the effectiveness of the leachate monitoring/control facilities, including a summary of leachate management procedures, an evaluation of leachate buildup within each WMU and surface impoundment, a summary of leachate volumes removed from the units, and a discussion of the leachate disposal methods and leachate containment capacity for each WMU and surface impoundment; and

h.	The signature of the laboratory director whose name appears on the laboratory certification, indicating that he/she has supervised all analytical work in his/her laboratory.

3.	Appendices:  Include the following information in appendices, unless the information is already contained in an approved Sampling and Analysis Plan:

a.	New boring and well logs;

b.	Method and time of water level measurements;

c.	Purging methods and results including the type of pump used, pump placement in the well, pumping rate, equipment and methods used to monitor field pH, temperature, and conductivity, calibration of the field equipment, pH, temperature, conductivity, and turbidity measurements, well recovery time, and method of disposing of the purge water;

d.	Sampling procedures, field and travel blanks, number and description of duplicate samples, type of sample containers and preservatives used, the date and time of sampling, the name and qualifications of the person actually taking the samples, and any other relevant observations;

e.	Documentation of laboratory results, analytical methods, detection limits, and quality assurance/auality control (QA/QC) procedures for the required sampling, including:

(1)	Laboratory statements of results of analyses;

(2)	Descriptions of analytical methods used (note, if methods other than EPA approved methods or Standard Methods are used, the exact methodology must be submitted for review and approval by the Executive Officer prior to use);

(3)	Actual detection limits for each sample results (The methods of analyses and detection limits must be appropriate for the expected contaminants and concentrations); and

- Laboratory QA/QC information and results including analytical methods, detection limits, recovery rates, explanations for low recovery rates (less than 80%), equipment and method blanks, spikes and surrogates, and QA/QC sample frequency.

f.	A semiannual Mann-Kendall non-parametric statistical analysis of concentration trends.

The appendices need not include the actual laboratory analytical data sheets and QA/QC report summary, however, this information shall be provided upon request.

D.	ANNUAL REPORTING

The Discharger(s) shall submit an annual self-monitoring report to the Regional Board covering the previous calendar year.  The annual report must summarize all monitoring, investigation, and remedial activities that have occurred in the previous year.  The annual report shall include the following information for each monitoring event during the year required pursuant to this self-monitoring program, in addition to the transmittal letter and appendices described in Sections C.1 and C.3 of this self-monitoring program:

1.	Graphic Presentation:  Include site maps (plot plans) for each aquifer or water-bearing zone monitored that are drawn to a scale that remains constant from reporting period to reporting period.  These maps shall include the following information:

a.	Known or probable contaminant sources;

b.	Well locations;

c.	Groundwater elevation contours;

d.	Inferred groundwater flow direction(s);

e.	Extent of phase-separated product (NAPL);

f.	Extent of dissolved chemical constituents (isoconcentration maps); and

g.	Appropriate analytical results.

Line or bar graphs are helpful to illustrate variations in groundwater elevations, phase-separated product thickness, and dissolved chemical concentrations with time.  Geologic cross sections are required if new data is available and/or the previous interpretation of subsurface conditions has changed.  When required, geologic cross sections shall include the following:

h.	Vertical and lateral extent of contamination;

i.	Contaminant sources;

j.	Geologic structures;

k.	Soil lithology;

l.	Water table/piezometric surfaces;

m.	Sample locations;

n.	Sample analytical results; and

o.	Subsurface utilities and any other potential natural or manmade conduits for contaminant migration.

2.	Tabular Presentation:  Present all of the following data in one or more tables to show a chronological history and allow quick and easy reference:

a.	Well designations;

b.	Well location coordinates (latitude and longitude);

c.	Well construction (including top of well casing elevation, total well depth, screen interval depth below ground surface, and screen interval elevation);

d.	Groundwater depths;

e.	Groundwater elevations;

f.	Horizontal groundwater gradients;

g.	Vertical groundwater gradients (including comparison wells from different zones);

h.	Phase-separated product elevations;

i.	Phase-separated product thicknesses;

j.	Current analytical results (including analytical method and detection limits for each constituent);

k.	Historical analytical results (including the past five years unless otherwise requested);

l.	Measurement dates;

m.	Groundwater extraction, including:

(1)	Average daily extraction rate;

(2)	Total volume extracted for monitoring period; and

(3)	Cumulative total volume extracted since system inception.

n.	Contaminant mass removal, including:

(1)	Average daily removal rate;

(2)	Total mass removed for monitoring period; and

(3)	Cumulative total mass removed since system inception.

o.	Leachate volumes removed and disposed of, including leachate buildup in disposal units

3.	Discussion:  Provide a discussion of the field and laboratory results that includes the following information:

a.	Data Interpretations;

b.	Conclusions;

c.	Recommendations;

d.	Newly implemented or planned investigations & remedial measures;

e.	Data anomalies;

f.	Variations from protocols;

g.	Conditions of wells; and

h.	Effectiveness of leachate monitoring and control facilities.

E.	CONTINGENCY REPORTING

1.	The Discharger(s) shall report by telephone to the Regional Board, any discharge from the disposal area immediately after it is discovered.  The Discharger(s) shall submit a written report with the Regional Board within five days of discovery of any discharge.  The written report shall contain the following information:

a. 	a map showing the location(s) of discharge;

b. 	approximate flow rate;

c. 	nature of effects (e.g., all pertinent observations and analyses); and

d. 	corrective measures underway or proposed.

2.  	The Discharger(s) shall submit a written report to the Regional Board within seven days of determining that a statistically significant difference occurred between a self- monitoring sample set and an approved Water Quality Protection Standard (WQPS) or a trigger level exceedance in a perimeter segment-monitoring well.  The written report shall indicate what WQPS(s) have been exceeded.  The Discharger(s) shall immediately resample at the compliance point(s) where this difference has been found and analyze another sample set of at least four portions split in the laboratory from the source sample.

3.	If re-sampling and analysis confirms the earlier finding of a statistically significant difference between self-monitoring results and WQPS(s) the Discharger(s) shall submit to the Regional Board an amended Report of Waste Discharge as specified in Title 27, Section 20420 for establishment of an Evaluation Monitoring program meeting the requirements of Title 27, Section 20425.

4.	Within 180 days of determining statistically significant evidence of a release, the Discharger(s) shall submit to the Regional Board an engineering feasibility study for a Corrective Action Plan (CAP) necessary to meet the requirements of Title 27, Section 20430.  At a minimum, the feasibility study shall contain a detailed description of the corrective action measures that could be taken to achieve background concentrations for all constituents of concern.

F.  	ELECTRONIC REPORTING FORMAT

In addition to print submittals, all reports submitted pursuant to this self-monitoring program must be submitted as electronic files in PDF format.  The Regional Board has implemented a document imaging system, which is ultimately intended to reduce the need for printed report storage space and streamline the public file review process.  Documents in the imaging system may be viewed, and print copies made, by the public, during file reviews conducted at the Regional Board’s office.  PDF files can be created by converting the original electronic file format (e.g., Microsoft Word) and/or by scanning printed text, figures & tables.

Monitoring results shall also be provided electronically in Microsoft Excel® or similar spreadsheet format to provide an easy to review chronological summary of monitoring data, and to facilitate data computations and/or plotting that Regional Board staff may undertake during their review.  Data tables submitted in electronic spreadsheet format will not be included in the case file for public review.  Electronic tables shall include the following information:

1.	Well designations;

2.	Well location coordinates (latitude and longitude);

3.	Well construction (including top of well casing elevation, total well depth, screen interval depth below ground surface, and screen interval elevation);

4.	Groundwater depths and elevations (water levels);

6.	Phase-separated product thicknesses and elevations;

8.	Current analytical results by constituent of concern (including detection limits for each constituent);

9.	Historical analytical results (including the past five years unless otherwise requested); and

10.	Measurement dates.

All electronic files must be submitted on CD or diskette and included with the print report or uploaded to the Water Board’s FTP site.

G.  	MAINTENANCE OF WRITTEN RECORDS

Information required pursuant to this Self-Monitoring Program shall be maintained by the Discharger(s) for a minimum of five years.  The five-year period of retention shall be extended during the course of any unresolved litigation regarding this discharge or when requested by the Regional Board.

PART B

A.  	GENERAL MONITORING LOCATIONS AND FREQUENCY

1.	Groundwater, Surface Water, Storm Water, Leachate, and Landfill Gas

Environmental media shall be monitored at locations to be proposed by Discharger(s) twice per year and as required by facility NPDES permit

2.	Standard Observations

Standard observations shall be made for all WMUs and surface impoundments once per week and the results of the observations shall be documented.

3.	Facilities Inspections

All WMU and surface impoundment facilities shall be inspected at least once per week and the results of the inspections shall be documented.

4.	Waste Monitoring

Waste monitoring in surface impoundments shall occur as specified in Discharger’s NPDES permit and the results of the monitoring shall be documented.

B.  	DESCRIPTION OF OBSERVATION STATIONS AND SCHEDULE OF OBSERVATIONS

(to be proposed by Discharger(s) in revised Self-Monitoring Plan)

## C.  	POND WASTEWATER MONITORING

1.	Observe monthly and record a description of wastewater to include: type and volume of wastewater.

## D.  	ON-SITE OBSERVATIONS

(to be proposed by Discharger(s) in revised Self-Monitoring Plan)

Stations XX to XX: 	Weekly standard observations at receiving water stations (see section B., 2), a. above).

Stations XX to XX:  	Weekly standard observations of the WMUs and surface impoundment perimeter (see section B above).

Stations XX to XX: 	Weekly Standard observations of the WMUs and surface impoundments (see section B above).

## E.	SURFACE WATER, STORM WATER, GROUNDWATER, WASTEWATER, AND LEACHATE MONITORING

The Discharger(s) shall sample surface water, storm water, groundwater, wastewater, and leachate if not completed as part of NPDES permit.  Sampling frequency and analytes shall be proposed in revised SMP.

## F.	FACILITIES MONITORING

The Discharger(s) shall inspect all facilities to ensure proper and safe operation once per week and report biannually.  The facilities to be monitored shall include, but not be limited to:

- Leachate Collection and Removal System;

- Valves and piping in wastewater transfer piping;

- Exposed WMU or surface impoundment liners:

- Sedimentation ponds:

- Leachate collection tanks;

- Perimeter diversion trenches or channels;

- Underdrain systems; and

- Groundwater remediation systems.

G.	REPORTING SCHEDULE

The Discharger(s) shall submit self-monitoring reports per the schedule indicated in Table B.  Reports due at the same time may be combined into one report for convenience, as long as monitoring activities and results pertaining to each monitoring period are clearly distinguishable.

Table B		Reports and Due Dates

| Report | Period Covered | Period That Samples Are to be Collected | Report Due Date |
| --- | --- | --- | --- |
| Winter/Spring | January 1 to June 30 | March 1 to April 30 | June 30th |
| Summer/Fall | July 1 to December 31 | September 1 to October 31 | December 30th |
| Annual | January 1 To December 31 | - | December 30th |

Note: The annual report can be combined with the Discharger’s summer/fall semiannual report.

H.	CURRENT APPROVED ANALYTES FOR SMP

Attached Tables 1 – 3 summarize the current analytes fro the current SMP.

I, Bruce H. Wolfe, Executive Officer, hereby certify that the foregoing Self-Monitoring Program:

1.  	Has been developed in accordance with the procedures set forth in this Regional Board's Resolution No. 73-16 in order to obtain data and document compliance with waste discharge requirements established in this Regional Board's Order No. R2-2004-0056.

2.	Is effective on the date shown below.

3.	May be reviewed or modified at any time subsequent to the effective date, upon written notice from the Executive Officer.

____________________

Bruce H. Wolfe

Executive Officer

Date Ordered: July 21, 2004

Attachments:  	Tables 1-3

ATTACHMENTS