ATTACHMENT C

CALIFORNIA REGIONAL WATER QUALITY CONTROL PLAN

SAN FRANCISCO BAY REGION

SELF-MONITORING PROGRAM

for

East Bay Regional Park District, Regional Maintenance Activities

# I.	General

A.   Basis

Reporting responsibilities of the Project Proponent as “waste discharger” are specified in Sections 13225(a), 13267(b), 13268, 13383, 13387(b) of the California Water Code and this Board’s Resolution No. 73-167.

B.   Purpose

The principal purposes of a monitoring program by a discharger, also referred to as a Self-Monitoring Program, are to document compliance with effluent requirements and prohibitions established by this Board; facilitate self-policing by the discharger in the prevention and abatement of pollution arising from improper effluent; to develop or assist in the development of effluent or other limitations, discharge prohibitions, national standards of performance, pretreatment and toxicity standards; and to prepare water and wastewater quality inventories.

C.   Sampling and Methods

All monitoring instruments and equipment, including instruments and equipment used in field sampling and analysis, shall be properly calibrated and maintained to ensure accuracy of measurements.

# II.	Definition of Terms

Grab Sample is defined as an individual sample collected in a short period of time not exceeding 15 minutes.  Grab samples shall be collected during normal peak flows for the parameters of interest.  They are to be used primarily in determining compliance with daily maximum limits and instantaneous maximum limits.  Grab samples only represent the condition that exists at the time the water and effluent are collected.

Instantaneous Maximum is defined as the highest measurement obtained during a calendar day.

100 feet from the point of discharge is defined as 100 feet downstream of the dredging operation or from the center of the waste plume.

Active Site is defined as that portion of a channel or stream on which the project is being conducted and/or that may be subject to surface water flow during dredging.

Duly Authorized Representative is one whose:

a.	authorization is made in writing by a principal executive officer, or

b.	authorization specifies either an individual or a position having  responsibility for the overall operation of the regulated facility or activity (e.g., field supervisor, project manager, chief engineer).

# III.	Specifications for Sampling and Analyses

The Discharger is required to perform sampling and analyses as found in accordance with the following conditions and requirements:

# Sampling Locations

- Surface water sampling shall be conducted at the Active Site 100 feet downstream of the dredging operation. Prior to dredging, a background grab sample shall be collected upstream from the dredging site.  These samples shall be analyzed immediately onsite for the following constituents:

| # Constituents | # Type of Sample | # Units |
| --- | --- | --- |
| Turbidity | Grab | NTUs |
| PH | Grab | Not Applicable |
| Dissolved Oxygen | Grab | Mg/l |

2.   Samples shall be taken within one foot below the surface of the waterbody when possible.

3.	If analytical results for constituents analyzed on-site show that any instantaneous maximum limit is exceeded, confirmation samples shall be taken within two hours and every subsequent two hours, and analyzed for all constituents for which on-site analysis is required.  Sampling at this higher frequency shall continue until the exceedance has been corrected.

- If any instantaneous maximum limit for a constituent or constituents is exceeded, then the Discharger shall follow the following process to address the exceedance:

  - Identify source of exceedance;

  - Correct source of exceedance;

  - Resample to determine whether exceedance has been corrected.

5.   If any instantaneous maximum limit for a constituent or constituents is exceeded for a 12 hour period, then the Discharger shall immediately notify the 	Board by telephone and e-mail of the exceedance and on how they are correcting or will correct the exceedance.

6.   If any instantaneous maximum limit for a constituent or constituents is exceeded for a 24 hour period, then a violation shall have occurred and the dredging shall be terminated until the cause of the violation is found and sampling demonstrates that the exceedance has been corrected or when the Discharger has provided the Board with a corrective action plan, acceptable to the Executive Officer, that provides alternative methods of compliance.

7.	For other violations, the Discharger shall notify the Board immediately    whenever violations are detected and discharge shall not resume until the Discharger has provided the Board with a corrective action plan, acceptable to the Executive Officer, which provides alternative methods of compliance.

B.	Standard Observations

The following observations shall be recorded on every day of operation:

- Receiving Water:

      - Floating and suspended materials of waste origin (to include oil, grease, algae, and other macroscopic particulate matter):  presence or absence, source and size of affected area.

      - Discoloration and turbidity:  description of color, source and size of affected area.

      - Odor:  presence or absence, characterization, source, distance of travel and wind direction.

      - Hydrographic condition including:  time and height of corrected low and high tides; and depth of water columns and sampling depths.

      - Weather condition including:  air temperature, wind direction and velocity and precipitation.

- Effluent:

No effluent water discharge from active dredging sites or dredged material stockpile sites to any drainage is permitted.

- Progress and location of active dredging and control measures, noted on a map of the site.

C.	Records to be maintained

- Written reports, strip charts, calibration and maintenance records, and other records shall be maintained by the Discharger and accessible at all time.  Records shall be kept for a minimum of three years.  Records shall include notes and observations for each sample as follows:

      - Identification of each sampling and observation station.

      - Date and time of sampling.

      - Date and time analyses are started and completed and the name of the person conducting analyses.

      - Complete procedure used, including method of preserving or analyzing sample and identity and volumes or reagents used (if applicable).  A reference to a specific section of Standard Methods is satisfactory.

      - Calculations of results.

      - Results of analyses and/or observations.

- Records shall include a map or maps of the site showing the location of sediment sampling locations, discharge pipes, total volume of sediment dredged daily, etc. (if applicable).

# IV.	Reports to be filed with the Board

A.	Report of Permit Violations

In the event that this permit is violated, the Discharger shall notify Board staff by telephone immediately and shall notify Board staff in writing within seven calendar days.  A written report shall include time and date of incident, duration and estimated volume of discharge or bypass.  The report shall include a detailed discussion of the reasons for the non-compliance and what steps were or will be taken to correct the failure and prevent it from occurring again.

### Self Monitoring Reports

1.	Routine Maintenance Projects:

The Discharger shall submit written notification to the Board’s Executive Officer of proposed and completed projects including all maintenance, restoration and enhancement activities within the preceding quarter (quarterly reports).  Quarterly reports shall be submitted

whether or not, maintenance projects were conducted in that quarter.  These reports shall include pre-construction and post-construction photographs of the various projects.  Quarterly reports shall be submitted as follows:

a.	May 15th 	for the first quarter projects (Jan., Feb., & Mar.)

b.	August 15th 	for second quarter projects (Apr., May, & Jun.)

c.	November 15 	for third quarter projects (Jul., Aug., & Sept.)

d.	February 15th 	for fourth quarter projects (Oct., Nov., & Dec.)

2.	Completed Routine Maintenance Projects -- Annual Report:

Following the end of the fourth quarter, the discharger shall prepare and submit by February 15th of each year, a detailed report (annual report) on all completed routine maintenance projects. The annual report shall contain information regarding the various projects’ associated Nationwide Permits, project locations, length and width of impact areas and culverts; a description of the bio-engineering bank stabilization methods utilized; a rationale for selecting an alternate bank stabilization method shall be stated in the annual report, if bio-engineering bank stabilization was not implemented.

In addition, the annual report shall contain photographs of revegetated bank stabilization and enhanced and restored pond sites used as mitigation sites for temporal waterbody impacts. A current account of impacts and mitigation restoration shall also be included in the annual report.  If, necessary, contingency measures for all mitigation projects shall also be discussed and the discharger shall identify any special approaches or conditions utilized to complete the maintenance and mitigation projects.

3.	Mitigation for Wetland Impacts

a.	When a maintenance project has wetland impacts, including a wetland fill greater than 0.05 acre is proposed, the discharger shall submit a separate application for water quality certification. This application shall include a mitigation and monitoring proposal subject to approval by the Executive Officer.

b.	Maintenance projects that result in impacts of less than 0.05 acre of wetland shall be mitigated for on a 1:1 basis at the various restoration and enhancement sites located within the Discharger’s watershed.

c.	Impacted trees with diameters greater 4 inches shall be mitigated for on a 3:1 basis within the Discharger’s watershed in compliance with the Dept. of Fish and Game MOU.

d.	The Status of all compensatory mitigation for all temporary impacts to waterbodies and wetlands shall be discussed in the annual report (fourth quarter projects report included) due by February 15 of each year.  Photographs of vegetated wetland and riparian sites shall also be included and in addition, any contemplated wetland mitigation contingency measures shall be discussed in the annual report.

4.	Dredging Activities

For any single dredging activity per site greater than 200 cubic yards, the discharger shall submit a separate water quality certification application for dredging subject to the approval of the Executive Officer.  Following dredging activities, written reports shall be filed for each calendar month that dredging occurs and filed no later than the fifteenth of the following month.  The reports shall include the following:

- A transmittal letter that includes identification of changes to the project design and any unplanned releases or failures that have occurred.

- A monitoring report which details the magnitude of the releases or failures; any discharge limit exceedances; dates of all exceedances; cause of failures, releases or other violations; any corrective actions taken or planned; and the schedule for completion of corrective action(s).

c.	Reports and the letter transmitting reports shall be signed by a principal executive officer(s) of the Discharger or by a duly authorized representative of that person.

5.	Best Management Practices (BMPs)

- The Discharger shall submit a list of all BMPs applied to the various maintenance projects completed within each preceding quarter as part of the required quarterly reports described above.

- In addition, the annual report due on February 15th of each year (including the fourth quarter projects report) described under the annual report section, shall contain an overall evaluation of the effectiveness all BMPs applied during the preceding year including a proposal to refine BMPs, as well as, propose new BMPs if necessary.

Reports and the letter transmitting reports shall be signed by a principal executive officer(s) of the Discharger or by a duly authorized representative of that person.

I, Bruce H. Wolfe, Executive Officer, do hereby certify that the foregoing Self-Monitoring Program:

- Has been developed in accordance with the procedures set forth in this Board’s Resolution No. 73-16, in order to obtain data and document compliance with discharge requirements established in the Board Order No. R2-2004-0057.

- Was adopted by the Board on July 21, 2004.

- May be reviewed at any time subsequent to the effective date upon written notice from the Executive Officer or request from the Discharger, and revisions will be ordered by the Executive Officer or Board.

______________________________

BRUCE H. WOLFE

Executive Officer