September 2, 2004

Ms. Lila Tang, Chief

NPDES Division

California Regional Water Quality Control Board

San Francisco Bay Region – Region 2

1515 Clay Street, Suite 1400

Oakland, CA  94612

Fax No. 622-2405

Dear Ms. Tang:

Please find EBMUD comments on the Tentative Order NPDES No. CA0038440 and accompanying Self-Monitoring Program and Time Schedule Order.  We look forward to working with the Water Board and other interested stakeholders to continue to build upon the success of the East Bay Regional Wet Weather Program in protecting public health and water quality.

The following are specific comments on the Tentative Order, Time Schedule Order and Fact Sheet.  The comments on the Self-Monitoring Program are included with attached marked-up SMP.

# Time Schedule Order

- Finding 1.  East Bay Inflow and Infiltration Correction Program (I/ICP).  Because the East Bay Communities’ sewers are connected to EBMUD’s interceptors, excessive I/I from the East Bay Communities’ collection systems can force EBMUD’s interceptors to overflow untreated wastewater through the seven (7) five (5) designed overflow structures in EBMUD’s interceptor system.  The East Bay Communities and EBMUD initiated a 6-year East Bay I/I Study in 1980.  The I/I Study outlined recommendations for a sewer improvement program called the East Bay I/ICP.  Schedules to complete the I/ICP were developed for each member of the East Bay Communities.  The East Bay Communities and the Discharger started implementing the East Bay I/ICP in 1987.  Since then, the East Bay Communities have eliminated all known cross connections between sewer and storm drain systems, and 113 out of 115 sewer overflow points identified in the I/I Study as high threats to public health.

- Requirement A 4.  The Discharger shall continue its support of the East Bay Communities’ efforts to control inflow/infiltration (I/I).  By the date specified above, the Discharger shall lead support and facilitate the completion of a private lateral control program for the East Bay Communities’ sewer systems.  Discharger shall then support, as appropriate and consistent with the revised CDO, the implementation of the lateral program. [EBMUD does not have authority to lead this effort but will continue to support the East Bay Communities efforts on this activity as we have done for the past 15 years, through facilitating the Technical Advisory Board on I/I-related issues]

- Requirement A 5.  Urban runoff treatment.  The Discharger shall conduct feasibility studies on providing treatment at its wastewater treatment facilities for urban runoff treatment during dry weather conditions, or first flush of wet-weather storm event to assess possible mass offset opportunities for achieving compliance with water quality standards.  At a minimum, the studies shall estimate the amount of urban runoff that can be treated, piping for transportation of storm water to the treatment facilities, pollutants that may be removed through the treatment, and associated costs. [this section is not dealing with conventional pollutants and should be moved to a new section under Toxic Pollutants, B.3]

# Tentative Order

- Finding 20.  Discharges from these wet-weather treatment facilities do not achieve a minimum initial dilution of 10:1.  In issuing the previous Order, the Board granted the Discharger an exception for this prohibition because requiring achievement of 10:1 dilution would have placed an inordinate burden on the Discharger with minimum environmental benefit achieved.  The previous permit required the Discharger to conduct an environmental enhancement project to provide environmental benefits to San Francisco Bay.  The environmental enhancement projects completed under its requirement included design, printing and distribution K-1 and middle school curriculums on water recycling; and development of recycled water irrigation customer training guidebooks and videos.  The Discharger spent approximately $200,000 was required to spend $100,000 on these projects. [edit is a more accurate reflection of this effort]

- Finding 21  For this Order, the Board determines that the exception from discharge Prohibition No. 1 continues to be appropriate.  In support of granting this exception, this Order requires the Discharger to identify, and propose environmental enhancement projects in the affected watershed and complete these studies and/or projects prior to expiration of this Order or permit. The District is a leader in Pollution Prevention Projects and the Board would entertain a proposal from the District to expand or enhance some ongoing Pollution Prevention projects, such as applying the template developed from the U.C. Berkeley “mercury free” campus project to other educational institutions in the District’s service area.

- Finding 34.   For virtually all trace metals there are good and bad methods for quantification. This is recognized in the State Implementation Plan by including multiple methods for most contaminants.  For the element silver, inductively coupled plasma spectrometry (ICP) using EPA Method 200.7 is not considered the method of choice at low concentrations (i.e. <10 times the MDL) for several reasons: 1) The spectral line used for silver overlaps other elements (e.g. calcium) that in their presence creates an additive effect, which at face value implies that silver is present at higher concentrations than the true concentration. 2) The spectral line emitted by silver occurs at the very edge of the instrument’s chip making quantification extremely difficult and precision poor at low levels.  3) Finally, in wastewater there are matrix effects that make quantification below 10 times the MDL difficult for some elements, one of which is silver by ICP.  Because of the charring that takes place in a graphite furnace atomic absorption spectrometry (GFAA), these matrix effects leading to Type I errors (false positives) are eliminated.  The attached tables show that when the appropriate method was used for silver, SM (18)3113B GFAA, the silver values dropped up to two orders of magnitude.  In January 2002 the value for silver was reported at 13.4 ug/L using EPA 200.7, and during the next discharge event in March 2002 silver dropped two orders of magnitude to 0.37 ug/L and has remained below 1 ug/L since.  The only difference is a change of analytical method from EPA 200.7 to SM (18)3113B, GFAA in February 2002 after the 13267-letter was issued for the Wet Weather facilities.  The highest value seen for silver in the combined 38 samples collected from all three Wet Weather Facilities since February 2002 was 1.8 ug/L, well below the 2.2 ug/L water quality criteria.

- Finding 40.  Toxic substances are regulated by WQBELs derived from water quality objectives listed in the Basin Plan Tables 3-3 and 3-4, the NTR, U.S. EPA recommended criteria, the CTR, the SIP, and/or BPJ.  Numeric WQBELs are required for all constituents that have reasonable potential to cause or contribute to an excursion above any State WQO/WQC.  Reasonable potential is determined using the methodology outlined in the SIP.  If the Discharger demonstrates that the final limits will be infeasible to meet and provides justification for a compliance schedule, then interim limits are established, with compliance schedules to achieve the final limits.  Further details about the effluent limits are given in the associated Fact Sheet. [This statement should be deleted because it is contrary to the law as articulated by the Court of Appeal in CBE v. SWRCB (Tesoro), 109 Cal.App.4th 1089 (2003).  The Court held “that a WQBEL does not always have to be numeric” (109 Cal.App.4th at 1104) and approved a non-numeric WQBEL on the grounds that compliance with a numeric WQBEL was not feasible.  109 Cal.App.4th at 110-1106]

- Effluent Limitation 2. Toxic Substances.  Oakport.  Interim limits were calculated as the 99.87 percentile value for each constituent’s data set using the regression equation of the best-fit line for the log-transformed dataset.  For data sets with undetected values, the undetected values were set equal to the detection limit and summary statistics were calculated from the resulting data set.  The Oakport lead data set was the only data set with undetected values of the data sets used to calculate interim limits at the wet weather facilities.  The interim limit for lead at the Oakport facility was calculated to be 46 µg/L using this approach.  Assigning the same value to several data points artificially biases the data set to appear less variable with the result of yielding a lower standard deviation than may actually exist.  A more scientifically accurate approach is to use regression-on-order statistics (ROS) to assign values for undetected data that more accurately describes the data set’s variability (i.e., standard deviation).  ROS was applied to the Oakport lead data set using a method described in the literature. An interim limit of 53.7 µg/L was calculated using this method for the Oakport lead data set.  The ROS method more accurately describes the range of lead values in the effluent and therefore, EBMUD requests an interim limit of 53.7 µg/L because it is more representative of effluent conditions.

- Effluent Limitations 2. Toxic Substances.  Notes: (4) Mercury:  Effluent mercury monitoring shall be performed by using ultra-clean sampling and analysis techniques, with a minimum level of 0.002 g/L or lower.  Discharger may perform a study to show to the satisfaction of the Executive Officer that alternative sampling and analytical methods are capable of generating data of sufficient quality at the levels of mercury found in WWF effluent.

- Bacteriological Limits Study

Add New Finding:

X.  The Basin Plan specifies water quality objectives for both total and fecal coliform and, to date, the effluent limitation has been based on total coliform.  The Basin Plan (Table 4-2, footnote "d") allows the Board to substitute fecal coliform limits for total coliform limits, provided that it can be conclusively demonstrated through a program approved by the Board that such a substitution will not result in unacceptable adverse impacts on the receiving waters.

Add New footnote for the effluent limitation:

The Discharger may use alternate bacteriological limits of fecal coliform or enterococci limits from the Basin Plan instead of meeting total coliform limits if the Discharger can establish to the satisfaction of the Board that the use of the alternate bacteriological limits will not result in unacceptable adverse impacts on the beneficial uses of the receiving water.  During the study, the Discharger is exempt from the total coliform limit during the data collection period.  If there is a total coliform exceedance during the data collection period, the Discharger shall demonstrate the exceedance is due to the study in order for the exemption to apply.

Add New Provision:

### X.  Optional

The Discharger may conduct a receiving water beneficial use study to assess the appropriateness of testing for fecal coliform and/or enterococci instead of total coliform concentrations in compliance with Basin Plan bacteriological objectives. Depending on the results of the final study, the permit may be amended to specify total coliform, fecal coliform, or enterococci limits.

| Tasks | Compliance Date |
| --- | --- |
| a. Develop a study plan, acceptable to the Executive Officer, to include selection and justification for alternate bacteriological limit, and tasks and schedules necessary to assess the beneficial uses attributed to the outfall location. | Within 2 years after permit adoption |
| b. Following approval by the Executive Officer commence work in accordance with the study plan and time schedule submitted pursuant to the approved plan. | Within 1 year after approval of study workplan by Executive Officer |
| c. Submit a final report, acceptable to the Executive Officer, documenting the results of the beneficial use investigation described above. | 6 months after the data collection is completed |

During the study, the Discharger is exempt from the total coliform limit during the data collection period.  If there is a total coliform exceedance during the data collection period, the Discharger shall demonstrate the exceedance is due to the study in order for the exemption to apply.

Fact Sheet

1)	Specific Rationale 1. Technology Based Effluent Limits. … However, because of recent changes in policy determination that requires the Board is imposing a Time Schedule Order (“TSO”), concurrent with this Permit that requires the Discharger to investigate, over the next five years, the feasibility of compliance with, or to make progress towards compliance with secondary treatment standards. [there has not been any definitive change in policy]

Sincerely,

DAVID R. WILLIAMS

Director of Wastewater

DRW:BKH:dlp

Attachments:

1 – Marked-up Self-Monitoring Program

2 – Supporting data for Silver RP comment

W:\nab\esd\bkh\wet weather permit\wet weather comment letter.doc

Helsel, D.R., U.S. Geological Survey.  Less than obvious – Statistical Treatment of data below the detection limit.  Environmental Science & Technology. Vol. 24, No. 12. p.1766-1774.  1990.