1Environmental Advocates

Building 1004B O’Reilly Avenue

San Francisco, California   94129

(415) 561-2222, ext. 108

Fax:  (320) 205-3163

August 30, 2004

Ann Powell

California Regional Water Quality Control Board

San Francisco Bay Region

1515 Clay Street, Suite 1400

Oakland, CA 94612

Re:	NPDES PERMIT and WASTE DISCHARGE REQUIREMENTS for East Bay Municipal Utility District, Special District 1, Wet Weather Facilities (WWFs), Alameda County

NPDES Permit No. CA0038440

Dear Ms. Powell:

On behalf of Our Children’s Earth Foundation, Ecological Rights Foundation, Bluewater Network, and the San Francisco Bay Chapter of the Sierra Club, (collectively Commenters) Environmental Advocates hereby submits the following comments to the Draft NPDES permit for the East Bay Municipal Utility District (EBMUD) wet weather facilities (WWFs).

Commenters hereby request to be placed on any list of interested persons to be notified of any further proceedings before the Bay Area Regional Water Quality Control Board (Regional Board,) or the State Board concerning this permit.  Please send any notices to:

Christopher Sproul

Rachel Shapiro

Jodene Isaacs

Environmental Advocates

1004 O'Reilly Avenue

San Francisco, California  94129

Tel:  (415) 561-2222, Fax:  (415) 561-2223

email:  sproul@sbcglobal.net, rshapiro@shapiro-firm.com, isaacsj@sbcglobal.net

Commenters also request that the Board consider our Petition currently pending in front of the State Board (SWRCB/OCC FILE A-1641) and the following to be public comments to be included in the administrative record accompanying consideration of approval of Draft Permit.

COMMENTS ON THE DRAFT PERMIT

INTRODUCTION

OUR CHILDREN’S EARTH FOUNDATION (OCE) is a non-profit organization dedicated to protecting the public, especially children, from the health impacts of pollution and other environmental hazards and to improving environmental quality for the public benefit.  OCE, based in San Francisco, has a particular interest in protecting waters from pollution and degradation within the Regional Board’s jurisdiction.

ECOLOGICAL RIGHTS FOUNDATION (ERF) is an environmental public interest organization and a California not-for-profit corporation which particularly focuses on protecting California waters from pollution and degradation.  ERF represents citizens who are striving to protect these waterways from pollution and secure the multitude of public and private benefits that follow from clean, vibrant waters: safe drinking water, abundant and diverse wildlife populations, healthy recreational opportunities, economic prosperity from commercial fishing, and other commercial activities that depend on clean water.

BLUEWATER NETWORK represents approximately 2,000 members, several hundred of whom live in the immediate San Francisco Bay Area.  These individuals and their families have a personal stake in the health of the Bay and the quality of its water, both of which are jeopardized by pollution in the Bay and Delta waterways, which Bluewater Network’s member use for swimming, kayaking, windsurfing, and fishing.

THE SIERRA CLUB, SAN FRANCISCO BAY CHAPTER “Bay Chapter” has about 40,000 members in the counties of Alameda, Contra Costa, Marin, and San Francisco who recreate and otherwise enjoy the waters of San Francisco Bay.  The Bay Chapter focuses on a number of water quality issues in and around San Francisco Bay including issues pertaining to wetlands, watershed hydrology, water quality/storm water runoff, and bay and estuary habitat protection.

While Commenters are pleased to see the Regional Board is moving towards re-issuing the long overdue NPDES permit for EBMUD’s WWFs, they see two major problems with the draft permit.

First, the Draft Permit fails to define the WWFs as a publicly owned treatment works (POTW) and impose secondary treatment limitations. For reasons set forth below, the Regional Board’s conclusion that EBMUD’s WWFs are not part of a POTW is erroneous, and secondary treatment limitations should be imposed.

Second, the draft permit includes compliance schedules that will delete Water Quality Based Effluent Limitations (WQBELs) for all the toxic priority pollutants that EBMUD discharges at levels that exceed WQBELs.  The Regional Board intends to set interim permit limits set at levels expressly calculated such that EBMUD can comply with them.  This approach is objectionable and unlawful.

EBMUD’S WWFs ARE POTWs AND SHOULD BE SUBJECT TO SECONDARY TREATMENT LIMITATIONS

CWA section 301(b)(1)(B) requires NPDES permit writers to impose effluent limitations on POTWs based on “secondary treatment as defined by the Administrator.”  33 U.S.C. § 1311(b)(1)(B).  The term “publicly owned treatment works” is used extensively in Subchapter II of the CWA, which governs federal grants to municipalities “for the construction of publicly owned treatment works.”  CWA § 201(g)(1), 33 U.S.C. § 1281(g)(1).  CWA section 201(g) specifically authorizes grants for “any project within the definition set forth in section 1292(2) of this title. . . .”  In turn, CWA section 212(2), 33 U.S.C. section 1292(2), defines the term “treatment works” as:

any devices and systems used in the storage, treatment, recycling, and reclamation of municipal sewage or industrial wastes of a liquid nature to implement section 1281 of this title . . . including intercepting sewers, outfall sewers, sewage collection systems, pumping, power, and other equipment, and their appurtenances; extensions, improvements, remodeling, additions, and alterations thereof; elements essential to provide a reliable recycled supply such as standby treatment units and clear well facilities; and any works,  including site acquisition of the land that will be an integral part of the treatment process (including land used for the storage of treated wastewater in land treatment systems prior to land application) or is used for ultimate disposal of residues resulting from such treatment.

While Congress provided the definition recited above in the context of defining POTWs for the purposes of issuing federal grants, the CWA provides no other definition of the term “publicly owned treatment works.”  Having defined the term “publicly owned treatment works” earlier in the Act and omitted any further definition, Congress must be presumed to have intended the term to have the same meaning in CWA section 301(b)(1)(B).  33 U.S.C § 1311(b)(1)(B).  As the peak wet weather flow facilities are “devices and systems used in the . . . treatment . . . of municipal sewage,” it would seem immutable that the EBMUD wet weather facilities are “publicly owned treatment works” within the meaning of CWA section 301(b)(1)(B).  Id.

This is reinforced by EPA’s CWA regulations, which further define “publicly owned treatment works:

The term Publicly Owned Treatment Works or POTW means a treatment works as defined by section 212 of the [Clean Water] Act, which is owned by a State or municipality (as defined by section 502(4) of the Act).  This definition includes any devices and systems used in the storage, treatment, recycling and reclamation of municipal sewage or industrial wastes of a liquid nature.  It also includes sewers, pipes and other conveyances only if they convey wastewater to a POTW Treatment Plant.  The term also means the municipality as defined in section 502(4) of the Act, which has jurisdiction over the Indirect Discharges to and the discharges from such a treatment works.

40 C.F.R. § 403.3(o); see 40 C.F.R. § 122.2 (incorporating 40 C.F.R. § 403.3 by reference).

EPA regulations further define POTW Treatment Plant as:

The term POTW Treatment Plant means that portion of the POTW which is designed to provide treatment (including recycling and reclamation) of municipal sewage and industrial waste.

40 C.F.R. § 403.3(p).

The EBMUD wet weather facilities are designed “to provide treatment of municipal sewage” and thus under EPA regulations are both POTW Treatment Plants and part of a POTW.

If these facilities are publicly owned treatment works, then EPA’s secondary treatment regulation requires the Regional Board to impose 30-day average BOD and TSS effluent limitations not to exceed 30 mg/l and 7-day average BOD5 and TSS limitations not to exceed 45 mg/l.  In addition, the Regional Board must impose effluent limitations requiring 85% removal of influent BOD and TSS.  40 C.F.R. § 133.102.

In the draft permit the Regional Board has tentatively concluded that the EBMUD wet weather facilities are not publicly owned treatment works and thus are not subject to EPA’s secondary treatment regulation.  The Regional Board tentatively concluded it may set conventional pollutant (BOD and TSS are conventional pollutants) limits on the EBMUD wet weather facilities based on CWA section 301(b)(2)(E), which requires permit writers “for categories and classes of point sources, other than “publicly owned treatment works” to impose limitations based on BCT.  33 U.S.C. § 1311(b)(2)(E).

Moreover, because there is no effluent guideline published by EPA under CWA section 304, 33 U.S.C. § 1314, establishing BCT for such wet weather facilities, the Regional Board has tentatively concluded it has wide discretion to set BCT-based limits for the EBMUD wet weather facilities using its “best professional judgment.”  The Regional Board has proposed to set BCT-based limits on total coliform, residual chlorine, and pH only and omit any limitations for BOD and TSS.  Instead, the Permit will only require “a BOD5 and TSS removal efficiency study,” the results of which will be provided to the Regional Board at the end of the permit term.  Provisions E.3.

The Regional Board explains its rationale as follows:

[A] June 18, 1986 letter [from EPA] concludes that "EBMUD's wet weather overflow structures are not POTWs" and, therefore, not subject to secondary treatment limitations.  This conclusion was based on U.S. EPA's finding that the sewers functioned similarly to combined sewers due to high I/I, and that the wet weather overflow structures did not convey flow to EBMUD's wastewater treatment plant.  Hence, at that time U.S. EPA concluded that the overflow structures were not POTWs and were, thus, obligated to meet requirements based on the application of best conventional pollutant control technology (BCT) and best available technology economically achievable (BAT), rather than secondary treatment technology.  This would be consistent with U.S. EPA's Combined Sewer Overflow (CSO) Policy (April 19, 1994, at 59 Fed. Reg. 18688. ) if, in fact, the discharges were from combined sewer systems.  The 1986 letter, however, states that, while some of the facilities were at one time combined sewers, the sewers have since been separated.  Releases from the collection system are, therefore, not covered by the CSO Policy.  The EBMUD and the contributing  communities’ collection system are separate sanitary sewers designed to convey wastewater to EBMUD's wastewater treatment plant.  As such, it is U.S. EPA's belief that any releases from the collection system and discharges from the wastewater treatment plant must, at a minimum, meet secondary treatment requirements.  U.S. EPA intends to issue a letter, which will supersede the 1986 letter, confirming this belief.  For this permit, however, U.S. EPA acknowledges that it is appropriate to renew this permit on the basis of U.S. EPA's 1986 letter.

Tentative Order No. R2-2004-xxxx, NPDES Permit No. CA0038440, Findings ¶ 14.c.3.

EPA conclusion, as stated by the Regional Board in the draft permit, is that the WWFs are POTWs within the meaning of the CWA and are thus required to use secondary treatment limitations. The Regional Board contends that it has not yet received this position in writing, and thus will allow EBMUD to operate the WWFs for another five years based on an eighteen year old letter that the EPA has since repudiated.

The Regional Board’s tentative conclusion not to treat the WWFs as part of a POTW is in clear violation of the CWA. Commenters recommend this tentative conclusion be reconsidered in light of the comments set forth above.  The Regional Board should impose secondary treatment effluent limitations in the NPDES permit issued to the WWFs, i.e., enforceable effluent limitations requiring the WWFs effluent not to exceed 30 mg/l BOD and TSS as a thirty-day average value and 45 mg/l BOD and TSS as a seven-day average value.

THE DRAFT PERMIT IMPROPERLY EMPLOYES A COMPLIANCE SCHEDULE IN VIOLATION OF THE CWA

## Regional Board has proposed granting EBMUD a compliance schedule for WQBELs in the permit based on EBMUD’s contention that it is infeasible to comply with effluent limits before 2010. Thus, the proposed permit establishes a five-year compliance schedule of December 30, 2009 for final limits based on CTR or NTR criteria (e.g., copper, silver, and cyanide), and a compliance schedule of March 31, 2010 for final limits based on Basin Plan objectives (e.g., mercury, nickel and zinc).  Commenters believe the use of a compliance schedule violates the Clean Water Act and urges the Regional Board to consider inserting meaningful effluent limitations in the terms of the permit.

## The Proposed Permit Authorizes Compliance Schedules that Illegally Delay Achievement of Water Quality Standards.

The Clean Water Act mandates that:

there shall be achieved . . . not later than July 1, 1977, any more stringent limitations, including those necessary to meet water quality standards, treatment standards, or schedules of compliance, established pursuant to any State law or regulations . . . or any other Federal law or regulation, or required to implement any applicable water quality standard established pursuant to this chapter.

CWA § 301(b)(1)(C), 33 U.S.C. § 1311(b)(1)(C) (emphasis added).  Despite this unambiguous, 27-year-old statutory deadline for achieving water quality-based effluent limitations, the proposed permit authorizes compliance schedules that give EBMUD at least 5 more years more to achieve water quality-based effluent limitations for priority toxic pollutants.

Because EBMUD alleges it is infeasible to achieve immediate compliance with the CTR criterion or the effluent limitation based on a CTR criterion for copper, silver, cyanide, mercury, nickel and zinc, the proposed permit omits water quality-based effluent limits on these parameters and instead imposes  a compliance schedule and interim permit limits far more lenient that water quality-based effluent limits.  In so doing, the permit gives EBMUD an extension for meeting water quality-based effluent limits that extends far beyond the statutory deadline in CWA section 301(b)(1)(C) for achieving water quality-based effluent limitations.  33 U.S.C. § 1311(b)(1)(C).  This approach is blatantly illegal and, if upheld, would directly undermine the water quality standards that are the heart of the Clean Water Act.

### The Proposed Permit Illegally Extends Compliance Beyond the Statutory Deadline of July 1, 1977.

CWA section 301(b)(1)(C) mandates that water quality-based effluent limitations be achieved by July 1, 1977, and section 402(b)(1)(A) authorizes the issuance of permits that comply with the section 301 mandate.  33 U.S.C. §§ 1311(b)(1)(C), 1342(b)(1)(A).  The Regional Board’s attempt to authorize EBMUD’s permit with compliance schedules beyond that date (or the date the effluent limitations are applied to the discharger) violates the statutory deadline and guarantees that the objectives of the Clean Water Act will not be achieved.

#### Section 301(b)(1)(C) establishes a firm deadline for complying with water quality-based effluent limitations.

Numerous courts have held that neither the EPA nor the states have the authority to extend the deadlines for compliance established by Congress in CWA section 301(b)(1).  33 U.S.C. §1311(b)(1); See State Water Control Board v. Train, 559 F.2d 921, 924-25 (4th Cir. 1977) ("Section 301(b)(1)'s effluent limitations are, on their face, unconditional."); Bethlehem Steel Corp. v. Train, 544 F.2d 657, 661 (3d Cir. 1976), cert. denied sub nom. Bethlehem Steel Corp. v. Quarles, 430 U.S. 975 (1977) ("Although we are sympathetic to the plight of Bethlehem and similarly situated dischargers, examination of the terms of the statute, the legislative history of [the Clean Water Act] and the case law has convinced us that July 1, 1977 was intended by Congress to be a rigid guidepost").

This deadline applies equally to technology-based effluent limitations and water quality-based effluent limitations.  See Dioxin/Organochlorine Ctr. v. Rasmussen, 1993 WL 484888 at *3 (W.D. Wash. 1993), aff'd sub nom. Dioxin/Organochlorine Ctr. v. Clarke, 57 F.3d 1517 (9th Cir. 1995) (“The Act required the adoption by the EPA of ‘any more stringent limitation, including those necessary to meet water quality standards,’ by July 1, 1977.”) (citation omitted); Longview Fibre Co. v. Rasmussen, 980 F.2d 1307, 1312, (9th Cir. 1992) (“[Section 1311(b)(1)(C)] requires achievement of the described limitations ‘not later than July 1, 1977.’ ”) (citation omitted).  Any discharger not in compliance with a water quality-based effluent limitation after July 1, 1977, violates this clear congressional mandate.  See Save Our Bays and Beaches v. City & County of Honolulu, 904 F. Supp. 1098, 1122-23 (D. Haw. 1994).

Congress provided no blanket authority in the Clean Water Act for extensions of the July 1, 1977, deadline, but it did provide authority for the states to foreshorten the deadline.  Section 1313(f) of the Clean Water Act provides that:

[n]othing in this section [1313] shall be construed to affect any effluent limitations or schedule of compliance required by any State to be implemented prior to the dates set forth in section 1311(b)(1) and 1311(b)(2) of this title nor to preclude any State from requiring compliance with any effluent limitation or schedule of compliance at dates earlier than such dates.

33 U.S.C. § 1313(f) (emphasis added).  Because the statute contains explicit authority to expedite the compliance deadline but not to extend it, the Regional Board may not authorize extensions beyond this deadline in discharge permits.

#### The July 1, 1977, deadline applies even where water quality standards are established after that date.

The July 1, 1977, deadline for achieving water quality-based effluent limitations applies equally even if the applicable water quality standards are established after the compliance deadline.  Section 1311(b)(1)(C) requires the achievement of “more stringent limitations necessary to meet water quality standards . . . established pursuant to any State law . . . or required to implement any applicable water quality standard established pursuant to this chapter.” 33 U.S.C. § 1311(b)(1)(C) (emphasis added).  Congress understood that new water quality standards would be established after the July 1, 1977, statutory deadline; indeed, Congress mandated this by requiring states to review and revise their water quality standards every three years.  See Id. § 1313(c).  Yet Congress did not draw a distinction between achievement of water quality standards established before the deadline and those established after the deadline.

Prior to July 1, 1977, therefore, a discharger could be allowed some time to comply with an otherwise applicable water quality-based effluent limitation.  Beginning on July 1, 1977, however, dischargers were required to comply as of the date of permit issuance with water quality-based effluent limitations, including those necessary to meet standards established subsequent to the compliance deadline.

#### Congress has authorized limited extensions for specific purposes, precluding exceptions for other purposes.

In the Clean Water Act Amendments of 1977, Congress provided limited extensions of the July 1, 1977, deadline for achieving water quality-based effluent limitations.  In CWA section 301(i), Congress provided that “publicly-owned treatment works” (“POTWs”) that must undertake new construction in order to achieve the effluent limitations, and need federal funding to complete the construction, may be eligible for a compliance schedule that may be “in no event later than July 1, 1988.” 33 U.S.C. § 1311(i)(1) (emphasis added).  Congress provided for the same limited extension for industrial dischargers that discharge into a POTW that received an extension under section 1311(i)(1).  See Id. § 1311(i)(2).  In addition, dischargers that are not eligible for the time extensions provided by section 1311(i) but that do discharge into a POTW, may be eligible for a compliance schedule of no later than July 1, 1983.  See Id. § 1319(a)(6).

The fact that Congress explicitly authorized certain extensions indicates that it did not intend to allow others which it did not explicitly authorize.  In Homestake Mining, the Eighth Circuit held that an enforcement extension authorized by section 1319(a)(2)(B) for technology-based effluent limitations did not also extend the deadline for achievement of water quality-based effluent limitations.  595 F.2d at 427-28.  The court pointed to Congress' decision to extend only specified deadlines:

Having specifically referred to water quality-based limitations in the contemporaneously enacted and similar subsection [1319](a)(6), the inference is inescapable that Congress intended to exclude extensions for water quality-based permits under subsection [1319](a)(5) by referring therein only to Section [1311](b)(1)(A).

Id. at 428 (citation omitted).  By the same reasoning, where Congress extended the deadline for achieving effluent limitations for specific categories of discharges and otherwise left the July 1, 1977, deadline intact, there is no statutory basis for otherwise extending the deadline.

#### Schedules of compliance may be issued only to facilitate, not to avoid, achievement of effluent limitations by the statutory deadline.

The Clean Water Act defines the term effluent limitation as:

any restriction established . . . on quantities, rates, and concentrations of chemical, physical, biological, and other constituents which are discharged from point sources into navigable waters, the waters of the contiguous zone, or the ocean, including schedules of compliance.

33 U.S.C. § 1362(11).  The term schedule of compliance is defined, in turn, as “a schedule of remedial measures including an enforceable sequence of actions or operations leading to compliance with an effluent limitation, other limitation, prohibition, or standard.”  Id. § 1362(17).  The purpose of a compliance schedule is to facilitate compliance with an effluent limitation by the applicable deadline by inserting interim goals along the way:

A definition of effluent limitations has been included so that control requirements are not met by narrative statements of obligation, but rather are specific requirements of specificity as to the quantities, rates, and concentration of physical, chemical, biological and other constituents discharged from point sources. It is also made clear that the term effluent limitation includes schedules and time tables of compliance. The Committee has added a definition of schedules and time-tables of compliance so that it is clear that enforcement of effluent limitations is not withheld until the final date required for achievement.

S. Rep. No. 92-414, at 77, reprinted in 1972 U.S.C.C.A.N. 3668 (Oct. 28, 1971) (emphasis added).  Thus, Congress authorized compliance schedules, not to extend its deadlines for achievement of effluent limitations, but to facilitate achievement by the prescribed deadlines.

In United States Steel Corp., the industry plaintiff argued that 33 U.S.C. § 1311(b)(1)(C) allows the July 1, 1977, deadline to be met simply by beginning action on a schedule of compliance that eventually would result in achieving the technology- and water quality-based limitations.  556 F.2d at 855.  The Court of Appeals disagreed:

We reject this contorted reading of the statute.  We recognize that the definition of 'effluent limitation' includes 'schedules of compliance,' section [1362(11)], which are themselves defined as 'schedules . . . of actions or operations leading to compliance' with limitations imposed under the Act.  Section [1362(17)].  It is clear to us, however, that section [1311(b)(1)] requires point sources to achieve the effluent limitations based on BPT or state law, not merely to be in the process of achieving them, by July 1, 1977.

Id.  Thus, compliance schedule may not be used as a means of evading, rather than meeting, the deadline for achieving water quality-based effluent limitations.

#### States may not issue permits containing effluent limitations that are less stringent than those required by the Clean Water Act.

Finally, a compliance schedule that extends beyond the statutory deadline would amount to a less stringent effluent limit than is required by the Clean Water Act.  States, however, are explicitly prohibited from establishing or enforcing effluent limitations less stringent than is required by the Clean Water Act.  See 33 U.S.C. § 1370; Water Code §§ 13372, 13377.  The clear language of the statute, bolstered by the legislative history and case law, establishes unambiguously that compliance schedules extending beyond the July 1, 1977, deadline may not be issued in discharge permits.  The proposed permit, however, purports to do just that.  By authorizing the issuance of permits that delay achievement of effluent limitations for over thirty years beyond Congress' deadline, the proposed permit makes a mockery of the CWA section 301(b)(1)(C) deadline and exceeds the scope of the Regional Board’s authority under the Clean Water Act and the Porter-Cologne Act.  33 U.S.C. § 1311(b)(1)(C).

### Regional Board Use of Compliance Schedules Evades Citizen and Federal Enforcement of Dischargers.

The Regional Board’s use of compliance schedules immunizes dischargers from judicial enforcement actions by EPA and/or citizen environmental groups, and thus prevents EPA and citizens from having the tool of securing court enforceable orders directing dischargers to come into compliance with WQBELs.  EPA and citizens thus lose the oversight tool and stakeholder status that Congress intended for them to have, leaving the Regional Boards with the sole authority to dictate the steps that must be taken to comply with WQBELs.  This approach ignores “Congress’ clear intention . . . that citizen plaintiffs are not to be treated as ‘nuisances or troublemakers’ but rather as ‘welcomed participants in the vindication of environmental interests.’”  Proffitt v. Municipal Auth. of the Borough of Morrisville, 716 F. Supp. 837, 844 (E.D. Pa. 1989) (quoting Friends of the Earth v. Carey, 535 F.2d 165, 172 (2d Cir. 1976); see also Sierra Club v. Chevron U.S.A., Inc., 834 F.2d. at 1525 (9th Cir. underscoring that citizen suits perform important public function); Atlantic States Legal Foundation, Inc. v. Tyson Foods, Inc., 897 F.2d 1128, 1136 (11th Cir. 1990) (“citizen suits are an important supplement to government enforcement of the Clean Water Act, given that the government has only limited resources to bring to its own enforcement actions.”); Save Our Bays & Beaches v. City and County of Honolulu, 904 F. Supp. 1098, 1125 (D. Ha. 1994).

The Regional Board’s approach further assumes that when compliance with WQBELs is economically or technically infeasible for a discharger, the proper response is to allow that discharger to continue to pollute at levels that are impairing water quality and causing WQS to be violated until it is feasible for the discharger to curtail its pollution.  This, however, is flatly contrary to Congress’ intent in enacting the CWA.  Congress mandated that WQBELs must be set at a level necessary to ensure WQS attainment regardless of economic and technological restraints.  Ackels v. EPA  7 F.3d 862, 865-66 (9th Cir. 1993); Defenders of Wildlife v. Browner 191 F.3d 1159, 1163 (9th Cir. 1999); Oklahoma v. EPA, 908 F.2d 595, 597-98 (10th Cir. 1990); rev’d on other grounds Arkansas v. Oklahoma, 503 US 91 (1992); accord In the Matter of: NPDES for City of Fayetteville, 1988 EPA App. LEXIS 35, *13; 2 E.A.D. 594 (June 28, 1988) (“The meaning of [the CWA] is plain and straightforward.  It requires unequivocal compliance with applicable water quality standards, and does not make any exceptions for cost or technological feasibility. . . . “).  Congress further mandated a strict deadline, long since passed, for achieving WQBELs designed to assure attainment with WQS:  July 1, 1977.  33 U.S.C. § 1311(b)(1)(C).

As the U.S. Supreme Court has observed, Congress foresaw and accepted that implementing the sweeping policies of the CWA would impose economic hardship, including the closing of some plants:

Prior to the passage of the [Clean Water] Act, Congress had before it a report jointly prepared by EPA, the Commerce Department, and the Council on Environmental Quality on the impact of the pollution control measures on industry.  That report estimated that there would be 200 to 300 plant closings caused by the first set of pollution limitations.  Comments in the Senate debate were explicit:  ‘There is no doubt that we will suffer some disruptions in our economy because of these efforts; many marginal plants may be forced to close.”

EPA v. National Crushed Stone, 449 U.S. 64, 80 (1980).  As another federal court has observed, “The CWA is strong medicine . . . .”  Texas Municipal Power Agency, 836 F.2d at 1488.  Congress further intended that any lack of currently available pollution control technology was not to slow attainment of CWA goals of clean water.  As the D.C. Circuit explained, Congress intended the Act to be “technology-forcing,” i.e., to force the development of new treatment methods:

[T]he most salient characteristic of [the CWA] statutory scheme, articulated time and again by its architects and embedded in the statutory language, is that it is technology-forcing.… The essential purpose of this series of progressively more demanding

. . . standards was not only to stimulate but to press development of new, more efficient and effective technologies.

NRDC v. EPA, 822 F.2d 104, 123 (D.C. Cir. 1987); see also NRDC v. Train, 510 F.2d 692, 695-97 (D.C. Cir. 1974).

The compliance schedule approach adopted by the Regional Board is simply re-writing the CWA and ignoring Congress’ clear dictates.  If a polluter is causing WQS to be violated, the law is clear:  that polluter should be forced to stop polluting.

In situations where curtailing pollution would require closing of a facility that would result in “substantial and widespread economic and social impact,” the State has some discretion to relax its WQS if justified by a rigorous “use attainability analysis” (UAA), a “structured scientific assessment of the factors affecting the attainment of the use which may include physical, chemical, biological, an economic factors.” 40 C.F.R. §§ 131.3(g), 131.10(g).  Only when the rigorous analysis in a UAA demonstrates that the benefits of protecting water resources are clearly outweighed by the cost can WQS be relaxed, and only then with public participation: The State must further provide public notice, comment, and hearing opportunity before relaxing WQS. 40 C.F.R. § 131.10(e).  Thus, the compliance schedule approach is an end-run around the UAA process.

In conclusion, the proposed permit’s provision for a five year compliance schedule for copper, silver, cyanide, mercury, nickel, and zinc is inconsistent with federal regulations that mandate compliance “as soon as possible.”  See 40 C.F.R. § 122.47(a)(1).  For the aforementioned reasons, Commenters urge that you drop the compliance schedule provisions from the proposed EBMUD permit.

CONCLUSION

For the reasons expressed above, Commenters respectfully urge the Regional Board to classify EBMUD’s WWFs as part of a POTW and thus subject to secondary treatment standards.  Commenters further urge the State Board to abandon the proposed compliance schedule and implement WQBELs as soon as possible.

Sincerely,

___________________

Jodene Isaacs

Christopher Sproul

Rachel Shapiro

Attorneys for  OUR CHILDREN’S EARTH FOUNDATION, ECOLOGICAL RIGHTS FOUNDATION, BLUEWATER NETWORK, AND SIERRA CLUB BAY CHAPTER

See also United States v. Homestake Mining Co., 595 F.2d 421, 429 (8th Cir. 1979) (holding that, in its 1977 amendments, Congress did not extend the July 1, 1977, deadline of [1311](b)(1)(C) for water quality-based effluent limitations); Alton Box Board Co. v. U. S. Environmental Protection Agency, 592 F.2d 395, 397 (7th Cir. 1979) (“Also by July 1, 1977, the statute required compliance with any more stringent state standards.”); United States Steel Corp. v. Train, 556 F.2d 822, 847 (7th Cir. 1977) (July 1, 1977, deadline is mandatory); Alabama ex rel. Baxley v. Environmental Protection Agency, 557 F.2d 1101, 1113 & n.14 (5th Cir. 1977) (“[S]ection [1311](b)(1)(C) . . . requires achievement by July 1, 1977, of effluent limitations more stringent than [technology standards] . . . .”).  During the proceedings leading to enactment of the 1977 amendments, Congress expressly approved of this series of decisions:  “Under existing law there are no circumstances that justify a time for compliance extending beyond July 1, 1977.”  S. Rep. No. 95-370 at 60, reprinted in 1997 U.S.C.C.A.N. 4326, 4385 (July 28, 1977) (emphasis added); see also Id. at 8, reprinted in 1997 U.S.C.C.A.N. at 4334 (“The committee expects the Administrator . . . to proceed swiftly to enforce effluent limitations applicable to pollutants . . . which would clearly interfere with attainment and maintenance of that water quality which assures the protection of public water supplies and the protection and propagation of a balanced, indigenous population of fish, shellfish, and wildlife, and allows recreational activities, in and on the water.”).

Describing the parallel provision for technology-based effluent limitations, the EPA has explained that permits not granted an extension [under provisions discussed below] “must contain a requirement to meet secondary limits at the time of issuance, since (as stated above) the final compliance date . . . was July 1, 1977.”  Save Our Bays, 904 F. Supp. at 1123 (quoting a 1985 EPA Memorandum) (emphasis added).

Thus, to the extent that the Regional Board justifies the issuance of discharge permits with compliance schedules after July 1, 1977, on an EPA administrative decision entitled In the Matter of Star-Kist Caribe, Inc., 24 ELR 40009 (NPDES Appeal No. 88-5) (May 26, 1992), that justification is unfounded because the decision misinterprets the statutory definitions.  In Star-Kist Caribe, the EPA Appeals Board held that compliance schedules were no longer available for effluent limitations based on water quality standards established before July 1, 1977, but could be available for effluent limitations based on standards established after July 1, 1977.  The Appeals Board reached this conclusion by wrongly interpreting “compliance schedule” as a component of the water quality standard itself.  Water quality standards consist of three components only — designated uses, criteria to protect those uses, and an antidegradation policy.  See 40 C.F.R. § 131.6.  Under the definitions cited above, compliance schedules are a component of effluent limitations, not of water quality standards.  Neither the regulation nor the definitions allow room for the Appeals Board’s erroneous interpretation of the term “compliance schedule.”