## Criteria
| Is it a RB2 facility (Y/N)? | Y
| Hardness (mg/L CaCO3) | 400 | For Cd, Cr(III), Cu, Pb, Ni, Ag, Zn - not applicable to Se
| pH (s.u.) | 8.3
|  | Lowest (most stringent) Criteria e | Basin Plan Objectives (ug/L)- Regional Board 2 |  | Basin Plan SSO |  | Basin Plan Objectives (ug/L)- Regional Board 2 | [7 empty] | CTR Water Quality Criteria (ug/L)
|  |  | from Table 4-3 |  | South Bay south of Dumbarton Bridge |  | Freshwater (from Table 3-4) |  |  |  | Saltwater (from Table 3-3) |  |  |  | Freshwater |  | Saltwater |  | Human Health for consumption of: |  | Factors for Metals Freshwater Criteria Calculation |  |  |  | Conversion Factor (CF) |  |  |  | Site-Specific Translators
# in CTR | PRIORITY POLLUTANTS |  | Shallow Water | Deep Water (24-hr) | acute | chronic | 4-day | 1-hr | 24-hr | Max | 4-day | 1-hr | 24-hr | Max | CMC (acute) | CCC (chronic) | CMC (acute) | CCC (chronic) | Water & organisms | Organisms only | ma | ba | mc | bc | freshwater acute criteria | freshwater chronic criteria | saltwater acute criteria | saltwater chronic criteria | Acute | Chronic
|  | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L
1 | Antimony | 4300 | [17 empty] | 4300
2 | Arsenic | 36 | [12 empty] | 340 | 150 | 69 | 36 | [6 empty] | 1 | 1 | 1 | 1
3 | Beryllium | No Criteria
4 | Cadmium | 7.3119 | [12 empty] | 21.578 | 7.3119 | 42.2535 | 9.3561 |  |  | 1.128 | -3.6867 | 0.7852 | -2.715 | 0.886 | 0.851 | 0.994 | 0.994
5a | Chromium (III) or total | 644.2001 | [12 empty] | 5404.6202 | 644.2001 |  |  |  |  | 0.819 | 3.688 | 0.819 | 1.561 | 0.316 | 0.86
5b | Chromium (VI) | 11 | [12 empty] | 16.2933 | 11 | 1107.7543 | 50.3525 | [6 empty] | 0.982 | 0.962 | 0.993 | 0.993
6 | Copper | 13.0189 |  |  | 20.3774 | 13.0189 | [8 empty] | 51.6845 | 30.4994 |  |  |  |  | 0.9422 | -1.7 | 0.8545 | -1.702 | 0.96 | 0.96 | 0.83 | 0.83 | 0.53 | 0.53
7 | Lead | 8.5174 | [12 empty] | 476.8178 | 18.5809 | 220.8202 | 8.5174 |  |  | 1.273 | -1.46 | 1.273 | -4.705 | 0.589 | 0.589 | 0.951 | 0.951
8 | Mercury | 0.051 | [17 empty] | 0.051
9 | Nickel | 27.0455 |  |  | 141.8182 | 27.0455 | [8 empty] | 1515.9218 | 168.541 |  |  |  | 4600 | 0.846 | 2.255 | 0.846 | 0.0584 | 0.998 | 0.997 | 0.99 | 0.99 | 0.44 | 0.44
10 | Selenium | 5 | [12 empty] | 20 | 5 | 290 | 71 | [8 empty] | 0.998 | 0.998
11 | Silver | 2.2 | [12 empty] | 44.0497 |  | 2.2353 |  |  |  | 1.72 | -6.52 |  |  | 0.85 |  | 0.85
12 | Thallium | 6.3 | [17 empty] | 6.3
13 | Zinc | 90.9091 | [12 empty] | 387.8303 | 387.8303 | 100.4228 | 90.9091 |  |  | 0.8473 | 0.884 | 0.8473 | 0.884 | 0.978 | 0.986 | 0.946 | 0.946
14 | Cyanide | 1 | [12 empty] | 22 | 5.2 | 1 | 1 |  | 220000
15 | Asbestos | No Criteria
| TCDD TEQ | 1.4e-08 | [17 empty] | 1.4e-08
17 | Acrolein | 780 | [17 empty] | 780
18 | Acrylonitrile | 0.66 | [17 empty] | 0.66
19 | Benzene | 71 | [17 empty] | 71
20 | Bromoform | 360 | [17 empty] | 360
21 | Carbon Tetrachloride | 4.4 | [17 empty] | 4.4
22 | Chlorobenzene | 21000 | [17 empty] | 21000
23 | Chlordibromomethane | 34 | [17 empty] | 34
24 | Chloroethane | No Criteria
25 | 2-Chloroethylvinyl Ether | No Criteria
26 | Chloroform | No Criteria
27 | Dichlorobromomethane | 46 | [17 empty] | 46
28 | 1,1-Dichloroethane | No Criteria
29 | 1,2-Dichloroethane | 99 | [17 empty] | 99
30 | 1,1-Dichloroethylene | 3.2 | [17 empty] | 3.2
31 | 1,2-Dichloropropane | 39 | [17 empty] | 39
32 | 1,3-Dichloropropylene | 1700 | [17 empty] | 1700
33 | Ethylbenzene | 29000 | [17 empty] | 29000
34 | Methyl Bromide | 4000 | [17 empty] | 4000
35 | Methyl Chloride | No Criteria
36 | Methylene Chloride | 1600 | [17 empty] | 1600
37 | 1,1,2,2-Tetrachloroethane | 11 | [17 empty] | 11
38 | Tetrachloroethylene | 8.85 | [17 empty] | 8.85
39 | Toluene | 200000 | [17 empty] | 200000
40 | 1,2-Trans-Dichloroethylene | 140000 | [17 empty] | 140000
41 | 1,1,1-Trichloroethane | No Criteria
42 | 1,1,2-Trichloroethane | 42 | [17 empty] | 42
43 | Trichloroethylene | 81 | [17 empty] | 81
44 | Vinyl Chloride | 525 | [17 empty] | 525
45 | Chlorophenol | 400 | [17 empty] | 400
46 | 2,4-Dichlorophenol | 790 | [17 empty] | 790
47 | 2,4-Dimethylphenol | 2300 | [17 empty] | 2300
48 | 2-Methyl-4,6-Dinitrophenol | 765 | [17 empty] | 765
49 | 2,4-Dinitrophenol | 14000 | [17 empty] | 14000
50 | 2-Nitrophenol | No Criteria
51 | 4-Nitrophenol | No Criteria
52 | 3-Methyl-4-Chlorophenol | No Criteria
53 | Pentachlorophenol | 7.9 | [12 empty] | 32.2172 | 24.7172 | 13 | 7.9 |  | 8.2
54 | Phenol | 4600000 | [17 empty] | 4600000
55 | 2,4,6-Trichlorophenol | 6.5 | [17 empty] | 6.5
56 | Acenaphthene | 2700 | [17 empty] | 2700
57 | Acenephthylene | No Criteria
58 | Anthracene | 110000 | [17 empty] | 110000
59 | Benzidine | 0.00054 | [17 empty] | 0.00054
60 | Benzo(a)Anthracene | 0.049 | [17 empty] | 0.049
61 | Benzo(a)Pyrene | 0.049 | [17 empty] | 0.049
62 | Benzo(b)Fluoranthene | 0.049 | [17 empty] | 0.049
63 | Benzo(ghi)Perylene | No Criteria
64 | Benzo(k)Fluoranthene | 0.049 | [17 empty] | 0.049
65 | Bis(2-Chloroethoxy)Methane | No Criteria
66 | Bis(2-Chloroethyl)Ether | 1.4 | [17 empty] | 1.4
67 | Bis(2-Chloroisopropyl)Ether | 170000 | [17 empty] | 170000
68 | Bis(2-Ethylhexyl)Phthalate | 5.9 | [17 empty] | 5.9
69 | 4-Bromophenyl Phenyl Ether | No Criteria
70 | Butylbenzyl Phthalate | 5200 | [17 empty] | 5200
71 | 2-Chloronaphthalene | 4300 | [17 empty] | 4300
72 | 4-Chlorophenyl Phenyl Ether | No Criteria
73 | Chrysene | 0.049 | [17 empty] | 0.049
74 | Dibenzo(a,h)Anthracene | 0.049 | [17 empty] | 0.049
75 | 1,2-Dichlorobenzene | 17000 | [17 empty] | 17000
76 | 1,3-Dichlorobenzene | 2600 | [17 empty] | 2600
77 | 1,4-Dichlorobenzene | 2600 | [17 empty] | 2600
78 | 3,3'-Dichlorobenzidine | 0.077 | [17 empty] | 0.077
79 | Diethyl Phthalate | 120000 | [17 empty] | 120000
80 | Dimethyl Phthalate | 2900000 | [17 empty] | 2900000
81 | Di-n-Butyl Phthalate | 12000 | [17 empty] | 12000
82 | 2,4-Dinitrotoluene | 9.1 | [17 empty] | 9.1
83 | 2,6-Dinitrotoluene | No Criteria
84 | Di-n-Octyl Phthalate | No Criteria
85 | 1,2-Diphenylhydrazine | 0.54 | [17 empty] | 0.54
86 | Fluoranthene | 370 | [17 empty] | 370
87 | Fluorene | 14000 | [17 empty] | 14000
88 | Hexachlorobenzene | 0.00077 | [17 empty] | 0.00077
89 | Hexachlorobutadiene | 50 | [17 empty] | 50
90 | Hexachlorocyclopentadiene | 17000 | [17 empty] | 17000
91 | Hexachloroethane | 8.9 | [17 empty] | 8.9
92 | Indeno(1,2,3-cd) Pyrene | 0.049 | [17 empty] | 0.049
93 | Isophorone | 600 | [17 empty] | 600
94 | naphthalene | No Criteria
95 | Nitrobenzene | 1900 | [17 empty] | 1900
96 | N-Nitrosodimethylamine | 8.1 | [17 empty] | 8.1
97 | N-Nitrosodi-n-Propylamine | 1.4 | [17 empty] | 1.4
98 | N-Nitrosodiphenylamine | 16 | [17 empty] | 16
99 | Phenanthrene | No Criteria
100 | Pyrene | 11000 | [17 empty] | 11000
101 | 1,2,4-Trichlorobenzene | No Criteria
102 | Aldrin | 0.00014 | [12 empty] | 3 |  | 1.3 |  |  | 0.00014
103 | alpha-BHC | 0.013 | [17 empty] | 0.013
104 | beta-BHC | 0.046 | [17 empty] | 0.046
105 | gamma-BHC | 0.063 | [12 empty] | 0.95 |  | 0.16 |  |  | 0.063
106 | delta-BHC | No Criteria
107 | Chlordane | 0.00059 | [12 empty] | 2.4 | 0.0043 | 0.09 | 0.004 |  | 0.00059
108 | 4,4-DDT | 0.00059 | [12 empty] | 1.1 | 0.001 | 0.13 | 0.001 |  | 0.00059
109 | 4,4-DDE | 0.00059 | [17 empty] | 0.00059
110 | 4,4-DDD | 0.00084 | [17 empty] | 0.00084
111 | Dieldrin | 0.00014 | [12 empty] | 0.24 | 0.056 | 0.71 | 0.0019 |  | 0.00014
112 | alpha-Endosulfan | 0.0087 | [12 empty] | 0.22 | 0.056 | 0.034 | 0.0087 |  | 240
113 | beta-Endosulfan | 0.0087 | [12 empty] | 0.22 | 0.056 | 0.034 | 0.0087 |  | 240
114 | Endosulfan Sulfate | 240 | [17 empty] | 240
115 | Endrin | 0.0023 | [12 empty] | 0.086 | 0.036 | 0.037 | 0.0023 |  | 0.81
116 | Endrin Aldehyde | 0.81 | [17 empty] | 0.81
117 | Heptachlor | 0.00021 | [12 empty] | 0.52 | 0.0038 | 0.053 | 0.0036 |  | 0.00021
118 | Heptchlor Epoxide | 0.00011 | [12 empty] | 0.52 | 0.0038 | 0.053 | 0.0036 |  | 0.00011
119-125 | PCBs sum (3) | 0.00017 | [13 empty] | 0.014 |  | 0.03 |  | 0.00017
126 | Toxaphene | 0.0002 | [12 empty] | 0.73 | 0.0002 | 0.21 | 0.0002 |  | 0.00075
| Tributyltin | 0.01 | [8 empty] | 0.01
| Total PAHs | 15 | [10 empty] | 15
15
Notes:
(1) | Receiving body: Plummer Creek minimum hardness = 400 mg/L as CaCO3 (most values greater than 400 mg/L)
(2) | PCBs sum refers to sum of PCB 1016, 1221, 1232, 1242, 1248, 1254, and 1260
Note on B1: RB2: BP criteria selected for As, Cd, Cr, Pb, Hg, Ni, Se, Ag, Zn, and CN - for waters in the region except for South Bay below Dumbarton Bridge.
Note on C130: 0.005 in SJSC RPA, needs to check
Note on L6: Scott Keen: Criteria for copper and nickel reflect site-specifc objectives established by amendment of the Basin Plan with Resolution R2-2002-0061. Criteria below are expressed as total recoverable metal after application of metal translators of 0.53 and 0.44 for copper and nickel, respectively, to the criteria established by amendment to the Basin Plan.
Note on L130: It is an EPA revised criteria (sw). For details, see email from RB2 (LR).
Note on P6: Scott Keen: expressed as total recoverable metal
Note on P12: used eq in paragraph b(2) - page 31717 of CTR
Note on P13: used eq in paragraph b(2) - page 31717 of CTR
Note on P15: used eq in paragraph b(2) - page 31717 of CTR
Note on P16: used eq in paragraph b(2) - page 31717 of CTR
Note on P18: used eq in paragraph b(2) - page 31717 of CTR
Note on P19: see footnote 'p'
Note on P20: used eq in paragraph b(2) - page 31717 of CTR
Note on P22: used eq in paragraph b(2) - page 31717 of CTR
Note on P62: see footnote 'f'
Note on Q12: used eq in paragraph b(2) - page 31717 of CTR
Note on Q13: used eq in paragraph b(2) - page 31717 of CTR
Note on Q15: used eq in paragraph b(2) - page 31717 of CTR
Note on Q16: used eq in paragraph b(2) - page 31717 of CTR
Note on Q18: used eq in paragraph b(2) - page 31717 of CTR
Note on Q22: used eq in paragraph b(2) - page 31717 of CTR
Note on Q62: see footnote 'f'
Note on R6: Scott Keen: expressed as total recoverable metal
Note on V6: Table 1 of paragraph b(2) - page 31717 of CTR
Note on V12: These reflect the values in the CTR, not the revised Cd criteria/factors published in April 2000.
Note on Z6: Table 2 of paragraph b(2) - page 31717 of CTR
Note on Z12: used eq in Table 3 of paragraph (b)(2)- page 31717 of CTR
Note on Z16: used eq in Table 3 of paragraph (b)(2)- page 31717 of CTR
Note on AA12: used eq in Table 3 of paragraph (b)(2)- page 31717 of CTR
Note on AA16: used eq in Table 3 of paragraph (b)(2)- page 31717 of CTR
Note on AD15: from Resolution No. R2-2002-0061
Note on AD18: from Resolution No. R2-2002-0061
Note on AE15: from Resolution No. R2-2002-0061
Note on AE18: from Resolution No. R2-2002-0061

## data input for RPA
|  | EFFLUENT DATA |  |  |  |  | BACKGROUND DATA (B)
| Constituent name | Effluent Data Available (Y/N)? | Are all data points non-detects (Y/N)? | If all data points ND Enter the min detection limit (MDL) (ug/L) | Enter the pollutant effluent detected max conc (ug/L) |  | B Available (Y/N)? | Are all B non-detects (Y/N)? | If all data points ND Enter the min detection limit (MDL) (ug/L) |  |  | 7) Review other information in the SIP page 4. If information is unavailable or insufficient: 8) the RWQCB shall establish interim monitoring requirements.
[6 empty] | Input Check |  |  |  | Enter the Detected Maximum Background Conc | Input Check
1 | Antimony | Y | N |  | 71.1 |  | Y | N |  | 3.9
2 | Arsenic | Y | N |  | 13.3 |  | Y | N |  | 34.8
3 | Beryllium | Y | Y | 0.1 |  |  | Y | Y | 0.1 |  |  | No Criteria
4 | Cadmium | Y | Y | 0.02 |  |  | Y | Y | 0.02
5a | Chromium (III) | N |  |  |  |  | N
5b | Chromium (VI) | Y | Y | 2 |  |  | Y | Y | 2
6 | Copper | Y | N |  | 46.1 |  | Y | N |  | 57.7
7 | Lead | Y | N |  | 110 |  | Y | N |  | 4.6
8 | Mercury | Y | N |  | 0.0051 |  | Y | N |  | 0.0136
9 | Nickel | Y | N |  | 20 |  | Y | N |  | 16
10 | Selenium | Y | N |  | 41 |  | Y | N |  | 144
11 | Silver | Y | N |  | 1.55 |  | Y | Y | 0.08
12 | Thallium | Y | N |  | 0.3 |  | Y | N |  | 0.17
13 | Zinc | Y | N |  | 113 |  | Y | N |  | 117
14 | Cyanide | Y | Y | 2 |  |  | Y | N |  | 30
15 | Asbestos | N |  |  |  |  | N |  |  |  |  | No Criteria
| TCDD TEQ | Y | N |  | 5.9e-06 |  | Y | N |  | 6.01e-05
17 | Acrolein | Y | Y | 2.5 |  |  | Y | Y | 2.5
18 | Acrylonitrile | Y | Y | 1 |  |  | Y | Y | 1
19 | Benzene | Y | Y | 0.5 |  |  | Y | Y | 0.5
20 | Bromoform | Y | Y | 0.5 |  |  | Y | Y | 0.5
21 | Carbon Tetrachloride | Y | Y | 0.5 |  |  | Y | Y | 0.5
22 | Chlorobenzene | Y | Y | 0.5 |  |  | Y | Y | 0.5
23 | Chlorodibromomethane | Y | Y | 0.5 |  |  | Y | Y | 0.5
24 | Chloroethane | Y | Y | 0.5 |  |  | Y | Y | 0.5 |  |  | No Criteria
25 | 2-Chloroethylvinyl ether | Y | Y | 0.5 |  |  | Y | Y | 0.5 |  |  | No Criteria
26 | Chloroform | Y | Y | 0.5 |  |  | Y | Y | 0.5 |  |  | No Criteria
27 | Dichlorobromomethane | Y | Y | 0.5 |  |  | Y | Y | 0.5
28 | 1,1-Dichloroethane | Y | Y | 0.5 |  |  | Y | Y | 0.5 |  |  | No Criteria
29 | 1,2-Dichloroethane | Y | Y | 0.5 |  |  | Y | Y | 0.5
30 | 1,1-Dichloroethylene | Y | Y | 0.5 |  |  | Y | Y | 0.5
31 | 1,2-Dichloropropane | Y | Y | 0.5 |  |  | Y | Y | 0.5
32 | 1,3-Dichloropropylene | Y | Y | 0.5 |  |  | Y | Y | 0.5
33 | Ethylbenzene | Y | Y | 0.5 |  |  | Y | Y | 0.5
34 | Methyl Bromide | Y | Y | 0.5 |  |  | Y | Y | 0.5
35 | Methyl Chloride | Y | Y | 0.5 |  |  | Y | Y | 0.5 |  |  | No Criteria
36 | Methylene Chloride | Y | Y | 1 |  |  | Y | Y | 1
37 | 1,1,2,2-Tetrachloroethane | Y | Y | 0.5 |  |  | Y | Y | 0.5
38 | Tetrachloroethylene | Y | Y | 0.5 |  |  | Y | Y | 0.5
39 | Toluene | Y | Y | 0.5 |  |  | Y | Y | 0.5
40 | 1,2-Trans-Dichloroethylene | Y | Y | 0.5 |  |  | Y | Y | 0.5
41 | 1,1,1-Trichloroethane | Y | Y | 0.5 |  |  | Y | Y | 0.5 |  |  | No Criteria
42 | 1,1,2-Trichloroethane | Y | Y | 0.5 |  |  | Y | Y | 0.5
43 | Trichloroethylene | Y | Y | 0.5 |  |  | Y | Y | 0.5
44 | Vinyl Chloride | Y | Y | 0.5 |  |  | Y | Y | 0.5
45 | 2-Chlorophenol | Y | Y | 1 |  |  | Y | Y | 1
46 | 2,4-Dichlorophenol | Y | Y | 1 |  |  | Y | Y | 1
47 | 2,4-Dimethylphenol | Y | Y | 1 |  |  | Y | Y | 1
48 | 2-Methyl- 4,6-Dinitrophenol | Y | Y | 1 |  |  | Y | Y | 1
49 | 2,4-Dinitrophenol | Y | Y | 2 |  |  | Y | Y | 2
50 | 2-Nitrophenol | Y | Y | 1 |  |  | Y | Y | 1 |  |  | No Criteria
51 | 4-Nitrophenol | Y | Y | 2 |  |  | Y | Y | 2 |  |  | No Criteria
52 | 3-Methyl 4-Chlorophenol | Y | Y | 0.5 |  |  | Y | Y | 0.5 |  |  | No Criteria
53 | Pentachlorophenol | Y | Y | 1 |  |  | Y | Y | 1
54 | Phenol | Y | N |  | 0.061 |  | Y | Y | 0.5
55 | 2,4,6-Trichlorophenol | Y | Y | 1 |  |  | Y | Y | 1
56 | Acenaphthene | Y | Y | 0.5 |  |  | Y | Y | 0.5
57 | Acenaphthylene | Y | Y | 0.5 |  |  | Y | Y | 1 |  |  | No Criteria
58 | Anthracene | Y | Y | 1 |  |  | Y | Y | 1
59 | Benzidine | Y | Y | 1 |  |  | Y | Y | 1
60 | Benzo(a)Anthracene | Y | Y | 1 |  |  | Y | Y | 1
61 | Benzo(a)Pyrene | Y | Y | 1 |  |  | Y | Y | 1
62 | Benzo(b)Fluoranthene | Y | Y | 1 |  |  | Y | Y | 1
63 | Benzo(ghi)Perylene | Y | Y | 1 |  |  | Y | Y | 1 |  |  | No Criteria
64 | Benzo(k)Fluoranthene | Y | Y | 2 |  |  | Y | Y | 2
65 | Bis(2-Chloroethoxy)Methane | Y | Y | 1 |  |  | Y | Y | 1 |  |  | No Criteria
66 | Bis(2-Chloroethyl)Ether | Y | Y | 0.5 |  |  | Y | Y | 0.5
67 | Bis(2-Chloroisopropyl)Ether | Y | Y | 0.5 |  |  | Y | Y | 0.5
68 | Bis(2-Ethylhexyl)Phthalate | Y | Y | 2 |  |  | Y | N |  | 7
69 | 4-Bromophenyl Phenyl Ether | Y | Y | 1 |  |  | Y | Y | 1 |  |  | No Criteria
70 | Butylbenzyl Phthalate | Y | Y | 1 |  |  | Y | Y | 5
71 | 2-Chloronaphthalene | N |  |  |  |  | Y | Y | 1
72 | 4-Chlorophenyl Phenyl Ether | Y | Y | 1 |  |  | Y | Y | 1 |  |  | No Criteria
73 | Chrysene | Y | Y | 1 |  |  | Y | Y | 1
74 | Dibenzo(a,h)Anthracene | Y | Y | 1 |  |  | Y | Y | 1
75 | 1,2-Dichlorobenzene | Y | Y | 0.5 |  |  | Y | Y | 0.5
76 | 1,3-Dichlorobenzene | Y | Y | 0.5 |  |  | Y | Y | 0.5
77 | 1,4-Dichlorobenzene | Y | Y | 0.5 |  |  | Y | Y | 0.5
78 | 3,3 Dichlorobenzidine | Y | Y | 1 |  |  | Y | Y | 1
79 | Diethyl Phthalate | Y | Y | 1 |  |  | Y | N |  | 1
80 | Dimethyl Phthalate | Y | Y | 1 |  |  | Y | Y | 1
81 | Di-n-Butyl Phthalate | Y | Y | 1 |  |  | Y | Y | 5
82 | 2,4-Dinitrotoluene | Y | Y | 1 |  |  | Y | Y | 1
83 | 2,6-Dinitrotoluene | Y | Y | 1 |  |  | Y | Y | 1 |  |  | No Criteria
84 | Di-n-Octyl Phthalate | Y | Y | 1 |  |  | Y | N |  | 47 |  | No Criteria
85 | 1,2-Diphenylhydrazine | Y | Y | 0.5 |  |  | Y | Y | 0.5
86 | Fluoranthene | Y | Y | 0.5 |  |  | Y | Y | 0.5
87 | Fluorene | Y | Y | 2 |  |  | Y | Y | 2
88 | Hexachlorobenzene | Y | Y | 0.5 |  |  | Y | Y | 0.5
89 | Hexachlorobutadiene | Y | Y | 0.5 |  |  | Y | Y | 0.5
90 | Hexachlorocyclopentadiene | Y | Y | 1 |  |  | Y | Y | 1
91 | Hexachloroethane | Y | Y | 0.5 |  |  | Y | Y | 0.5
92 | Indeno(1,2,3-cd)Pyrene | Y | Y | 1 |  |  | Y | Y | 1
93 | Isophorone | Y | Y | 0.5 |  |  | Y | Y | 0.5
94 | Naphthalene | Y | Y | 0.5 |  |  | Y | Y | 0.5 |  |  | No Criteria
95 | Nitrobenzene | Y | Y | 0.5 |  |  | Y | Y | 0.5
96 | N-Nitrosodimethylamine | Y | Y | 0.5 |  |  | Y | Y | 0.5
97 | N-Nitrosodi-n-Propylamine | Y | Y | 1 |  |  | Y | Y | 1
98 | N-Nitrosodiphenylamine | Y | Y | 0.5 |  |  | Y | Y | 0.5
99 | Phenanthrene | Y | Y | 1 |  |  | Y | Y | 1 |  |  | No Criteria
100 | Pyrene | Y | Y | 1 |  |  | Y | Y | 1
101 | 1,2,4-Trichlorobenzene | Y | Y | 1 |  |  | Y | Y | 1 |  |  | No Criteria
102 | Aldrin | Y | Y | 0.002 |  |  | Y | Y | 0.002
103 | alpha-BHC | Y | Y | 0.005 |  |  | Y | Y | 0.005
104 | beta-BHC | Y | Y | 0.002 |  |  | Y | Y | 0.002
105 | gamma-BHC | Y | Y | 0.005 |  |  | Y | Y | 0.005
106 | delta-BHC | Y | Y | 0.002 |  |  | Y | Y | 0.002 |  |  | No Criteria
107 | Chlordane | Y | Y | 0.01 |  |  | Y | Y | 0.01
108 | 4,4'-DDT | Y | Y | 0.005 |  |  | Y | Y | 0.005
109 | 4,4'-DDE (linked to DDT) | Y | Y | 0.005 |  |  | Y | Y | 0.005
110 | 4,4'-DDD | Y | Y | 0.01 |  |  | Y | Y | 0.01
111 | Dieldrin | Y | Y | 0.005 |  |  | Y | Y | 0.005
112 | alpha-Endosulfan | Y | Y | 0.005 |  |  | Y | Y | 0.005
113 | beta-Endolsulfan | Y | Y | 0.005 |  |  | Y | Y | 0.005
114 | Endosulfan Sulfate | Y | Y | 0.01 |  |  | Y | Y | 0.01
115 | Endrin | Y | Y | 0.005 |  |  | Y | Y | 0.005
116 | Endrin Aldehyde | Y | Y | 0.005 |  |  | Y | Y | 0.005
117 | Heptachlor | Y | Y | 0.005 |  |  | Y | Y | 0.005
118 | Heptachlor Epoxide | Y | Y | 0.005 |  |  | Y | Y | 0.005
119-125 | PCBs sum | Y | Y | 0.1 |  |  | Y | Y | 0.1
126 | Toxaphene | Y | Y | 0.1 |  |  | Y | Y | 0.1
| Tributylin | N |  |  |  |  | N
| Total PAHs | N
Note on D3: Enter data if it is an "Y" in the 1st column to the left
Note on E3: Indra: Enter data only if there is an 'Y' in 1st column to the left
Note on F3: Indra: Enter data only if there is 'N' in 2nd column to the left and 'Y' in 3rd column to the left
Note on J3: Enter data if it is an "Y" in the 1st column to the left
Note on K3: Indra: Enter data only if there is an 'Y' in 1st column to the left
Note on L4: Indra: Leave blank if no data available
Note on L84: Scott Keen: DNQ - Est. Conc.

## RPA
Beginning |  |  | Step 2 | Step 3 |  |  |  |  | Step 4 | Step 2 | Step 3 |  | Step 5 |  | Step 6 | Steps 7 & 8 | Final Result
| Constituent name | C (mg/L) | Effluent Data Available (Y/N)? | Are all data points non-detects (Y/N)? | If all data points ND Enter the min detection limit (MDL) (ug/L) | Enter the pollutant effluent detected max conc (ug/L) | If all data points are ND and MinDL>C, interim monitoring is required | Maximum Pollutant Concentration from the effluent (MEC) (ug/L) | MEC vs. C | B Available (Y/N)? | Are all B data points non-detects (Y/N)? | If all data points ND Enter the min detection limit (MDL) (ug/L) | Enter the pollutant B detected max conc (ug/L) | If all B is ND, is MDL>C? | B vs. C | 7) Review other information in the SIP page 4. If information is unavailable or insufficient: 8) the RWQCB shall establish interim monitoring requirements.
|  | Lowest (most stringent) Criteria (Enter "No Criteria" for no criteria) | [5 empty] | (MEC= deteted max value; if all ND & MDL<C then MEC = MDL) | 1. If MEC> or =C, effluent limitation is required; 2. If MEC<C, go to Step 5 | [5 empty] | If B>C, effluent limitation is required |  | RPA Result | Reason
1 | Antimony | 4300 | Y | N |  | 71.1 |  | 71.1 | MEC<C, go to Step 5 | Y | N |  | 3.9 |  | B<C, Step 7 |  | No | MEC<C & B<C
2 | Arsenic b | 36 | Y | N |  | 13.3 |  | 13.3 | MEC<C, go to Step 5 | Y | N |  | 34.8 |  | B<C, Step 7 |  | No | MEC<C & B<C
3 | Beryllium | No Criteria | Y | Y | 0.1 |  | No Criteria | No Criteria | No Criteria | Y | Y | 0.1 |  | N | No Criteria | No Criteria | Uo | No Criteria
4 | Cadmium b | 7.3119 | Y | Y | 0.02 |  | All ND, MDL<C, MEC=MDL | 0.02 | MEC<C, go to Step 5 | Y | Y | 0.02 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
5a | Chromium (III) | 644.2001 | N |  |  |  | No effluent data |  |  | N |  |  |  |  | No detected value of B, Step 7 |  | Ud | no effluent data & no B
5b | Chromium (VI) b | 11 | Y | Y | 2 |  | All ND, MDL<C, MEC=MDL | 2 | MEC<C, go to Step 5 | Y | Y | 2 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
6 | Copper c | 13.0189 | Y | N |  | 46.1 |  | 46.1 | MEC>=C, Effluent Limits Required | Y | N |  | 57.7 |  | B>C, Effluent Limit Required |  | Yes | MEC>C
7 | Lead b | 8.5174 | Y | N |  | 110 |  | 110 | MEC>=C, Effluent Limits Required | Y | N |  | 4.6 |  | B<C, Step 7 |  | Yes | MEC>C
8 | Mercury (303d listed) b | 0.051 | Y | N |  | 0.0051 |  | 0.0051 | MEC<C, go to Step 5 | Y | N |  | 0.0136 |  | B<C, Step 7 |  | No | MEC < C and B < C
9 | Nickel b | 27.0455 | Y | N |  | 20 |  | 20 | MEC<C, go to Step 5 | Y | N |  | 16 |  | B<C, Step 7 |  | No | MEC<C & B<C
10 | Selenium (303d listed) b | 5 | Y | N |  | 41 |  | 41 | MEC>=C, Effluent Limits Required | Y | N |  | 144 |  | B>C, Effluent Limit Required |  | Yes | MEC>C
11 | Silver b | 2.2 | Y | N |  | 1.55 |  | 1.55 | MEC<C, go to Step 5 | Y | Y | 0.08 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
12 | Thallium | 6.3 | Y | N |  | 0.3 |  | 0.3 | MEC<C, go to Step 5 | Y | N |  | 0.17 |  | B<C, Step 7 |  | No | MEC<C & B<C
13 | Zinc b | 90.9091 | Y | N |  | 113 |  | 113 | MEC>=C, Effluent Limits Required | Y | N |  | 117 |  | B>C, Effluent Limit Required |  | Yes | MEC>C
14 | Cyanide b | 1 | Y | Y | 2 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | N |  | 30 |  | B>C, Effluent Limit Required |  | Yes | B>C
15 | Asbestos | No Criteria | N |  |  |  | No Criteria | No Criteria | No Criteria | N |  |  |  |  | No Criteria | No Criteria | Uo | No Criteria
| TCDD TEQ (303d listed) | 1.4e-08 | Y | N |  | 5.9e-06 |  | 5.9e-06 | MEC>=C, Effluent Limits Required | Y | N |  | 6.01e-05 |  | B>C, Effluent Limit Required |  | Yes | MEC>C
17 | Acrolein | 780 | Y | Y | 2.5 |  | All ND, MDL<C, MEC=MDL | 2.5 | MEC<C, go to Step 5 | Y | Y | 2.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
18 | Acrylonitrile | 0.66 | Y | Y | 1 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 1 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
19 | Benzene | 71 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
20 | Bromoform | 360 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
21 | Carbon Tetrachloride | 4.4 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
22 | Chlorobenzene | 21000 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
23 | Chlorodibromomethane | 34 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
24 | Chloroethane | No Criteria | Y | Y | 0.5 |  | No Criteria | No Criteria | No Criteria | Y | Y | 0.5 |  | N | No Criteria | No Criteria | Uo | No Criteria
25 | 2-Chloroethylvinyl ether | No Criteria | Y | Y | 0.5 |  | No Criteria | No Criteria | No Criteria | Y | Y | 0.5 |  | N | No Criteria | No Criteria | Uo | No Criteria
26 | Chloroform | No Criteria | Y | Y | 0.5 |  | No Criteria | No Criteria | No Criteria | Y | Y | 0.5 |  | N | No Criteria | No Criteria | Uo | No Criteria
27 | Dichlorobromomethane | 46 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
28 | 1,1-Dichloroethane | No Criteria | Y | Y | 0.5 |  | No Criteria | No Criteria | No Criteria | Y | Y | 0.5 |  | N | No Criteria | No Criteria | Uo | No Criteria
29 | 1,2-Dichloroethane | 99 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
30 | 1,1-Dichloroethylene | 3.2 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
31 | 1,2-Dichloropropane | 39 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
32 | 1,3-Dichloropropylene | 1700 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
33 | Ethylbenzene | 29000 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
34 | Methyl Bromide | 4000 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
35 | Methyl Chloride | No Criteria | Y | Y | 0.5 |  | No Criteria | No Criteria | No Criteria | Y | Y | 0.5 |  | N | No Criteria | No Criteria | Uo | No Criteria
36 | Methylene Chloride | 1600 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
37 | 1,1,2,2-Tetrachloroethane | 11 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
38 | Tetrachloroethylene | 8.85 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
39 | Toluene | 200000 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
40 | 1,2-Trans-Dichloroethylene | 140000 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
41 | 1,1,1-Trichloroethane | No Criteria | Y | Y | 0.5 |  | No Criteria | No Criteria | No Criteria | Y | Y | 0.5 |  | N | No Criteria | No Criteria | Uo | No Criteria
42 | 1,1,2-Trichloroethane | 42 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
43 | Trichloroethylene | 81 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
44 | Vinyl Chloride | 525 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
45 | 2-Chlorophenol | 400 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
46 | 2,4-Dichlorophenol | 790 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
47 | 2,4-Dimethylphenol | 2300 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
48 | 2-Methyl- 4,6-Dinitrophenol | 765 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
49 | 2,4-Dinitrophenol | 14000 | Y | Y | 2 |  | All ND, MDL<C, MEC=MDL | 2 | MEC<C, go to Step 5 | Y | Y | 2 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
50 | 2-Nitrophenol | No Criteria | Y | Y | 1 |  | No Criteria | No Criteria | No Criteria | Y | Y | 1 |  | N | No Criteria | No Criteria | Uo | No Criteria
51 | 4-Nitrophenol | No Criteria | Y | Y | 2 |  | No Criteria | No Criteria | No Criteria | Y | Y | 2 |  | N | No Criteria | No Criteria | Uo | No Criteria
52 | 3-Methyl 4-Chlorophenol | No Criteria | Y | Y | 0.5 |  | No Criteria | No Criteria | No Criteria | Y | Y | 0.5 |  | N | No Criteria | No Criteria | Uo | No Criteria
53 | Pentachlorophenol | 7.9 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
54 | Phenol | 4600000 | Y | N |  | 0.061 |  | 0.061 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
55 | 2,4,6-Trichlorophenol | 6.5 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
56 | Acenaphthene | 2700 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
57 | Acenaphthylene | No Criteria | Y | Y | 0.5 |  | No Criteria | No Criteria | No Criteria | Y | Y | 1 |  | N | No Criteria | No Criteria | Uo | No Criteria
58 | Anthracene | 110000 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
59 | Benzidine | 0.00054 | Y | Y | 1 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 1 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
60 | Benzo(a)Anthracene | 0.049 | Y | Y | 1 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 1 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
61 | Benzo(a)Pyrene | 0.049 | Y | Y | 1 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 1 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
62 | Benzo(b)Fluoranthene | 0.049 | Y | Y | 1 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 1 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
63 | Benzo(ghi)Perylene | No Criteria | Y | Y | 1 |  | No Criteria | No Criteria | No Criteria | Y | Y | 1 |  | N | No Criteria | No Criteria | Uo | No Criteria
64 | Benzo(k)Fluoranthene | 0.049 | Y | Y | 2 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 2 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
65 | Bis(2-Chloroethoxy)Methane | No Criteria | Y | Y | 1 |  | No Criteria | No Criteria | No Criteria | Y | Y | 1 |  | N | No Criteria | No Criteria | Uo | No Criteria
66 | Bis(2-Chloroethyl)Ether | 1.4 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
67 | Bis(2-Chloroisopropyl)Ether | 170000 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
68 | Bis(2-Ethylhexyl)Phthalate | 5.9 | Y | Y | 2 |  | All ND, MDL<C, MEC=MDL | 2 | MEC<C, go to Step 5 | Y | N |  | 7 |  | B>C, Effluent Limit Required |  | Yes | B>C
69 | 4-Bromophenyl Phenyl Ether | No Criteria | Y | Y | 1 |  | No Criteria | No Criteria | No Criteria | Y | Y | 1 |  | N | No Criteria | No Criteria | Uo | No Criteria
70 | Butylbenzyl Phthalate | 5200 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
71 | 2-Chloronaphthalene | 4300 | N |  |  |  | No effluent data |  |  | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud, no effluent data & B is ND
72 | 4-Chlorophenyl Phenyl Ether | No Criteria | Y | Y | 1 |  | No Criteria | No Criteria | No Criteria | Y | Y | 1 |  | N | No Criteria | No Criteria | Uo | No Criteria
73 | Chrysene | 0.049 | Y | Y | 1 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 1 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
74 | Dibenzo(a,h)Anthracene | 0.049 | Y | Y | 1 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 1 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
75 | 1,2-Dichlorobenzene | 17000 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
76 | 1,3-Dichlorobenzene | 2600 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
77 | 1,4-Dichlorobenzene | 2600 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
78 | 3,3 Dichlorobenzidine | 0.077 | Y | Y | 1 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 1 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
79 | Diethyl Phthalate | 120000 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | N |  | 1 |  | B<C, Step 7 |  | No | MEC<C & B<C
80 | Dimethyl Phthalate | 2900000 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
81 | Di-n-Butyl Phthalate | 12000 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
82 | 2,4-Dinitrotoluene | 9.1 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
83 | 2,6-Dinitrotoluene | No Criteria | Y | Y | 1 |  | No Criteria | No Criteria | No Criteria | Y | Y | 1 |  | N | No Criteria | No Criteria | Uo | No Criteria
84 | Di-n-Octyl Phthalate | No Criteria | Y | Y | 1 |  | No Criteria | No Criteria | No Criteria | Y | N |  | 47 |  | No Criteria | No Criteria | Uo | No Criteria
85 | 1,2-Diphenylhydrazine | 0.54 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
86 | Fluoranthene | 370 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
87 | Fluorene | 14000 | Y | Y | 2 |  | All ND, MDL<C, MEC=MDL | 2 | MEC<C, go to Step 5 | Y | Y | 2 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
88 | Hexachlorobenzene | 0.00077 | Y | Y | 0.5 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.5 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
89 | Hexachlorobutadiene | 50 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
90 | Hexachlorocyclopentadiene | 17000 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
91 | Hexachloroethane | 8.9 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
92 | Indeno(1,2,3-cd)Pyrene | 0.049 | Y | Y | 1 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 1 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
93 | Isophorone | 600 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
94 | Naphthalene | No Criteria | Y | Y | 0.5 |  | No Criteria | No Criteria | No Criteria | Y | Y | 0.5 |  | N | No Criteria | No Criteria | Uo | No Criteria
95 | Nitrobenzene | 1900 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
96 | N-Nitrosodimethylamine | 8.1 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
97 | N-Nitrosodi-n-Propylamine | 1.4 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
98 | N-Nitrosodiphenylamine | 16 | Y | Y | 0.5 |  | All ND, MDL<C, MEC=MDL | 0.5 | MEC<C, go to Step 5 | Y | Y | 0.5 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
99 | Phenanthrene | No Criteria | Y | Y | 1 |  | No Criteria | No Criteria | No Criteria | Y | Y | 1 |  | N | No Criteria | No Criteria | Uo | No Criteria
100 | Pyrene | 11000 | Y | Y | 1 |  | All ND, MDL<C, MEC=MDL | 1 | MEC<C, go to Step 5 | Y | Y | 1 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
101 | 1,2,4-Trichlorobenzene | No Criteria | Y | Y | 1 |  | No Criteria | No Criteria | No Criteria | Y | Y | 1 |  | N | No Criteria | No Criteria | Uo | No Criteria
102 | Aldrin | 0.00014 | Y | Y | 0.002 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.002 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
103 | alpha-BHC | 0.013 | Y | Y | 0.005 |  | All ND, MDL<C, MEC=MDL | 0.005 | MEC<C, go to Step 5 | Y | Y | 0.005 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
104 | beta-BHC | 0.046 | Y | Y | 0.002 |  | All ND, MDL<C, MEC=MDL | 0.002 | MEC<C, go to Step 5 | Y | Y | 0.002 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
105 | gamma-BHC | 0.063 | Y | Y | 0.005 |  | All ND, MDL<C, MEC=MDL | 0.005 | MEC<C, go to Step 5 | Y | Y | 0.005 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
106 | delta-BHC | No Criteria | Y | Y | 0.002 |  | No Criteria | No Criteria | No Criteria | Y | Y | 0.002 |  | N | No Criteria | No Criteria | Uo | No Criteria
107 | Chlordane (303d listed) | 0.00059 | Y | Y | 0.01 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.01 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
108 | 4,4'-DDT (303d listed) | 0.00059 | Y | Y | 0.005 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.005 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
109 | 4,4'-DDE (linked to DDT) | 0.00059 | Y | Y | 0.005 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.005 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
110 | 4,4'-DDD | 0.00084 | Y | Y | 0.01 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.01 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
111 | Dieldrin (303d listed) | 0.00014 | Y | Y | 0.005 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.005 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
112 | alpha-Endosulfan | 0.0087 | Y | Y | 0.005 |  | All ND, MDL<C, MEC=MDL | 0.005 | MEC<C, go to Step 5 | Y | Y | 0.005 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
113 | beta-Endolsulfan | 0.0087 | Y | Y | 0.005 |  | All ND, MDL<C, MEC=MDL | 0.005 | MEC<C, go to Step 5 | Y | Y | 0.005 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
114 | Endosulfan Sulfate | 240 | Y | Y | 0.01 |  | All ND, MDL<C, MEC=MDL | 0.01 | MEC<C, go to Step 5 | Y | Y | 0.01 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
115 | Endrin | 0.0023 | Y | Y | 0.005 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.005 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
116 | Endrin Aldehyde | 0.81 | Y | Y | 0.005 |  | All ND, MDL<C, MEC=MDL | 0.005 | MEC<C, go to Step 5 | Y | Y | 0.005 |  | N | No detected value of B, Step 7 |  | No | Ud;MEC<C & B is ND
117 | Heptachlor | 0.00021 | Y | Y | 0.005 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.005 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
118 | Heptachlor Epoxide | 0.00011 | Y | Y | 0.005 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.005 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
119-125 | PCBs sum (2) | 0.00017 | Y | Y | 0.1 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.1 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
126 | Toxaphene | 0.0002 | Y | Y | 0.1 |  | All ND, MinDL>C, Go to Step 5, & IM |  |  | Y | Y | 0.1 |  | Y | No detected value of B, Step 7 |  | No | UD; effluent data and B are ND
| Tributylin | 15 | N |  |  |  | No effluent data |  |  | N |  |  |  |  | No detected value of B, Step 7 |  | Ud | no effluent data & no B
a. The most stringent of salt and fresh water criteria were selected for this analysis.
b. According to Table 1 of Section (b)(1) of CTR (40CFR 131.38), those criteria should use Basin Plan objectives; criteria for Se and CN are specified by the NTR.
c. Criteria for copper is taken from CTR. CTR criteria for copper is expressed as dissolved metal. The copper criterion in the table is adjusted by dividing a factor of 0.83 to convert the dissolved to total metal concentration.
The freshwater criteria for Selenium is taken from NTR.
| d. Acronyms in the "Final Result" column: |  | Ud: Cannot determine reasonable potential due to the absence of data, or because Minimum DL is greater than water quality objective or CTR criteria
IM: Interim monitoring is required

## WQBEL
Note: Numbers in blue have formula in the cells - calculates values automatically
PRIORITY POLLUTANTS | Copper | Lead | Selenium | Zinc | Cyanide | Bis(2-Ethylhexyl) Phthalate | Dioxin-TEQ
Basis and Criteria type | BP, SSO | CTR SW | CTR FW | CTR SW | CTR,hh | CTR HH | CTR HH (pg/l)
Lowest WQO | 13 | 8.5 | 5 | 91 | 1 | 5.9 | 0.014
Translators
Dilution Factor (D) (if applicable) | 0 | 0 | 0 | 0 | 0 | 0 | 0
no. of samples per month | 4 | 4 | 4 | 4 | 4 | 4 | 4
Aquatic life criteria analysis required? (Y/N) | Y | Y | Y | Y | Y | N | N
HH criteria analysis required? (Y/N) | N | N | N | N | Y | Y | Y
Applicable Acute WQO | 20.4 | 221 | 20 | 100 | 1
Applicable Chronic WQO | 13 | 8.5 | 5 | 91 | 1
HH criteria |  |  |  |  | 220000 | 5.9 | 0.014
Background (max conc for Aquatic Life calc) | 2.45 | 0.8 | 0.0516 | 4.4 | 0.4
Background (avg conc for HH calc) |  |  |  |  | 0.4 |  | 0.03165
Is the pollutant Bioaccumulative(Y/N)? (e.g., Hg) | N | N | N | N | N | N | Y
ECA acute | 20.4 | 221 | 20 | 100 | 1
ECA chronic | 13 | 8.5 | 5 | 91 | 1
ECA HH |  |  |  |  | 220000 | 5.9 | 0.014
No. of data points <10 or at least 80% of data reported non detect? (Y/N) | Y | N | Y | N | Y | Y | Y
avg of data points |  | 12.0441 |  | 21.5294
SD |  | 28.8517 |  | 28.041
CV calculated | N/A | 2.3955 | N/A | 1.3025 | N/A | N/A | N/A
CV (Selected) - Final | 0.6 | 2.3955 | 0.6 | 1.3025 | 0.6 | 0.6 | 0.6
ECA acute mult99 | 0.32108 | 0.10447 | 0.32108 | 0.16193 | 0.32108
ECA chronic mult99 | 0.52743 | 0.17391 | 0.52743 | 0.29932 | 0.52743
LTA acute | 6.5501 | 23.0879 | 6.4217 | 16.1926 | 0.32108
LTA chronic | 6.8566 | 1.4783 | 2.6372 | 27.238 | 0.52743
minimum of LTAs | 6.5501 | 1.4783 | 2.6372 | 16.1926 | 0.32108
AMEL mult95 | 1.5524 | 3.0247 | 1.5524 | 2.2285 | 1.5524 | 1.5524 | 1.5524
MDEL mult99 | 3.1145 | 9.5721 | 3.1145 | 6.1757 | 3.1145 | 3.1145 | 3.1145
AMEL (aq life) | 10.1685 | 4.4713 | 4.094 | 36.0853 | 0.49846
MDEL(aq life) | 20.4 | 14.1502 | 8.2133 | 100 | 1
MDEL/AMEL Multiplier | 2.0062 | 3.1647 | 2.0062 | 2.7712 | 2.0062 | 2.0062 | 2.0062
AMEL (human hlth) |  |  |  |  | 220000 | 5.9 | 0.014
MDEL (human hlth) |  |  |  |  | 441361.6146 | 11.8365 | 0.028087
minimum of AMEL for Aq. life vs HH | 10.1685 | 4.4713 | 4.094 | 36.0853 | 0.49846 | 5.9 | 0.014
minimum of MDEL for Aq. Life vs HH | 20.4 | 14.1502 | 8.2133 | 100 | 1 | 11.8365 | 0.028087
Current limit in permit (30-d avg) | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Current limits in permit (daily) | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Final limit - Calculated AMEL | 10.1685 | 4.4713 | 4.094 | 36.0853 | 0.49846 | 5.9 | 0.014
Final limit - Calculated MDEL | 20.4 | 14.1502 | 8.2133 | 100 | 1 | 11.8365 | 0.028087
Max Effl Conc (MEC) | 46.1 | 110 | 41 | 113 | ND | ND | 5.9e-06
Feasible for immediate compliance? | No | No | No | No | No | NA | NA
Interim Limits for those where TMDL is final limit | 72.6 | 113 | 70 | 944 | 5 | 5 | NA
Note: units are in ug/L except for Dioxin, which is in pg/L.
mean | 24.1 | 12 | 29.5 | 21.5
95th | 46.2 | 28 | 48.6 | 104
99th | 58 | 113 | 58.1 | 315
99.87th | 72.6 | 462 | 70 | 944
Distribution fit | logistic | Lognormal | logistic | lognormal
Note on A7: Maximum of 10 for RB 2 facilities
Note on A8: If sampling frequency is 4x/month or less, set n=4 (see pg. 8 of SIP).
Note on B40: applicable only with HH criteria
Note on C40: applicable only with HH criteria
Note on D40: applicable only with HH criteria
Note on E40: applicable only with HH criteria
Note on F40: applicable only with HH criteria

## Data and CV calcs
|  | Cu |  |  | Pb |  |  | Ni |  |  | Se |  |  | Zn |  |  | CN
Date | < | ug/l | for CV calc | < | ug/l | for CV calc | < | ug/l | for CV calc | < | ug/l | for CV calc |  | ug/L | for CV calc | < | ug/l | for CV calc
1998-03-09 |  |  |  | < | 100 | 50 | [7 empty] | 49 | 49
1998-09-28 |  |  |  |  | 1.9 | 1.9 | [7 empty] | 42 | 42
1999-03-08 |  |  |  | < | 0.5 | 0.25 | [7 empty] | 5.3 | 5.3
1999-09-06 |  |  |  | < | 3 | 1.5 | [6 empty] | < | 20 | 10
2000-03-13 |  |  |  | < | 3 | 1.5 | [6 empty] | < | 20 | 10
2000-09-04 |  |  |  | < | 3 | 1.5 | [6 empty] | < | 20 | 10
2001-03-12 |  |  |  | < | 3 | 1.5 | [6 empty] | < | 20 | 10
2001-09-04 | < | 10 | 5 |  | 110 | 110 | < | 20 | 10 |  |  |  |  | 8.7 | 8.7 | < | 10 | 5
2001-09-10 | [10 empty] | 41 | 41 | < | 20 | 10
2001-12-26 |  | 22.2 | 22.2 |  | 1.5 | 1.5 |  | 12 | 12 |  | 34 | 34 |  | 41 | 41 | < | 2 | 1
2002-03-10 |  | 1.9 | 1.9 |  | 0.15 | 0.15 |  | 1 | 1 |  | 2.2 | 2.2 |  | 1 | 1
2002-06-23 |  | 29.4 | 29.4 |  | 8.7 | 8.7 |  | 10 | 10 |  | 31.4 | 31.4 |  | 29 | 29
2002-09-22 |  | 30.5 | 30.5 | < | 0.01 | 0.005 |  | 13 | 13 |  | 32.1 | 32.1 | < | 0.3 | 0.15 | < | 2 | 1
2002-10-14 | [15 empty] | < | 2 | 1
2002-12-09 |  | 46.1 | 46.1 |  | 10.5 | 10.5 |  | E320 | E320 |  | 39.8 | 39.8 | < | 0.3 | 0.15 | < | 2 | 1
2003-03-23 |  | 27.2 | 27.2 |  | 2.3 | 2.3 |  | 16 | 16 |  | 23 | 23 |  | 18 | 18 | < | 2 | 1
2003-10-27 |  | 30.6 | 30.6 |  | 0.5 | 0.5 |  | 9.2 | 9.2 |  | 32.2 | 32.2 |  | 8.7 | 8.7 | < | 3 | 1.5
2004-02-08 |  | 25.1 | 25.1 |  | 0.9 | 0.9 |  | 7.2 | 7.2 |  |  |  |  | 113 | 113 | < | 3 | 1.5
# Data points | 9 |  |  | 16 |  |  | 8 |  |  | 8 |  |  | 17 |  |  | 8
ND | 1 |  |  | 7 |  |  | 1 |  |  | 0 |  |  | 7 |  |  | 8
% censoring | 11.1111 |  |  | 43.75 |  |  | 12.5 |  |  | 0 |  |  | 41.1765 |  |  | 100
avg | 24.2222 |  |  | 12.0441 |  |  | 9.8 |  |  | 29.4625 |  |  | 21.5294 |  |  | 1.625
stdev | 13.5418 |  |  | 28.8517 |  |  | 4.4427 |  |  | 12.3275 |  |  | 28.041 |  |  | 1.3823
| calc | 0.55906 |  | calc | 2.3955 |  | calc | 0.45333 |  | calc | 0.41841 |  | calc | 1.3025 |  | default | 0.6
min |  | 1.9 |  |  | 0.01 |  |  | 1 |  |  | 2.2 |  |  | 0.3 |  |  | 2
max |  | 46.1 |  |  | 110 |  |  | 20 |  |  | 41 |  |  | 113 |  |  | 10
Note on I17: suspected outlier

## raw data
|  |  | EFFLUENT DATA | [21 empty] | RECEIVING WATER DATA
|  |  | 2003-03-23 |  | 2002-12-09 |  | 2002-09-22 |  | 2002-10-14 |  | 2002-06-23 |  | 2002-03-10 |  | 2001-12-26 |  | 2001-09-10 |  | 2001-09-04 |  | 2003-10-27 |  | 2004-02-08 | MAX |  | 2003-03-24 |  | 2002-12-09 |  | 2002-09-26 |  | 2002-06-23 |  | 2002-03-12
# CTR | Pollutant
1 | Antimony |  | 0.8 | < | 0.02 | < | 0.02 |  |  |  | 0.24 |  | 0.03 | < | 0.02 | J | 0.4 |  |  |  | 0.2 |  |  | 0.8 |  | 3.9 | < | 0.02 | < | 0.02 |  | 1.4 | < | 0.02
2 | Arsenic |  | 7.4 |  | 13.3 |  | 12.2 |  |  |  | 11.1 | J | 0.6 |  | 10.8 |  |  | < | 5 |  | 9.5 |  | 6.5 | 13.3 |  | 8.5 |  | 34.8 |  | 4.3 |  | 23.1 |  | 8
3 | Beryllium | < | 0.1 | < | 0.1 | < | 0.1 |  |  | < | 0.1 | < | 0.1 | < | 0.1 | < | 0.1 |  |  | < | 0.1 |  |  | 0.1 | < | 0.1 | < | 0.1 | < | 0.1 | < | 0.1 | < | 0.1
4 | Cadmium | < | 0.02 | < | 0.02 | < | 0.02 |  |  | < | 0.02 | < | 0.02 | < | 0.02 |  |  | < | 5 | < | 0.05 | < | 0.05 | 0.02 | < | 0.02 | < | 0.02 | < | 0.02 | < | 0.02 | < | 0.02
5a | Chromium (total) |  | 8.8 |  | 366 |  | 2.8 |  |  |  | 1 | J | 0.3 |  | 1.7 |  |  | < | 10 |  | 0.7 |  | 1.2 | 366 |  | 22 |  | 12.1 |  |  |  | 2.9 |  | 0.5
5b | Chromium (VI) |  |  |  |  | < | 2 | < | 2 |  |  | < | 2 | < | 2 | < | 2 | [6 empty] | 2 |  |  |  |  | < | 2 | < | 2 | < | 2
6 | Copper |  | 27.2 |  | 46.1 |  | 30.5 |  |  |  | 29.4 |  | 1.9 |  | 22.2 |  |  | < | 10 |  | 30.6 |  | 25.1 | 46.1 |  | 26.9 |  | 33.7 |  | 9.2 |  | 57.7 |  | 2.7
7 | Lead |  | 2.3 |  | 10.5 | < | 0.01 |  |  |  | 8.7 | J | 0.15 |  | 1.5 |  |  |  | 110 |  | 0.5 |  | 0.9 | 110 |  | 4.5 |  | 3.5 |  | 4.6 |  | 3.3 | < | 0.01
8 | Mercury |  | 0.0033 |  | 0.00205 |  | 0.0043 |  |  |  | 0.00463 |  | 0.00398 |  | 0.0050/0.0051 |  | 0.0011/0.0018 |  |  |  | 0.00328 |  | 0.00375 | 0.00463 |  | 0.0136 |  | 0.00927 |  | 0.0121 |  | 0.007 |  | 0.0083
9 | Nickel |  | 16 |  | 320 |  | 13 |  |  |  | 10 |  | 1 |  | 12 |  |  | < | 20 |  | 9.2 |  | 7.2 | 320 |  | 13 |  | 14 |  | 12 |  | 0.0074 |  | 0.001
10 | Selenium |  | 23 |  | 39.8 |  | 32.1 |  |  |  | 31.4 |  | 2.2 |  | 34 |  | 41 |  |  |  | 32.2 |  |  | 41 |  | 24.2 |  | 144 |  | 9.4 |  | 64.1 |  | 2.3
11 | Silver | < |  | < | 0.08 | < | 0.08 |  |  |  | 1.55 | < | 0.08 | < | 0.08 |  |  | < | 5 | < | 0.1 | < | 0.1 | 1.55 |  | 0.08 | < | 0.08 | < | 0.08 | < | 0.08 | < | 0.08
12 | Thallium | < |  | J | 0.3 | < | 0.01 |  |  | < | 0.01 | J | 0.05 | < | 0.01 | < | 0.01 |  |  | < | 0.2 |  |  | 0.3 |  | 0.01 | J | 0.17 | < | 0.01 | < | 0.01 | < | 0.01
13 | Zinc |  | 18 | < | 0.3 | < | 0.3 |  |  |  | 29 |  | 1 |  | 41 |  |  | < | 20 |  | 8.7 |  | 113 | 113 |  | 18 |  | 117 |  | 16 |  | 22 |  | 2
14 | Cyanide | < | 2 | < | 2 | < | 2/2 | < | 2 |  |  |  |  | < | 2 |  |  | < | 10 | < | 3 | < | 3 | 10 | < | 2 |  | 6 |  | 30 | < | 2 | < | 2
| 2,3,7,8-TCDD | [13 empty] | 5.9e-06 | < | 1e-05 | [10 empty] | ND |  |  |  | 6.01e-05
17 | Acrolein | [12 empty] | < | 2.5 | < | 2.5 | [9 empty] | < | 2.5 |  |  | < | 2.5
18 | Acrylonitrile | [12 empty] | < | 1 | < | 1 | [9 empty] | < | 2 |  |  | < | 1
19 | Benzene | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
20 | Bromoform | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
21 | Carbon Tetrachloride | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
22 | Chlorobenzene | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
23 | Chlordibromomethane | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
24 | Chloroethane | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
25 | 2-Chloroethylvinyl Ether | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
26 | Chloroform | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
27 | Dichlorobromomethane | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
28 | 1,1-Dichloroethane | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
29 | 1,2-Dichloroethane | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
30 | 1,1-Dichloroethylene | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
31 | 1,2-Dichloropropane | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
32 | 1,3-Dichloropropylene | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
33 | Ethylbenzene | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
34 | Methyl Bromide | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
35 | Methyl Chloride | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
36 | Methylene Chloride | [12 empty] | < | 1 | < | 1 | [9 empty] | < | 0.5 |  |  | < | 1
37 | 1,1,2,2-Tetrachloroethane | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
38 | Tetrachloroethylene | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
39 | Toluene | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
40 | 1,2-Trans-Dichloroethylene | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
41 | 1,1,1-Trichloroethane | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
42 | 1,1,2-Trichloroethane | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
43 | Trichloroethylene | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
44 | Vinyl Chloride | [12 empty] | < | 0.5 | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
45 | 2-Chlorophenol | [12 empty] | < | 1 | [11 empty] | < | 1 |  |  | < | 1
46 | 2,4-Dichlorophenol | [12 empty] | < | 1 | [11 empty] | < | 1 |  |  | < | 1
47 | 2,4-Dimethylphenol | [12 empty] | < | 1 | [11 empty] | < | 1 |  |  | < | 1
48 | 2-Methyl-4,6-Dinitrophenol | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
49 | 2,4-Dinitrophenol | [12 empty] | < | 2 | [11 empty] | < | 2 |  |  | < | 2
50 | 2-Nitrophenol | [12 empty] | < | 1 | [11 empty] | < | 1 |  |  | < | 1
51 | 4-Nitrophenol | [14 empty] | < | 2 | [9 empty] | < | 2 |  |  | < | 2
52 | 3-Methyl-4-Chlorophenol | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
53 | Pentachlorophenol | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
54 | Phenol (mg/L) | < | 0.02 |  |  | < | 0.02 |  |  |  |  | < | 0.05 | < | 0.5 |  | 0.061 |  |  | < | 0.05 | [5 empty] | < | 0.5 |  |  | < | 0.5
55 | 2,4,6-Trichlorophenol | [12 empty] | < | 1 | [11 empty] | < | 1 |  |  | < | 1
56 | Acenaphthene | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
57 | Acenaphthylene | [12 empty] | < | 0.5 | [11 empty] | < | 1 |  |  | < | 1
58 | Anthracene | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
59 | Benzidine | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
60 | Benzo(a)Anthracene | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
61 | Benzo(a)Pyrene | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
62 | Benzo(b)Fluoranthene | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
63 | Benzo(ghi)Perylene | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
64 | Benzo(k)Fluoranthene | [14 empty] | < | 2 | [9 empty] | < | 2 |  |  | < | 2
65 | Bis(2-Chloroethoxy)Methane | [12 empty] | < | 1 | [11 empty] | < | 1 |  |  | < | 1
66 | Bis(2-Chloroethyl)Ether | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
67 | Bis(2-Chloroisopropyl)Ether | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
68 | Bis(2-Ethylhexyl)Phthalate | [14 empty] | < | 2 | [10 empty] | 7 |  |  |  | 7
69 | 4-Bromophenyl Phenyl Ether | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
70 | Butylbenzyl Phthalate | [14 empty] | < | 1 | [9 empty] | < | 5 |  |  | < | 5
71 | 2-Chloronaphthalene | [25 empty] | < | 1 |  |  | < | 1
72 | 4-Chlorophenyl Phenyl Ether | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
73 | Chrysene | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
74 | Dibenzo(a,h)Anthracene | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
75 | 1,2 Dichlorobenzene | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
76 | 1,3 Dichlorobenzene | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
77 | 1,4 Dichlorobenzene | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
78 | 3,3'-Dichlorobenzidine | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
79 | Diethyl Phthalate | [14 empty] | < | 1 | [10 empty] | 1 |  |  |  | 1
80 | Dimethyl Phthalate | [12 empty] | < | 1 | [11 empty] | < | 1 |  |  | < | 1
81 | Di-n-Butyl Phthalate | [14 empty] | < | 1 | [9 empty] | < | 5 |  |  | < | 5
82 | 2,4-Dinitrotoluene | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
83 | 2,6-Dinitrotoluene | [12 empty] | < | 1 | [11 empty] | < | 1 |  |  | < | 1
84 | Di-n-Octyl Phthalate | [14 empty] | < | 1 | [10 empty] | 47 |  |  | < | 5
85 | 1,2-Diphenylhydrazine | [14 empty] | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
86 | Fluoranthene | [14 empty] | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
87 | Fluorene | [14 empty] | < | 2 | [9 empty] | < | 2 |  |  | < | 2
88 | Hexachlorobenzene | [14 empty] | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
89 | Hexachlorobutadiene | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
90 | Hexachlorocyclopentadiene | [12 empty] | < | 1 | [11 empty] | < | 1 |  |  | < | 1
91 | Hexachloroethane | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
92 | Indeno(1,2,3-cd) Pyrene | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
93 | Isophorone | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
94 | Naphthalene | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
95 | Nitrobenzene | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
96 | N-Nitrosodimethylamine | [12 empty] | < | 0.5 | [11 empty] | < | 0.5 |  |  | < | 0.5
97 | N-Nitrosodi-n-Propylamine | [12 empty] | < | 1 | [11 empty] | < | 1 |  |  | < | 1
98 | N-Nitrosodiphenylamine | [14 empty] | < | 0.5 | [9 empty] | < | 0.5 |  |  | < | 0.5
99 | Phenanthrene | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
100 | Pyrene | [14 empty] | < | 1 | [9 empty] | < | 1 |  |  | < | 1
101 | 1,2,4-Trichlorobenzene | [12 empty] | < | 1 | [11 empty] | < | 1 |  |  | < | 1
102 | Aldrin | [12 empty] | < | 0.002 | < | 0.002 | [9 empty] | < | 0.002
103 | alpha-BHC | [12 empty] | < | 0.005 | < | 0.005 | [9 empty] | < | 0.005
104 | beta-BHC | [12 empty] | < | 0.002 | < | 0.002 | [9 empty] | < | 0.002
105 | gamma-BHC | [12 empty] | < | 0.005 | < | 0.005 | [9 empty] | < | 0.005
106 | delta-BHC | [12 empty] | < | 0.002 | < | 0.002 | [9 empty] | < | 0.002
107 | Chlordane | [12 empty] | < | 0.01 | < | 0.01 | [9 empty] | < | 0.01
108 | 4,4-DDT | [12 empty] | < | 0.005 | < | 0.005 | [9 empty] | < | 0.005
109 | 4,4-DDE | [12 empty] | < | 0.005 | < | 0.005 | [9 empty] | < | 0.005
110 | 4,4-DDD | [12 empty] | < | 0.01 | < | 0.01 | [9 empty] | < | 0.01
111 | Dieldrin | [12 empty] | < | 0.005 | < | 0.005 | [9 empty] | < | 0.005
112 | alpha-Endosulfan | [12 empty] | < | 0.005 | < | 0.005 | [9 empty] | < | 0.005
113 | beta-Endosulfan | [12 empty] | < | 0.005 | < | 0.005 | [9 empty] | < | 0.005
114 | Endosulfan Sulfate | [12 empty] | < | 0.01 | < | 0.01 | [9 empty] | < | 0.01
115 | Endrin | [12 empty] | < | 0.005 | < | 0.005 | [9 empty] | < | 0.005
116 | Endrin Aldehyde | [12 empty] | < | 0.005 | < | 0.005 | [9 empty] | < | 0.005
117 | Heptachlor | [12 empty] | < | 0.005 | < | 0.005 | [9 empty] | < | 0.005
118 | Heptchlor Epoxide | [12 empty] | < | 0.005 | < | 0.005 | [9 empty] | < | 0.005
119 -125 | PCBs | [12 empty] | < | 0.1 | < | 0.1 | [9 empty] | < | 0.1
126 | Toxaphene | [12 empty] | < | 0.1 | < | 0.1 | [9 empty] | < | 0.1
| Aluminum (ug/L) |  | 329 |  |  | < | 0.1 |  |  |  | 39.4 |  | 23.7 | [5 empty] | 170 |  | 23.7 | [10 empty] | 568 |  | 1240
| Hardness (mg/L CaCO3) | [15 empty] | 108 | [10 empty] | 2710 |  |  |  | 671
| pH | [26 empty] | 7.8 |  |  |  | 8.9
Note on AD19: raw data not found
Note on AD82: Scott Keen: DNQ - Est. Conc.
Note on AH82: Scott Keen: DNQ - Est. Conc.