CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

MONITORING AND REPORTING PROGRAM NO. R2-2003-0093

FOR

CONFINED ANIMAL FACILITIES

This Monitoring and Reporting Program (MRP) is issued pursuant to California Water Code (CWC) Section 13267.  The Discharger shall not implement any changes to this MRP unless and until a revised MRP is issued by the Executive Officer.  For purposes of evaluating compliance with the limitations of Order No. R2-2003-0093, the Discharger(s) shall conduct monitoring and reporting as specified below.

#### MONITORING PROVISIONS

#### The Discharger(s) shall inspect the production area weekly including all waste containment facilities, pumping equipment, water lines, and confined areas, and note any discharges from property under the control of the Discharger.  The results of all inspections shall be recorded and maintained on-site for a period of three years.  Any discharges shall be reported in accordance with Reporting Requirement B.1 below.

#### The Discharger(s) shall measure the freeboard weekly within each liquid manure storage structure using a depth marker.  Freeboard shall be the vertical distance from the pond surface to the lowest elevation of the surrounding berm or the bottom of the spillway and shall be measured to the nearest 0.1 foot.  The results of freeboard monitoring shall be recorded and maintained on-site for a period of three years.

- The following inspections shall be conducted prior to anticipated storm events, during extended storm events and after actual storm events, or at a minimum, on a monthly basis during dry conditions. The results of all inspections shall be recorded and maintained on-site for a period of three years and be reported in each annual monitoring report.

  - Inspect all storm water/waste containment structures. These structures shall be inspected for berm integrity, cracking, slumping, excess vegetation, burrowing animals, and seepage.  Any discharges shall be reported in accordance with Reporting Requirement B.1 below.

  - Inspect the closest receiving water, upstream and downstream of all facilities and disposal areas to monitor any change in water quality resulting from its facility operations. Any change in water quality shall be reported in accordance with Reporting Requirement B.1 below.

  - Inspect confined areas to ensure that all pollution prevention measures, as specified in the facility’s Waste Management Plan, are implemented and effective.

- The Discharger(s) shall record the approximate time of each storm-related discharge that results in off-property discharges of storm water that has commingled with wastewater, litter, or manure, and the approximate duration and amount of wastes discharged.  These records shall be maintained on-site for a period of three years.  Such discharges shall be reported in accordance with Reporting Requirement B.1 below.

- The Discharger(s) shall inspect any cropland on which wastewater is applied at least once daily during each irrigation event, and shall make records of those inspections.  The Discharger shall maintain these records on-site for a period of three years and shall report this information in each annual monitoring report. The following shall be documented:

  - Descriptions of erosion, field saturation, runoff, or the presence of nuisance conditions in the cropland;

  - Identification of crop, acreage, and dates of planting, harvest, and routine maintenance of cropland;

  - Dates, location, and approximate volume of wastewater and/or solid waste applied to land;

  - Weather conditions at the time of and 24 hours prior to and following waste application; and

  - Dates, occurrences, location, and estimated amounts of unauthorized releases from the ponds or cropland either off-property or to surface water drainage courses (such releases shall be reported in accordance with Reporting Requirment B.1 below).

- Dischargers shall retain records of all monitoring as specified in the Standard Provisions and Reporting Requirements.

# B.	REPORTING REQUIREMENTS

- The Discharger shall report any noncompliance that endangers human health or the environment within 24 hours of becoming aware of its occurrence. The incident shall be reported to the Regional Board office and to the California Office of Emergency Services (OES). During non-business hours, the Discharger shall leave a message on the Regional Board’s office voice mail. The message shall include the time, date, and place of the discharge. The OES is operational 24 hours a day. A written report shall be submitted to the Regional Board office within five (5) business days of the Discharger becoming aware of the incident. The report shall include complete details of the steps that the Discharger has taken or intends to take, in order to prevent recurrence. The written submission shall, at a minimum, contain:

  - The approximate date, time, and location of the discharge;

  - A description of the noncompliance and its cause;

  - The flow rate, volume, and duration of the discharge;

  - A description of the noncompliance, its causes, duration, if the noncompliance has been corrected and/or the actual or anticipated time for achieving compliance; and

  - A time schedule and a plan to implement necessary corrective actions to prevent the recurrence of such discharges.

- The Discharger must submit an Annual Report to the Regional Board including the monitoring records for the previous year. A completed report form, developed by the Regional Board, shall be submitted by July 1 of each year.

- The Discharger must submit an Annual Pre-rainy Season Certification by November 15 of each year (starting 2004). The report form, developed by the Regional Board, shall include photo documentation of compliance with required preseason pollution prevention measures in all waste containment and confined manured areas.

- All monitoring reports shall be certified under penalty of perjury to be true and correct, and shall contain the required information at the frequency designated in this monitoring report.

- Each report shall be signed by the Discharger or a duly authorized representative as specified in the Standard Provisions and Reporting Requirements, and shall contain the following statement:

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”

- Reports shall be submitted to:

California Regional Water Quality Control Board

San Francisco Bay Region

1515 Clay Street, Suite 1400

Oakland, CA  94612

Attention:  Confined Animal Facility Program

- The Executive Officer may require, as appropriate, additional monitoring on a site specific or watershed basis. Future management practices and/or monitoring requirements may also be imposed by the Executive Officer, within federal Clean Water Act Section 303(d) Water Bodies, listed as impaired by constituents that may be present in waste from confined animal facilities.

Ordered by:    ______________________________

Loretta K. Barsamian

Executive Officer

______________

Date