CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

January 1996

STANDARD PROVISIONS AND REPORTING REQUIREMENTS

for

WATER REUSE ORDERS

A. 	 GENERAL PROVISIONS

1.	Duty to Comply

a. 	A water recycler must comply with all of the conditions of this Order. Any Order

noncompliance constitutes a violation of the Porter-Cologne Water Quality

Control Act and/or Basin Plan and is subject to enforcement action.

b. 	The filing of a request by the Producer for an Order modification, revocation

and reissuance, or termination, or a notification of planned changes or

anticipated noncompliance does not stay any Order condition.

2. 	Duty to Mitigate

The Producer shall take all reasonable steps to minimize or prevent any discharge in

violation of this Order which has a reasonable likelihood of adversely affecting public

health or the environment, including such accelerated or additional monitoring as

requested by the Board or Executive Officer to determine the nature and impact of

the violation.

3. 	Property Rights

This Order does not convey any property rights of any sort or any exclusive

privileges. The requirements prescribed herein do not authorize the commission of

any act causing injury to the property of another, nor protect the discharger from

liabilities under federal, state or local laws.

4. 	Duty to Provide Information

The Producer shall furnish, within a reasonable time, any information the Board may

request to determine whether cause exists for modifying, revoking and reissuing, or

terminating the Order. The Producer shall also furnish to the Board, upon request,

copies of records required to be kept by its Order.

1

5. 	Availability

A copy of this Order shall be maintained at Producer and distributor facilities and be

available at all times to operating personnel.

B.  	TREATMENT RELIABILITY

1.	The Producer shall, at all times, properly operate and maintain all facilities and

systems of treatment disposal and control (and related appurtenances) which are

installed or used by the Producer to achieve compliance with this Order. Proper

operation and maintenance also includes adequate laboratory controls and

appropriate quality assurance procedures. All of these procedures shall be described

in an Operation and Maintenance Manual. The Producer shall keep In a state of

readiness all systems necessary to achieve compliance with the conditions of this

Order. All systems, both those in service and reserve, shall be inspected and

maintained on a regular basis. Records shall be kept of the tests and made available to

the Board.

2. 	Recycled water treatment facilities subject to this Order shall be supervised and

operated by persons possessing certificates of appropriate grade pursuant to

Division 4, Chapter 14, Title 23 of the California Code of Regulations. (See

Definition E. 4)

C.  	GENERAL REPORTING REQUIREMENTS

1. 	Signatory Requirements

a. 	All reports required by the order and Order and other information requested by

the Board shall be signed by a principal owner or operator, or by a duly                  	 			authorized representative of that person.

Duly authorized representative is one whose:

1) 	Authorization specifies either an individual or a position having

responsihililty for the overall operation of the regulated facility or activity,

such as general manager in a partnership, manager, operator of a well or a

well field, superintendent, positon of equivalent responsibility, or an

individual or positon having overall responsibility for environmental

matters for the company. (A duly authorized representative may thus be

either a named individual or any individual occupying a named positon);

and

2) 	Written authorization is submitted to the Board. If an authorization becomes

no longer accurate because a different individual or positon has

responsibililty for the overall operation of the facility, a new authorization

satisfying the requirements above must be submitted to the Board prior to or

together with any reports, information, or applications to be signed by an

authorized representative.

2

b. 	Certification

All reports signed by a duly authorized representative under Provision C.i.a.

shall contain the following certification:

“1 certify under penalty of law that this document and all attachments are

prepared under my direction or supervision in accordance with a system

designed to assure that qualified personnel properly gathered and evaluated the

information submitted. Based on my inquiry of the person or persons who

managed the system, or those persons directly responsible for gathering the

information, the information submitted is, to the best of my knowledge and

belief, true, accurate, and complete. I am aware that there are significant

penalties for submitting false information, including the possibility of fine and

imprisonment for knowing violations.”

2. 	Should the responsible reporting party discover that it failed to submit any relevant

facts or that it submitted incorrect information in any report, it shall promptly submit

the missing or correct information.

3. 	False Reporting

Any person who knowingly makes any false statement, representation, or

certification in any record or other document submitted or required to be maintained

under this Order, including monitoring reports or reports of compliance or

noncompliance shall be subject to enforcement procedures as identified in Section D

of these Provisions.

D.  	ENFORCEMENT

1. 	The provision contained in this enforcement section shall not act as a limitation on

the statutory or regulatory authority of the Board.

2. 	Any violation of the Order constitutes violation of the California Water Code and

regulations adopted thereunder and is the basis for enforcement action, Order

termination, Order revocation and reissuance, denial of an application for Order

reissuance; or a combination thereof.

3. 	The Board may impose administrative civil liability, may refer a discharger to the State

Attorney General to seek civil monetary penalties, may seek injunctive relief or take

other appropriate enforcement action as provided in the California Water Code for

violation of Board orders.

3

Std Prov (10/95)