# AITACHMENT B

CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCICO BAY REGION

WATER REUSE

NOTICE OF INTENT (NOI) -- GENERAL INSTRUCTIONS

Who May Apply

This Order is intended to serve as a regional-wide general permit for publicly owned

wastewater agencies that recycle wastewater. It is intended to replace individual reuse Orders

and applies to the following:

a.	Producers of secondary and tertiary recycled water that meets Title 22

criteria and is reused for a direct beneficial use or a controlled use that would

not otherwise occur.

b. 	A major Distributor of recycled water: one who receives wastewater from a

municipal facility, further treats it to meet Title 22 criteria for its intended

use(s) and distributes it to users. In some cases, a written agreement (i.e.

Joint Powers Agreement) between a Producer and a Distributor may be used

in lieu of issuing this Order to the Distributor.

c. 	Wastewater agencies that do not fall into categories a. and b. above but apply

wastewater to land through irrigation for the primary purpose of disposal - to

meet NPDES restrictions for receiving water discharge - but operate in

accordance with these requirements, may also apply to be regulated under this

Order.

Producers that have received an individual Order and previously submitted information

equivalent to that required in the Water Reuse Program Report below, may submit a letter as a

Notice of Intent without duplicating the material.

Where to Apply

The NOI should be mailed to the Regional Water Quality Control Board at the following address:

Regional Water Quality Control Board

San Francisco Bay Region

1515 Clay Street, Oakland, CA 94612

Attn: Water Reuse Program Manager, South Bay Watershed Protection Division

A copy of the NOI shall also be mailed to the California Department of Health at the following address:

California Department of Health Services

Drinking Water Field Operations Branch

North Coastal Region

2151 Berkeley Way

Berkeley, CA 94704

When to Apply

An applicant should file the NOI 60 days prior to project start.

## What to File

The NOl shall include a Water Reuse Program technical report, containing the following as a

minimum:

SECTION I - FACILITY /WASTE TREATMENT INFORMATION

Description of existing and/or proposed treatment, storage and transmission facilities for water

reuse (much of this may be from current Orders/reports, but should be updated). This should

include the type and level of wastewater treatment for reuse applications and estimated

seasonal flows of recycled water.

SECTION II - REUSE APPLICATIONS

Describe the types of applications recycled water will be used for. This should include:

a)   Agency owned/controlled uses (e.g. Irrigation type/acreage/locations)

b)   Contracted User Applications

1)	List of Users receiving or proposing to receive recycled water (including a list of uses

of  recycled water for each user)

2)  	The estimated amount of recycled water flows to each User.

3)  	Descriptions/maps of designated use areas.

SECTION Ill - DESCRIPTION OF WATER REUSE PERMIT PROGRAM

The Agency’s water reuse program should be fully described as follows:

a)	Copy of agency’s authority and proposed rules and/or regulations

b)	Design and implementation of program

c)	Cross connection testing responsibilities and procedures

d)   Self-monitoring program

e)   User Inspection Program

f)	O&M program

g)   Compliance program

h)	Employee (user) Training

i)	Emergency procedures & notification

## SECTION IV - ADDITIONAL SITE SPECIFIC CONDITIONS

If existing Orders have additional site specific conditions and/or restrictions not covered in the

General Order, they should be described here.

SECTION V - REUSE PROGRAM ADMINISTRATION

Describe organization and responsibilities of pertinent personnel involved in the water reuse

program. Provide the name(s), title(s) and phone number(s) of contact person(s) who are

charged with operation/oversight of the water reuse program.