| Facility/Site Inspected and Responsible Party for Maintenance | Date(s) of Inspection | Type of Inspection (annual, follow-up) | Type of BMP Inspected | Compliance Status (compliance, non-compliance) | Enforcement Action Taken (Warning, NOV, administrative citation | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| ABC Company 123 Alphabet Road San Jose | 12/06/05 | annual | bioretention unit | compliance | none | Site looks good and everything working properly. |
| DEF site 234 Blossom Drive Santa Clara | 12/17/05 | annual | CDS Unit | noncompliance | verbal warning | CDS unit was clogged and not working properly. |
|  | 12/19/95 | re-inspection | CDS unit | compliance | none | CDS unit unclogged and working properly. |
|  | 1/19/06 | Re-inspection | CDS unit | compliance | none |  |
| GHI Hotel 1001 Grand Blvd 227 Touring Parkway | 12/21/05 | annual | swales bioretention unit inlet filter | compliance compliance noncompliance | notice of violation | Inlet filter was clogged and water everywhere. |
|  | 12/27/05 | re-inspection | inlet filter | compliance |  | CDS unit working properly again. |
| Rolling Hills Estates Homeowners’ Association 543 Rolling Hill Drive Pleasanton | 01/17/06 | annual | pond | noncompliance | notice of violation | Pond needs maintenance and debris removal from check dam. |
|  | 01/24/06 | re-inspection | pond | noncompliance | administrative citation $1000 assessed | Pond still a mess. Administrative citation requires maintenance be done within a week. |
|  | 01/31/06 | re-inspection | pond | compliance | none | Pond all cleaned up. |
|  | 02/18/06 | spot inspection | pond | compliance | none | Pond seems to be working properly and maintenance seems to be upkept. |