| Baseline List of BMPs | Level of Implementation | Recording/Reporting |
| --- | --- | --- |
| Street and Road Sweeping and Cleaning |  |  |
| - Sweeping frequency, timing and efficiency (equipment used) - Identify and designate streets, roads, and public parking lot sweeping within the Co-permittee’s jurisdiction by the following three categories. Sweeping frequency can also be based on trash levels generated The following priorities shall be assigned: - High Priority: Streets, road segments and/or agency parking lots designated as high priority (may) include at least, but not limited to, high traffic zones, heavy commercial and industrial districts, shopping malls, high density residential dwellings and plazas. These areas consistently generate high volumes of trash, debris and other storm water pollutants; - Medium Priority: Streets, road segments and/or agency parking lots designated as medium priority include at least, may include, but not limited to, medium traffic zones, warehouse districts, and medium commercial and industrial districts; and - Low Priority: Streets, road segments and/or agency parking lots designated as low priority include at least, but not limited to, light traffic zones, residential zones and light commercial districts. | - Identify and map designated streets, roads, and public parking lots for sweeping by _______(6 months after permit adoption). - Sweep streets/roads/public parking lots as follows: - High Priority: average of at least twice per month; - Medium Priority: average of at least once per month; and - Low Priority: as necessary, but at least twice before the onset of the rainy season. - Where street sweeping is not technically feasible , increase implementation of trash/litter control procedures to minimize pollutant discharges to storm drains and creeks. - For effective pollutant reduction, employ efficient street sweeping methods that are capable of removing fine particulates. Phase in with new street sweeping equipment purchases, 50%. - Conduct seasonal efforts to remove leaves from paved surfaces, especially during the fall season. - Follow California Department of Transportation’s definition for high, medium, and low traffic levels and housing density. | 1. In the first reporting year, identify and map the high, medium, and low priority areas. Annually identify any changes thereafter, and report basis for change. 2. Keep records of types of sweepers used, swept curb miles, volume or weight of materials removed. 3. Submit staff training records. . 5. Identify Co-permitee’s public outreach efforts to improve sweeping efficiency 6. Report information for items 2-5 (listed above) in summary form within Annual Report. - Annually report which measures used and how often to improve efficiency. - Report on street flushing and sanitary sewer discharge measures (vactor, pump station cross over). - Annually report date and percent (%) attendance Describe sweeping operation verification and results Report which efficiency measures are used and level of implementation Results of quarterly internal audit Report on street flushing instances Date of training and attendance % |
| - Sweeping equipment selection and operation | - Follow equipment design performance specifications: to ensure that street sweeping equipment operates effectively at the proper equipment design speed (verify by appropriate mechanism); and is properly maintained to optimize pollutant removal from the curb (where dirt deposition is probably higher). |  |
| - Measures to improve efficiency | - Annually evaluate street sweeping efficiency to improve pollutant removal. - In areas where street sweeping schedules are not posted, use alternative methods to minimize the number of parked cars to maximize sweeping effectiveness to the curb. Do one or more of the following: temporary signage, use of extra sweepers or other techniques during heavy leaf-drop season, coordinated sweeping with green waste and garbage pick-up schedules and public education about sweeping schedules. - Quarterly (perform internal audit or supervised inspection to ensure street sweeping effectiveness to the maximum extent practicable. |  |
| - Management of material removed by sweeping | - To prevent discharges of pollutants to waterways, ensure proper handling and dispose of materials removed from streets to appropriate disposal facility. - Prohibit discharge of wash water from street sweeping and street sweeper rinse out to storm drains. |  |
| - Street cleaning (wet) and flushing | - All) street flushing discharges must be captured and discharged to sanitary sewer. |  |
| - Staff training | - Provide annual training to municipal staff and contract sweepers on how to fully comply with Performance Standards and permit requirements. Train 80% of street sweeping operators. |  |
| Street and Road Repair and Maintenance |  |  |
| - Asphalt/concrete removal, installation and repair | - Prevent discharges to storm drain inlets, or waterways by ensuring that all pavement cutting crews recover and properly dispose of saw cutting wastes. - If concrete slurry enters the storm drain system (from accidental spills or releases), remove the material - Properly manage concrete slurry, asphalt, and other street and road maintenance materials and waste to prevent discharge to storm water runoff. - Implement effective BMPs (for storm drain protection) and sediment transport control measures when performing maintenance activities involving construction, regardless of project size. - Prohibit discharge of wash water from maintenance areas to storm drains) vactor wastewater and haul to appropriate disposal. - Sweep and/or vacuum to remove debris, concrete, or sediment residues from work sites upon completion of work. Clean up all construction remains, spills and leaks using dry methods (e.g., absorbent materials, rags, pads, and vacuum) consistent with methods outlined in the BASMAA “Blueprint for a Clean Bay”. - Ensure implementation of BMPs and SOPs for pollutant removal from street maintenance/utility repairs. | - Periodically train public works inspectors and maintenance crews to comply with stormwater requirements. - Annually certify implementation and compliance with the BMPX listed in “a” – “d” of this section. Report inspection and re-signing progress |
| - Equipment cleaning, maintenance, and storage | - Prohibit discharge of wash water from equipment cleaning and maintenance activities to storm drains - Contain washout from concrete trucks, chutes, and/or concrete rinse within a designated area during all concrete pours and operation. These wastes shall not be discharged to storm drain inlets, streets or ditches. |  |
| - Signing and striping | - Contain and properly dispose of paint waste and/or thermoplastic residue. Prevent discharges to storm drains. |  |
| - Ensure that storm drain inlets are marked with stormwater awareness message | - Annually inspect and repair storm drain inlets marked with stormwater awareness message. |  |
| Sidewalk/Plaza Maintenance |  |  |
| a) Cleaning protocols | - Contain and properly dispose of wash water to sanitary sewer. Prevent discharges to storm drains. | Annually certify implementation and compliance with the BMPs. |
| b) Follow Pavement washing and mobile cleaner Performance Standards | - Follow Performance Standards for pressure wash and mobile cleaner. |  |
| Bridge and Structure Maintenance |  |  |
| a) Repair Work | - Prevent concrete, steel, wood paint and paint chips, coating chips, metal parts, tools or other work-related materials from entering storm drains or water courses. | Annually certify implementation and compliance with the BMPs listed in a and b of this section. |
| b) Graffiti removal | - Protect nearby storm drain inlets prior to removing graffiti from walls, signs, sidewalks or other structures needing graffiti abatement. Prevent any discharge of debris, cleaning compound waste, paint waste or wash water- containing cleaning compounds from entering storm drains or water courses. - Use wet vacuum and discharge to sanitary sewer. |  |
| Landscape Maintenance |  |  |
| a) Erosion controls | - Maintain vegetative cover on medians and road embankments to prevent soil erosion from storm water runoff. | Annually certify implementation and compliance with the BMPs listed in a-c of this section. |
| b) Irrigation practices | - Regularly inspect irrigation systems for broken water lines, sprinkler heads and valves to ensure that only the necessary amount of water is applied and that runoff is not occurring. |  |
| c) Vegetation controls | - Where practicable, mow and avoid the use of herbicides to remove excess vegetation along road sides and storm drain ditches - Keep removed vegetation (including clippings, chips and pruning debris) away from storm drain inlets and water courses. |  |

| Baseline List of BMPs | Level of Implementation | Recording/Reporting |
| --- | --- | --- |
| a) Litter/Trash clean up activities within agency jurisdiction | - Identify and assess potential litter/trash accumulation areas, particularly in high priority street sweeping areas. - Identify potential management actions to reduce trash levels at the identified sites. - Implement preferred/pilot trash management actions. Evaluate the effectiveness of the implemented actions. If the management actions are not measurably effective, propose and implement an alternative management action. - Implement appropriate trash removal program in creeks and storm water conveyance systems and waterways at least twice a year (before and after the rainy season). - In waterways that have trash problem areas and were access is feasible, perform trash removal during the rainy season as frequently as it is needed, or at the first major accumulation of trash following first flush, and once after the wet season. - For major watercourses within the permittee’s jurisdiction, identify and prioritize business centers (e.g., malls, plazas, recreation centers, and densely populated) areas based on their proximity to waterways and the likelihood of contributing trash to waterways. Implement litter/trash prevention and removal activities for the prioritized business/areas on a pilot basis. Ten sites per County? | Annually report on actions taken for items a, b, and c, potential revisions to trash management actions and enforcement actions taken. |
| b) Litter receptacles placement and maintenance | - Provide public trash receptacles in trash prone areas, most probably in high priority sweeping and prevent overflowing trash receptacles in these areas. |  |
| c) Public education – litter prevention | - Incorporate litter prevention messages in PIP outreach programs and coordinate composting messages with current PIP efforts. If appropriate, coordinate with other local programs. - Focus additional public awareness efforts in pilot high priority areas |  |
| d) Enforcement of anti-littering codes | - Ensure anti-littering codes are enforced. |  |

| Baseline List of BMPs | Level of Implementation | Recording/Reporting |
| --- | --- | --- |
| Catch Basin Inspection and Cleaning |  |  |
| a) Catch Basin Inspection and Cleaning b) Catch Basin Retrofits Need objective, quantifiable requirements for level of implementation or pilot or global trash abatement BMPs. | - Demonstrate possesion of maps of all storm drain inlets, outfalls and drainage areas contributing to those outfalls within the Co-permittee’s jurisdiction so that the Water Board can verify that inlets are cleaned and stenciled appropriately. - Ensure each storm drain inlet is labeled/stenciled with “No Dumping - Drains to Bay” or equivalent signage, and inspected/refreshed once a year or consistent with the material’s longevity. - Maintain storm drain inlets and storm water collection system in accordance with a maintenance plan, including but not limited to the following: - Inspect and clean storm drain inlets/catch basins of trash and accumulated debris at least annually, before the rainy season. - Increase inspection frequency in problem areas that accumulate excessive sediment and debris to twice each year, before and after the rainy season. - During inspections, Co-permittees must check for the following: - Structural integrity; - Accumulation of trash, sediments and pollutants (e.g., oily sheen); - Presence of illicit discharges, and - Stencil legibility. - Revise inspection and clean up schedule of storm drain inlets based on previous year’s effectiveness evaluation, to increase effort in heavy impact areas. Original Water Board Proposed language: - Retrofit or redesign inlets for trash interception and removal by street sweepers. - Design storm drain inlets to exclude trash through use of appropriate grating, and schedule trash removal maintenance. Revised Proposed Language by Work Group: - Identify storm drain inlets with high accumulations of litter/trash in each Co-permittee’s jurisdiction to prioritize areas where retrofit BMPs will be most effective in preventing trash from entering the storm drain system. - Research or use current trash collection/control options for retrofits of storm drain inlets. Use information collected by Los Angeles (City and County), CalTrans, and other cities nationwide to provide a list of devices/BMPs and the pros and cons for each one. Determine the relative ease of implementation, costs and effectiveness of each device investigated. - Co-permittees will select a subset of the trash control retrofit options investigated in the previous bullet point and implement pilot/demonstration studies at multiple locations within the region to assess their effectiveness and associated costs. - Co-permittees will select from the “toolbox” of trash control retrofit options and implement them at a subset of storm drain inlets with trash problems identified in the first bullet point above. - Identify additional areas for implementing storm drain inlet retrofits or other trash control/collection options each year. Use information collected through trash assessments collected by Storm Water Quality Monitoring Programs. | 1. Keep records of inspections, cleaning, and maintenance for each drain inlet annually. Provide this information in a summary form within the annual report. 2. Report on any planned revisions to the storm drain inspection and clean out schedule based on the effectiveness evaluation 3. Report on the effectiveness of trash reductions through storm drain inlet retrofits or other end-of-pipe treatments that are implemented annually. |
| Stormwater Pump Station and Conveyance Systems |  |  |
| a) Operation and Maintenance of storm water pump station and conveyance systems (e.g., ditches, canals, channels, culverts, wet wells, and junction boxes | - Inspect pump stations after the rainy season and develop a schedule for maintenance activities prior to the next rainy season. - Prepare and implement guidelines for operation and maintenance of conveyance systems (e.g., ditches, canals, channels, culverts, wet wells, junction boxes, and pump stations). - Establish an inventory of the conveyance system and inspection frequencies. Based on vegetation density and sediment accumulation, inspect these facilities, at a minimum, twice a year (once before the beginning of the rainy season and once after the rainy season). - Establish maintenance frequencies for removal of accumulated sediments, trash and debris. Areas that show rapid vegetation growth and frequent sediment accumulation shall be routinely maintained to restore system capacity and to prevent flooding incidents. - Obtain appropriate permits for sediment and vegetation removal from jurisdictional waters. Mitigation may be also required for temporal loss of wetland functions and values from sediment removal. - To minimize impacts to water quality, wildlife and aquatic habitat, obtain permits from appropriate regulatory agencies when performing maintenance activities in waterways. With the exception of certain special species breeding habitat areas, all maintenance activities that involve impacts to water quality shall be performed during the allowable construction period prior to the beginning of the rainy season (i.e., between April 15 and October 15). - Inspect trash racks and oil absorbent booms during or within 24-hours of significant storm events. Remove debris in trash racks and replace oil absorbent booms, as needed. | 1. Keep records of the areas or sites inspected and cleaned. 2. Keep records of the number of systems inspected and maintained, volume or mass of waste materials removed from conveyance systems. 3. Keep records of corrective and enforcement actions in case of unauthorized activities. 4. Compile and report information gathered in a- c of this section in a summary form within the annual report. |

| Baseline List of BMPs | Level of Implementation | Recording/Reporting |
| --- | --- | --- |
| - Implement and require contractors to implement BMPs when performing maintenance activities in or adjacent to stream channels In emergency circumstances, after consultation with appropriate agencies, may be able to work before permit issuance and obtain the appropriate permit after the fact. | - Co-permittees with rural public works activities must develop and periodically evaluate performance standards, BMPs and SOPs for the following activities: - Management and preservation of large woody debris in stream channels and preservation of vegetation in riparian corridors. - Stream bank stabilization projects/activities. - Road or culvert construction designs. - Maintenance and repair of roads and culverts in rural areas to prevent and control related erosion. - Management of storm water runoff to reduce erosion. - Obtain appropriate agency permits for rural public works activities. - Always notify Water Board, Department of Fish and Game and U.S. Army Corps of Engineers before work in or near creeks and wetlands, even in emergencies. | 1.Report annually on the rural public works activities described in a-c of this section. Report on increased maintenance in priority areas. |
| b) General road construction and maintenance practices | - Prioritize rural roads for increased maintenance based on soil type, steepness and stream resources. - Implement increased maintenance. |  |
| c) Special considerations for stream crossings and steep slopes – culvert design and placement | - Identify roads adjacent to streams and riparian habitat for increased maintenance to reduce erosion. Replace damaging shotgun culverts, slope roads outward and install water bars. - Obtain appropriate permits from Water Board, CDF&G, USACOE before working in or near creeks. - Before the beginning of each rainy season, conduct surveys to identify and fix roads susceptible to potential erosion and excess sedimentation that may pose potential threats to water quality standards. For projects that involve fill or discharge of jurisdictional water bodies or streams, obtain approvals and appropriate permits from interested regulatory agencies before beginning construction work. - If feasible, identify existing culverts that may be rehabilitated with environmental friendly measures to reduce erosion, provide fish passage and/or maintain stream natural flows. - Ensure each storm drain inlet is labeled/stenciled with “No Dumping, Drains to Bay” or equivalent signage. |  |

| Baseline List of BMPs | Level of Implementation | Recording/Reporting |
| --- | --- | --- |
| a) Prepare and implement a specific Stormwater Pollution Prevention Plan (SWPPP) for public vehicle maintenance facilities, material storage facilities and corporation yards that have the potential to discharge pollutants to storm water and/or the waters of the State. This requirement shall only apply to facilities not already covered under the Industrial Stormwater General Permit. | - Maintain a list of all municipal yards, including their location and a description of facility use. - Implement BMPs to minimize pollutant discharges in stormwater and prohibit non-stormwater discharges (e.g., wash waters and street sweeper, vactor and other related equipment cleanout water). Actions include but not limited to, good housekeeping practices, material storage control, vehicle leak and spill control and illicit discharge control. - Routinely inspect corporation yards to ensure that no illegal discharges are entering the storm drain system and that during storms, pollutant discharges are controlled to the maximum extent practicable. At a minimum, inspections shall occur prior to the start of the rainy season. - All vehicle and equipment wash areas shall be plumbed to the sanitary sewer after coordination with local authorities and equipped with a pre-treatment device (if necessary) in accordance with the requirements of the local sewer agency. - Use dry clean up methods to clean up debris. If wet cleaning methods must be used (e.g., pressure washing), ensure that wash-water is collected and disposed in the sanitary sewer in accordance with the requirements of the local sewer agency. Any private companies hired by the agency to perform cleaning activities on agency-owned property shall follow these same requirements. - Outdoor storage areas containing pollutants shall be covered and/or bermed to prevent cross contamination of stormwater run-on to operation areas or to prevent runoff from reaching storm drain inlets. - Storage areas for refuse and waste materials removed from yards and storm drainage facilities shall be designated and be properly designed and/or covered to prevent cross contamination of stormwater run-on to operation areas or to prevent runoff from reaching storm drain inlets. - Ensure each storm drain inlet is labeled/stenciled with “No Dumping, Drains to Bay” or equivalent signage. | Annually report on any changes or updates to the SWPPP. |
| b) Train staff on SWPPP requirements and implementation at Corp Yards | - Provide staff training annually. - Inspect Corp Yards annually by staff outside municipal maintenance. | Report on staff training received in annual report. Report Corp Yard Insp. results |
| c) Revise and update procedures and plans as needed, but with a full review at least once each 5 years. |  | Report when full review of the SWPPP occurs. |

| Baseline List of BMPs | Level of Implementation | Recording/Reporting |
| --- | --- | --- |
|  | This section may or not be in the final draft since the number of lagoons are limited within the Bay area. Issues or activities related to lagoon maintenance may be handled by other permits. - Prepare and implement a standardized protocol for routine and non-routine application of pesticides, herbicides and fertilizers consistent with the State Board’s guidelines and monitoring requirements for application of aquatic pesticides to surface waters (WQ Order No. 2001-12 DWQ). - Obtain appropriate permits when maintaining bank stabilization or similar works. - Install only environmentally-friendly, non-chemically treated in-water support structures (e.g., piers made of metal, concrete, or synthetic wood for new construction). - Maintain and implement proper BMPs to reduce potential pathways for pathogens. - Continuously improve Performance Standards for lagoon management annually; however, major changes shall require Permit amendment. - The level of implementation listed above applies only to municipalities that own and operate lagoons within their jurisdiction. | Report on presence of lagoons and management practices. |