## Facility Employee [CCR, title 23, section 2715(f)].

“Facility employee” means an individual who is employed on-site at an UST facility, and who may be called upon to respond to spills, overfills, or other problems associated with the operation of the UST system. A "Facility employee" must:

- Complete on-the-job training provided by the Designated UST Operator by

July 1, 2005, and every twelve months thereafter. The training for facility employee must include, but is not limited to:

- The operation of the UST system in a manner consistent with the facility’s best management practices.

- The facility employee’s role with regard to the monitoring equipment as specified in the facility’s monitoring plan.

- The facility employee’s role with regard to spills and overfills as specified in the facility’s response plan.

- The name of the contact person(s) for emergencies and monitoring equipment alarms.

|  | How to Obtain International Code Council (ICC) Certification? |  |
| --- | --- | --- |

To obtain ICC certification, an individual must pass an exam administered by ICC. For information on the exams, please visit the ICC website at: http://www.iccsafe.org/certification/bulletin.htm;  and click on the link for the “AST/UST (National and State Specific)” Candidate Bulletin link. The bulletin contains information on how to make an exam reservation and other exam details.

Click here for information on the California UST System Operator exam references.

Click here for information on the California UST Service Technician exam references.

Click here for information on the California UST Installer exam references.

Click here for information on the California UST Inspector exam references.