## Slide 1: Staten Island Flow Monitoring Fall 2019 Progress Update
Kirk Klausmeyer
October 24, 2019

## Slide 2: The fireswamp?
Its not that bad…

## Slide 3: Meters are working better
Our contractor fixed installation issues on July 24th, 2019

## Slide 4: We are learning more about the meters
Z Method:
Better for pipes greater than 10 inches
V Method:
Not as good pipes greater than 10 inches

## Slide 5: We are learning more about the meters
When installing the transducers, be sure to check the signal strength and TOM/TOS values

## Slide 6: 10 of 49 Siphons have meters…
… so what about the other 39?

## Slide 7: Next Steps
Chart: Rating Curve for Siphon 29
Building rating curves for all the siphons based on valve position.

## Slide 8: Next Steps
Use low cost devices to estimate flow / valve position. For example, this Weiss compound gage measures both vacuum and pressure ($207)

## Slide 9: Next Steps
Improve data collection sheets to include more information

## Slide 10: Welcome Jake!

## Slide 11: Happily ever after?