## Volume Calculator
Post-Construction Water Balance Calculator
| User may make changes from any cell that is orange or brown in color (similar to the cells to the immediate right). Cells in green are calculated for you. |  | (Step 1a) If you know the 85th percentile storm event for your location enter it in the box below | (Step 1b) If you can not answer 1a then select the county where the project is located (click on the cell to the right for drop-down): This will determine the average 85th percentile 24 hr. storm event for your site, which will appear under precipitation to left. | SACRAMENTO |  |  |  | 0.63
|  |  |  | (Step 1c) If you would like a more percise value select the location closest to your site. If you do not recgonize any of these locations, leave this drop-down menu at location. The average value for the County will be used. | SACRAMENTO FAA ARPT |  |  |  | 0.62
| Project Information |  |  | Runoff Calculations | [6 empty] | Existing Land Use Type
| Project Name: | Optional |  | (Step 2) Indicate the Soil Type (dropdown menu to right): | Group C Soils | Low infiltration. Sandy clay loam. Infiltration rate 0.05 to 0.15 inch/hr when wet. |  |  |  |  | Impervious | Total |  |  | 3
| Waste Discharge Identification (WDID): | Optional |  | (Step 3) Indicate the existing dominant non-built land Use Type (dropdown menu to right): | Wood & Grass: <50% ground cover |  |  |  |  | RCN | 82 | 98 |  |  | 82 | for existing land use
| Date: | Optional |  | (Step 4) Indicate the proposed dominant non-built land Use Type (dropdown menu to right): | Lawn, Grass, or Pasture covering more than 75% of the open space
| Sub Drainage Area Name (from map): | Optional |  |  | Complete Either
| Runoff Curve Numbers |  |  |  | Sq Ft | Acres | Acres
| Existing Pervious Runoff Curve Number |  | 82 | (Step 5) Total Project Site Area: |  | 5 | 5
| Proposed Development Pervious Runoff Curve Number |  | 74 | (Step 6) Sub-watershed Area: |  | 5 | 5
| Design Storm |  |  | Percent of total project : | 100%
| Based on the County you indicated above, we have included the 85 percentile average 24 hr event - P85 (in)^ for your area. | 0.62 | in
| The Amount of rainfall needed for runoff to occur (Existing runoff curve number -P from existing RCN (in)^) | 0.44 | In | (Step 7) Sub-watershed Conditions | Complete Either |  | Calculated Acres
| P used for calculations (in) (the greater of the above two criteria) | 0.62 | In | Sub-watershed Area (acres) | Sq Ft | Acres | 5 |  |  | S | 2.2 | 0.2 |  | RCN | 82 | existing
| ^Available at www.cabmphandbooks.com |  |  | Existing Rooftop Impervious Coverage |  | 0 | 0 |  |  | Volume design storm (in) | 0.013613 | 0 | 0.013613 | RCN | 74 | for new land use
|  |  |  | Existing Non-Rooftop Impervious Coverage |  | 0 | 0 |  |  | Volume design storm (cu ft) | 247.084 | 0 | 247.084 | RCN | 74
|  |  |  | Proposed Rooftop Impervious Coverage |  | 0 | 0 | 0
|  |  |  | Proposed Non-Rooftop Impervious Coverage |  | 0 | 0 | 0
|  |  |  | (Step 8) Impervious Area Reduction Credits | Acres |  | Square Feet |  |  |  |  | 0 |  |  |  |  | 0 | pervious Pavement Actual
|  |  |  | Porous Pavement | 0 |  | 0 | 0 | [8 empty] | 0 | Pervious Pavement Equilivant
|  |  |  | Tree Planting | 0 |  | 0
| Pre-Project Runoff Volume (cu ft) | 247 | Cu.Ft. | Downspout Disconnection | 0 |  | 0
| Project-Related Runoff Volume Increase w/o credits (cu ft) | 0 | Cu.Ft. | Impervious Area Disconnection | 0 |  | 0 |  |  |  | 0
|  |  |  | Green Roof | 0 |  | 0
|  |  |  | Stream Buffer | 0 |  | 0
| Project-Related Volume Increase with Credits (cu ft) | 0 | Cu.Ft. | Vegetated Swales | 0 |  | 0
|  |  |  | Subtotal | 0 |  | 0
|  |  |  | Subtotal Runoff Volume Reduction Credit | 0 | Cu. Ft.
You have achieved your minimum requirements
|  |  |  | (Step 9) Impervious Volume Reduction Credits | Volume (cubic feet)
|  |  |  | Rain Barrels/Cisterns | 0 | Cu. Ft.
|  |  |  | Soil Quality | 0 | Cu. Ft.
|  |  |  | Subtotal Runoff Volume Reduction | 0 | Cu. Ft.
|  |  |  | Total Runoff Volume Reduction Credit | 0 | Cu. Ft.
0
Pervious
| Runoff Curve Number | 74 | 98
| S | 3.51 | 0.2 | 0
| Volume design storm (in) | 0 | 0 | 0
| Volume design storm (cu ft) | 0 | 0

## Porous Pavement
Porous Pavement Credit Worksheet
Please fill out a porous pavement credit worksheet for each project sub-watershed.
For the PROPOSED Development:
Fill in either Acres or SqFt
Proposed Porous Pavement |  | Runoff Reduction* | In SqFt. | In Acres | Equivalent Acres
Area of Brick without Grout on less than 12 inches of base with at least 20% void space over soil |  | 0.45 |  |  | 0 | 0
Area of Brick without Grout on more than 12 inches of base with at least 20% void space over soil |  | 0.9 |  |  | 0 | 0
Area of Cobbles less than 12 inches deep and over soil |  | 0.3 |  |  | 0 | 0
Area of Cobbles less than 12 inches deep and over soil |  | 0.6 |  |  | 0 | 0
Area of Reinforced Grass Pavement on less than 12 inches of base with at least 20% void space over soil |  | 0.45 |  |  | 0 | 0
Area of Reinforced Grass Pavement on at least 12 inches of base with at least 20% void space over soil | 0.9 | 0.9 |  |  | 0 | 0
Area of Porous Gravel Pavement on less than 12 inches of base with at least 20% void space over soil |  | 0.38 |  |  | 0 | 0
Area of Porous Gravel Pavement on at least 12 inches of base with at least 20% void space over soil |  | 0.75 |  |  | 0 | 0 |  |  | 0
Area of Poured Porous Concrete or Asphalt Pavement with less than 4 inches of gravel base (washed stone) |  | 0.4 |  |  | 0 | 0
Area of Poured Porous Concrete or Asphalt Pavement with 4 to 8 inches of gravel base (washed stone) |  | 0.6 |  |  | 0 | 0
Area of Poured Porous Concrete or Asphalt Pavement with 8 to 12 inches of gravel base (washed stone) |  | 0.8 |  |  | 0 | 0 | 0 | 0
Area of Poured Porous Concrete or Asphalt Pavement with 12 or more inches of gravel base (washed stone) |  | 1 |  |  | 0 | 0
0
|  | *=1-Rv** |  | Return to Calculator
**Using Site Design Techniques to meet Development Standards for Stormwater Quality (BASMAA 2003)
**NCDENR Stormwater BMP Manual (2007)
0

## Tree Planting
Tree Planting Credit Worksheet
Please fill out a tree canopy credit worksheet for each project sub-watershed.
Tree Canopy Credit Criteria | Number of Trees Planted | Area Credit (acres)
Number of proposed evergreen trees to be planted (credit = number of trees x 0.005)* | 0 | 0
Number of proposed deciduous trees to be planted (credit = number of trees x 0.0025)* |  | 0
Square feet Under Canopy
Square feet under an existing tree canopy, that will remain on the property, with an average diameter at 4.5 ft above grade (i.e., diameter at breast height or DBH) is LESS than 12 in diameter. |  | 0
Square feet under an existing tree canopy that will remain on the property, with an average diameter at 4.5 ft above grade (i.e., diameter at breast height or DBH) is 12 in diameter or GREATER. |  | 0 | 0
Please describe below how the project will ensure that these trees will be maintained.
Return to Calculator
* credit amount based on credits from Stormwater Quality Design Manual for the Sacramento and South Placer Regions

## Downspout Disconnection
Downspout Disconnection Credit Worksheet
Please fill out a downspout disconnection credit worksheet for each project subwatershed. If you answer yes to all questions, all rooftop area draining to each downspout will be subtracted from your proposed rooftop impervious coverage.
Downspout Disconnection Credit Criteria |  |  |  | Response
Do downspouts and any extensions extend at least six feet from a basement and two feet from a crawl space or concrete slab? |  |  |  | yes / no |  |  | 2
Is the area of rooftop connecting to each disconnected downspout 600 square feet or less? |  |  |  | yes / no |  |  | 2
Is the roof runoff from the design storm event fully contained in a raised bed or planter box or does it drain as sheet flow to a landscaped area large enough to contain the roof runoff from the design storm event? |  |  |  | yes / no |  |  | 2
The Stream Buffer and/or Vegetated Swale credits will not be taken in this sub-watershed area? | [6 empty] | 2
Percentage of existing | 0 | Acres | of rooftop surface has disconnected downspouts | 50% |  | 0
Percentage of the proposed | 0 | Acres | of rooftop surface has disconnected downspouts | 25% | 50 | 0 |  | %
Return to Calculator
6
G25
Yes
Yes
Yes
No
No
No
Yes
No

## Impervious Area Disconnection
Impervious Area Disconnection Credit Worksheet
Please fill out an impervious area disconnection credit worksheet for each project sub-watershed. If you answer yes to all questions, all non-rooftop impervious surface area will be subtracted from your proposed non-rooftop impervious coverage.
Non-Rooftop Disconnection Credit Criteria |  |  |  | Response
Is the maximum contributing impervious flow path length less than 75 feet or, if equal or greater than 75 feet, is a storage device (e.g. French drain, bioretention area, gravel trench) implemented to achieve the required disconnection length? | [5 empty] | 1
Is the impervious area to any one discharge location less than 5,000 square feet? | [5 empty] | 1
The Stream Buffer credit will not be taken in this sub-watershed area? | [5 empty] | 1
3
Percentage of existing | 0 | Acres | non-rooftop surface area disconnected |  |  | 0
Percentage of the proposed | 0 | Acres | non-rooftop surface area disconnected | 70 | % | 0
Return to Calculator
Yes
No
Yes
No
Yes
No

## GreenRoofs
Green Roof Credit Worksheet
Please fill out a greenroof credit worksheet for each project sub-watershed. If you answer yes to all questions, 70% of the greenroof area will be subtracted from your proposed rooftop impervious coverage.
Green Roof Credit Criteria |  |  |  | Response
Is the roof slope less than 15% or does it have a grid to hold the substrate in place until it forms a thick vegetation mat? | [5 empty] | 1
Has a professional engineer assessed the necessary load reserves and designed a roof structure to meet state and local codes? | [5 empty] | 1
Is the irrigation needed for plant establishment and/or to sustain the green roof during extended dry periods, is the source from stored, recycled, reclaimed, or reused water? | [5 empty] | 1
Percentage of existing | 0 | Acres | rooftop surface area in greenroof |  | 0 | 3
Percentage of the proposed | 0 | Acres | rooftop surface area in greenroof |  | 0
Return to Calculator
Yes
No
Yes
No
Yes
No

## Stream Buffer
Stream Buffer Credit Worksheet
Please fill out a stream buffer credit worksheet for each project sub-watershed. If you answer yes to all questions, you may subtract all impervious surface draining to each stream buffer that has not been addressed using the Downspout and/or Impervious Area Disconnection credits.
Stream Buffer Credit Criteria |  |  |  | Response
Does runoff enter the floodprone width* or within 500 feet (whichever is larger) of a stream channel as sheet flow**? | [5 empty] | 2
Is the contributing overland slope 5% or less, or if greater than 5%, is a level spreader used? | [5 empty] | 2
Is the buffer area protected from vehicle or other traffic barriers to reduce compaction? | [5 empty] | 2
Will the stream buffer be maintained in an ungraded and uncompacted condition and will the vegetation be maintained in a natural condition? | [5 empty] | 2
Percentage of existing | 0 | Acres | impervious surface area draining into a stream buffer: |  | 0 | 8
Percentage of the proposed | 0 | Acres | impervious surface area that will drain into a stream buffer: |  | 0
Please describe below how the project will ensure that the buffer areas will remain in ungraded and uncompacted condition and that the vegetation will be maintained in a natural condition.
Return to Calculator
* floodprone width is the width at twice the bankfull depth.
** the maximum contributing length shall be 75 feet for impervious area
Yes
No
Yes
No
Yes
No
Yes
No

## Vegetated Swale
Vegetated Swale Credit Worksheet
Please fill out a vegetated swale worksheet for each project subwatershed. If you answer yes to all questions, you may subtract all impervious surface draining to each stream buffer that has not been addressed using the Downspout Disconnection credit.
Vegetated Swale Credit Criteria
Have all vegetated swales been designed in accordance with Treatment Control BMP 30 (TC-30 - Vegetated Swale) from the California Stormwater BMP Handbook, New Development and Redevelopment (available at www.cabmphandbooks.com)? | [5 empty] | 2
Is the maximum flow velocity for runoff from the design storm event less than or equal to 1.0 foot per second? | [5 empty] | 2
4
Percentage of existing | 0 | Acres | of impervious area draining to a vegetated swale |  | 0
Percentage of the proposed | 0 | Acres | of impervious area draining to a vegetated swale |  | 0
Return to Calculator
Yes
No
Yes
No

## Rain Barrels & Cisterns
Rain Barrel/Cistern Credit Worksheet
Please fill out a rain barrel/cistern worksheet for each project sub-watershed.
Rain Barrel/Cistern Credit Criteria |  | Response
Total number of rain barrel(s)/cisterns
Average capacity of rain barrel(s)/cistern(s) (in gallons)
Total capacity rain barrel(s)/cistern(s) (in cu ft) 1 |  | 0
1 accounts for 10% loss | Return to Calculator

## Soil Quality
Please fill out a soil quality worksheet for each project sub-watershed.
Response
Will the landscaped area be lined with an impervious membrane?
Will the soils used for landscaping meet the ideal bulk densities listed in Table 1 below?1 | [5 empty] | 2
If you answered yes to the question above, and you know the area-weighted bulk density within the top 12 inches for soils used for landscaping (in g/cm3)* , fill in the cell to the right and skip to cell G11. If not select from the drop-down menu in G10. |  |  |  | 1.3 |  | 1.4 |  | 1.3
If you answered yes to the question above, but you do not know the exact bulk density, which of the soil types in the drop down menu to the right best describes the top 12 inches for soils used for landscaping (in g/cm3). |  |  |  | Sandy loams, loams |  |  |  | 1.4
What is the average depth of your landscaped soil media meeting the above criteria (inches)? |  |  |  | 12
What is the total area of the landscaped areas meeting the above criteria (in acres)? |  |  |  | 2.97
|  |  |  | Return to Calculator |  |  |  | Soil Type
Table 1 | [7 empty] | Sands, loamy sands | 1.6
Sands, loamy sands | <1.6 |  | Porosity (%) | 50.94% | 1.3 |  |  | Sandy loams, loams | 1.4 | #VALUE!
Sandy loams, loams | <1.4 |  |  |  |  | 129373.2 | cu ft | Sandy clay loams, loams, clay loams | 1.4
Sandy clay loams, loams, clay loams | <1.4 |  |  | Mineral grains in many soils are mainly quartz and feldspar, so 2.65 a good average for particle density. To determine percent porosity, use the formula: Porosity (%) = (1-Bulk Density/2.65) X 100 |  |  |  | Silts, silt loams | 1.3
Silts, silt loams | <1.3 | [6 empty] | Silt loams, silty clay loams | 1.1
Silt loams, silty clay loams | <1.1 | [6 empty] | Sandy clays, silty clays, some clay loams (35-45% clay) | 1.1
Sandy clays, silty clays, some clay loams (35-45% clay) | <1.1 | [6 empty] | Clays (>45% clay) | 1.1
Clays (>45% clay) | <1.1
1 USDA NRCS. "Soil Quality Urban Technical Note No.2-Urban Soil Compaction". March 2000.
http://soils.usda.gov/sqi/management/files/sq_utn_2.pdf
* To determine how to calculate density see: |  | http://www.globe.gov/sda/tg/pardensity.pdf
http://www.globe.gov/tctg/bulkden.pdf?sectionID=94
Yes
No

## No Edit
Description of Land Use | Hydrologic Soil Group |  |  |  | Soil Type |  |  |  |  | 85th Percentile 24-hr Rainfall (Coastal Comm.) | No Edit
Non-Built Land Use Type Pre Development | A | B | C | D | Group A Soils | 1 | High infiltration. Sand, loamy sand, or sandy loam. Infiltration rate > 0.3 inch/hr when wet. | COUNTY | LOCATION | 0
Open Space: grass cover <50% | 68 | 79 | 86 | 89 | Group B Soils | 2 | Moderate infiltration. Silt loam or loam. Infiltration rate 0.15 to 0.3 inch/hr when wet. | ALAMEDA | BERKELEY | 0.78
Open Space: grass cover 50% to 75% | 49 | 69 | 79 | 84 | Group C Soils | 3 | Low infiltration. Sandy clay loam. Infiltration rate 0.05 to 0.15 inch/hr when wet. | ALAMEDA | HAYWARD 4 ESE | 0.86
Open Space: grass cover >75% | 39 | 61 | 74 | 80 | Group D Soils | 4 | Very low infiltration. Clay loam, silty clay loam, sandy clay, silty clay, or clay. Infiltration rate 0 to 0.05 inch/hr when wet. | ALAMEDA | OAKLAND WSO AP | 0.59
Natural Desert | 63 | 77 | 85 | 88 |  |  |  | ALAMEDA | UPPER SAN LEANDRO FLTR | 0.72
Cultivated Agricultural: Bare Soil | 77 | 86 | 91 | 94 |  |  |  | ALPINE | MARKLEEVILLE | 0.62
Cultivated Agricultural: major crop residue cover | 76 | 85 | 90 | 93 |  |  |  | AMADOR | FIDDLETOWN DEXTER RANCH | 1.18
Cultivated Agricultural: minor crop residue cover | 74 | 83 | 88 | 90 |  |  |  | AMADOR | TIGER CREEK PH | 1.31
Pasture/Grassland/Range: <50% ground cover or heavily grazed with no mulch | 68 | 79 | 86 | 89 |  |  |  | BUTTE | BRUSH CREEK R S | 1.75
Pasture/Grassland/Range: 50% to 75% ground cover & not heavily grazed | 49 | 69 | 79 | 84 |  |  |  | BUTTE | CHICO UNIVERSITY FARM | 0.8
Pasture/Grassland/Range: >75% ground cover & lightly grazed | 39 | 61 | 74 | 80 |  |  |  | BUTTE | OROVILLE R S | 0.89
Meadow: Continuous grass & no grazing | 30 | 58 | 71 | 78 |  |  |  | BUTTE | STIRLING CITY R S | 1.82
Brush: <50% ground cover | 57 | 73 | 82 | 86 |  |  |  | CALAVERAS | CALAVERAS R S | 1.43
Brush: 50% to 75% ground cover | 35 | 56 | 70 | 77 |  |  |  | CALAVERAS | CAMP PARDEE | 0.77
Brush: >75% ground cover | 30 | 48 | 65 | 73 |  |  |  | COLUSA | WILLIAMS | 0.64
Wood & Grass: <50% ground cover | 57 | 73 | 82 | 86 |  |  |  | CONTRA_COSTA | BRENTWOOD 6 SW | 0.69
Wood & Grass: 50% to 75% ground cover | 43 | 65 | 76 | 82 |  |  |  | CONTRA_COSTA | MARTINEZ 2 S | 0.83
Wood & Grass: >75% ground cover | 32 | 58 | 72 | 79 |  |  |  | CONTRA_COSTA | WALNUT CREEK 2 ENE | 0.67
Woods: forest litter, small trees, and brush destroyed by grazing or burning | 45 | 66 | 77 | 83 |  |  |  | DEL_NORTE | CRESCENT CITY MNTC STN | 1.13
Woods: grazed but not burned with some forest litter | 36 | 60 | 73 | 79 |  |  |  | DEL_NORTE | KLAMATH | 1.36
Woods: no grazing and adequate brush and litter | 30 | 55 | 70 | 77 |  |  |  | EL_DORADO | BLODGETT EXP FOREST | 1.6
Modified from: Chow, V. T, D. R. Maidment, and L. W. Mays. 1988. Applied Hydrology. McGraw-Hill, Inc. | [7 empty] | EL_DORADO | GEORGETOWN R S | 1.59
[8 empty] | EL_DORADO | KYBURZ STRAWBERRY | 1.16
[8 empty] | EL_DORADO | PLACERVILLE DISP PLANT | 1.1
[8 empty] | EL_DORADO | ROBBS PEAK P H | 1.3
COUNTY | [7 empty] | FRESNO | BALCH POWER HOUSE | 1.14
ALAMEDA | 0.1 | 0.74 | [5 empty] | FRESNO | COALINGA 1 SE | 0.4
ALPINE | 0.1 | 0.62 | [5 empty] | FRESNO | FLORENCE LAKE | 0.79
AMADOR | 0.12 | 0.78 | [5 empty] | FRESNO | FRESNO YOSEMITE INTL | 0.49
BUTTE | 0.15 | 1.32 | [5 empty] | FRESNO | HUNTINGTON LAKE | 1.2984
CALAVERAS | 0.12 | 1.1 | [5 empty] | GLENN | STONY GORGE RESERVOIR | 0.75
COLUSA | 0.09 | 0.64 | [5 empty] | HUMBOLDT | EUREKA WFO WOODLEY IS | 0.65
CONTRA_COSTA | 0.1 | 0.73 | [5 empty] | HUMBOLDT | KNEELAND 10 SSE | 1.16
DEL_NORTE | 0.16 | 1.24 | [5 empty] | HUMBOLDT | MIRANDA 4 SE | 1.29
EL_DORADO | 0.14 | 1.24 | [5 empty] | HUMBOLDT | MIRANDA SPENGLER RANCH | 1.23
FRESNO | 0.13 | 0.82 | [5 empty] | IMPERIAL | EL CENTRO 2 SSW | 0.41
GLENN | 0.1 | 0.75 | [5 empty] | INYO | BISHOP AP | 0.34042
HUMBOLDT | 0.12 | 1.08 | [5 empty] | INYO | LONE PINE COTTONWOOD PH | 0.5
IMPERIAL | 0.1 | 0.41 | [5 empty] | KERN | BAKERSFIELD AP | 0.33
INYO | 0.09 | 0.42 | [5 empty] | KERN | BORON | 0.44
KERN | 0.09 | 0.48 | [5 empty] | KERN | GLENNVILLE FULTON RNGR | 0.87
KINGS | 0.1 | 0.4 | [5 empty] | KERN | LOST HILLS | 0.36
LAKE | 0.12 | 1.14 | [5 empty] | KERN | MOJAVE | 0.5
LASSEN | 0.09 | 0.43 | [5 empty] | KERN | TAFT | 0.34
LOS_ANGELES | 0.15 | 1.01 | [5 empty] | KERN | TEHACHAPI AIRPORT | 0.42
MADERA | 0.1 | 0.74 | [5 empty] | KERN | WELDON 1 WSW | 0.56
MARIN | 0.17 | 1.29 | [5 empty] | KINGS | CORCORAN IRRIG DIST | 0.4
MARIPOSA | 0.14 | 1.06 | [5 empty] | LAKE | CLEARLAKE 4 SE | 0.89
MENDOCINO | 0.13 | 1.09 | [5 empty] | LAKE | MAHNKE | 1.39
MERCED | 0.09 | 0.51 | [5 empty] | LASSEN | BIEBER | 0.41
MODOC | 0.09 | 0.43 | [5 empty] | LASSEN | MILFORD LAUFMAN RS | 0.53
MONO | 0.09 | 0.46 | [5 empty] | LASSEN | SUSANVILLE 1 WNW | 0.49
MONTEREY | 0.13 | 0.91 | [5 empty] | LASSEN | TERMO 1 E | 0.29
NAPA | 0.2 | 1.3 | [5 empty] | LOS_ANGELES | ACTON ESCONDIDO FC261 | 0.60125
NEVADA | 0.12 | 0.97 | [5 empty] | LOS_ANGELES | ALISO CANYON OAT MTN FC | 1.19
ORANGE | 0.15 | 0.87 | [5 empty] | LOS_ANGELES | BEL AIR FC-10A | 1.19
PLACER | 0.15 | 1.3 | [5 empty] | LOS_ANGELES | BIG PINES PARK FC83B | 1.24
PLUMAS | 0.12 | 0.93 | [5 empty] | LOS_ANGELES | BIRMINGHAM GEN HOSP | 1.02
RIVERSIDE | 0.14 | 0.74 | [5 empty] | LOS_ANGELES | BURBANK VALLEY PUMP PLA | 0.91
SACRAMENTO | 0.09 | 0.63 | [5 empty] | LOS_ANGELES | CHATSWORTH RESERVOIR | 0.97
SAN_BENITO | 0.12 | 0.75 | [5 empty] | LOS_ANGELES | DIAMOND BAR | 0.98
SAN_BERNARDINO | 0.16 | 0.96 | [5 empty] | LOS_ANGELES | HANSEN DAM | 0.94
SAN_DIEGO | 0.14 | 0.82 | [5 empty] | LOS_ANGELES | LECHUZA PTRL ST FC352B | 1.3
SAN_FRANCISCO | 0.094885 | 0.64 | [5 empty] | LOS_ANGELES | LOS ANGELES CIVIC CENTE | 0.87
SAN_JOAQUIN | 0.08 | 0.49 | [5 empty] | LOS_ANGELES | LOS ANGELES WSO ARPT | 0.73
SAN_LUIS_OBISPO | 0.13 | 0.86 | [5 empty] | LOS_ANGELES | NEWHALL S FC32CE | 1.32
SAN_MATEO | 0.09 | 0.66 | [5 empty] | LOS_ANGELES | PALMDALE | 0.59
SANTA_BARBARA | 0.18 | 1.04 | [5 empty] | LOS_ANGELES | SAN DIMAS TANBARK FLAT | 1.19
SANTA_CLARA | 0.12 | 0.72 | [5 empty] | LOS_ANGELES | SAN FERNANDO PH 3 | 1.19
SANTA_CRUZ | 0.19 | 1.21 | [5 empty] | LOS_ANGELES | SAN GABRIEL DAM FC425B | 1.53
SHASTA | 0.13 | 1.11 | [5 empty] | LOS_ANGELES | SANDBERG | 0.58
SIERRA | 0.15 | 1.14 | [5 empty] | LOS_ANGELES | SANTA FE DAM | 1.05
SISKIYOU | 0.1 | 0.64 | [5 empty] | LOS_ANGELES | SEPULVEDA DAM | 1.08
SOLANO | 0.12 | 0.93 | [5 empty] | LOS_ANGELES | SIGNAL HILL FC 415 | 0.8
SONOMA | 0.18 | 1.29 | [5 empty] | LOS_ANGELES | SPADRA LANTERMAN HOSP | 1
STANISLAUS | 0.1 | 0.5 | [5 empty] | MADERA | SAN JOAQUIN EXP RANGE | 0.74
SUTTER | 0.09 | 0.65 | [5 empty] | MARIN | MOUNT TAMALPAIS 2 SW | 1.19
TEHAMA | 0.13 | 0.9 | [5 empty] | MARIN | NOVATO 8 WNW | 0.99
TRINITY | 0.13 | 1.11 | [5 empty] | MARIPOSA | CATHEYS VLY BULL R RCH | 0.8
TULARE | 0.16 | 1.01 | [5 empty] | MARIPOSA | WAWONA RANGER STATION | 1.3
TUOLUMNE | 0.12 | 1.16 | [5 empty] | MARIPOSA | YOSEMITE PARK HDQTRS | 1.1
VENTURA | 0.23 | 1.27 | [5 empty] | MENDOCINO | COVELO EEL RIVER RS | 0.97
YOLO | 0.09 | 0.65 | [5 empty] | MENDOCINO | FORT BRAGG 5 N | 0.88
YUBA | 0.14 | 1.1 | [5 empty] | MENDOCINO | LAYTONVILLE | 1.35
[8 empty] | MENDOCINO | NAVARRO 1 NW | 1.02
[8 empty] | MENDOCINO | POINT ARENA | 0.94
Description of Land Use POSTDEVELOPMENT | Hydrologic Soil Group | [6 empty] | MENDOCINO | POTTER VALLEY 3 SE | 0.86
Non-Built Land Use Type Post Development | A | B | C | D |  |  |  | MENDOCINO | POTTER VALLEY P H | 1.19
A mix of lawn, grass, pasture and tress covering 50-75% of the open space | 43 | 65 | 76 | 82 |  |  |  | MENDOCINO | WILLITS HOWARD FOREST R | 1.24
A mix of lawn, grass, pasture and tress covering less than 50% of the open space | 57 | 73 | 82 | 86 |  |  |  | MENDOCINO | YORKVILLE | 1.39
A mix of lawn, grass, pasture and tress covering more than 75% of the open space | 32 | 58 | 72 | 79 |  |  |  | MERCED | MERCED 2 | 0.57
Brush or chaparral covering 50-75% of the open space | 35 | 56 | 70 | 77 |  |  |  | MERCED | SAN LUIS DAM | 0.45
Brush or chaparral covering less than 50% of the open space | 57 | 73 | 82 | 86 |  |  |  | MODOC | ALTURAS | 0.3
Brush or chaparral covering more than 75% of the open space | 30 | 48 | 65 | 73 |  |  |  | MODOC | DAY | 0.57
Cultivated Agricultural crops row, tree, or vine) | 76 | 85 | 90 | 92 |  |  |  | MONO | BRIDGEPORT RANGER STN | 0.47
Lawn, Grass, or Pasture covering 50 to 75% of the open space | 49 | 69 | 79 | 84 |  |  |  | MONO | SONORA JUNCTION | 0.44
Lawn, Grass, or Pasture covering less than 50% of the open space | 68 | 79 | 86 | 89 |  |  |  | MONTEREY | ARROYO SECO | 1.1
Lawn, Grass, or Pasture covering more than 75% of the open space | 39 | 61 | 74 | 80 |  |  |  | MONTEREY | BRYSON | 1.2
Mature forest or woodland area | 36 | 60 | 73 | 79 |  |  |  | MONTEREY | DEL MONTE | 0.6
Mature forest or woodland area with solid canopy | 30 | 55 | 70 | 77 |  |  |  | MONTEREY | KING CITY | 0.63
Natural Desert Landscape | 63 | 77 | 85 | 88 |  |  |  | MONTEREY | LOCKWOOD 1 N | 0.75
Pasture/Grassland/Range: 50% to 75% ground cover & not heavily grazed | 49 | 69 | 79 | 84 |  |  |  | MONTEREY | LUCIA WILLOW SPRINGS | 1.19
Solid lawn, grass, pasture or meadow covering the open space | 30 | 58 | 71 | 78 |  |  |  | NAPA | ANGWIN PAC UNION COL | 1.3
Young forest or woodland area | 45 | 66 | 77 | 83 |  |  |  | NAPA | ATLAS ROAD BROWN | 1.3
[8 empty] | NAPA | SAINT HELENA 4 WSW | 1.3
[8 empty] | NEVADA | BOWMAN DAM | 1.5
[8 empty] | NEVADA | GRASS VALLEY NO 2 | 1.39
[8 empty] | NEVADA | NORTH BLOOMFIELD | 1.4
[8 empty] | NEVADA | SODA SPRINGS 1 E | 1.2
[8 empty] | NEVADA | TRUCKEE RS | 0.8
[8 empty] | ORANGE | BREA DAM | 0.9
[8 empty] | ORANGE | CARBON CANYON GILMAN | 0.93
[8 empty] | ORANGE | EL MODENA | 0.71
[8 empty] | ORANGE | FULLERTON DAM | 0.89
[8 empty] | ORANGE | LAGUNA BEACH 2 | 0.69
[8 empty] | ORANGE | ORANGE COUNTY RESERVOIR | 0.92
[8 empty] | ORANGE | SAN JUAN GUARD STN | 0.89
[8 empty] | ORANGE | SANTIAGO DAM | 0.85
[8 empty] | ORANGE | SILVERADO RANGER STN | 0.98
[8 empty] | ORANGE | TRABUCO CANYON | 0.93
[8 empty] | PLACER | BLUE CANYON | 1.56
[8 empty] | PLACER | HELL HOLE | 1
[8 empty] | PLACER | MICHIGAN BLUFF | 1.33
[8 empty] | PLUMAS | HAMILTON BRANCH FIRE DE | 0.69
[8 empty] | PLUMAS | PLUMAS EUREKA STATE PAR | 1.49
[8 empty] | PLUMAS | PORTOLA | 0.59
[8 empty] | RIVERSIDE | BEAUMONT | 0.89
[8 empty] | RIVERSIDE | BLYTHE 7 W | 0.48
[8 empty] | RIVERSIDE | ELSINORE | 0.79
[8 empty] | RIVERSIDE | HAYFIELD PUMPING PLANT | 0.45
[8 empty] | RIVERSIDE | HURKEY CREEK PARK | 0.89
[8 empty] | RIVERSIDE | IDYLLWILD FIRE DEPT | 1.1
[8 empty] | RIVERSIDE | PRADO DAM | 0.86
[8 empty] | RIVERSIDE | RIVERSIDE CITRUS EXP ST | 0.53
[8 empty] | RIVERSIDE | SAN JACINTO R S | 0.69
[8 empty] | SACRAMENTO | SACRAMENTO DOWNTOWN | 0.64
[8 empty] | SACRAMENTO | SACRAMENTO FAA ARPT | 0.62
[8 empty] | SAN_BENITO | HERNANDEZ 7 SE | 0.9
[8 empty] | SAN_BENITO | HOLLISTER 2 | 0.59
[8 empty] | SAN_BENITO | HOLLISTER 9 ENE | 0.9
[8 empty] | SAN_BENITO | SAN BENITO | 0.65
[8 empty] | SAN_BENITO | SAN JUAN BAUTISTA 3 SS | 0.8
[8 empty] | SAN_BENITO | UPPER TRES PINOS | 0.67
[8 empty] | SAN_BERNARDINO | BAKER | 0.33
[8 empty] | SAN_BERNARDINO | BIG BEAR LAKE DAM | 1.45
[8 empty] | SAN_BERNARDINO | CAJON WEST SUMMIT | 0.8
[8 empty] | SAN_BERNARDINO | CAMP ANGELUS | 1.4
[8 empty] | SAN_BERNARDINO | CARBON CANYON WORKMAN | 1
[8 empty] | SAN_BERNARDINO | CRESTLINE FIRE STN 2 | 1.79
[8 empty] | SAN_BERNARDINO | DAGGETT POWER PLANT | 0.39
[8 empty] | SAN_BERNARDINO | ETIWANDA | 1.09
[8 empty] | SAN_BERNARDINO | IRON MOUNTAIN | 0.42
[8 empty] | SAN_BERNARDINO | LYTLE CREEK FOOTHILL BL | 0.82188
[8 empty] | SAN_BERNARDINO | LYTLE CREEK R S | 1.79
[8 empty] | SAN_BERNARDINO | MILL CREEK INTAKE | 1.19
[8 empty] | SAN_BERNARDINO | NEEDLES | 0.45
[8 empty] | SAN_BERNARDINO | PARKER RESERVOIR | 0.5
[8 empty] | SAN_BERNARDINO | RUNNING SPRINGS 1 E | 1.79
[8 empty] | SAN_BERNARDINO | SANTA ANA RIVER P H 3 | 0.73
[8 empty] | SAN_BERNARDINO | VICTORVILLE PUMP PLANT | 0.46
[8 empty] | SAN_DIEGO | CRAWFORD RANCH | 0.49
[8 empty] | SAN_DIEGO | CUYAMACA | 1.2
[8 empty] | SAN_DIEGO | EL CAPITAN DAM | 0.77
[8 empty] | SAN_DIEGO | FALLBROOK | 0.9
[8 empty] | SAN_DIEGO | HENSHAW DAM | 1.06
[8 empty] | SAN_DIEGO | LAKE WOHLFORD | 0.88
[8 empty] | SAN_DIEGO | LOWER OTAY RESERVOIR | 0.59
[8 empty] | SAN_DIEGO | MORENA DAM | 0.8
[8 empty] | SAN_DIEGO | OCEANSIDE PUMPING PLANT | 0.72
[8 empty] | SAN_DIEGO | PALOMAR MOUNTAIN OBSERV | 1.3
[8 empty] | SAN_DIEGO | SAN DIEGO WSO AIRPORT | 0.49
[8 empty] | SAN_DIEGO | WARNER SPRINGS | 0.69
[8 empty] | SAN_FRANCISCO | SAN FRANCISCO DOWNTOWN | 0.61
[8 empty] | SAN_FRANCISCO | SAN FRANCISCO OCEANSIDE | 0.66
[8 empty] | SAN_JOAQUIN | STOCKTON AP | 0.49
[8 empty] | SAN_JOAQUIN | STOCKTON DISPOSAL PLANT | 0.58
[8 empty] | SAN_JOAQUIN | TRACY 2 SSE | 0.39
[8 empty] | SAN_LUIS_OBISPO | CHOLAME ALLEY RANCH | 0.53
[8 empty] | SAN_LUIS_OBISPO | HUASNA | 0.96
[8 empty] | SAN_LUIS_OBISPO | SAN LUIS OBISPO | 1.09
[8 empty] | SAN_MATEO | SAN FRANCISCO WSO AP | 0.66
[8 empty] | SANTA_BARBARA | CACHUMA LAKE | 1.08
[8 empty] | SANTA_BARBARA | CARPINTERIA RESERVOIR | 1.19
[8 empty] | SANTA_BARBARA | FIGUEROA MOUNTAIN | 1.0991
[8 empty] | SANTA_BARBARA | SAN MARCOS PASS | 1.79
[8 empty] | SANTA_BARBARA | SANTA BARBARA | 1.09
[8 empty] | SANTA_BARBARA | SANTA MARIA WSO ARPT | 0.58
[8 empty] | SANTA_BARBARA | SANTA YNEZ | 0.89
[8 empty] | SANTA_BARBARA | SURF 2 ENE | 0.59729
[8 empty] | SANTA_CLARA | GILROY 8 NE | 0.81
[8 empty] | SANTA_CLARA | MORGAN HILL | 0.84
[8 empty] | SANTA_CLARA | SAN JOSE | 0.52
[8 empty] | SANTA_CRUZ | BOULDER CREEK LOCAT RAN | 1.77
[8 empty] | SANTA_CRUZ | CORRALITOS | 1.05
[8 empty] | SANTA_CRUZ | SUNSET STATE BEACH | 0.8
[8 empty] | SHASTA | HARRISON GULCH R S | 0.9
[8 empty] | SHASTA | REDDING 5 SSE | 1
[8 empty] | SHASTA | SHASTA DAM | 1.68
[8 empty] | SHASTA | VOLTA POWER HOUSE | 0.88
[8 empty] | SIERRA | DOWNIEVILLE | 1.59
[8 empty] | SIERRA | SIERRAVILLE R S | 0.69
[8 empty] | SISKIYOU | ETNA | 0.63
[8 empty] | SISKIYOU | HAPPY CAMP RANGER STN | 1.09
[8 empty] | SISKIYOU | MONTAGUE 5 NE | 0.4
[8 empty] | SISKIYOU | MOUNT SHASTA | 0.79
[8 empty] | SISKIYOU | TULELAKE | 0.29
[8 empty] | SOLANO | LAKE SOLANO | 0.93
[8 empty] | SONOMA | PETALUMA FIRE STA 2 | 0.89
[8 empty] | SONOMA | SEBASTOPOL | 1
[8 empty] | SONOMA | THE GEYSERS | 1.59
[8 empty] | SONOMA | VENADO | 1.7
[8 empty] | STANISLAUS | MODESTO 2 | 0.5
[8 empty] | SUTTER | SUTTER | 0.65
[8 empty] | TEHAMA | MINERAL | 1.2
[8 empty] | TEHAMA | PASKENTA RANGER STN | 0.86
[8 empty] | TEHAMA | RED BLUFF AP | 0.64
[8 empty] | TRINITY | COFFEE CREEK R S | 1.49
[8 empty] | TRINITY | HYAMPOM | 0.96
[8 empty] | TRINITY | WEAVERVILLE RS | 0.89
[8 empty] | TULARE | BADGER | 1.1
[8 empty] | TULARE | EXETER FAUVER RANCH | 0.57
[8 empty] | TULARE | GRANT GROVE | 1.45
[8 empty] | TULARE | LODGEPOLE | 1.2
[8 empty] | TULARE | MILO 5 NE | 1.01
[8 empty] | TULARE | SPRINGVILLE R S | 0.74
[8 empty] | TULARE | SPRINGVILLE TULE HD | 1.23
[8 empty] | TULARE | THREE RIVERS 6 SE | 0.88
[8 empty] | TULARE | THREE RIVERS EDISON PH | 0.89
[8 empty] | TULARE | UHL R S | 0.99
[8 empty] | TUOLUMNE | GROVELAND 2 | 1.2088
[8 empty] | TUOLUMNE | HETCH HETCHY | 1.07
[8 empty] | TUOLUMNE | PINECREST SUMMIT R S | 1.2
[8 empty] | VENTURA | CHUCHUPATE RANGER STN | 0.6
[8 empty] | VENTURA | MATILIJA DAM | 1.8
[8 empty] | VENTURA | PINE MOUNTAIN INN | 1.4
[8 empty] | YOLO | DAVIS 2 WSW EXP FARM | 0.65
[8 empty] | YUBA | CAMPTONVILLE R S | 1.49
[8 empty] | YUBA | WHEATLAND 2 NE | 0.71