SWAMP Task Order No. 00-9-001

FY 00/01 Field and Analytical Laboratory Services for RWQCB 9 for SWAMP

- Task Order No.:  00-9-001 (in support of SWRCB Contract No.00-111-250).

- Task Order Title:  Field and analytical services for RWQCB 9 for FY 00/01 funds.

- Contractor:  California Department of Fish and Game.

- Regional Board contact for this Task Order:  Linda Pardy (phone 858-627-3932, email pardl@rb9.swrcb.ca.gov)  or Dave Gibson (phone 858-467-4387, email gibsd@rb9.swrcb.ca.gov) or Bruce Posthumus (email postb@rb9.swrcb.ca.gov).

- Term of this Task Order:  11/1/2000 through 3/30/2003.

- The maximum amount for this Task Order is:  $267,400 (Region 9 FY 00-01 DFG SWAMP allocation)

- Signatures authorizing work to proceed within this Task Order:

The signatures below indicate that the parties agree to the scope, deliverables, and budget specified in this Task Order.  This Task Order is not effective until the Project Director and the Contract Manager sign the Task Order.  If the work identified in this Task order can not be completed for the budgeted amount, the Task Order must not be signed.  Under no circumstances is any work to be completed in excess of the budgeted amount unless there is a formal written amendment to the Task Order.

For Contractor:

Signature 						Date

Max Puckett, Contractor Project Director

For SWRCB:

Signature							Date

Craig J. Wilson, SWRCB Contract Manager

8.	  WORK TO BE PERFORMED:

This Task Order implements a monitoring and assessment program under the Surface Water Ambient Monitoring Program (SWAMP) for the California Regional Water Quality Control Board, San Diego Region (Region 9). The work described in this Task Order will focus on monitoring two hydrologic units (HUs) known as the Carlsbad (HU 904) and Penasquitos (HU 906) watersheds.  Specific work to be performed in each watershed and at each station is shown on the attached “Table A - Services to be performed at each station/cost” and described under section "B.I." below (Technical Approach -  I - Sampling Design).

- Purpose and Objectives of Proposed Work :

The purpose of the site-specific portion of the SWAMP program in the San Diego Region is to monitor and assess the physical, chemical and biological quality of the Region’s surface waters.  These monitoring and assessment data will be used to provide reliable, high quality information necessary to produce the water quality assessment [Clean Water Act, Section 305(b)] report and the impaired waters [CWA, Section 303(d)] list.

The work described in this task order will focus on monitoring two hydrologic units (HUs) known as the Carlsbad (HU 904) and Penasquitos (HU 906) watersheds. A rotating basin approach will be utilized where each hydrologic unit in the San Diego Region is monitored and assessed once in every five-year period.

Within each targeted hydrologic unit, SWAMP will target monitoring and assessment at water bodies with suspected impairments and water bodies which could be characterized as reference sites (also known as waterbodies in a minimally or least disturbed, or best attainable condition).  The reference condition provides the baseline goal and benchmark for the unimpaired ambient condition.

Specific objectives are to:

- Identify reference sites;

- Identify trends in water quality and beneficial uses;

- Determine whether water quality standards (objectives and beneficial uses) are being met;

- Identify and characterize water quality and beneficial use problems and threats;

- Evaluate the severity of the problems;

- Make decisions about which problems and which locations should be prioritized for action; and

- Make decisions about what actions should be taken.

- Technical Approach

- Sampling Design

The SWAMP program together with other monitoring and assessment programs including the Toxic Substances Monitoring, State Mussel Watch, Coastal Fish Contamination, and Ambient Bioassessment Program provides the essential core portion of the San Diego Region’s surveillance and monitoring.  The State Mussel Watch and Coastal Fish Contamination program are described elsewhere and will not be addressed further by this Task Order. The San Diego Region’s surveillance and monitoring also includes monitoring required by National Pollutant Discharge Elimination System (NPDES) permits and partnering with lead watershed monitoring programs that

are being conducted by local agencies/groups. The San Diego Region SWAMP will take a five-year rotating basin screening level approach.  Additional watersheds will be selected each year for

screening studies.  However, where appropriate, some monitoring may be continued in “observation” watersheds in order to answer questions posed by the results of the previous years screening studies.

The basis of our SWAMP program, and this task order, is to collect samples at 15 sites throughout the two targeted HUs. The selected monitoring sites are being provided to CDFG under separate cover.  Station information which is to be provided to CDFG will include the creek, station ID, station name, longitude, latitude, directions, access permission and contact phone numbers.  Stations are located on: (a) main stem rivers and streams, just above tidal influence, (b) main stem rivers and streams just above the confluence with major tributaries, and (c) major tributaries just above the confluence with main stem rivers and streams.  Stations are located where there is the potential for impact to beneficial uses based on land or water use, or where there is previous data, or to complement ongoing studies, and where there is reasonable access.  In some cases, station locations may not fit these general rules for various reasons.

The frequency and timing of sampling were chosen to answer basic questions concerning protection of beneficial uses and land and water management.  The planned sampling periods are shown below.  There are no surface water flows in certain sections of streams in the San Diego Region at certain times of the year.  The stations and sampling periods are selected based upon expected surface flow conditions. Regardless of calendar month, the prevailing seasonal conditions will determine monitoring events.

Sampling Periods and the Stream Flow Condition to be Expected.

| Sampling Period | Stream Flow Condition |
| --- | --- |
| February | Between storm events |
| April | High base flow rates |
| June | Declining base flow rates (and bioassessment index period)(and TSM sampling period ) |
| October | Minimum base flow rates (and bioassessment index period) |

The 4 hydrologic cycles are the wet season between storm events (January - March), wet season high base flow rates (April), declining base flow rates (May- June), and the minimum base flow rates (July - October), as shown above.

Parameters to be sampled are shown in the attached Table A. “Services to be Performed at Each Station/Cost”. Fifteen (15) stations will be monitored and assessed during four (4) hydrologic cycles for conventional water quality parameters.  Conventional water quality parameters include: ammonia nitrogen, nitrate nitrogen, total Keldjahl nitrogen (TKN), ortho-phosphate, total phosphate phosphorus, sulfate and alkalinity.

In addition, the fifteen (15) stations will be monitored and assessed during four (4) hydrologic cycles for temperature, electrical conductivity, dissolved oxygen, pH, turbidity and depth (through a depth profile), using a multiparameter probe.

Also, the fifteen (15) stations will be monitored and assessed during four (4) hydrologic cycles for water column chemistry including toxic metal and organic pollutants. The organic pollutants include pesticides, organochlorines, organophosphates (including diazinon and chlorpyrifos), polychlorinated biphenyls (PCB’s), and PAH's.

Furthermore, the fifteen (15) stations will be monitored and assessed during four (4) hydrologic cycles for water toxicity, using 2 of the 3 USEPA chronic toxicity tests. Water samples will be collected for toxicity using a 7-day chronic Ceriodaphnia dubia toxicity test and a Selenastrum sp. toxicity analysis.

Additionally, the fifteen (15) stations will be monitored and assessed during four (4) hydrologic cycles through sediment analysis. Sediment analysis includes a % silt/clay grain size analysis, and the 10-day toxicity analysis using Hyalella azteca.

Fish will be collected for tissue chemistry analysis for metals, pesticides, and aroclors at two stations during one hydrologic cycle (June).

Duplicate water and sediment samples will be taken for each parameter tested, with the exception of the fish tissue analyses.  A 5% field duplicate rate is being used, per sampling event, for this task order.

II. Sample Collection

The field crew will collect the samples at the latitude and longitude recorded during reconnaisance of stations, and provided under separate cover to CDFG.  If a new station is being sampled, the site identification code, the GPS coordinates and digital cross-referenced photographs, directions to the site, and a site map shall be provided for the site for future reference.  If there is confusion about locating a site, it shall be resolved in consultation with the RWQCB staff member present in the field or by phone.  RWQCB 9 SWAMP staffmembers shall strive to be available via telephone during times when the CDFG field crew is conducting sample collection in R9.  Depth, temperature, electrical conductivity, dissolved oxygen, pH and turbidity will be measured at every station where a sample is collected, using a multiparameter probe. Sufficient volume of water and/or sediment shall be collected in order to perform the analyses to be conducted at each station. In addition, enough sediment shall be collected to provide for analysis of archived sediment samples for metal and organic chemistry analysis, if so requested via subsequent task orders, and if within the 6 month holding time.  Sample collection and subsequent processing and testing will be performed according to the most recent version of the SWAMP Quality Assurance Project Plan (QAPP) and SWAMP Laboratory SOPs, or according to applicable and documented methods using alternative QAPP's until such time that the SWAMP QAPP is finalized.

III. Laboratory Analysis

Actual analytical services that will be performed on each sample are shown on the attached table, “Table A - Services to be Performed at each Station/Cost”.  Tissue analysis will include % lipid.

IV.	Data Reporting

Toxicity bioassay data will include test mean, standard deviation, and a determination of whether or not a sample is toxic at a statistically significant level of difference from the laboratory control samples and a value less than 80% of the lab control value.

Chemistry data will include the analytical result, method detection limit, reporting limit, and relevant quality assurance (QA) information on surrogate recovery, duplicate relative percent difference (RPD), matrix spike percent recovery and RPD, and blank spike percent recovery and RPD.  Any deviations from QA goals established in the QAPP will be noted.

Data will be made available in electronic format unless otherwise requested.  The Project Director or his/her authorized representative shall verify and ensure the accuracy of all data before it is transmitted.

V.  Deliverable Products

Sampling Event Report

A brief written report will be prepared for each sampling event.  This report will be provided to the Regional Board, with an additional copy provided to the State Board (one copy to each).  The report will include GPS coordinates, a brief description of each station, and a description/listing of all field measurements collected during the sampling event (such as temperature, electrical conductivity, dissolved oxygen, pH, turbidity, any physical assessments completed and any unusual circumstances or deviations from protocols or task order).  The actual field data measurements shall be reported with the data reports below.

Biological Assessment Technical Support Services Summary Report

A brief written report shall be submitted by the CDFG Aquatic Bioassessment Laboratory summarizing the services provided for R9 in support of biological assessment planning activities.

Final Data Report:

All data shall be reported in an electronic file in an agreed upon format, as well as in hard copy (three one-sided originals for copying, and three bound copies).  One of each type, electronic file and one-sided hardcopy original, and bound hardcopy shall go to the State Board and the Regional Board and DFG.  QA/QC evaluation reports and verification that data met QA criteria set forth in QA Project Plan must be provided with hardcopy data report.  The final data report will include the following items, where applicable, but shall not necessarily be limited to the following items: All station data including DFG station name, station number, IDORG number, leg number, sample collection date, sample station longitude and latitude, sample GPS coordinates, sample station water quality data, sample location characteristics and all data under 8.B.III -  Data Analysis (specific QA/QC data may be included in the QA/QC report or appendices).

QA/QC evaluation ranking by each analytical laboratory will be provided in the database.  In addition, appendices will include replicate data for toxicity tests, a database description and file structure description.  A QA/QC report will also be included in the final data report, containing an evaluation of how the data complied with actual QA/QC parameters.

9.  Task Budget:

The Maximum cost for all SWAMP services specified in this Task Order, as shown in the attached “Table A – Services to be Performed at Each Station/Cost”, shall not exceed $267,400. Actual billing for this task order may be done on a total Task Order cost basis, with the work described and costed out herein as the basis for the cost.