# Scrubbing labware

Wear Nitrile gloves, lab coat, and eye protection (apron and boots if desired).

# Hexane usage

 Wear rubber gloves, blue plastic suit, apron, rubber boots, and respirator with organic vapor (yellow) cartridges, face shield (if using half-face respirator).

Turn on fume hood.

 All containers contaminated with sediment, pore water, or effluent, should be treated with hexane.

 Use labeled squirt bottle to apply hexane.  Dump used hexane into a collection beaker.

When beaker is full, dispose of used hexane in drum.

 DO NOT pour hexane down the sink (small amounts of residual hexane are okay).

# Acid rinsing/soaking labware:

Wear rubber gloves, lab coat, apron, rubber boots, face shield.

# Draining used acid

 Wear rubber gloves, lab coat, apron, rubber boots, face shield.  Turn on exhaust fan in neutralizing room.

 Drain acid baths after their third full use (this is considered “old acid”).

 Before draining acid baths, check “old acid” bottles; at least two should be full.

 Drain and neutralize one acid bath at a time.

 Neutralize acid with solid NaOH.  CAUTION!!!  This substance is highly corrosive and will burn skin.

 Add small amounts of NaOH, stirring to prevent caking.

 Adjust acid until pH is between 6 and 9.

 Drain neutralizing tank to treatment system (open drain valve only half-way). Close valve when drained.

 Do not hold un-neutralized acid in bin overnight.

# Mixing New Acid

 Wear rubber gloves, lab coat, apron, rubber boots, full-face respirator.

 Turn on fume hood.

 NEVER ADD WATER TO FULL-STRENGTH ACID!

 Fill emptied acid bath half-full with DI water.

 Carefully add 1.5 bottles of concentrated HCl to bath.  Top off bath with DI water to line marked “1.5”.

 Rinse acid bottles thoroughly and store for recycling.  Discard caps and remove plastic casing from bottles.

 Pipette Baths - acid should be replaced in these baths every 200 pipettes.

 Fill one pipette bath with old acid, the other with 0.5 bottle of concentrated HCl and deionized water.

# CLEANING GLASSWARE

1) Basic Labware Procedure (all containers contaminated with sediment, porewater, or effluent, e.g. beakers, jars, flasks, core tubes, orange caps, centrifuge tubes; containers of unknown origin)

 Alconox scrub and rinse well with DI water.

Rinse with hexane

 Rinse with DI water

 Soak 24 hours in acid bath

 Rinse with DI water

 Soak 24 hours in fresh DI bath

 Rinse with DI water (Amber bottles need a final distilled water rinse)

 Place in drying oven overnight.

2) Plasticware Procedure (for containers used in metals or ammonia tests; otherwise, use procedure #1)

 Rinse with DI water

 Rinse with old acid (dunk in acid bath that needs to be drained, or fill separate container with old acid from a bottle; dump acid in neutralizing bath when done)

 Rinse with DI water

 Soak 24 hours in acid bath

 Rinse with DI water

 Soak 24 hours in fresh DI bath

 Rinse with DI water

 Place in drying oven overnight

3) Screen Tubes

 Gently Alconox scrub and rinse well with DI water

 Dip entire screen tube into beaker of hexane

 Rinse promptly to avoid melting glue

 Soak in acid bath for 20 minutes

 Rinse with DI water

 Soak 24 hours in fresh DI bath

 Soak 48 hours in 1-micron filtered running seawater

 Rinse with distilled water

 Place in drying oven overnight

4) Teflon-lined Jar Lids

 Remove Teflon liners and wash separately (see below*).

 Alconox lids extremely well with a scrub brush and rinse with DI water.

 Place in drying oven.

 When dry, put in clean liners and screw onto jars.  If jars are still dirty, store in bags.

Wash Teflon liners by:

 Scrubbing with Alconox

 Rinsing with hexane (stack liners in a beaker, pour hexane over them, and swirl).

 Rinse with DI water.

 Soak 24 hours in acid bath.

 Rinse with DI water.

 Soak 24 hours in fresh DI bath.

 Rinse with DI water.

 Place in drying oven overnight.

 Put liners into clean lids and screw onto jars.  If jars are still dirty, store in bags.

5) Volumetric Pipettes

 Rinse with DI water

 Rinse in old acid with tips up

 Rinse with DI water

 Soak in new acid for 24 hours with tips up

 Rinse with DI water

 Soak for 24 hours in fresh DI bath with tips up

 Rinse with DI

 Place in drying oven

 Large quantities of pipettes can be washed in the pipette baths.