##### Scope and Application

This protocol describes the techniques used to collect water samples in the field in a way that neither contaminates, loses, or changes the chemical form of the analytes of interest.  The samples are collected in the field into previously cleaned and tested (if necessary) sample bottles of a material appropriate to the analysis to be conducted. Pre-cleaned sampling equipment is used for each site, whenever possible and/or when necessary.  Appropriate sampling technique and measuring equipment may vary depending on the location, sample type, sampling objective, and weather.  Trade names used in connection with equipment or supplies do not constitute an endorsement of the product.

##### Summary of Method

Appropriate sample containers and field measurement gear as well as sampling gear are transported to the site where samples are collected according to each sample’s protocol. Water velocity, turbidity, temperature, pH, conductivity, dissolved oxygen as well as other field data are measured and recorded using the appropriate equipment, but these field data measurement protocols are provided in Appendix E. Samples are put on ice and appropriately shipped to the processing laboratories.  This procedure has been modified from the “Texas Natural Resources Conservation Commission’s  Procedure Manual for Surface Water Quality Monitoring”, with major input from the “USGS NAWQA protocol for collection of stream water samples”, for which due credit is herewith given.

##### WATER SAMPLE COLLECTION

Water chemistry and bacteriological samples, as requested, are collected at the same location. Water samples are best collected before any other work is done at the site. If other work (i.e., sediment sample collection, flow measurement or biological/habitat sample collection or assessment) is done prior to the collection of water samples, it might be difficult to collect representative samples for water chemistry and bacteriology from the disturbed stream. Care must be taken, though, to not disturb sediment collection sites when taking water samples.

The following general information applies to all types of water samples, unless noted otherwise:

| Sample Collection Depth | Sub-Surface Grab Sample Samples are collected at 0.1m below the water surface. Containers should be opened and re-capped under water in most cases. Depth-integrated Sample If a depth-integrated sample is taken, the sample is pumped from discrete intervals within the entire water column. Surface Grab Sample Samples are collected at the surface when water depth is <0.1m. |
| --- | --- |
| Where to Collect Samples | Water samples are collected from a location in the stream where the stream visually appears to be completely mixed. Ideally this would be at the centroid of the flow (Centroid is defined as the midpoint of that portion of the stream width, which contains 50% of the total flow), but depth and flow etc. do not always allow centroid collection. For stream samples, the sampling spot must be accessible for sampling physicochemical parameters, either by bridge, boat or wading. Sampling from the shoreline of any water body (meaning standing on shore and sampling from there) is the least acceptable method, but in some cases is necessary. In reservoirs, lakes, rivers, and coastal bays, samples are collected from boats at designated locations provided by RWQCB’s. |
| Sampling Order if Multiple Media are Requested to be Collected | The order of events at every site has to be carefully planned. For example, if sediment is to be taken, the substrate can not be disturbed by stepping over or on it; water samples can not be taken where disturbed sediment would lead to a higher content of suspended matter in the sample. For the most part, water samples are best collected before any other work is done at the site. This information pertains to walk-in sampling. |
| Sample Container Labels | Label each container with the station ID, sample code, matrix type, analysis type, project ID, and date and time of collection (in most cases, containers will be pre-labeled). After sampling, secure the label by taping around the bottle with clear packaging tape. |
| Procedural Notes | For most water samples (not for organics, inorganics or bacteria), prior to collecting sample, rinse the container with ambient water, unless protocol for specific analytical procedure dictates otherwise. If applicable to the sample and analysis type, the sample container should be opened and re-capped under water. |
| Sample Short-term Storage and Preservation | Properly store and preserve samples as soon as possible. Usually this is done immediately after returning from the collection by placing the containers on bagged, crushed or cube ice in an ice chest. Sufficient ice will be needed to lower the sample temperature to at least 4°C within 45 minutes after time of collection. Sample temperature will be maintained at 4C until delivered to the laboratory. Care is taken at all times during sample collection, handling and transport to prevent exposure of the sample to direct sunlight. Samples are preserved in the laboratory, if necessary, according to protocol for specific analysis (acidification in most cases). |
| Field Safety Issues | Proper gloves must be worn to prevent contamination of the sample and to protect the sampler from environmental hazards (disposable polyethylene, nitrile, or non-talc latex gloves are recommended, however, metals and mercury sample containers can only be sampled and handled using polyethylene gloves as the outer layer). Wear at least one layer of gloves, but two layers help protect against leaks. One layer of shoulder high gloves worn as first (inside) layer is recommended to have the best protection for the sampler. Safety precautions are needed when collecting samples, especially samples that are suspected to contain hazardous substances, bacteria, or viruses. See Appendix H of this QAMP for detailed safety precautions. |
| Sample Handling and Shipping | Due to increased shipping restrictions, samples being sent via a freight carrier require additional packing. Although care is taken in sealing the ice chest, leaks can and do occur. Samples and ice should be placed inside a large plastic bag inside the ice chest for shipping. The bag can be sealed by simply twisting the bag closed (while removing excess air) and taping the tail down. Prior to shipping the drain plug of the ice chests have to be taped shut. Leaking ice chests can cause samples to be returned or arrive at the lab beyond the holding time. Although glass containers are acceptable for sample collection, bubble wrap must be used when shipping glass. |
| Chain of Custody Forms (COC) | Every shipment must contain a complete Chain of Custody Form (see Appendix D) that lists all samples taken and the analyses to be performed on these samples. Make sure you include a COC for every laboratory you ship to, every time you send a shipment. Include region and trip information as well as any special instructions to the laboratory. The original COC sheet (not the copies) is included with the shipment (insert into zip lock bag); one copy goes to the sampling coordinator; and the sampling crew keeps one copy. Samples collected should have the salinity (in ppt), depth of collection, and date/time collected on every COC. Write a comment on this form, if you want to warn the laboratory personnel about a possibly hazardous sample, or samples, which contain high chlorine or organic levels. |
| Field QC Samples for Water Analyses | Field duplicates are currently submitted at an annual rate of 5%. Field travel blanks are required for volatile organic compounds at a rate of one per cooler shipped. Field blanks are required for trace metals (including mercury and methyl mercury), DOC, and volatile organic compounds in water at a rate of 5%. See Appendix C for detailed Field QC requirements. |
| Field Site Data Sheets | Each visited field site requires a completed Field Data Sheet (Station Occupation Data Sheet, Appendix D herein), even if no samples are collected (i.e. at a site which is found to be dry). If water and/or sediment samples are taken, a Water Quality Data Sheet/Sediment Data Sheet (Appendix D herein) must be filled out as well. |
| General Pre-Sampling Procedures | Instruments. All instruments must be in proper working condition. Make sure all calibrations are current. YSI sondes should be calibrated every morning prior to sampling. Conductivity should also be calibrated between stations if there is a significant change in salinity. Appendix E contains detailed information on field measurements/instrument calibration. Calibration Standards. Pack all needed calibration standards. Sample Storage Preparations. A sufficient amount of cube ice, blue ice and dry ice as well as enough coolers of the appropriate type/size, must be brought into the field, or sources for purchasing these supplies identified in advance. Sample Container Preparation. After arriving at the sample station, pack all needed sample containers for carriage to the actual collection site, and label them with a pre-printed label containing Station ID, Sample Code, Matrix info, Analysis Type info, Project ID and blank fields for date and time (if not already pre-labeled). Safety Gear. Pack all necessary safety gear like waders, protective gloves and safety vests. Refer to Appendix H for proper safety gear and health/safety guidelines for sampling. Walk to the site. For longer hikes to reach a sample collection site, large hiking backpacks are recommended for transport of gear, instruments and containers. Tote bins can be used, if the sampling site can be accessed reasonably close to the vehicle. GPS. At the sampling site, compare/record reconnaissance GPS reading with current site reading and note differences. GPS coordinates should be in Decimal Degrees i.e. 38.12345 -117.12345. |

#### Collection of Water Samples for Analysis of Conventional Constituents

In most streams, near-surface water is representative of the water mass. A water sample for analysis of conventional constituents is collected by the grab method in most cases, immersing the container beneath the water surface to a depth of 0.1 m.  Sites accessed by bridge can be sampled with a sample container-suspending device. Extreme care must be taken to avoid contaminating the sample with debris from the rope and bridge. Care must also be taken to rinse the device between stations. If the centroid of the stream cannot be sampled by wading, sampling devices can be attached to an extendable sampling pole.

In some cases, depth-integrated sampling is required, as requested by Regional Boards.  This is useful when lakes or rivers are stratified and a sample is wanted that represents the entire water column.  Depth-integrated sample collection is explained later in this document.

| Conventional Water Constituents, Routinely Requested in SWAMP | Chloride, sulfate, nitrite, nitrate (or nitrate+nitrate), ortho-phosphate, fluoride, total phosphorus, ammonia, TKN, alkalinity, chlorophyll a. |
| --- | --- |
| Conventional Water Constituents, Occasionally Requested in SWAMP | Total Suspended Solids (TSS) or Suspended Sediment Concentration (SSC), Total Dissolved Solids (TDS--especially if total metals requested), Total Organic Carbon (TOC), Dissolved Organic Carbon (DOC), hardness (if trace metals analysis is requested). |
| Conventional Water Constituents Sample Volume | Due to the potential for vastly different arrays of requested analyses for conventional constituents, please refer to table at the end of this document, as well as the Sample Handling Requirements Tables in Appendix C of this QAMP, for information on the proper volume to collect for the various types of analyses. |
| Conventional Water Constituents Sample Container Type | Due to the potential for vastly different arrays of requested analyses for conventional constituents, please refer to table at the end of this document, as well as the Sample Handling Requirements Tables in Appendix C of this QAMP, for information on the proper type of sample containers. |

Collection of Water Samples for Analysis of Trace

Metals (Including Mercury)

When deciding to measure total and dissolved metals in water (“metals-in-water”), the purpose of the sampling must be considered. Water quality standards for the protection of aquatic life are determined for the dissolved form of heavy metals in most cases, although this, too, can vary within different Basin Plans for different regions. The exception to routinely conducting dissolved metals analyses is mercury usually (and often selenium). Water quality standards usually apply to the total form of mercury (and often selenium), and not the dissolved form of these elements. Several regions are interested in conducting total metals analyses, in order to address specific issues.  In order to budget inputs, transport, and accumulation of metals, it is necessary to know the concentration of total metals in the water column, sediments, effluent, etc. Sample collection for trace metals and mercury in water requires “Clean Hands/Dirty Hands” methodology, as outlined herein and in Appendix D.

| Metals-in-water: General Information | Unless otherwise requested to collect for total metals analysis, dissolved metals are collected for all elements with the exception of mercury. Metals-in-water samples should not be collected during periods of abnormally high turbidity if at all possible. Samples with high turbidity are unstable in terms of soluble metals, and it is difficult to collect a representative grab sample. Special study sampling, however, may be an exception. For example, wet weather sampling is likely to include some samples with high turbidity. |
| --- | --- |
| Metals-in-water: Sample Collection Depth | Collect a metals sample from a depth of 0.1 m using a sub -surface grab method, or at discrete depths using a depth-integrated sampling method with a peristaltic pump (described further down). In most streams, near-surface water is representative of the water mass. For the purpose of determining compliance with numerical toxic substance standards, a sample taken at the surface is adequate. |
| Metals-in-water: Sample Volume | Refer to table at end of this document, as well as Sample Handling Requirements Tables in Appndx C of this QAMP, for specific information on the proper volume to collect for trace metals analyses. Generally, for procedures most commonly used for analysis of metals in water (total or dissolved metals), one 60-ml polyethylene container is filled, if the salinity is less than 3.0‰ (parts per thousand). Three 60-ml containers are filled (180-ml total), if the salinity is greater than 3.0‰. Generally, for the procedures most commonly used for analysis of mercury in water (whether total or dissolved), one 250-ml glass or teflon container is filled, regardless of the salinity. All containers are pre-cleaned in the lab using HNO3. |
| Metals-in-water: Sampling Equipment | The method of choice for the collection of water samples for trace metals analysis in small, wadeable streams is the grab method, where the sampler submerges the sample bottle or syringe beneath the surface of the water until filled. The procedure for filtration of water samples for trace metals (including mercury) analysis (see Appendix D) must be performed within the 48-hour maximum holding time (as well as acid preservation), and with extreme care to avoid contamination of the water sample. Considering these factors, it is best to use a field filtration system, such as a set-up with peristaltic pump with in-line filter, or a set-up with a syringe filter, if filtered water is required. Samples are pumped and/or filtered directly into the sample container. This minimizes contamination by using no intermediate sampling device. Un-powdered (no-talc) polyethylene gloves are always worn during sampling for metals-in-water. Depth-integrated sampling is useful when lakes or rivers are stratified and a representative sample is wanted which represents the entire water column. The method involves a peristaltic pump system with enough Teflon tubing to pump at the desired depth with an inline filter. Alternatively, mercury and metal samples can be filtered in the laboratory as long as they are filtered within the 48-hr maximum holding time and filter equipment blanks are analyzed for five percent of all cleaned equipment. |
| Equipment Preparation | It is best if the metals-in-water sampling materials are prepared by a laboratory that can guarantee contamination-free sampling supplies. If a laboratory assembles a Metals-in-Water Sample Collection Kit, it should contain the following items packaged together for each sample: - Tubing with an in-line filter (disposable, 0.45 microns) attached for dissolved metals-in-water sampling. This same tubing is used for total metals-in-water samples without filter. If an in-line pumping system is not used, an acid cleaned syringe and filter are packed. - Sample containers- polyethylene for total and dissolved samples and blanks; Glass or Teflon for total and dissolved mercury. - Acid preservation is performed in the laboratory. - Metals-free DI water (for blanks). - Powder-free polyethylene gloves If a laboratory is not assembling collection kits, individuals should take care to keep containers in the original packaging. When removed from the box, sample containers are placed in plastic bags (zip-lock bags). Although filters come individually wrapped, they should also be stored in new zip-lock bags to avoid possible contamination. The filtering equipment is pre-cleaned according to laboratory protocol. Clean tubing is put into clean containers, such as large zip-lock bags. Metals-free filter cartridges with the capacity to filter several liters are commercially available. Equipment blanks are run at the laboratory on batches of metals-in-water sampling equipment prior to their distribution to field staff. One to two liter containers with metals-free deionized water are taken into the field for travel blanks. Metals-free deionized water is supplied by the laboratory performing metals analysis. The deionized water containers are kept clean and dust-free on the outside by wrapping in two plastic bags. |

###### Dissolved and Total Metals-in-Water: Detailed Collection Techniques

- Sub-Surface Grab Method

- Syringe Filtration Method (for surface collection)

- Peristaltic Pumping Method (Using Tubing/In-line Cartridge Filters)for surface collection or for depth-integrated collection

| Metals-in-water Sample Collection: Sub-Surface Grab Method | Unfiltered Samples (for total metals analysis, if requested, and for mercury almost always, unless otherwise requested): Some samples can be sampled directly from the ambient water either by wading into the stream and dipping bottles under the surface of the water until filled, or by sampling from a boat and dipping the bottle under the surface of the water until it is filled. The bottles are cleaned according to laboratory protocol. It is very critical that all the acid is rinsed out of the bottles before the samples are taken. Personnel involved in field sample collection/processing wear polyethylene gloves. The laboratory pre-cleaned glass or Teflon™ 250 ml (for mercury) or polyethylene 60 ml (for metals) sample bottles are taken from the double-wrapped plastic bags using “Clean Hands/Dirty Hands” techniques. In waters where salinity >3.0 ‰ (parts per thousand), two additional 60-ml polyethylene bottles have to be collected in order to provide enough volume for conducting extraction techniques and hydride generation techniques. The dirty hands person opens the first bag, and the clean hands person opens the inner bag around the bottle. The clean hands person then removes the bottle from the inner bag. The clean hands person dips the bottle into the ambient water to approximately 0.1m (avoiding disturbing surface scums), rinses the bottle five times with ambient water, making sure the threads of the bottle get rinsed as well, and fills the bottle to the top. The lid is secured and the bottle is put back into the inner clean bag and sealed by the clean collector. The dirty hands collector then seals the outer bag. |
| --- | --- |
| Metals-in-water Sample Collection: Syringe Filtration Method (for sub-surface collection) | Filtered Samples (for dissolved metals analyses): Surface water samples are filtered for dissolved trace metals analysis (not for mercury, however, in almost all cases) using the following syringe filtration method. The syringe (60 cc size, pre-cleaned in the laboratory) and in-line filter are pre-packed in two zip lock bags. The syringe and filter are taken out of the bags using “Clean Hands/Dirty Hands” technique, as previously described, and as described in Appendix D. The surface water sample is collected by 1) wading out into the centroid portion of the stream, or by leaning over the edge of the boat, and aspirating water into the syringe, filling and rinsing the syringe five times with ambient water; 2) attaching the filter onto the syringe and filling the syringe body with; 3) rinsing the filter with a few milliliters of the sample; 4) rinsing the sample bottle five times with the filtered ambient water; and 5) extruding the sample through the syringe filter and completely filling each bottle. The bottles are taken out of and put back into their bags using “Clean Hands/Dirty Hands”. |
| Metals-in-water Sample Collection-- Peristaltic Pump | The basic “Clean Hands Dirty Hands” technique is also applied in the use of a peristaltic pump with an in-line filter cartridge for metals-in-water sample collection. Dirty Hands removes the plastic cover from the end of the pump tubing and inserts the tubing into the sampling container. Dirty Hands holds the tubing in place. The in-line cartridge filter is attached to the outlet end of the tubing. Clean Hands takes the plastic cover off the other end of the tubing. Dirty Hands turns on the pump and flushes l liter of ambient water through the tubing to purge it for dissolved metals. Clean Hands removes the cap from the sample bottle and uses the pump to fill it with ambient water. Clean Hands puts the cap back on the bottle and places it in the plastic bag. |
| Metals-in-water Sample Collection: Depth-Integrated Sampling, using In-line Cartridge Filter and Peristaltic Pump | Preparation for Depth-integrated sample collection: Depth-integrated sampling is useful when lakes or rivers are stratified, and a representative sample is wanted that represents the entire water column to the extent possible. The method utilized to date for SWAMP involves a peristaltic pump system with enough Teflon tubing to pump from the desired depth. Regional Boards must request depth-integrated sampling. The tubing set consists of a small length of CFLEX tubing that fits in the peristaltic pump, with an appropriate length of Teflon tubing on the suction side of the pump and a 3-foot section of Teflon tubing on the discharge side of the pump. The tubing set is pre-cleaned in 10% reagent grade HCL at the laboratory, and to date in SWAMP, a new pre-cleaned tubing set is used for each site. However, the same peristaltic tubing set can be used at multiple sites, as long as it has been cleaned in the field between stations, according to protocol as outlined below. If this is to be done, however, and Dissolved or Total Organic Carbon samples are collected, equipment blanks should be collected at each site until it is determined that the blanks are acceptably low. The field cleaning procedure for tubing that is to be re-used is: - Pump phosphate free detergent through tubing. - Pump 10% HCL through tubing. - Pump methanol through tubing. - Pump 1 l of blank water (Milli-Q) through. All reagents must be collected in appropriate hazardous waste containers (separated by chemical), and transport, as well as disposal, must follow appropriate local, state, and federal regulations. If a field blank is needed, collect it after the 1 liter of blank water is pumped through. Pump the amount of ambient water equivalent to 3 times the volume of the tubing before sampling the next site. Filtered and Unfiltered Samples, Depth-integrated: It is recommended to attach the tubing to a line with depth measurement markers (preferably in meters). At the end of this line should be a trace-metal-safe weight, which hangs about one meter below the tubing end, avoiding any sediment intake from the bottom of the water column with the pump tubing. At the site, Dirty Hands sets up the pump, while Clean Hands takes a bottle from the plastic bag and places it in a container holder or on a clean surface. A container holder can be anything trace-metal clean that supports the bottle, freeing up the collector’s hands. Clean Hands takes the outlet-end of the tubing (with the in-line filter cartridge attached) out of the bag, and places it in the peristaltic pump head. The outlet end is long enough to allow easy bottle filling; the other end is long enough to easily reach beneath the water surface and to the desired depth. Dirty Hands closes the pump head, locking the tubing in place. Make sure that all bottles are filled with a depth-integrated water sample. This can be accomplished by dividing the total vertical length of the water column into 2 to 10 equal intervals, and sampling each interval equally, filling the bottles at each depth proportional to the number of intervals sampled. For example, if 10 intervals are sampled, every bottle is filled 1/10th full at each depth sampled. A very common method of dividing the water column is by first determining the depth of the thermocline. Samples are taken at the midpoint between the surface and the thermocline, at the midpoint between the top of the thermocline and the bottom of thermocline, and at the midpoint between the bottom of the thermocline and just above the bottom of the water column. For these methods, all containers have to be filled at the same time. Note the number of intervals sampled on the data sheet. When filling bottles, Clean Hands immerses the intake tube directly into the water at the appropriate depth, and Dirty Hands operates the pump to flush the tubing with a minimum of 1 liter of ambient water through the tubing and filter. Clean Hands removes the cap from the sample bottle, holds the tubing outlet with the in-line filter cartridge over the container opening (without touching the container), and allows the container to fill. The container is filled and rinsed five times with ambient water, and is then filled to the top for the actual sample. Clean Hands puts the cap back on the bottle, and places the bottle back it in the plastic bag. Whenever Clean Hands touches the boat or equipment, which may be contaminated, gloves should be changed immediately. (Note for Unfiltered samples: If an unfiltered sample is required for total metals, or total mercury, or conventional constituents, or toxicity, or synthetic organics, the same procedure is used as described above, except the filter is detached from the end of the tubing before filling the bottles.) When sampling is finished, the tubing is brought to the surface, clean water (Milli-Q or deionized) is pumped through system, and the tubing is stored in a polyethylene bag. The tubing set can be used at multiple sites, as long as it has been cleaned in the field between stations (see field cleaning procedure above). However, if Dissolved or Total Organic Carbon samples (in water) are collected, equipment blanks should be collected at enough sites until it is determined the blanks are appropriate. |
| Metals-in-water Sample Collection: Composite Bottle | Collecting the Sample: The sample collection methodologies are identical to those described above except the sample is collected first into a composite bottle(s). The sample is collected in an amber glass 4-liter bottle for mercury and methyl mercury, and a 4-liter polyethylene bottle for other trace metals. The compositing bottle is cleaned according to SWAMP SOP.SC.G.1. It is very critical that all the acid is rinsed out of the bottle and that the bottle is rinsed with sample water (five times) before the sample is taken. The sample is collected by the grab or pumping method after being rinsed five times with ambient water and is brought inside the water quality vehicle or sampling box for processing. Personnel involved in sample processing don polyethylene gloves. During sampling the dirty hands person opens the bag holding the composite bottle and opens the outer plastic bag. The clean hands person opens the inner plastic bag, removes the bottle and holds the bottle while the Dirty Hands sampler controls the flow of water through the pump into the bottle. Preparing sample aliquots from a composite bottle into smaller sample bottles using an inline pump and filter: The dirty hands person opens the first bag, and the clean hands person opens the inner bag around the composite bottle. The clean hands person then removes the bottle from the inner bag and places the bags and the bottle in a designated clean place. This process is repeated until all sample bottles are lined up on the clean bench with their tops still on. The top of the bottles are loosened so that they fit very loosely on top of the bottles so the clean hands person can remove the caps and pour or pump water into the bottles easier. The clean hands person shakes the 4-liter sample in a steady and slow up and down motion for two full minutes. Samples that are not to be filtered (including TSS/SSC) are sub sampled out of the bottle by pouring out of the large compositing bottle into the sample bottles. The compositing bottle is shaken for 15 seconds between these sub samples. Each sample bottle is rinsed five times with ambient water before filling. For the clean pumping system setup procedure see above. (The Equipment or field blank is processed exactly like a sample following the same steps.) The clean end of the tubing used for suction is placed into 1 liter bottle. Approximately 750 milliliters of MilliQ are then pumped through the system to purge any residual contamination. The 250 ml sample bottles are then filled to the neck and capped as soon as possible. Note: if volatile organics are to be collected they should be pumped directly into the sample containers before the compositing procedure. |
| Metals-in-water: Short-term Sample Preservation | After collecting the sample, the double-bagged container is placed in another plastic bag for shipping, and placed on ice in the ice chest, cooled to 4C. This is to prevent possible contamination from other samples in the ice chest. Metals-in-water samples are acid-preserved in the lab. |
| Metals-in-water: Sample Container Label | Label each outer sample-bag with the station ID, sample code, matrix type, analysis type, project ID, and date and time of collection. |
| Metals-in-water: Field Equipment Blank | Pumping Method. If required, field blanks are collected at the last site of a sampling trip, with the same tube and filter used to collect the last dissolved metals-in-water sample of the day (before the ambient sample is collected); and with the tube used for the last total metals-in-water sample of the day. If each sample is taken using a new set of tubing, a separate tubing-set should be used for the blank. The same Clean Hands Dirty Hands collection techniques are followed for the field blank as the samples, pumping trace-metal-free water from a clean container supplied by the laboratory. Syringe Method. If required, field blanks are collected in much the same way as in the pumping method. “Clean Hands Dirty Hands” techniques are used. The syringe is taken out of the double bags, deionized water is aspirated into the syringe, syringe is rinsed five times with ambient water, the filter is attached, and the blank water is extruded into a sample bottle. A minimum of one blank per trip is taken, if required. Grab Method. Bottles full of deionized water or Miili Q are opened at the site for the same length of time the sample bottles are open. |

##### Companion Samples for Metals-in-Water

A hardness analysis should be requested by the Regional Water Control Board whenever metals-in-water are to be analyzed from an inland (freshwater) site.  Estuarine/marine sites do not require hardness analysis.

If a total metals sample is collected, it is recommended to submit a sample for TSS/SSC in a companion sample for "conventionals in water".

Hexavalent Chromium

Very rarely, a request may be made for conducting hexavalent chromium analysis in water samples.  Acidification alters the hexavalent form of chromium. A separate (un-acidified) sample must be submitted if hexavalent chromium is to be analyzed. Filter and submit a minimum of 500 ml of water. The sample is collected in a DI-water-rinsed plastic or glass container, placed on ice, and shipped to the lab in time for analysis to begin within 24-hours of collection. The lab must be notified when a hexavalent chromium sample will arrive. Hexavalent chromium is not usually analyzed on unfiltered samples.

Field QC Sample Collection Requirements for Metals-in-Water

In order to assess contamination, "blanks" are submitted for analysis. Special projects may have other requirements for blanks. The same group of metals requested for the ambient samples are requested for the blank(s). Run a blank for each type of metal sample collected. Blanks results are evaluated (as soon as available) along with the ambient sample results to determine if there was contamination or not. See Appendix C for requirements regarding frequency and types of field QC samples.

| Field Equipment Blank (Ambient Blank) | Submit an equal volume (equal to the ambient sample) of metals-free deionized water that has been treated exactly as the sample at the same location and during the same time period. Use the same methods as described above (Grab sample, pumping method, syringe method). At least one ambient blank per field trip is required each for Trace-Metal and Mercury samples in water. If contamination is detected in field equipment blanks, blanks are required for every metals-in-water sample until the problem is resolved. |
| --- | --- |
| Laboratory Equipment Blank | Laboratory Equipment Blanks for pumping and sampling equipment (Metals-in-Water Sample Collection Kits and Syringe Filtration Kits) are run by the laboratory that cleans and distributes the collection materials. It documents that the materials provided by the laboratory are free of contamination. When each batch of tubes, filters, bottles, acid and deionized water are prepared for a sampling trip, about five percent of the Mercury sampling materials are chosen for QC checks. Trace-Metal Equipment needs to be subjected to an initial blank testing series. If these blanks are acceptable only occasional re-testing is required for TM equipment. The QC checks are accomplished by analyzing metals-free water which has been pumped through the filter and tube; collected in a sample container; and preserved. |
| Field Duplicates | Five percent Field Duplicates are submitted every year. (If less than 20 samples are collected during an event, submit one set of duplicates per event.) |

Collection of Water Samples for Analysis of Synthetic Organic Compounds

Collect organic samples at a depth of 0.1 m by submerging the sample container by hand. If depth-integrated sampling is required, use the in-line peristaltic pump methodology described previously. Since organic compounds tend to concentrate on the surface of the sampling device or container, the sampling device and sample container are not to be rinsed with ambient water before being filled.

###### Sample Containers and Collection

Also refer to Appendix C for a list of sample volumes and containers.

| Pesticides/ Herbicides | The sample container for pesticides and herbicides is a new, clean, unused amber glass jar with a Teflon-liner inside the cap. Collect one liter of water for each of the three sample types (Organophosphorus Pesticides, Organochlorine Pesticides and Chlorinated Herbicides). EACH ANALYSIS TYPE REQUIRES A SEPARATE JAR. Minimize the air space in the top of the jar. Preserve immediately after collection by placing on ice out of the sunlight. |
| --- | --- |
| Semi-volatile Organics | The sample container for semi-volatile organics must also be new, clean, unused amber glass bottles with a Teflon-liner inside the cap, and pre-rinsed with pesticide-grade hexane, acetone, or methylene chloride. Fill jars to the top and place on ice in the dark. In addition to other sample information, label the jar Semi-volatiles. |
| Volatile Organics: Volatile Organic Carbon (VOC), Methyl-Tert Butyl Ether (MTBE) and (BTEX) | The sample containers for volatiles are VOA vials. Fill the 40-ml VOA vials to the top and cap without trapping any air bubbles. If possible, collect directly from the water, keeping the vial under water during the entire collection process. To keep the vial full while reducing the chance for air bubbles, cap the vials under the water surface. Fill one vial at a time and preserve on ice. The vials are submitted as a set. If the vial has been pre-acidified for preservation, fill the vial quickly, without shaking using a separate clean glass jar. Fill the vial till the surface tension builds a meniscus, which extends over the top end of the vial, then cap tightly and check for bubbles by turning the vial on its head. Ensure that the pH is less than 2. If the water may be alkaline or have a significant buffering capacity, or if there is concern that pre-acidified samples may have the acid wash out, take a few practice vials to test with pH paper. It may take more than two drops, and it will then be known how to preserve the other samples that are being submitted to the lab. If an alternative method has proven successful, continue with that method. Note: If vigorous foaming is observed following acidification, discard that sample and collect another set. Do not acidify the second set. Mark the sample clearly “not acidified” and the lab will run them immediately. Holding time is 14 days with acid, 24 hours without acid. Collect three VOA vials, if VOC, MTBE and BTEX are required, two vials, if only VOC is required and two vials, if only MTBE and BTEX are require. The vials may be taped together to keep them together. |
| Perchlorate | Surface water samples for perchlorate should be collected in a new unused polyethylene or glass container. Perchlorate samples should be placed immediately on ice to maintain temperature at 4oC. The sample holding time is 28 days, under refrigeration. |
| Sample Treatment in Presence of Chlorine | (NOTE: This treatment has not been performed in SWAMP, but may be in the future, or if a known or suspected chlorine residual is suspected and this information is made known by a Regional Board SWAMP contact beforehand.) If in stream chlorine residual is suspected, measure the chlorine residual using a separate water sub-sample. Free chlorine will oxidize organic compounds in the water sample even after it is collected. If chlorine residual is above a detectable level, (i.e., the pink color is observed upon adding the reagents) immediately add 100 mg of sodium thiosulfate to the pesticides, herbicides, semivolatiles and VOA samples; invert until sodium thiosulfate is dissolved. Record the chlorine residual concentration in field logbook. If chlorine residual is below detectable levels, no further sample treatment necessary. |
| VOA Trip Blank | Submit a Trip Blank for VOA samples (2- 40 ml VOA vials) with each ice chest full of VOA samples shipped to the lab. Trip Blanks are prepared in advance just before the sampling trip and transported to the field. Ask the laboratory for DI water and specify that it is for a VOA trip blank. VOA blanks require special purged water. Trip blanks demonstrate that the containers and sample handling did not introduce contamination. The trip blank vials are never opened during the trip. |
| Field QC Samples | If required, field Duplicates and field blanks are submitted with every twentieth sample. Refer to Appendix C for details on required blanks and duplicates. |

Bacteria and Pathogens in Water Samples

Summary of Collection Procedure (Based on EPA water quality monitoring procedures)

Make sure the containers are sterilized; either factory-sealed or labeled.

| ###### Whirl-pak® bags | - Label the bottle as previously described for SWAMP. - Tear off the top of the bag along the perforation above the wire tab just prior to sampling. Avoid touching the inside of the bag. If you accidentally touch the inside of the bag, use another one. - If wading into the stream, try to disturb as little bottom sediment as possible. Be careful not to collect water that has sediment from bottom disturbance. Stand facing upstream. Collect the water sample on your upstream side, in front of you. You may also tape your bottle to an extension pole to sample from deeper water. - If taking sample from a boat, carefully reach over the side and collect the water sample on the upstream side of the boat. - Hold the two white pull-tabs in each hand and lower the bag into the water on your upstream side with the opening facing upstream. Open the bag midway between the surface and the bottom by pulling the white pull-tabs. The bag should begin to fill with water. You may need to "scoop" water into the bag by drawing it through the water upstream and away from you. Fill the bag no more than 3/4 full. - Lift the bag out of the water. Pour out excess water. Pull on the wire tabs to close the bag. Continue holding the wire tabs and flip the bag over at least 4-5 times quickly to seal the bag. Don't try to squeeze the air out of the top of the bag. Fold the ends of the wire tabs together at the top of the bag, being careful not to puncture the bag. Twist them together, forming a loop. - If the samples are to be analyzed in the lab, place them in a cooler with ice or cold packs for transport to the lab. |
| --- | --- |
| Screw cap containers | - Label the bottle as previously described for SWAMP. - Remove the cap from the bottle just before sampling. Avoid touching the inside of the bottle or cap. If you accidentally touch the inside, use another bottle. - If wading into the stream, try to disturb as little bottom sediment as possible. Be careful not to collect water that has sediment from bottom disturbance. Stand facing upstream. Collect the water sample on your upstream side, in front of you. You may also tape your bottle to an extension pole to sample from deeper water. - If taking sample from a boat, carefully reach over the side and collect the water sample on the upstream side of the boat. - Hold the bottle near its base and plunge it (opening downward) below the water surface. If you are using an extension pole, remove the cap, turn the bottle upside down, and plunge it into the water, facing upstream. Collect a water sample 2 inches beneath the surface. You can only use this method if the sample bottles do not contain sodium thiosulfate. - Turn the bottle underwater into the current and away from you. In slow moving stream reaches, push the bottle underneath the surface and away from you in an upstream direction. - Alternative sampling method: In case the sample bottle contains preservatives/chlorine removers (i.e. Sodium-Thiosulfate), it cannot be plunged opening down. In this case hold the bottle upright under the surface while it is still capped. Open the lid carefully just a little to let water run in. Fill the bottle to the fill mark and screw the lid tight while the bottle is still underneath the surface. - Leave a 1-inch air space so that the sample can be shaken just before analysis. Recap the bottle carefully, remembering not to touch the inside. - If the samples are to be analyzed in the lab, place them in a cooler with ice or cold packs for transport to the lab. |

Toxicity in Water

| Sample Collection | Using the standard grab sample collection method described previously for water samples, fill (for typical suite of water toxicity tests conducted) the required amount of 2.25 liter amber glass bottles with water, put on ice, and cool to 4°C. Label the containers as described above and notify the laboratory of the impending sample delivery, since there is a 48-hr maximum sample hold time. Sample collection must be coordinated with the laboratory to guarantee appropriate scheduling. |
| --- | --- |

Summary of Sample Container, Volume, Initial Preservation, and Holding Time Recommendations for Water Samples

| Parameters for Analysis in WATER Samples | Recommended Containers (all containers pre-cleaned) | Typical Sample Volume (ml) | Initial Field Preservation | Maximum Holding Time (analysis must start by end of max) |
| --- | --- | --- | --- | --- |
| Conventional Constituents in Water |  |  |  |  |
| Alkalinity | Polyethylene bottles (see NOTE(1) below) | 100 ml | Cool to 4°C, dark | 14 days at 4°C, dark |
| Chloride (Cl), Sulfate (SO4) and Fluoride (F) | Polyethylene bottles (see NOTE(1) below) | 300 ml | Cool to 4°C, dark | 28 days at 4°C, dark |
| Ortho-phosphate (OPO4) | Polyethylene bottles (see NOTE(1) below) | 150 ml | Cool to 4°C, dark | 48 hours at 4°C, dark |
| Nitrate + Nitrite (00630) (NO3 + NO2) | Polyethylene bottles (see NOTE(1) below) | 150 ml | Cool to 4°C, dark | 48 hours at 4°C, dark |
| Total Keldjahl Nitrogen (TKN) | Polyethylene bottles (see NOTE(1) below) | 600 ml | Cool to 4°C, dark | Recommend: 7 days Maximum: 28 days Either one at 4°C, dark |
| Total Dissolved Solids (TDS) | Polyethylene bottles (see NOTE(1) below) | 1000 ml | Cool to 4°C, dark | 7 days at 4°C, dark |
| Ammonia (NH3) | Polyethylene bottles (see NOTE(1) below) | 500 ml | Cool to 4°C, dark | 48 hours at 4C dark; if acidify, 28 days at 4°C, dark |
| Total Phosphorus (TPO4) | Polyethylene bottles (see NOTE(1) below) | 300 ml | Cool to 4°C, dark | 28 days at 4°C, dark |
| (1)NOTE: The volume of water necessary to collect in order to analyze for the above constituents is typically combined in four 1-liter polyethylene bottles, which also allows enough volume for possible re-analysis and for conducting lab spike duplicates. This is possible since the same laboratory is conducting all of the above analyses; otherwise, individual volumes apply. |  |  |  |  |
| Total Organic Carbon (TOC), Dissolved Organic Carbon (DOC) | 40 ml glass vial | 40 ml (one vial) | Cool to 4°C, dark | 28 days at 4°C, dark |
| Total Suspended Solids (TSS) | 500 ml amber glass jar | 1000 ml (two jars) | Cool to 4°C, dark | 7 days at 4°C, dark |
| Suspended Sediment Concentration (SSC) | 500 ml amber glass jar | 500 ml (one jar) | Cool to 4°C, dark | 7 days at 4°C, dark |
| Chlorophyll a Pheophytin a | 1-L amber polyethylene bottle | 1000 ml (one bottle) | Cool to 4°C, dark | Keep at 4°C, dark, but must filter within 48 hours. Filters may be stored frozen up to 30 days. |
| Non-Routine Compounds in Water Samples |  |  |  |  |
| OIL AND GREASE | 1-L glass jar with Teflon lid-liner, rinsed with hexane or methylene chloride | 1000 ml (one jar) | Add 2 ml conc. H2SO4 to pH <2; cool to 4°C, dark. | 28 days at 4°C, dark |
| PHENOLS | 1-L glass jar with Teflon lid-liner | 1000 ml (one jar) | Add 2 ml conc. H2SO4 to pH <2; cool to 4°C, dark. | 28 days at 4°C, dark |
| CYANIDE | 1-L cubitainer | 1000 ml (one cubitainer) | Add 2 ml 1:1 NaOH to make pH > 12; Add 0.6 g ascorbic acid if residual Cl present. Cool to 4°C, dark. | 14 days at 4°C, dark |
| BIOCHEMICAL OXYGEN DEMAND (BOD) | 4-L cubitainer | 4000 ml (one cubitainer) | Cool to 4°C, dark. Add 1g FAS crystals per liter, if residual Cl present. | 48 hours at 4°C, dark |
| CHEMICAL OXYGEN DEMAND (COD) | 1-L cubitainer | 110 ml (one cubitainer) | Add 2 ml conc. H2SO4 to make pH <2. Cool to 4°C, dark. | 28 days at 4°C, dark |
| Trace Metals in Water Samples |  |  |  |  |
| DISSOLVED METALS (except Dissolved Mercury) | 60 ml polyethylene bottle, pre-cleaned in lab using HNO3 | 60 ml (one bottle) if salinity <3.0 ppt 180 ml (three bottles) if salinity >3.0 ppt | Filter at sample site using 0.45 micron in-line filter, or syringe filter. Cool to 4°C, dark. Acidify in lab, within 48 hrs, using pre-acidified container (ultra-pure HNO3) for pH<2. | Once sample is filtered and acidified, can store up to 6 months at room temperature |
| DISSOLVED MERCURY | 250 ml glass or Teflon bottle, pre-cleaned in lab using HNO3 | 250 ml (one bottle) | Cool to 4°C, dark. Filter in lab within 48 hours, using bench top Hg filtration apparatus. Acidify in lab within 48 hrs, with pre-tested HCL to 0.5%. | Once sample is filtered and acidified, can store up to 6 months at room temperature |
| TOTAL METALS (except Total Mercury) | 60 ml polyethylene bottle, pre-cleaned in lab using HNO3 | 60 ml (one bottle) if salinity <3.0 ppt 180 ml (three bottles) if salinity >3.0 ppt | Cool to 4°C, dark. Acidify in lab within 48 hrs, with pre-acidified container (ultra-pure HNO3), for pH<2. | Once sample is acidified, can store up to 6 months at room temperature |
| TOTAL MERCURY | 250 ml glass or Teflon bottle, pre-cleaned in lab using HNO3 | 250 ml (one bottle) | Cool to 4°C, dark. Acidify in lab within 48 hrs, with pre-tested HCL to 0.5%. | Once sample is acidified, can store up to 6 months at room temperature. |
| HEXAVALENT CHROMIUM (filtered) | 600 ml plastic or glass bottle | 600 ml (one bottle) | Cool to 4°C, dark No acid | Keep at 4°C, dark for up to 24 hours; must notify lab in advance. |
| HARDNESS | 200 ml polyethylene or glass bottle | 200 ml (one bottle) | Cool to 4°C, dark OR Filter and add 2 ml conc. H2SO4 or HNO3 to pH < 2; Cool to 4°C, dark. | 48 hours at 4°C, dark 6 months at 4°C, dark |
| Synthetic Organic Compounds in Water Samples |  |  |  |  |
| VOLATILE ORGANIC ANALYTES (VOA's) including VOC, MTBE and BTEX | 40 ml VOA vials | 120 ml (three VOA vials) | All vials are pre-acidified (50% HCl or H2SO4) at lab before sampling. Cool to 4°C, dark | 14 days at 4°C, dark |
| PESTICIDES & HERBICIDES* Organophosphate Pesticides Organochlorine Pesticides Chlorinated Herbicides SEMI-VOLATILE ORGANICS* POLYCHLORINATED* BIPHEYNYL AND AROCHLOR COMPOUNDS TPH, PAH, PCP/TCP* | 1-L I-Chem 200-series amber glass bottle, with Teflon lid-liner (per each sample type) | 1000 ml (one container) *Each sample type requires 1000 ml in a separate container | Cool to 4°C, dark If chlorine is present, add 0.1g sodium thiosulfate | Keep at 4°C, dark, up to 7 days. Extraction must be performed within the 7 days; analysis must be conducted within 40 days. |
| Toxicity Testing Water Samples |  |  |  |  |
| TOXICITY IN WATER | Four 2.25 L amber glass bottles | 9000 ml | Cool to 4°C, dark | 48 hrs at 4°C, dark |
| Bacteria and Pathogens in Water Samples |  |  |  |  |
| E. Coli | Factory-sealed, pre-sterilized, disposable Whirl-pak® bags or 125 ml sterile plastic (high density polyethylene or polypropylene) container | 100 ml volume sufficient for both E. coli and Enterococcus analyses | Sodium thiosulfate is pre-added to the containers in the laboratory (chlorine elimination). Cool to 4°C; dark. | STAT: 6 hours at 4°C, dark if data for regulatory purposes; otherwise, 24 hrs at 4C, dark if non-regulatory purpose. |
| Enterococcus | Factory-sealed, pre-sterilized, disposable Whirl-pak® bags or 125 ml sterile plastic (high density polyethylene or polypropylene) container | 100 ml volume sufficient for both E. coli and Enterococcus analyses | Sodium thiosulfate is pre-added to the containers in the laboratory (chlorine elimination). Cool to 4°C; dark. | STAT: 6 hours at 4°C, dark if data for regulatory purposes; otherwise, 24 hrs at 4C, dark if non-regulatory purpose. |
| FECAL COLIFORM | Factory-sealed, pre-sterilized, disposable Whirl-pak® bags or 125 ml sterile plastic (high density polyethylene or polypropylene) container | 100 ml volume sufficient for both fecal and total coliform analyses | Sodium thiosulfate is pre-added to the containers in the laboratory (chlorine elimination). Cool to 4°C; dark. | STAT: 6 hours at 4°C, dark if data for regulatory purposes; otherwise, 24 hrs at 4C, dark if non-regulatory purpose. |
| TOTAL COLIFORM | Factory-sealed, pre-sterilized, disposable Whirl-pak® bags or 125 ml sterile plastic (high density polyethylene or polypropylene) container | 100 ml volume sufficient for both fecal and total coliform analyses | Sodium thiosulfate is pre-added to the containers in the laboratory (chlorine elimination). Cool to 4°C; dark. | STAT: 6 hours at 4°C, dark if data for regulatory purposes; otherwise, 24 hrs at 4C, dark if non-regulatory purpose. |