April 1, 1998

HAND-DELIVERED

Mike Falkenstein, Chief

Environmental Section

Division of Water Rights

State Water Resources Control Board

901 P Street, Third Floor

Sacramento, CA 95812

Re:	Draft Environmental Impact Report for Implementation

of the 1995 Bay/Delta Water Quality Control Plan

Dear Mr. Falkenstein:

The following comments on the Draft Environmental Impact Report (DEIR) for implementation of the 1995 Bay/Delta Water Quality Control Plan (Plan) are submitted on behalf of the City of Sacramento, Department of Utilities (City).

General Comment:

Some of the Flow Alternatives described in the DEIR would make more water available for export by the CVP and SWP by requiring in-basin users to cease diverting or release water to meet the requirements of the Plan.    It is uncertain whether any of these alternatives can be implemented without violating the priority doctrine, California's area of origin protections, and the domestic and municipal use preferences.    However, assuming solely for the sake of argument that one of these alternatives currently could be implemented without violating these protections, the DEIR fails to explain how the State Board will prevent such violations from occurring in the future if the CVP or SWP, as a result of future increased demands for exported water, are unwilling or unable to make water available to meet the future increased water supply needs of in-basin users with a higher priority.    This potential for future in-basin shortages should be addressed in the DEIR, unless the State Board is willing to require that water users who export water demonstrate how they will meet their Bay/Delta flow requirements and water supply needs, both temporarily and permanently, when water which currently may    be available for these purposes is required for in-basin use -- through specified future alternative sources of water or other measures.

Specific Comments:

1.	In its discussion of Flow Alternative 3, the DEIR assumes that appropriators receiving notification to cease diversions to storage and direct diversions must cease diverting or contract for supplemental water supplies, and, for purposes of analyzing water supply impacts, the document assumes that Sacramento Basin appropriators will contract for a supplemental supply.    (See DEIR, at pages II-16 and V-2.)    In order to support this assumption, the DEIR should identify the potential costs of such supplemental water supply contracts, and also should analyze the potential impacts if sufficient future supplemental water supplies are not available due to competing demands for surface water.    Additionally, is the reference to contracting for a supplemental supply of stored water    intended to include both new contracts, and existing contractual arrangements permitting the rediversion of stored water such as the City’s existing contract with the U.S. Bureau of Reclamation?

2.	The description of Flow Alternative 3 beginning on page II-16 indicates that, under this alternative, appropriators would be directed to cease direct diversions and diversions to storage based upon the group to which the appropriators are assigned in Table II-5.    Table II-5 list the City’s four American River water right permits in priority groups 1 and 2, and lists the City’s Sacramento River water right permit in priority group 6.    The City makes direct diversions of surface water from the Sacramento and American Rivers, respectively, under the City’s Sacramento River permit (Application 1743), and under two of the City’s American River permits (Applications 16060 and 12140). However, the City does not exercise control of direct diversions or diversions to storage under its two remaining American River permits (Applications 12622 and 12321), nor are such diversions made to distribute water for consumptive use.    The water right applications for these two permits were assigned to the City by the Sacramento Municipal Utility District (SMUD) in 1957.    Under these permits, the City rediverts for municipal and recreational uses water previously diverted and released by    the operation of SMUD’s Upper American River Project (UARP).    SMUD operates its UARP solely for the production of hydroelectric power, and the City has no control over SMUD’s UARP diversion and release schedules.    The terms of the 1957 Agreement of Assignment between the City and SMUD provide that the City’s rights to redivert water under Applications 12622 and 12321 are subordinate to SMUD’s rights to divert this water (by direct diversion and by diversion to storage) for the production of hydroelectric power by its UARP, and reserves to SMUD the sole and exclusive right to operate its UARP facilities for this purpose.

For this reason, the City assumes that, although these two permits (Applications 12622 and 12321) are listed in priority group 2 in Table II-5, the City would not be directed to cease its rediversions for consumptive use under these permits, consistent with the DEIR’s statement that rediversions of water would not be directly affected by Flow Alternative 3. (See DEIR, at page II-16.)    Is this assumption correct?

3.	On page V-14, the DEIR indicates that there are infrequent situations in which curtailment of pre-1914 diversions would be required, but states that the individual pre-1914 rights for which diversions would be curtailed are not identified because the priority and quantity of known pre-1914 rights were not analyzed.    For this reason, the DEIR would not provide an adequate basis for a subsequent State Board action resulting in the curtailment of pre-1914 rights.    If any such curtailment is proposed, is it the State Board’s intention that all pre-1914 right holders, including the City, would be provided an adequate opportunity to review and comment upon any such proposal, including the proposal’s environmental analysis?

4.	The hydrology analysis set forth on pages VI-40 and following describes predicted changes in upstream river flows, but fails to provide any discussion of whether or how these predicted changes are significant.

5.	Page VI-55 sets forth the following conclusion regarding the potential impact of the different flow alternatives on the aquatic resources habitat in rivers upstream of the Bay/Delta: “In summary, implementation of Alternatives 2 through 7 will either improve or not affect stream conditions for all of the Alternatives considered.    Mitigation is not required.”    It is not clear what analysis this statement is meant to “summarize,” nor does the text preceding this statement appear to support its conclusion.    For example, with respect to potential impacts on stream conditions in the lower American River, the comparisons set forth in Table VI-34, and discussed on page VI-55, show that, in most cases, none of the Alternatives come close to meeting the recommended AFRP flows. The DEIR should explain whether or how this is significant, rather than simply concluding that there are no significant impacts because the flows resulting from the implementation of Alternatives 2 through 7 will not be less than existing flows in the river (if, in fact, this is the basis for the conclusion that upstream conditions will not be affected, which is not clear). The DEIR also should explain what will happen if Bay/Delta requirements and requirements adopted to meet the recommended AFRP flows impose different operational patterns or constraints upon diversions from upstream tributaries, including the American River.

6.	The analysis of economic impacts on urban water users beginning at page XI-8 appears to consider only the potential impacts on entities using SWP and CVP water, in addition to EBMUD.    Why was no such analysis performed with regard to potential impacts upon urban water users in the Sacramento Basin, particularly in light of the DEIR’s conclusion that    Sacramento Basin appropriators will be required to contract for supplemental supplies?

7.	On pages XII-10 and following, the Sacramento Water Forum process is identified as one of the future actions with potential cumulative effects.    The discussion and description of this process is somewhat outdated.    If the draft environmental impact report for the Water Forum agreement is released prior to implementation of the Plan, we recommend that this document be used to update the DEIR’s summary and discussion of the Water Forum process.

We appreciate the opportunity to submit these comments.

Very truly yours,

SAMUEL L. JACKSON

City Attorney

JOE ROBINSON

Deputy City Attorney

JR/gt