SOUTH DELTA WATER AGENCYS

COMMENTS TO DRAFT ENVIRONMENTAL IMPACT REPORT

FOR IMPLEMENTATION OF THE 1995

BAY/DELTA WATER QUALITY CONTROL PLAN

A.                  After the 1995 Water Quality Control Plan was adopted, the Board issued WR 9506 which in effect implemented the Plan in the short term.    SDWA and other interests challenged the adequacy of the Environmental Report supporting that document.    In that challenge, the Bureau of Reclamation declined to submit to the jurisdiction of the state courts.    The State asserted that the Bureau was an indispensable party and asked the court to dismiss the action.    The State also argued that an alternative forum    existed because one of the Plaintiffs had a federal court suit against the Bureau.

The state court dismissed the suit, leaving SDWA with no way of challenging the adequacy of the ER. [CDWA intervened in that suit, but the State asserted its 11th Amendment rights and refused to enter federal court.]

If the State and Federal Governments can choose whether or not to be brought into court regarding a decision by the SWRCB, parties who believe they may be aggrieved by any such decision have no remedy and in fact no judicial review.      Therefore, as a prerequisite to this process continuing, the SWRCB should ask the Bureau of Reclamation to submit to the state courts jurisdiction and similarly ask the State of California to commit itself to not assert its 11th Amendment rights in any federal suit brought challenging the proposed water right order.    Absent this, the State and Federal Government can pick and choose when and if they go to court.

B.                As a starting point, SDWA believes that it is the Boards responsibility to first allocate responsibility for adverse impacts that can be identified.    These impacts needs to be segregated out such that those responsible for the impacts bear the burden of providing the necessary mitigation.    Absent such a segregation, the Board is simply forcing others to bear the burden.    Consequently, the DEIR is inadequate because it does not first assign responsibility to the parties who have caused the problems.

SDWA believes it is clear that the lions share of responsibility for decreased fisheries and water quality rests with both the State and Federal Projects.    The export pumps result in the taking of large numbers of fish as well as the interference with normal flow patterns in the South Delta.    This change of Delta flows increases take and hinders movement both upstream and downstream.    In addition, the CVPs extreme effects on the San Joaquin River quantity and quality similarly interfere with fish migration.    As has been presented before, the changes in the San Joaquin River and the Delta also adversely impact agricultural beneficial uses, especially Delta riparians.    Consequently, as a first step, the Board needs to determine what adverse effects are caused by the State and Federal Projects.    Once identified, the Board must then order appropriate mitigation.    Since the DEIR has not done this, it is deficient.

The next step is to then insure that SWP and CVP operations are in compliance with other statutory obligations.

Pursuant to the Delta Protection Act, the SWP and CVP must to the maximum extent possible operate and manage releases from storage into the Delta to maintain an adequate water supply in the Delta sufficient to maintain and expand agriculture, industry, urban, and recreational uses, pursuant to the Delta Protection Act.

In allocating the burden within the two projects, the uses within the Delta and other areas and watersheds of origin must be accorded priority over exports pursuant to Water Code  11460 et seq.

The remaining burden, if any, is allocable among the other water users in accordance with water right priorities.    If a water user within the Delta or other areas and watersheds of origin is required to yield water which can be replaced with CVP or SWP water, then that party should be allowed to contract for CVP or SWP water if the unregulated flow, bypass natural flow, or return flow from upstream is insufficient.    This will of course entail a contract and reasonable payment for the storage of that water.

Absent an analysis of the situation in the order as presented above, the parties responsible for causing the harm to the fisheries and other beneficial uses will escape some or all of their burden.

Notwithstanding the above, SDWA believes that the State Board has an option of addressing the water quality objectives in a manner which maximizes the use of water and creates only slight impacts to water users.    Although the Water Quality Control Plan authorizes fluctuations in export rates to result in no net water supply lost to export interests, the precondition of that must be no net loss of supply to other interests especially in the Delta.    In order to protect superior rights and minimize any effects on export interests, SDWA has proposed the recirculation of water from the Delta Mendota Canal through the Newman Wasteway back into the San Joaquin River in order to help provide the necessary flows.    This proposal is partially contained in Flow Alternative No. 6 which will be more fully described later.    In brief, this method actually provides for the necessary flows while at the same time keeping the burden of supplying them on those parties responsible for the degradation of water quality and flow.    The proposal also addresses the problems on the segment of the San Joaquin River upstream of its confluence with the Stanislaus, an area which remains unaddressed under the other alternatives.

C.                The following comments will include a reference to the chapter and page number to which they apply.

II-13      The existing conditions section should include a full description of the effects of the CVP on the San Joaquin River and the Sacramento San Joaquin Delta.    As previously presented to the Board and as will be presented in testimony later on in these proceedings, operation of the CVP results in an average annual decrease in San Joaquin River flows of 553,000 acre-feet, with 345,000 acre-feet of that decrease occurring from April through September.    In addition, the CVP operations have resulted in large amounts of saline discharges into the San Joaquin River as well as a buildup of salts in the west side of the San Joaquin Valley.    These numbers have been quantified in the 1980 report entitled Effects of the CVP Upon the Southern Delta Water Supply Sacrament-San Joaquin River Delta, California jointly prepared by the Bureau and SDWA.

In addition, any description of existing conditions should set forth the extent by which export pumps have harmed the South Delta channels.    As briefly mentioned later in the DEIR, those export pumps seriously decrease water levels in the South Delta to the extent that they interfere with riparian diversions.    Those decreases also create null zones, stagnant areas and reverse flows, all of which harm South Delta quality as well as interfere with fisheries and other beneficial uses.    Again, those numbers have been quantified and will be part of the testimony put on by SDWA.    Although the ISDP Program is attempting to install barriers to address some of these problems, difficulties have arisen in securing adequate permits for the operations of those barriers.    Absent the ability to operate Delta barriers when needed, there is continuing harm to riparian interests thus requiring action by the State Board in the implementation of the Water Quality Control Plan.

The DEIR regularly separates the calendar year into ag-diversion times and non-ag times.    This is misleading.    Although most ag diversions occur from April-September, there are significant fall diversions, substantial diversions before April in dry years, and some year-round diversions.

II-16      Description of Flow Objective Alternatives.    Flow Alternative 2 anticipates SWP and CVP meeting all of the objectives with the Vernalis flow objectives being met from releases from New Melones Reservoir.    It would appear to be contrary to area of origin and watershed protection law to direct or allow the Bureau to meet downstream fishery mitigation flows with fresh water that is needed in the areas of origin, or surrounding areas that can be conveniently served therefrom.    In addition, it does not appear to make sense to have an alternative that is physically impossible.    SDWA believes that all interests who have examined and modeled the issue acknowledge that the yield of New Melones is insufficient to meet the flow objectives as well as the water quality objective at Vernalis.    If New Melones cannot provide all the flows, it makes no sense to have that as an alternative.

Alternative 3 requires that flows be met on a water right priority basis.    SDWA agrees that this is the correct method by which responsibility should be allocated after the projects or other parties have been assigned responsibility to mitigate the effects they caused.

In addition, once that is done, other diverters should not be required to forego the use of water unless and until they are given an opportunity to contract for a supplemental supply from the projects, in accordance with area of origin and watershed protection statutes.

II-18      Flow Alternative No. 4 requires more explanation from the State Board.    Assuming (for the purpose of examining alternatives) that is appropriate to make the distinction that the Friant Kern Canal is either in-basin or out-of-basin, there appears to be no obvious reason why its responsibilities can be shifted to some other area.    This alternative assumes that any Friant project obligations will be met with releases from New Melones Reservoir.    Such an interpretation does not simply turn watershed protection/area of origin statutes on their head, it makes them completely ineffective.    SDWA believes the law supports the idea that any water right order by the State Board must bear some rational relationship to the parties against which it is enforced.    If there is a need to improve flows for fisheries and quality along the San Joaquin River and in the Delta, and that need arises from the decrease in flows from Friant Dam, the mitigation of that cannot be ordered to come from a different watershed or entity.    SDWA requests that at the workshop or the hearings before the State Board, cross-examination of staff will enable the public to better understand the justification of such a proposal.

II-29      Flow Alternative No. 5 seeks to set the responsibility for necessary flows in each major tributary watershed so that in combination with flows from other tributaries the flows downstream will be adequate to meet the Objectives.    Again, SDWA does not oppose any such alternative assuming that first the adverse impacts attributable to the State and Federal Projects are mitigated by those projects in accordance with applicable California laws.    As stated above, such a system would also need to allow for other diverters within the areas and watersheds of origin to contract with the projects if those parties give up water under the alternative.

II-32      Flow Alternative No. 6 partially incorporates the SDWAs proposal for how

to resolve these issues.    SDWA believes that the recirculation of water through the Delta Mendota Canal, the Newman Wasteway, and back down the San Joaquin River is a viable and reasonable way of providing the necessary flows.    When testimony is given at the upcoming hearings, SDWA will provide more information pursuant to the modeling and other testing has been done in support of its proposal.

SDWA would also like to note that its proposal includes the coordination of drainage from the West Side Service Area of the CVP along with the reasonable operation of the Delta barriers.    In combination, this proposal provides flows in portions of the San Joaquin River that would otherwise not receive them, protects the diverters along those portions, saves New Melones fresh water for other purposes, decreases the salt load going into the DMC, provides protection against fish being trapped and entrained in the southern Delta, and insulates Delta diverters from harm.

SDWAs investigation shows that this proposal can be accomplished with little or no impact to export interests, as there is adequate unused pumping capacity available.    Although fishery interests have recently urged as much as a 5-to-1 ratio of San Joaquin River flows to exports during the April/May pulse flow period, the increased pumping to provide the recirculation flows only modestly impairs those percentages.    It should be remembered that those percentages are not conditions set forth in the Water Quality Control Plan and thus should be flexible enough to allow a solution to be developed.

SDWAs proposal is the only one which protects superior water rights as well as those interests on the San Joaquin between the San Joaquins confluence with Salt/Mud Sloughs and the Stanislaus.    DWR in collaboration with SDWA. the Regional Board, USBR, the Delta Mendota Water Authority and Contra Costa Water District has modeled this proposal.    Those results to be presented at the hearings show how a coordinated use of water can address multiple issues and be done in such a way as to not harm third parties.

It must be remembered though that the obligation on New Melones to provide necessary water quality flows should not be lessened.

II-33      Flow Alternative No. 7 is understood to eventually be the VAMP proposal.    SDWA reserves its right to provide additional comments once the reworked chapters of the DEIR are produced by Board staff.    Generally, SDWA has no opposition to an adaptive management program that seeks to determine what flows are appropriate in order to preserve fisheries.    However, SDWA believes water supplied through recirculation can provide flows necessary for the VAMP Project.    Again, the California Constitutions requirement of reasonableness in the use of water should lead the Board to

conclude that recirculation of water is a better option then using fresh water supplies on the east side of the San Joaquin Valley which are needed for other in-basin uses.

II-35      It is not clear whether or not Table II-10 is taken into account later in the DEIR where the effects of Alternative 7 are measured.    SDWA has secured and will produce during testimony various studies on the effects of transfers of water on Delta water quality and quantity.

II-36      Salinity Control Alternatives.

II-37      Alternative No. 1 contemplates the continued provision of dilution water in order to meet salinity requirements.    This alternative is generally considered the No-Action Alternative.    In examining this as the No-Action Alternative, the Board should recognize the Bureaus failure to abide by its New Melones permit conditions (amended by WR 95-6).    Pursuant to earlier proceedings before the SWRCB, as well as the information contained in this DEIR, the Bureau does not consistently meet its water quality obligation as measured at Vernalis.    The Board should also note that the Bureau has currently adopted an Interim Operation Plan wherein it budgets certain amounts of water under certain conditions for the various demands placed on New Melones.    That Interim Operation Plan is proposed to remain in effect during the twelve-year life of the VAMP Program.    Similarly, that program is being incorporated into CVPIA as the long-term operational program for New Melones.    The Bureaus own modeling results of that Interim Operation Plan show that in 31 of the year types examined, the Bureau will fail to meet the Vernalis Water Quality Standard even in the absence of water acquisitions which shift summer flow to spring flow.    The Board should keep in mind that this means that the Bureau, in deciding how much water is available for fisheries, has consciously chosen to budget an insufficient amount of water necessary meet its water quality requirements.

Since the Bureau is limited to releases on the Stanislaus River of only 1,500 CFS, it is unable to provide enough water to meet the fisheries objectives during the 30-day pulse period.    In order to minimize the effects on exports during that time frame , the Bureau has in the past few years made releases of 1,500 CFS for a period longer then the 30-day pulse flow as mandated by the 1995 Water Quality Control Plan.    This continued flow of the maximum amount possible on the Stanislaus increases the amount of fishery water that could then be exported by the Project.    In order to maximize this extra amount of flow in the greatest number of years, the Bureaus interim plan budgets 250,000 acre-feet of water in wet years for water quality purposes.    Since 250,000 acre-feet of water is never needed in wet years for water quality purposes (and generally none of it is need in those years), the Bureau is simply playing with the numbers in order to maximize fishery releases at the expense of water quality releases.    Hence, the Board should describe exactly what goes on in this DEIR and insure that the water permit requirement to meet the Vernalis standard is followed and not purposely avoided.

II-37      Salinity control alternatives 2, 3, and 4 envision the coordination of upstream drainages in order to take advantage of dilution flows already in the river or scheduled to be there.    SDWA believes both the wetlands discharges and the surface and subsurface discharges should be so coordinated in order to provide protection downstream.    As will be presented in SDWAs testimony in the hearings to be held, this coordination of wetland drainage should be part and parcel of a comprehensive package to deal with the problems of the San Joaquin River and the South Delta, and not just the coordination of agricultural drainage.

As will be discussed below, the State Board and the Regional Board continue to commit the error of examining salt loads entering the river upstream.    Concentration and not load is what concerns beneficial uses.    Indeed the Vernalis Water Quality Standard is one of concentration.    The dilution needed to meet the Vernalis salinity standard derives from salt loads that have concentrations above that standard.

II-37      SDWA believes it is misleading to list local agricultural diversions as one of the problems for the interior Delta salinity.    The return flow from local agricultural diversions only becomes an issue because of the salt load from the CVP service area and because the export pumps create the stagnant zones, null zones, and reverse flows; and because San Joaquin River flows have been tremendously decreased.    Therefore, those return flows only become an issue given the projects.

11-38 The text states that implementation of the Bay-delta Plan objectives at Vernalis will increase flows at Vernalis.    This is only true in certain months of the year.    Given that the system only receives a certain amount of precipitation each year, an increase at one time results in a decrease at another time.

II-39      The Dissolved Oxygen Alternative No. 3 deals with the Head of Old River barrier being closed in certain months.    SDWA believes this barrier should be operated in a manner to assist in the meeting of the DO standard; however, such a barrier if inoperable has the effect of decreasing the water available for downstream riparian users.    As the Board is well aware from its yearly deliberations to approve makeup pumping under WR 95-6, in 1996 there were times in the fall when export pumping in combination with the operation of the HOR barrier resulted in portions of Middle and Old River being dry at certain times.    No alternative should have the effect of denaturing a section of the San Joaquin River and impairing all beneficial uses of that section.

II-39      SDWA believes that the Joint Point of Diversion is a helpful method of maximizing benefits to various beneficial uses.    However, there would appear to be no basis in law for instituting a no net loss to exports at the expense of other parties.    If the State Board wishes to proceed with a Joint Point of Diversion to attempt to maximize exports, it should concurrently require that there be no net loss to other users especially those who are superior in right to exports.    It would be truly novel indeed if in meeting water quality control objectives the Board sought to protect export interests without seeking similar protection of superior water rights.

II-40-41 SDWA believes that any use of the Joint Point of Diversion must also be coordinated with meaningful barrier operations in the South Delta.    As is well established, water levels, flows, and quality in the South Delta are a function of export levels.    As stated earlier, the ISDP attempts to address some of these issues but is yet to be completed, and may not in its final form be able to adequately address the issues at all times of the year.    Therefore, any use of the Joint Point of Diversion must be only allowed if the effects of that additional pumping result in no harm to other parties, especially in the South Delta.    The Board will remember that in the Spring of 1997, the projects sought to ramp up their exports as the pulse flow slowly ended.    However, fishery interests noted that Delta smelt were still present in the area and cautioned that increasing export pumping would have a corresponding increase in the take of Delta smelt.    The resolution of the issue (without notice to or input by SDWA) was to prevent the operation of the barriers in order to allow exports to increase.    Put another way, the mitigation measures for the effects of the barriers on the South Delta was set aside in order that exports could increase.    This situation of course should not be tolerated by the Board and is a result of the unspecific and unaccountable method instituted to allow flexible operation of the export pumps.

III-1      Environmental Setting.    Again, SDWA believes that the DEIR should at length describe the effects the projects have on the environment in order that the DEIR be complete.

III-7      The DEIR states that Friant Dam allows the CVP to divert a major portion of the flow from the river.    More correctly, Friant Dam allows CVP to divert substantially all of the flow of the river at that point.

III-13 It is misleading to state that the CVP delivers water to the Mendota pool to replace the San Joaquin Rivers natural flow.    Although the water actually enters part of the San Joaquin River, that water is delivered immediately to the Exchange Contractors and does not in any way replace the rivers natural flow excepting as that would apply to those contractors.

III-22    For some reason, the Board and other reviewing agencies continues to try to overstate the effect of agricultural diversions in the South Delta.    Very little if any data exists to show that the Delta diversions have any significant effect on Delta channels or fishery populations.    Such statements as contained on page 22 appear to be an attempt to de-emphasize the effects of the State and Federal export pumps which take huge numbers of fish and fundamentally alter the flows in the San Joaquin Delta.

III-24 Table 3-6 notes that Oakdale and South San Joaquin Irrigation Districts cumulative face value of their direct diversion right totals 1,672,521 acre-feet per year.    SDWA is not sure why this figure is included and assumes it is the maximum direct diversion right over the relevant time.    However, we request clarification on how this amount may have been used in any of the modeling done to support this document.    If that number has been used, then there is a serious overstatement in the use of water on the Stanislaus River.

III-73 The document states that the major water quality problems for the San Joaquin River are due to large salt loads.    Again, SDWA believes this is incorrect.    Salt loads are not an issue rather concentrations are.    In times of high outflows due to storm events, salt loads can be tremendous due to the buildup of salts in the soils but present no problem for beneficial uses given the large amount of dilution transporting those loads.    SDWA will present as part of its testimony information regarding the salt accumulation in the Valley and its transport down the San Joaquin River.    We would again like to stress that loads are not the issue.    It should also be noted that the water quality problems on the San Joaquin River are exacerbated when combined with the low flows caused by the CVP as well as the effects of the export pumps in the Delta.

Here again, the document should reference the 553,000 acre-feet per year decrease in San Joaquin River flows caused by the CVP.

III-80 SDWA questions the statement regarding CVPIA being likely to propose minimum flows on the San Joaquin River.    Such a statement seems to imply that there will be a net benefit to all beneficial uses due to that project (as well as this implementation of the Water Quality Control Plan).    However, absent some substantial decrease in consumption upstream, it is impossible to increase flows at all times of the year on the San Joaquin River.    There is no extra water which could provide increases at all times of the year, and so whether or not minimum stream flows are set, the net result will be decreased flows at one time if there are increased flows at some other time.

III-93 The document incorrectly states that almost all of the Delta lies below sea

level and that islands have subsided over the years due to the oxidation of peat soils.

Most of the South Delta is above sea level and there are only small areas of peat soil in the South Delta.    The documents description more accurately describes the Central Delta.

III-96. Does III-96 refer only to South Delta or to the entire Delta?    The document states that the local users in the South Delta withdraw 10 percent of Delta flow in normal years whereas 30 percent is withdrawn for exports.    Is this correct?    Given that the document later states that local diverters use approximately 450,000 acre-feet per year, this would mean that exports from the Delta only total 1,350,000 acre-feet.

III-97 This page would appear to be a good place to point out that even in wet years, sections of Old River experience water quality problems.    As the Board knows from various activities pursuant to WR 95-6, this year there were complaints from both the West Side Irrigation District and South Delta regarding both water quality and levels in Old River.

III-101 It is not clear why a section dealing with the environmental setting does not adequately describe the effects of the export pumps on fish populations.    The document states, Most larger fish are screened out; however many do not survive screening and subsequent handling.    Most of the fish less then about one inch long in the fish food organisms pass through the screens.    Statements like this that de-emphasize the effects of the pumps on fishery populations appear to be laying the groundwork to protect export interests while deciding how best to mitigate declining fisheries.    It is our understanding that monthly if not daily data exists regarding the amounts and types of fish killed at the screens each year.    Those numbers suggest that notwithstanding any other activities, the projects are the main cause of declining fisheries.

IV-2        Limitation No. 3 of the DWR SIM model deals with the CVPIA mandate of 800,000 acre-feet per year.    The Board is well aware of the ongoing controversy regarding this issue.    Both DWR and the San Luis Unit of the CVP have concluded that the Bureau has already dedicated at least 800,000 acre-feet of water for fishery purposes.    The San Luis Unit has brought suit challenging the Administrative Proposal for that water on this very issue.    Given the disagreement, it should be open for discussion during these hearings whether or not additional water should be plugged into the models to determine the effects of this implementation.

SDWA also believes that the models used understate amounts of return flows and will provide testimony along those lines at the eventual hearings.

The model assumes that New Melones Reservoir is operated pursuant to the June 1987 agreement between USBR and Department of Fish and Game.    This is incorrect as the Bureau currently budgets and releases more water for fisheries then is required under the June 1987 agreement.    There is no indication that the Bureau will or intends to reduce amounts for fisheries notwithstanding a water right order.

IV-8      No. 3 under the Delta standards states that there is no cap on New Melones Reservoir releases to meet water quality objectives.    SDWA agrees that the applicable permit conditions as amended by WR 95-6 places no cap on the Bureaus obligation to meet the Vernalis standard.    However, the SDWA questions whether or not the modeling results will be accurate and useful if    the presumption is that sufficient flows are budgeted and actually being released for water quality, given the Bureaus current operations and past history.    It would seem more appropriate to model the effects of the alternatives under a No-Action scenario which includes the Bureaus historic practices.

IV-12 It does not appear that the models take into account the effects the barriers may have on smolt migration.    As SDWA submitted at the prior hearings, the three tidal barriers in the absence of the Head of Old River barrier also provide a hydraulic barrier that benefits migrating salmon smolts.    This can protect the substantial number that migrate before and after the pulse flow.

IV-15 In the analysis of flow alternative 3, the water needed to meet the Vernalis flow comes from various reservoirs and not just New Melones.    Does the model take into account the effects on downstream flows at later times of the year or in drought years resulting from increased flows on the various tributaries?

IV-16 Does the new Term 91 directly conflict with the Delta Protection Act statutes which require the maintenance of adequate flows in the Delta for all beneficial uses?

IV-19 Again, SDWA hopes that the Board will allow the public to explore the notion of Friant obligations being met through New Melones releases.    It does not appear to add anything to the analysis to first calculate Friants share if it is then assigned to New Melones.

V-2 through 3 The calculations to determine impacts of the various alternatives assume that Sacramento basin water rights holders will contract for supplemental supply while water rights holders on the San Joaquin basin will pump groundwater in the event those rights holders are required to forego diversions.    Is this the reason why tables V-1 and V-2 show fluctuating effects?    If the calculations do not assume that there is any decrease in consumption upstream, should not the total effects for any alternative roughly equal to the effects of any other alternative?    If there is only so much water upstream every year and the alternatives (excluding Alternative No. 6) anticipate taking sufficient amounts of water from different parties, shouldnt the amount of water taken from all parties under any alternative be roughly equal to the amount taken from other parties under another alternative?

The calculations showing the effects of Alternative 6 do not appear to coincide with the recent modeling done by SDWA in conjunction with DWR, the Regional Board, USBR, and Contra Costa County.    SDWA through its testimony will present its modeling and attempt to explain and clarify differences between the two.

V-6 Under Capacity for Water Transfers, the document examines export availability based on the limitations in the 1995 Plan.    However, it does not appear that the fishery agencies are willing to allow the export rates as set forth in the Plan.    Under the auspices of Endangered Species Act, Delta exports have been further curtailed during the pulse flow period, and there appears to be no indication that the fishery agencies position on this will change.    In light of that, it would appear to be productive to include modeling which uses this actual set of circumstances rather then the hypothetical one set forth in the 1995 Plan.

SDWA is concerned that the effects of water transfers have been understated or not fully examined by the relevant parties including the DEIR.    SDWA will present evidence with its testimony on this topic and asks that the Board seriously consider the harm that may result to third parties if transfers are used to make the subject flows.

V-18      It does not seem beneficial to model alternatives that cannot physically occur.    Alternative No. 2 results in the depletion of New Melones due to it being solely responsible for San Joaquin River flows.    Since the New Melones flows are insufficient, SDWA questions why this alternative is included.    In examining alternatives, we believe that some threshold level of feasibility as well as an interest in optimizing the alternative should be undertaken.    It does not help in the decision process to simply say New Melones is unable to do it on its own.

Alternative No. 5 discusses the substantial effect on the Friant Project if it is obligated to make downstream releases.    The document should address whether or not the effects on Friant are justified given its relationship to the causes of the problem.    Does the modeling separate out the effects of Class II Friant water from Class I Friant water?

V-19      The documents conclusion regarding the adverse effects on CVP and SWP from the recirculation idea appear to be incorrect.    SDWAs testimony will set forth the specifics and modeling of this program.

VI-3 & 4 Why do Alternatives 2, 3, and 4 result in increased San Joaquin River flows during the summer months?    Since the Plan does not require flows of any amount during July and August, why would the flows increase over historic uses depending on who is charged with meeting April through May and October flows?

VI - 9 through VI-17 The DEIR examines water quality at various stations including the Delta station.    All non-Delta stations examine values for dry years and critical years whereas the Delta stations only examine the subject drought period.    Such a distinction does not appear to be warranted and most likely masks the true effects of the alternatives on the South Delta.    SDWA encourages the Board to do the appropriate modeling not only for the subject drought period but for all critical, dry, and below-normal years.    As stated previously, SDWA experiences its greatest difficulties in below-normal years.    By combining various year types and having only one modeling result, the adverse effects felt by the South Delta during times of greatest need are masked and thus remain unexamined.

VI-19 states that there is no clear environmentally superior alternative in terms of the effects on salinity at specific stations in the Delta.    As we read figure VI-14, Alternative 6 never results in a violation of the water quality control standard whereas all the other alternatives result in violations either once or often.    What is the basis for concluding there is no environmentally superior alternative?

VI-20 The top paragraph mentions that Alternative No. 7 includes a cap of 70,000 acre-feet on releases from New Melones Reservoir.    Is it the Boards position that an agreement between some but not all of the parties on the San Joaquin River can result in the Bureau escaping its permit requirements?      Would the Board change the requirement because some parties recommend it?

VI-21 Again, the document avoids describing the existing numbers on the export facilities take of fish and then states that agricultural diversions may account for significant fish losses in the Delta.    SDWA does not believe this is supported by reliable evidence and believes that the harm done by the projects should be accurately described.

VI-48 Table 6-29.    SDWA would hope that any reference to flows of 6,800 CFS on the Stanislaus (pursuant to AFRP working paper) contains some sort of explanatory follow up that except for flood release, a court order restricts the channel capacity of the Stanislaus River to approximately 1,500 CFS.

Chapter VI, page 131 et seq., goes at great lengths to explain the adverse effects on the Friant service area if it is made responsible for mitigating its downstream effects.    In order to provide a balanced approach to this topic, the DEIR should include references to the relevant excerpts from the 1980 Report previously cited (regarding the adverse effects of the CVP on the San Joaquin River and the Delta).

VIII-7 through 9.    As stated above, the document continues to examine TDS loads.    The amount of load entering the river is irrelevant to whether or not the Vernalis standard can be met and whether or not beneficial uses are being affected.    The load can obviously be extremely high during times of high runoff due to precipitation or snow melt.

VIII-10 through XIV, SDWA believes it is clear that the DEIRs description of the history of addressing the salinity problem indicates that there has been a marked lack of meaningful actions by both the State Board and the Regional Board.    Year after year and plan after plan result in continued study, deferral to other processes, and unmet schedules.    SDWA is well aware of the difficult situation and lack of easy or quick solutions to the salinity problem.    However, the Board is obligated under State and Federal law to protect the beneficial uses from of being adversely affected by the poor quality drainage coming out of the CVP service area.

The Board will recall that in 1995 during its adoption of the Basin Plan, it forwarded a letter to the Regional Board asking them to take action on this problem within three years.    No action on this has been taken, and the innocent parties who bear the brunt of this downstream pollution continue to sit and wait.

VIII-15.      SDWA questions the conclusion that water conservation will improve salinity by leaving more water in the river for dilution flows and decreasing salt load imported into the basin.    There is no indication that upstream users who begin conserving water will allow the conserved water to flow down stream rather then use it in other ways, sell it, or store it for later use.    Similarly, conservation efforts on behalf of export interests only result in more concentrated salts eventually being discharged into the river and under no existing proposal result in any decreases of exports.    Thus, the same amount of salt is being sent south but being concentrated before it reaches the river.    Therefore, SDWA does not believe that the description in the DEIR about water conservation has any merit.

III-21 through 22.    SDWA recognizes that the drainage from the Grasslands area is not the main source of problems on the San Joaquin River.    However, that drainage is a portion of the problem and does require continued dilution in order to meet the Vernalis Water Quality Standard.    The assumptions that normal Grasslands drainage is 1,900 TDS and that the increased flows from CVPIA will result in 960 TDS are we believe unsupported.    Through its testimony in the hearings, SDWA will address this issue and analyze the Bureaus modeling on this subject.    Regardless, any water that enters the River with a TDS above the standard requires dilution and so reasonable and adequate protection should be included in the implementation of the Plan.

VIII-23      As the Board knows, SDWA has already discussed the coordination of drainage with various agricultural entities and will report on those activities to the Board.    At the current time, a significant amount of the subject drainage can be controlled without any further cost and additional significant amounts can be controlled with minor costs.

VIII-29      In light of the above comments, SDWA believes that the control of wetlands drainage is desirable and again will present testimony along these lines.

VIII-31      Again, the modeling performed assumes that Stanislaus River water is available at all times to meet the Vernalis objective.    Such an assumption simply results in modeling results of questionable use.    Bureau operations show us it does and will not budget adequate amounts.

IX-7      The figures given for interior Delta water quality show that there continues to be a serious problem.    The Board should not assume that the Interim South Delta Program will resolve all of these issues given the parties inability to secure permits that allow the reasonable use of those facilities.

IX-23      Figure 9-5 incorrectly positions the permanent Grantline barrier near Tracy

Blvd.    That location appears to be where the temporary barrier is placed whereas the permanent barrier will be near the end of Grantline Canal (towards the west).

IX-30      Given the incorrect placement of the permanent Grantline barrier, the document concludes that the operation of the barrier results in reduced water levels downstream, by approximately one foot.    This does not correspond to the modeling done by the ISDP.    Basically, the water level downstream of all of the tidal barriers are purely a function of export rates.    Give the elevation of the channels and the available water, those downstream areas rise and fall depending on export operations and are not significantly related to barrier operations.

XIII    Joint Point of Diversion Alternatives.    As stated above, SDWA has no disagreement in principle with the Joint Point of Diversion proposals and agrees that it can be used to benefit both fishery and other beneficial uses.    However, any such Joint Point of Diversion must be based on two premises.    The first is that any efforts to insure that there is no net loss to exports for activities taken to protect fisheries must also include a no net loss or harm to other water users.    The fact that the State and Federal Projects may have to forego pumping so that they do not kill as many fish as they normally would, does not mean that efforts to make up for the lost pumping should harm third parties.    In light of the fact that Delta diverters consist mainly of riparians who have superior water rights to those of the projects, no net harm to third parties would appear to be not just fair, but mandated by California law.

The second premise for the Joint Point of Diversion is related to the first and is that the operation should only be done in conjunction with the barrier program.    Since the South Delta Barrier Program is not fully instituted and may not protect South Delta interests at all times, any increase in pumping must necessarily take into account the ability or existence of other measures to mitigate the effects of the pumps.

As stated before and as the Board well knows, the effects of the export pumps on South Delta channels is extreme.    It is therefore necessary that before any increased pumping is done, there is adequate consultation and action taken to insure that increased pumping does not result in increased harm.    It must be remembered that the barriers are mitigation of the effects of the pumps, therefore any pumping activities should and must be co-ordinated with barrier activities.

Part of this issue deals with those parties whose diversions are downstream of the proposed South Delta barriers.    Those parties water levels are solely a function of export rates (and tidal actions).    Protection of their rights must also be considered.

Although modeling runs help provide an indication of what will happen, they cannot with certainly predict future effects.    The burden should not be placed on Delta interests to prove that increased pumping through the Joint Point of Diversion will create harm, rather the burden needs to rest with the exporters to show that increased pumping will not cause adverse effects.    Adequate notice, and the ability to review and comment should be a necessary prerequisites to the allowance of any such joint point use.    SDWA would like to point out the inadequacies of the previous system whereby the CalFed Operations Group was supposed to handle the matter.    It appears that in 1997, some technical group (not the No Name Group) actually made the decision to interrupt the operation of the South Delta barriers in order to increase pumping.    This activity took place without notice or consultation with the South Delta Water Agency.    Such a situation    should not be allowed to happen.

XIII-29.      The DEIR is obviously inadequate given that the examination of the various joint point alternatives on Vernalis water quality in below-normal: years is missing (see figure XIII-34).    As has been stated before (including earlier in this DEIR), the time of greatest risk to South Delta diverters is typically in below-normal years.    Strangely, the one set of data missing in the analysis is for those years of greatest need for the South Delta. Absent some sore of examination of the effects of the Joint Points on that year type, the DEIR is inadequate and a Joint Point could not be authorized.

XIII-28 through XIII-30.    SDWA questions the data contained in the other figures analyzing the effects on water quality at Vernalis under the various alternatives.    The data given shows few and slight violations at the Vernalis Water Quality Standard under the various alternatives.    Since the historically data shows numerous and substantial violations of the water quality standard, it is unclear why those effects do not appear when the alternatives for the Joint Point of Diversion are analyzed.

XIII-67      The document fails to examine the effects (on recreation as well as the effects) on the quantity of water available in the South Delta and is therefore deficient.    As previously presented to the Board and as will be part of the testimony to be presented by SDWA in the upcoming hearings, the South Delta barriers provide mitigation not just for Delta salinity but for Delta water levels too.    Absent a sufficient amount of flow down the San Joaquin River, the South Delta barriers are unable to provide enough water for riparian diverters (or recreational users) if exports are expressively reducing high tide levels.    If the amount of flow in the San Joaquin River is near those minimum amounts, an increase in export pumping under a Joint Point of Diversion program can decrease the amount of incoming tidal flow to the point where there is insufficient water being trapped by the barriers.    Therefore, the document needs to examine these effects before it can make any conclusion with regards to choosing a preferred alternative.

SDWA would like to remind the Board that not only do the riparian superior water rights require this, but so also does the Delta Protection Act.

Conclusion

SDWA believes the DEIR is generally a very comprehensive evaluation of the proposed alternatives for implementation of the Water Quality Control Plan.    However, SDWA believes further review is necessary in order to more fully examine the expected adverse effects resulting from implementation of any of those alternatives.    SDWAs recirculation proposal when combined with the coordination of CVP westside service area drainage and reasonable South Delta barrier operations should be considered as a whole.    SDWA believes and will present evidence that this proposal can and should be the preferred alternative, and will in fact be the only alternative that protects superior water right holders and complies with the Constitutions reasonableness mandate.

Dated: April 1, 1998

____________________________________

JOHN HERRICK, Attorney for

SOUTH DELTA WATER AGENCY

COMMENTS TO ENVIRONMENTAL IMPACT REPORT

FOR THE CONSOLIDATED AND CONFORMED PLACE OF USE

SDWA submits the following comments to the Bureau of Reclamations request to consolidate and conform the places of use of some of its permits as will be considered during the water rights phase to implement the 1995 Water Quality Control Plan.

It appears that the purpose in part of the request to consolidate and conform places of use is in part to validate current violations of the CVP permits as to place and purpose of use.    It is difficult to remove deliveries from those who have become dependent on them, but if violations routinely lead to a modification of permits, the permit process becomes meaningless.

Part of the purpose of the proposal is to establish a potential for delivering water to areas now beyond current deliveries and beyond the permits in place or purpose of use.    The additional water for those areas is not intended to be taken from other CVP contractors.    It will, therefore, be taken from non-CVP water users.    If it is not taken from other water users, it will not be delivered, and the expansion of place and purpose of use merely raises false expectations.

Since the existing permits are for diversion rather then consumption, the potential impact on non-CVP contractors should be based on watershed analysis of available water for all purposes.

During all of some water years and most of many water years, the water yield of the entire Delta watershed is already over-committed.    It is all used for consumptive use in the Central Valley, plus committed exports from the Valley, plus the Delta outflow requirements required by the SWRCBs Water Quality Control Plan.    Excess water is only available when the mandated Delta outflow is exceeded.    At all other times, a delivery of water to new areas and purposes of use can only occur at the expense of other uses: either a reduction in the use of return flows and replenished groundwater for consumptive use by wetlands and agricultural lands, or a reduction in existing exports.    The later is not what the Bureau intends.

The Bureau can typically only extend its places and purposes of use of water by

depriving non-CVP water users at some place and time in the watershed.    The EIR fails to examine this potential impact on non-CVP water users.      The EIR is, therefore, inadequate; and the SWRCB should not grant the changes in place and purpose of use that will lead either to false hopes, or to deliveries to expanded portions of the CVP permit area at the expense of third parties.    It is unlikely that these third parties typically have water rights inferior to CVP water rights.    In any event, the impacts must be addressed and not ignored.

Dated: April 1, 1998

____________________________________

JOHN HERRICK, Attorney for

SOUTH DELTA WATER AGENCY

C:\SDWA\Comments DEIR Bay-Delta

PROOF OF SERVICE BY MAIL

STATE OF CALIFORNIA		)

ss.

County of San Joaquin		)

I am a citizen of the United States and a resident of the County of San Joaquin.    My business address is 3031 West March Lane, Suite 332 East, Stockton, California 95219.    I am over the age of eighteen years and not a party to the within entitled action.    I am readily familiar with the practice of the Law Office of John Herrick for collection and processing of correspondence for mailing with the United States Postal Service.    In the ordinary course of business of the Law Office of John Herrick, correspondence is deposited with the United States Postal Service the same day as it is collected and processed.

On April 1, 1998, I served the within SOUTH DELTA WATER AGENCYS COMMENTS TO DRAFT ENVIRONMENTAL IMPACT REPORT FOR IMPLEMENTATION OF THE 1995 BAY/DELTA WATER QUALITY CONTROL PLAN on the interested parties in said action, by placing a true copy thereof enclosed in a sealed envelope with postage thereon fully prepaid, and placed for collection and mailing on said date to be deposited with the United States Postal Service following ordinary business practices at Stockton, California, addressed as follows:

See Attached List.

I declare under penalty of perjury under the laws of the

State of California that the foregoing is true and correct.

EXECUTED on April 1, 1998, at Stockton, California.

___________________________

Dayle Daniels

PROOF OF TRANSMISSION/SERVICE BY FAX

Code of Civil Procedure Section 1012.5, 1013a, and 2015.5

California Rules of Court Rule 2008

I declare as follows:

I am over 18 years of age and not a party to the within action; my business address is 3031 West March Lane, Suite 332 East, Stockton, California.

I am employed in San Joaquin County, California.

On April 1, 1998, at __________ p.m., by use of facsimile machine telephone number (209) 956-0154, I served a copy of SOUTH DELTA WATER AGENCYS COMMENTS TO DRAFT ENVIRONMENTAL IMPACT REPORT FOR IMPLEMENTATION OF THE 1995 BAY/DELTA WATER QUALITY CONTROL PLAN on the following interested parties in the within action by transmitting by facsimile machine to the following:

Name: VICTORIA WHITNEY 			Fax No.: (916) 657-1485

The facsimile machine I used complied with California Rules of Court, Rule 2003(3), and no error was reported by the machine.    Pursuant to California Rules of Court, Rule 2008(e), I caused the machine to print a transmission record of the transmission, a copy of which is attached to this declaration.

I declare under penalty of perjury under the laws of the State of California that the foregoing is true and correct and that this declaration was executed on April 1, 1998.

________________________

DAYLE DANIELS

(Attachment:    Transmission Records)

Alan B. Lilly

Bartkiewicz, Kronich & Shanahan

1011 22nd St., Suite 100

Sacramento, CA 95816-4907

Alan N. Harvey

City of Shasta Lake

1650 Stanton Drive

P. O. Box 777

Shasta Lake, CA 96019

Alf W. Brandt

U. S. Dept. Of Interior

Office of the Solicitor

2800 Cottage Way, Rom E1712

Sacramento, CA 95825-1890

Anders Christensen

Woodbridge Irrigation District

18777 North Lower Sacramento Rd.

Woodbridge, CA 95258

Arthur F. Godwin

Griffith, Masuda & Godwin

517 East Olive Street

P. O. Box 510

Turlock, CA 95381-0510

Arthur Feinstein

Golden Gate Audubon Society

2350 San Pablo Avenue, Suite G

Berkeley, CA 94704

Betsey Reifsnider

Friends of the River

128 J Street, 2nd Floor

Sacramento, CA 95814

Bill Ketscher

Modesto Irrigation District

1231 11th Street

P. O. Box 4060

Modesto, CA 95352

Bradley S. Miller

The Humane Farming Association

1550 California Street, Suite 6

San Francisco, CA 94109

Bruce L. Belton

2515 Park Marina Drive, Suite 102

Redding, CA 96001

Charles H. Willard

Board of Supervisors, County of Tehema

633 Washington Street

P. O. Box 250

Red Bluff, CA 96080

Christopher D. Williams

Mountain County Water Resources Assoc.

P. O. Box 667

San Andreas, CA 95249

Christopher G. Foster, Esq.

Law Offices of Smiland & Khachigian

601 W. 5th St., Seventh Floor

Los Angeles, CA 90071

Cliff W. Schulz

Kronick, Moskovitz, Tiedemann & Girard

400 Capitol Mall, 27th Floor

Sacramento, CA 95814

Cynthia L. Koehler

Save the Bay

1736 Franklin Street

Oakland, CA 94612

D. Tyler Tharpe

Kimble, MacMichael & Upton

5260 North Palm Avenue, Suite 221

P. O. Box 9489

Fresno, CA 93792-9489

Daniel F. Gallery

Law Office of Daniel F. Gallery

926 J Street, Suite 505

Sacramento, CA 95814

Daniel M. Dooley

Dooley, Herr & Williams, LLP

3500 W. Mineral King Ave., Suite C

Visalia, CA 93291

Dante J. Nomellini, Esq.

Nomellini, Grilli and McDaniel

235 E. Weber Avenue

Stockton, CA 95202

David A. Sandino

California Department of Water Resources

1416 Ninth Street

P. O. Box 942836

Sacramento, CA 94236-0001

Denslow Green

Green, Green & Rigby

219 South D Street

P. O. Box 1019

Madera, CA 93639

Diane Rathmann

1820 Marguerite

Dos Palos, CA 93620

Don Heffren

Gorrill Land Company

P. O. Box 427

Durham, CA 95938

Don Marciochi

Grasslands Water District

22759 S. Mercey Springs Road

Los Banos, CA 93655

Donald F. Santon

County of Colusa

1213 Market Street

Colusa, CA 95932

Donn W. Furman, Louise H. Renne

Office of the City Attorney

1390 Market Street, Sixth Floor

San Francisco, CA 94102-5408

Edward G. Giermann

J. G. Boswell Company

101 West Walnut Avenue

Pasadena, CA 91103

Ernest A. Conant &Scott K. Kuney

Young Woolridge

1800 30th Street, Fourth Floor

Bakersfield, CA 93301

Exequiel G. Ganding

City of Vallejo Dept. Of Public Works

P. O. Box 3068

Vallejo, CA 94590

Fred S. Etheridge

EDMUD Office of General Counsel

P. O. Box 24055

Oakland, CA 93623

Frederick Bold, Jr.

1201 California Street, #1303

San Francisco, CA 94109

Gary Bobker

The Bay Institute of San Francisco

55 Shaver St., #330

San Rafael, CA 94901

Gary W. Sawyers

575 E. Alluvial, Suite 101

Fresno, CA 93720

Gregory A. Thomas

Natural Heritage Institute

114 Sansome Street, Suite 1200

San Francisco, CA 94104

Gregory Wilkinson

Best, Best & Kreiger LLP

3750 University Avenue

P. O. Box 1028

Riverside, CA 95202

Hal Candee

Natural Resources Defense Council

71 Stevenson Street

San Francisco, CA 94105

Henry Willy

Jackson Valley Irrigation District

6755 Lake Amador Drive

Ione, CA 95640

J. Mark Atlas

Frost, Krup and Atlas

134 W. Sycamore Street

Willows, CA 95988

James F. Roberts

Metropolitan Water District of Southern CA

350 S. Grand Avenue

P. O. Box 54153

Los Angeles, CA 90054-0153

James F. Sorenson

J. F. Sorenson Consulting Engineer, Inc.

209 S. Locust St.

Visalia, CA 93279

Janet K. Goldsmith

Kronick, Moskovitz, et al.

400 Capitol Mall, 27th Floor

Sacramento, CA 95814-4417

Jeanne M. Zolezzi

Herum, Crabtree, et al.

2291 W. March Lane, Suite B100

Stockton, CA 95207

Jeffrey J. Swanson

2515 Park Marina Drive, Suite 102

Redding, CA 96001-2831

Jeffrey A. Meith

Minasian, Spruance, Baber, et al.

1681 BirdStreet

P. O. Box 1679

Oroville, CA 95965-1679

Jenna Olsen

Sierra Club

85 Second Street, 2nd Floor

San Francisco, CA 94105-3441

Joe Robinson

City of Sacramento

980 9th Street, 10th Floor

Sacramento, CA 95814

Joel Moskowitz

Modesto Irrigation Dist.

1231 Eleventh Street

P. O. Box 4060

Modesto, CA 95352

Julie Kelly

Deer Creek Watershed Conservancy

P. O. Box 307

Vina, CA 96092

Kenneth M. Robbins

Flanagan, Mason, et al.

P. O. Box 2067

Merced, CA 95344-0067

Kevin M. OBrien or David R.E. Aladjem

Downey, Brand, Seymore & Rohwer LLP

555 Capitol Mall, 10th Floor

Sacramento, CA 95814

Kevin T. Haroll

Morrison and Forester LLP

755 Page Mill Road

Palo Alto, CA 94304-1018

Leslie A. Dunsworth

Sacramento Municipal Utility District

P. O. Box 15830

Sacramento, CA 95852-1830

Lois Flynne, Ph.D.

Community of Compassion for Animals

19100 Newville Road

Orland, CA 95963

M. Anthony Soares

Minasian, Spruance, et al.

1681 Bird Street

P. O. Box 1679

Oroville, CA 95965-1679

Martha H. Lennihan

Law Offices of Martha H. Lennihan

455 Capitol Mall, Suite 300

Sacramento, CA 95814-4406

Michael B. Jackson

1020 12th Street, Suite 400

Sacramento, CA 95814

Michael G. Heaton

Law Office of Michael G. Heaton

926 J Street

Sacramento, CA 95814

Michael H. Nordstrom

1100 Whitley Avenue

Corcoran, CA 93212

Michael Mason

Flannigan, Mason, et al.

P. O. Box 2067

Merced, CA 95344-0067

Michael V. Sexton

Minasian, Spruance, et al.

1681 Bird Street

P. O. Box 1679

Oroville, CA 95965

Nancee M. Murray

Dept. Of Fish and Game Legal Affairs Div.

1416 Ninth Street

P. O. Box 944209

Sacramento, CA 94244-2090

Norman Y. Herring

County of Glenn

525 W. Sycamore Street

Willows, CA 95988

Patrick Progans

Patrick Porgans and Associates

P. O. Box 60940

Sacramento, CA 96860

Paul R. Minasian

Minasian, Spruance, et al.

1681 Bird Street

P. O. Box 1679

Oroville, CA 95965

Paul S. Simmons

DeCuir and Somach

400 Capitol Mall, Suite 1900

Sacramento, CA 95814

R. W. McComas

Stony Creek Business & Landowners

Coalition

4150 Country Road K

Orland, CA 95963

Richard Golb

Northern California Water Association

455 Capitol Mall, Suite 335

Sacramento, CA 95814

Richard H. Moss

PG&E

P. O. Box 7442

San Francisco, CA 94120-7442

Richard Ross-Collins

Natural Heritage Institute

114 Sansome Street, Suite 1200

San Francisco, CA 94104

Robert B. Maddow

Bold, Polisner, et al.

500 Ygnacio Valley Road, Suite 325

Walnut Creek, CA 94596-3840

Robert J. Baiocchi

California Sportfishing Protection Alliance

P. O. Box 357

Quincy, CA 95971

Robert Lee

Battle Creek Watershed Conservancy

P. O. Box 606

Manton, CA 96059-0606

Roberta Borgonovo

League of Women Voters

2450 Union Street

San Francisco, CA 94123

Ronnie Cohen

Natural Resources Defense Council

71 Stevenson Street

San Francisco, CA 94105

Sandra T. Flournoy

Thomas Creek Watershed Association

P. O. Box 2365

Flournoy, CA 96029

Simon Granville

Calaveras County Water District

423 E. St. Charles St.

P. O. Box 846

San Andreas, CA 95249

Steve Mora

Gleen County Farm Bureau

501 Walker Street

Orland, CA 95963

Steven P. Emrick

Bray, Geiger, Rudquist & Nuss

311 E. Main Street, 4th Floor

Stockton, CA 95202

Stuart L. Somach

DeCuir & Somach

400 Capitol Mall, Suite 1900

Sacramento, CA 95814

Thomas J. Graff

Environmental Defense Fund

5655 College Avenue, #304

Oakland, CA 94618

Thomas J. Shephard, Sr.

Neumiller & Beardslee

509 West Weber Avenue

P. O. Box 20

Stockton, CA 95203-3020

Thomas W. Birmingham

400 Capitol Mall, 27th Floor

Sacramento, CA 95814

Tim McCullough

Tuolumne Utilities District

P. O. box 3728

Sonora, CA 95370

Tim OLaughlin

OLaughlin & Paris LLP

870 Manzanita Court

Chico, CA 95926

Tom Stokely

County of Trinity - Natural Resources

98A Clinic Avenue

P. O. Box 156

Hayfork, CA 96041--156

Virginia A. Cahill

McDonough, Holland and Allen

555 Capitol Mall, 9th Floor

Sacramento, CA 95814

Warren P. Felger

Uremovic & Felger LLP

5250 N. Palm Avenue, Suite 201

P. O. Box 5654

Fresno, CA 93755-5654

William H. Baber, III

Minasian, Spruance, et al.

1681 Bird Street

P. O. Box 1679

Oroville, CA 95965

William H. Spruance

Minasian, Spruance, et al.

1681 Bird Street

P. O. Box 1679

Oroville, CA 95965

William P. Lewis

City of Yuba City

1201 Civic Center Drive

Yuba City, CA 95993

Edward Anton, Chief

Division of Water Rights

P. O. Box 2000

Sacramento, CA 95812-2000