DEPARTMENT OF THE ARMY

U.S. ARMY ENGINEER DISTRICT, SACRAMENTO

CORPS OF ENGINEERS

1325 J STREET

1

REPLY TO	SACRAMENTO. CALIFORNIA 95814-2922

ATTENTION OF	Januarv 23, 1998

2

Requlatory Branch (190105820)

3

Dear Ms. Whitney:

4

I am responding to the Draft Environmental Impact Report for Implementation of the 1995 Bay/Delta Water Quality Control Plan, dated November, 1997.

5

Paragraph 3 on page XIII-1 states:

6

"The SWP's Banks Pumping Plant operates to a capacity of 6,680 cfs based on an agreement with the U.S. Army Corps of Engineers (USCOE 1). The SWP can operate to its physical capacity of 10,400 cfs under limited conditions established in the agreement."

7

There are two inaccuracies in this statement. The first is that there is no agreement between the USACE and DWR on pumping rates at the Banks Pumping Plant. PN 5820A is a statement of the historic rate of diversion into Clifton Court Forebay which is authorized by regulation (33 CFR 33Q.3(b)), and that diversion at increased rates would require Department of the Army authorization (i.e. a permit) under '10 of the Rivers and Harbors Act of 1899. A copy of the notice is enclosed for your use.

8

l The correct acronym for the U.S. Army Corps of Engineers is USACE.

9

As those actions mentioned in the document that fall within the U.S. Army Corps of Engineers' (USACE) jurisdiction are dealt with in more specificity in other environmental documents, I am limiting my comments to your discussion of the existing limit on diversion into Clifton Court Forebay, at pages XIII-1,6, and 8, as articulated in Public Notice 5820A (PN 5820A), issued by the Sacramento District on October 13, 1981.

10

The second inaccuracy, alluded to in the previous paragraph, is  that it is the pumping rate of Banks Pumping Plant that is limited.  The limit is actually on the rate of diversion into Clifton Court  Forebay from the juncture of Old River and West Canal. While this may  translate into an average effective pumping rate of the Banks Pumping  Plant from the forebay, there is no limit on the pumping rate  established under PN 5820A. This inaccuracy is carried forward into  discussions on pages XIII-6 and XIII-8. This language should be  changed to reflect that the limit is on diversion rates, as shown in  PN 5820A.

11

If you have any questions, please write to my attention,  Room 1480, or telephone (916) 557-5266. We appreciate the  opportunity to be included in vour review process.

12

Enclosure

13

Jim Monroe, P.E., Esq.

Chief, Delta Office

14