# License Term 44A

# RESERVOIR TERMS

## Term 44A Outlet Pipe – Reservoir(s) Constructed w/o Outlet Pipe (Noncritical Areas Only)

Licensee shall, when required by the State Water Board, install and maintain an outlet pipes of adequate capacity in the dam as near as practicable to the bottom of the natural stream channel, or provide other means satisfactory to the Deputy Director for Water Rights, in order that water entering the reservoirs which is not authorized for appropriation under this license may be released.

 (0050044)